## Slide 1: NPRR1217 concerns and solutions
April 24, 2024

## Slide 2: NPRR1217 concerns
NPRR1217 introduces the concept that the binding deployment for Load Resource and ERS will be based totally on XML instructions. Today the binding deployment is based on a Verbal Dispatch Instruction (VDI).
LCRA understands ERCOT’s position of wanting to relieve the ERCOT operators of having to issue VDIs to deploy Load Resources and ERS.
However, we also recognize that this passes the risk to Market Participant systems to accurately capture and alert operational staff of required instructions.
LCRA develops in house solutions to parse XML instructions and believes other Market Participants are in the same boat.
We believe that it is necessary for ERCOT to relay XML specifications to Market Participants (or their vendors) to prepare systems to communicate appropriately.

## Slide 3: NPRR1217 solutions to be discussed at TWG
We request that ERCOT provide mock-ups and specifications for XML instructions for LR and ERS deployment.
We request that ERCOT provide and discuss testing opportunities to verify that MP systems have been designed appropriately.
We request that ERCOT not immediately implement NPRR1217 without recognizing the need for MPs to adapt their systems to respond appropriately to ERCOT XML instructions.
We request a discussion on the impacts and systematic benefits of moving from an XML deployment to ICCP deployment. From a systems and reliability point of view LCRA believes ICCP deployment might be an optimal solution. We recognize some of this discussion might be out of TWG scope, so would like this discussion to mainly be focused in on systematic benefits.