## Slide 1: NPRR1217 discussion at 4/24 TWG
Blake Holt
5/02/2024

## Slide 2: NPRR1217 discussion at 4/24 TWG
ERCOT made comments that the VDI process is taking longer, and they wish to streamline the deployment process for the operators.
LCRA highlighted that the binding deployment is currently on the VDI and recommended that ERCOT confirm that MPs could respond to the XML instructions instead of immediately implementing a “no impact” NPRR
ERCOT introduced XML specifications for the instructions
LCRA questioned if ICCP deployments might make more systematic sense than XML deployments.
    ICCP is integrated through GMS
    XML instructions might require MPs to undertake in house software solutions which present a higher likelihood of processing breakdowns
ERCOT staff agreed that ICCP deployments would be a better option but highlighted that the system costs and implementation timeline would push streamlining the process out further than desired.

## Slide 3: NPRR1217 next steps
After the discussion, LCRA feels well positioned to respond to the XML instructions and does not see a need to push for the NPRR to remain tabled
TWG is willing to host a similar XML specification discussion at its 5/29 meeting if there are other entities that feel the need to be better prepared to respond to these instructions.
  Reach out to sreenivas.badri@ercot.com or blake.holt@lcra.org if interested in participating. If there are no concerns relayed, Blake will not recommend that this continue to be an agenda item at the 5/29 TWG meeting.
LCRA would like to gauge whether there is any other MP interest in pursuing ICCP deployments on a separate path (new NPRR)
  If interested, please reach out to blake.holt@lcra.org