## Slide 1: DWG Report to ROS
Fahad Qureshi – DWG Vice Chair
May 2nd, 2024

## Slide 2: DWG Update
DWG WebEx meeting held on 4/24/2024
DWG Flat Start Update – Stability Book
  The Stability Book for the 2023/2024 Flat Start cases is now available on MIS Secure
Draft DWG Procedure Manual Update for NOGRR245
  ERCOT presented draft language to DWG
  DWG discussed this and requested more time to review/comment
Study Scenarios for Self-Limiting Facilities (SLF) Discussion
  Revisions to SLF Guideline were discussed and sent to DWG for feedback
  Feedback was requested by 5/2/2024