- Summary of Planning Guide Revisions

- Effective:  May 1, 2024

Section 5:

PGRR109 – Dynamic Model Review Process Improvement for Inverter-Based Resource (IBR) Modification

- This Planning Guide Revision Request (PGRR) introduces a new requirement for Interconnecting Entities (IEs) associated with Inverter-Based Resources (IBRs) to undergo a dynamic model review process prior to the Resource Commissioning Date.  Additionally, this PGRR mandates that Resource Entities owning or controlling operational IBRs must undergo a review process before implementing modification to any control settings or equipment that impact the dynamic response (e.g., voltage, frequency, and current injections) at the Point of Interconnection (POI).  Revised Subsections:  5.2.1 and 5.5

Section 6:

PGRR109 – Dynamic Model Review Process Improvement for Inverter-Based Resource (IBR) Modification

- See Section 5 above.

- Revised Subsection:  6.2

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

Revised Subsections:  5.5 and 6.2