## Slide 1
Meter Working Group
April 30, 2024

## Slide 2: Anti-Trust Admonition
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Review of 12/12/23 MWG Notes and Procedure Update
  Review notes posted after 12/12/23 MWG WebEx
  Review updated MWG Procedures
    Last updated in 2005
    Updated procedures will need to be submitted to WMS for approval

## Slide 4: SMOGRR028
  Presentation from Schneider Electric
  Discussion

## Slide 5: Loss Compensation Worksheet Update
  Updated and modified to better support current loss compensation types:
    Separate tabs for data entry depending on loss type.
    Remove need to add placeholder “1” to allow line loss only compensation.
    Add section for calculation of omitted line loss per SMOG 8.4(3).
    Incorporate current limiting reactor calculation
  An issue with loss calculation of 5s meters was found last month.
    Unity calculation not accounting for 30-degree shift between current and voltage.

## Slide 6: ESRs Co-located with Retail Loads
  ERCOT is receiving numerous inquires about co-locating ESRs and retail loads (non generation associated) behind a common single POI.
    Current rules prevent an ESR sharing a POI with a retail load from receiving WSL treatment.
  In internal discussions ERCOT is exploring two possible means to support ESR and retail load co-location. Protocol/SMOG language updates may be needed to move either concept forward.
    Generator accumulator concept using the generator channel or the existing ESR meter.
    Compensating the existing ESR meter generator channel to the POI.

## Slide 7: Site Audit Checklist Update
  Checklist updated to support ESRs.
    Additional section 8 added for both ESRs with internal aux load and without.
  ERCOT expects to post the updated version by 5/3/24.

## Slide 8: NPRR and SMOGRR Status Updates
  NPRR 1193 – PUCT approved 4/11/24
        Moves design proposal form to SMOG
  SMOGRR 027 – PUCT approved 4/11/24
      Moves design proposal form to SMOG
  NPRR 1194 – PRS rejected 12/15/23
      WSL aux load netting prohibitions
  NPRR 1195 – PUCT approved 4/11/24
    Adds language on RE requirements for EPS facilities
  NPRR 1197 – Board approved 4/23/24, pending PUCT approval
      Allows subtractive metering (un-netting of loads)
  NPRR 1200 – on hold at WMS pending SMOGRR028
      Current limiting reactor compensation via telemetered value
  SMOGRR 030 – PUCT approved 4/11/24
      Moves temporary exemption form to SMOG

## Slide 9: New or Other Business Items
  Request for any new or other business items

## Slide 10: Meeting Summary and Closing Remarks
  Thank you for your attendance and participation.
  Notes from this meeting will be posted on the ERCOT website under the key documents for this meeting.
    https://www.ercot.com/calendar/04302024-MWG-Meeting-_-Webex