## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
HITE List Sub-Chair – Pushkar Chhajed
5/2/2024

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT (Alex Lee)
March Peak Demand – 55,300 MW on 3/5 .
March Solar Penetration – 18,881 MW - New Record set on 3/28 at 1124
  Penetration record at 42.98% on 3/28/24 11:27
  No operational concerns noted during 4/8 solar eclipse.

## Slide 3: Texas Reliability Entity Report
Industry Outreach
  April 24th spring standards and compliance workshop.
  May 2 talk with Texas RE
  May 15 Board of Directors meeting
  April 30/May 1 PCGC open meeting online

## Slide 4: NOGRR262 – Provisions for Operator Controlled Load Shed
Update on CenterPoint's Comments
  Looking for clarification on the load shed SCADA vs Non SCADA.
  Avoid using UFLS unless required to meet operating instructions. Clarity to ERCOT language added.
  Unless provisions specified in Section 4.5.3.3, EEA Levels, are required to meet ERCOT operating instructions for manual Load shed
    Oncor – Paragraph 7 – Avoid when ever possible critical load or UFLS or UVLS, why needed, already covered in NOGRR. Avoid when ever possible is not the right approach, sometime is necessary.
    Paragraph 7 C – Whenever possible is very vague.
    ONCOR will follow up with a submission of comments.
Update on AEP’s comments
  AEP comments do not conflict with CenterPoint's comments, so they will be combined together.
  Adding language that distinguishes TO affiliated controlled SCADA from entities that would be allocated a load shed share and thus not require the TO to shed extra SCADA controlled load to make up for TO non directly affiliated loads such as non-critical industrial loads or third party TDSPs.
  With the industrial load increasing significantly and potentially significantly exceeding the residential and commercial loads for several companies distinguishing the time frame difference for facilities a TO directly controls versus those that are activated by an instruction is important to capture.
  TO’s do not necessary have SCADA over all industrial customers, so per the language SCADA control first would require distribution load shed then follow up with industrial load shed.
    Fred (ERCOT) the purpose it to align with EOP-11 could modify more to be clear. This is in existing language. The intent is not to modify the existing language. Suggestion is to put language in TO’s emergency operations plan to specify and make clear.
  AEP to modify comments for some additional clarity
Additional Discussion
  Oncor add to paragraph B, if entity gets to point where they have exhausted SCADA control capability to notify ERCOT to give them heads up on the situational awareness.
  Follow up discussion for next meeting.

## Slide 5: NPRR 1221 – Related to NOGRR262
Fred (ERCOT) NPRR is paired with NOGRR262 team discussed earlier, provide previsions for operator controlled manual load shed. Revision tried to change provision on manual load shed usage, UFLS and UVLS to align with EOP-11 that was just approved. Currently protocol usage is limited as long as we can still maintain obligation of 25%. In certain conditions there may be a need to utilize the UVLS or UFLS. Combination of NPRR and NOGRR together align with EOP-11.

## Slide 6: NPRR 1070 - Planning Criteria for GTC Exit Solutions
Update requested from ERCOT.
  AEP would like to see this moved forward.
Freddy Garcia (ERCOT) appropriate SME’s from ERCOT not on call, will provide email update or be on next meeting to update.

## Slide 7: OTWG Update
ERCOT Severe Weather Drill (SWDTF)
  During Cycle 4, 2024 no final date available yet.
    Facilitation Window (8/12 to 9/16)
    This is a one-day drill that will fall in one of the weeks listed above.
ROS action item to OTWG training outline for BS resources.
  Freddy (ERCOT) will reach out to ERCOT internal training.

## Slide 8: Other Business
None.