## Sheet1
| Questions regarding LSE files | AEP | CNP | Oncor | TNMP | LPL | Notes/Comments
1 | Do all TDUs provide a complete set of 96 interval values for each day? | It is not acceptable to provide nulls for interval values and would be rejected at ERCOT. | It is not acceptable to provide nulls for interval values and would be rejected at ERCOT. | It is not acceptable to provide nulls for interval values and would be rejected at ERCOT. | It is not acceptable to provide nulls for interval values and would be rejected at ERCOT. | It is not acceptable to provide nulls for interval values and would be rejected at ERCOT.
2(a) | Do all TDUs trigger the estimation process when there are missing interval values or if the interval value does not pass VEE? | Yes | Yes | Yes | Yes | YES
2(b) | Are missing intervals provided as zero or estimated? | Estimated | Estimated | Estimated | Estimated | ESTIMATED
If Outage Management System (OMS) indicates the ESI ID experienced a power outage, then interval usage will be estimated as (0) zero for the duration of the outage or estimated interval data can be based upon historical usage.
|  | AEP | CNP | Oncor | TNMP |  | Notes/Comments
| What is each TDU’s process for estimating Missing interval values? | AEP’s automated systems will attempt to retrieve missing interval data for 5 days. Any intervals retrieved through the automated system go through the VEE process and are sent to the Market. | Methods: | For Residential, estimated interval values are shaped based on ERCOT load profiles. | The 2 week like day historical estimation process uses "like-days" from the designated reference week and Like-Day set. | LPL's Meter Data Management system will process incoming daily interval data through VEE. Any missing intervals detected will automatically be estimated via the logic outlined in 2(f) below. | See “California Historical Estimation” document from TNMP for more details.
The MIM (Missing Interval Monitor) automated processes are triggered daily to check for actual data.
|  | If interval data cannot be recovered, manual estimation may be necessary. Full explanation of AEP’s estimation routine is referenced in 2(f) below. |  | For Commercial, estimated interval values are shaped based on the most recent 3 like days of historical usage (actuals or estimates) available for the premise. | For example, if the data needing estimation is Tuesday data, and Tuesday of the preceding week is considered a Like-Day, then the corresponding intervals from Tuesday of the preceding week are used in the estimation. If there is data for both weeks the most recent week’s data will be used.
Manual estimation will be necessary if systematic estimation isn’t successful.
For additional details of CNP’s estimation routine, see additional 2(f) notes on page 13 at the end of this document.
2(d) | Under what circumstances do TDUs estimate interval values? | Missing intervals for an active premise or data fails VEE | Missing intervals for an active premise or data fails VEE | Missing intervals for an active premise or data fails VEE | Missing intervals for an active premise or data fails VEE | Missing intervals for an active premise or data fails VEE
2(e) | What triggers the estimation process? | Missing interval value or register read or data does not pass VEE | Any time there is missing interval value(s) or does not pass the VEE process triggers the estimation process | Missing register read or interval values or the data does not pass VEE | Missing register read or interval values or data does not pass VEE | Missing register read or interval values or data does not pass VEE
|  | AEP | CNP | Oncor | TNMP |  | Notes/Comments
2(f) | Explain the estimation process/method(s) used for each TDSP. | 1. Interval Gap Fill: | See Uniformed Business Practices (UBP) procedures at the end of this matrix for CNP’s detailed estimation routine. | Register reads are estimated by using available historical data to determine the day’s consumption. | 1. Linear Interpolation – Used for intervals totaling 1 hr or less Linear interpolation operates on one or more intervals that need to be estimated, so long as a single contiguous group of intervals requiring estimation does not exceed 1 hour. | Interval Data Interval Interpolation Estimation: System attempts to interpolate gaps up to 8 hours within an IMD using prior and subsequent intervals as starting points for linear interpolation. Interval Averaging Estimation: If gap greater than 8 hours, system finds historical interval data from the same measuring component for similar day and time to use for estimating any missing data within an IMD. Interval Adjustment from Scalar (Register): Missing or estimated interval values are then adjusted based on the values from the associated scalar (register) data on the same device Scalar (Register) Data Scalar (Register) Proration Estimation The system first attempts to prorate missing scalar 9register) data by looking for two valid scalar (register) readings on either side (before and after) of the missing period as boundaries. Scalar (Register) Estimation From Interval If unable to estimate via Proration, the system attempts to calculate the missing scalar (register) values based on the values from the associated interval data on the same device for the same period. Scalar (Register) Averaging Estimation If the missing scalar (register) period is unable to be esitmated via proration or interval adjustment, the system will use historical scalar (register) data from the same measuring component for similar day and time to use for estimating any missing data within an IMD. | Tariff Section 4.8.1.4 –
|  | Used for missing intervals within a day |  | Current day consumption distributed per the load profile/shape over day’s 96 intervals | 2. If (1) is unsuccessful, then '2 week like day historical' estimation process is used, as described below. The 2 week Like day historical estimation process replaces intervals needing estimation with data from "like-days" from the designated reference week and Like-Day set. For example, if the data requiring estimation is Tuesday, and Tuesday of the preceding week is considered a Like-Day, then the corresponding intervals from Tuesday of the preceding week are used in the estimation. If the previous week is not available, the data from two weeks prior is used. |  | “For Standard Meters, AMS-M Meters, and IDR Meters, Company shall consistently use reasonable methodologies to develop Estimated Billing Determinants. When Company must estimate Interval Data, it shall estimate the interval usage based on a methodology that reasonably accounts for the Retail Customer’s consumption and consumption patterns. If requested, Company shall provide the estimation methodology used.
|  | a) 2 hours or less utilizes Interpolation |  | ** See note at end of matrix for Oncor’s detailed estimation routine/process. | 3. If (1) and (2) are unsuccessful, then 'California historical' is used for intervals totaling more than 1 hr. This process calculates average daily load shapes using data from historical reference days. IEE derives interval-by-interval averages from valid intervals from the three nearest days of the same or like day of the week.
|  | b) 2 hours or more utilizes “like days” averaging |  |  |  |  | A Meter Reading for a Standard Meter, AMS-M Meter, or an IDR Meter shall not be considered an Estimated Meter Reading if an Actual Meter Reading was completed and Company had to estimate a limited number of intervals of data to fill in gaps in the data collected.”
|  | 2. Full Cut Estimation: |  |  |  |  | “For Meters other than Standard Meters, AMS-M Meters, and IDR Meters, when an Actual Meter Reading is taken after two or more consecutive months of estimation, Company shall allocate any over or under-estimated usage over the entire estimation period. The allocation shall be based on the average daily consumption for the Retail Customer for the period between Actual Meter Readings.”
Used when all intervals are missing for the day
a) If register read is available, current day consumption distributed evenly over day’s 96 intervals.
b) If register read or any intervals for the current day not available, the intervals from yesterday are used to estimate the usage. AEP’s process will look back for up to seven days for data to fulfill the logic for this process.
c) If register read for the current day or intervals from previous 7 days not available, the current day’s intervals are filled with estimated zeros.
|  | AEP | CNP | Oncor | TNMP | LPL | Notes/Comments
3(a) | Are Zero (0) values provided for interval data? (Y/N) | Yes | Yes | Yes | Yes | Yes | NOTE:
The term ‘Active/Authorized’ is used for premises with an active or authorized REP of Record. This excludes premises where there is not an active or authorized REP of Record in the TDU’s system for the ESI ID.
If so, what circumstances?
|  | Zero is a valid value for both estimates and actuals. | Zero is a valid value for both estimates and actuals. | Zero is a valid value for both estimates and actuals. | Zero is a valid value for both estimates and actuals. | Zero is a valid value for both estimates and actuals.
|  | - Zero actuals are rendered when received from an active/authorized premise. | - Zero actuals are rendered when received from an active/authorized premise. | - Zero actuals are rendered when received from an active/authorized premise. | - Zero actuals are rendered when received from an active/authorized premise. | - Zero actuals are rendered when received from an active/authorized premise.
|  | - Zero actuals are rendered for active/authorized premises when the Catastrophic Estimation Process (CEP) is initiated. | - Zero estimates are rendered for active/authorized premises when a known outage has been identified or the premise’s load has been disconnected. | - Zero estimates are rendered when a premise’s load has been disconnected. | - Zero actuals are rendered for active/authorized premises when it has been identified the premise’s load has been disconnected. | - Zero actuals are rendered for active/authorized premises when it has been identified the premise’s load has been disconnected.
- Zero estimates are rendered for active/authorized premises when a known outage has been identified or the premise’s load has been disconnected.
|  | AEP | CNP | Oncor | TNMP | LPL | Notes/Comments
3(b) | Explain the validations performed for Zero value intervals. | AEP does not perform validations on zero value intervals. | CNP does not perform validations on zero value intervals. | VEE is performed in accordance with UBP guidelines. | TNMP does not validate on zero interval data. | LPL performs zero consumption validations on interval data only if the device has been disconnected
|  |  |  | Oncor performs data analysis checks for Zero consumption after disconnects or MVOs on ESIIDs and initiates additional review where deemed appropriate. | Zero monthly billed consumption and zero consumption after DNP or MVO is validated in the CIS.
The day after DNP completed, a validation is done to make sure the register read is the same as when the DNP occurred to determine if tampering/diversion has taken place.
4(a) | If the TDSP receives an Actual value for a previously Estimated interval, will the Actual interval value replace the Estimated interval value? | Yes, except in the case of stopped (tampered or damaged) meter since these were estimated because the meter was not allowed to register the actual usage. | Yes, except in the case of stopped (tampered or damaged) meter since these were estimated because the meter was not allowed to register the actual usage. | Once Oncor has re-established communication with a non-communicating meter, the gap reconciliation process will attempt to retrieve the interval data for up to the most recent four days. If the gap reconciliation process is successful, Oncor will replace the estimated intervals with the actual intervals for up to the most recent four days. | Any actual received after estimation will replace the estimate with an actual read. Any new/changed data within 270 days will be resent to the market. | When the estimation gets replaced with a regular read, all other estimates between that regular and the next regular read get replaced with prorations as well. | SR 3-32371729951 CCS related development is in progress and is estimated to be delivered by next week. SG: This SR is closed. @Saman will have more info on the variance and actuals replacinng estimated reads. | This SR has got nothing to do with this issue at all. Estimated reads replaced by Actual reads is a base process and should be working.
|  | AEP | CNP | Oncor | TNMP |  | Notes/Comments
4(b) | What is the timeline for replacing Estimated usage with Actual usage? | Up to 5 business days if new data is recovered through the automated process. | Upon receipt of the Actual data, which is typically within 3-5 days which is normally associated to Power Outages or non-communicating meters. | Typically, within seven business days. | Upon receipt of actual data, possibly as early as next day. | Upon receipt of the Actual data, which is typically within 3-5 days which is normally associated to Power Outages or non-communicating meters.
Additionally, if a REP initiates a MarkeTrak and AEP is able to locate & re-process the data, then the Actual usage will replace the Estimated usage within 2 business days (manual process).
4(c) | How are usage updates reflected in the LSE file? | New LSE files will be posted with the create date and time stamp of the LSE file. | Date and time stamp upon replacement | New LSE files will be posted with the create date and time stamp of the LSE file | Date and time stamp upon replacement; new LSE will be posted | Date and time stamp upon replacement; new LSE will be posted | See Retail Market Guide Section 7 – located in 7.15.2 (2)
|  |  | new LSE files will be posted with the updated create date and time stamp of the LSE file. |  |  |  | Website Link:
http://www.ercot.com/mktrules/guides/retail/current
NOTE: TDSPs will always send “re-versioned” LSE files to ERCOT for Settlement and Smart Meter Texas for REP of Record and Customer access.
SR 3-32371729951 CCS related development is in progress and is estimated to be delivered by next week. SG: This SR is closed.
|  | AEP | CNP | Oncor | TNMP | LPL | Notes/Comments
4(d) | Does the AMS meter store interval data? | Yes. | Yes. | Yes. | Yes. | Yes.
| If so, how much data is stored at the meter? | Up to the most recent 45 days. | Up to the most recent 6 months. | Up to the most recent 34 days. | Up to the most recent 90 days. | No less than 15 days.
5(a) | Is a Register Read always provided on the LSE file? | Yes. | No. | Yes. | Yes. | YES
Oncor’s defines a Register Read as any “5-dial” read of the meter odometer. For example, the start and stop reads on an 867_03 are “register reads”. A “midnight read” is simply a Register Read that is taken at midnight.
5(b) | Under what circumstances does the TDSP estimate Register Reads? | When Register Read not received | When Register Read not received | When Register Read not received or fails VEE. | When Register Read not received | When Register Read not received
- If the collection process successfully passes all the daily interval values, the MDM will calculate a missed Register read using the"96 good" interval values.
- Estimated register reads are also provided when a cancel rebill occurs. The rebill register reads are used to manually calculate the interval adjustments.
|  | AEP | CNP | Oncor | TNMP |  | Notes/Comments
5(c) | What is the validation process for Register Reads? | UBP guidelines. Daily VEE is performed by the MDM on the register read. | UBP guidelines of industry standards pertaining to Validation, Estimation and Editing (VEE) | UBP guidelines | UBP guidelines | Daily VEE is performed by the MDM on the register read.
5(d) | How often is the Register Read validated? | During the preparation of each LSE file | During the collection of the usage data in order to create the LSE file(s). | Daily | Monthly billing reads are validated within the CIS. | Daily
5(e) | What is the allowed variance between the sum of the interval data and the register read? | 2 times the meter multiplier | 2 times the meter multipliers | 2 times the meter multipliers | 2 times the meter multipliers | LPL's has the Sum Check validation configured to check the percentage difference between the consumption of the interval measuring component and the related scalar measuring component. If the percentage difference is higher than the configured tolerance (1%), the measurement fails the validation. | Link for the Uniform Business Practices (UBP) for Unbundled Electric Metering http://www.naesb.org/req/req_form.asp (see notes at bottom) @Saman will have more info on the variance and actuals replacinng estimated reads.
The 2 multiplier variance applies to both IDR and AMS and is an industry standard used for many years. Reasoning is based on the fact that register reads are never rounded up. I.e. A register read of 20.01 and 20.99 would both appear as “20” when the presentation is in integer format. In this scenario, the register read would appear to have ZERO consumption for the period between the start and stop read.
|  | AEP | CNP | Oncor | TNMP |  | Notes/Comments
6(a) | What reading is used to complete an energizing MVI? | On-demand read at time of completion | On-demand read at time of completion | Midnight reads (going into the day) when available. This may be an actual register read or the estimated value from the daily VEE process, otherwise on-demand read | Midnight read when available | Midnight Read
6(b) | What reading is used to complete a MVI Force Off? | Midnight read when available | Midnight read when available | Same as the MVI process | Midnight read when available | Midnight Read
6(c) | What reading is used to complete a MVO? | On-demand read at time of completion | On-demand read at time of completion | Same as the MVI process | On-demand read at time of completion | On demand Read
6(d) | Will changes in AMS data result in an 867 cancel & rebill? | Any gap retrieval that yields actual interval usage data will not trigger the TDSP’s cancel 867 and 810 rebill processes. Register Read and 867_03 Usage true-up would be achieved through the next month’s 867_03 Monthly Usage and 810_02 Invoicing process. | Any gap retrieval that yields actual interval usage data will not trigger the TDSP’s cancel 867 and 810 rebill processes. Register Read and 867_03 Usage true-up would be achieved through the next month’s 867_03 Monthly Usage and 810_02 Invoicing process. | Any gap retrieval that yields actual interval usage data will not trigger the TDSP’s cancel 867 and 810 rebill processes. Register Read and 867_03 Usage true-up would be achieved through the next month’s 867_03 Monthly Usage and 810_02 Invoicing process. | Any gap retrieval that yields actual interval usage data will not trigger the TDSP’s cancel 867 and 810 rebill processes. Register Read and 867_03 Usage true-up would be achieved through the next month’s 867_03 Monthly Usage and 810_02 Invoicing process. | TBD | With the retrieval of actual 15-minute interval data will trigger re-versioned updates to LSE file(s) that will be sent to ERCOT for Settlement and Smart Meter Texas (SMT) for REP of Record’s and Customer’s access. SG: Changes in AMS data does not automatically trigger a cancel/ rebill. Manual Cancel/ /rebill will be required to be done if needed
|  | AEP | CNP | Oncor | TNMP | LPL | Notes/Comments
6(f) | How does Tampering impact the 867 vs LSE? | 867 and LSE will be updated | All LSE files will be updated that includes the tampering 15-minute interval data that is subsequent to the cancel/rebilled usage included in the 867_03 transaction(s) for the same period. | LSE data is updated normally. | 867 and LSE data will be updated | 867 and LSE will be updated
6(g) | How are Inadvertent Gains handled in regards to the LSE files? | Once the Inadvertent Gain issue has been resolved, and all cancelling and rebilling of usage has been completed, and invoicing has been corrected for the REP of Record service period(s), AEP will update the Daily REP of Record file to SMT to reflect ROR changes from IAGs, and resend all LSE files for the same service period(s) for the corrected REP of Record to SMT for posting into the REP of Record’s FTPS folder. | LSE files will be resent where 867_03 restatements are required due to the Inadvertent Gain. | Oncor does not resend LSE files in the case of an IAG. | LSE files are always sent to the CR of Record. LSE files will be resent where restatements are required due to the Inadvertent Gain | LPL does not resend LSE files in the case of an IAG. Confirm with Testing
Note: As a standard process at Smart Meter Texas, a REP of Record has access to all historical interval data available for an ESIID once the ESIID as long as they are REP of Record.
Once all cancel and rebilling of usage and invoicing has been corrected for the REP of Record service period(s).
CNP will also resend all LSE files for the same service period(s) for the corrected REP of Record to Smart Meter Texas (SMT) for posting into the REP of Record’s FTPS folder.
|  | AEP | CNP | Oncor | TNMP | LPL | Notes/Comments
6(h) | Under what scenarios will REP of Record Updates be sent to SMT? | Any REP of record change initiated by a TX SET transaction. | All REP of Record changes initiated by TX SET transactions for a Move-In (MVI), Move-Out (MVO) or Switch. | Any REP of record change initiated by a TX SET transaction. | Any REP of record change initiated by a TX SET transaction. | TBD | SG: There is no SMT as of now.
| Any differences for MVI, MVO, Switch? Or is the timing the same? |  | When the TX SET transaction is completed in CNP’s back end systems, a REP of Record change file is sent to Smart Meter Texas (SMT). | Backdated MVIs will be corrected on a prospective basis from the actual date the MVI is completed, not the backdated MVI completion date. |  | TBD
|  | Dependent upon when the 867_03Final/ 867_04Initial is processed – which triggers a REP of Record change file to be sent to SMT. | Since the REP of Record file that is sent to SMT isn’t dependent on the Texas SET completion transaction being delivered to the market, there could be a slight timing difference between the two. |  | Dependent upon when the 867_03Final/ 867_04Initial is processed – which triggers a REP of Record change file to be sent to SMT.
Dependent upon when the 867_03Final/ 867_04Initial is processed – which triggers a REP of Record change file to be sent to SMT.
In response to the second question, CNP’s timing would be the same for Move In (MVI), Move-Out (MVO) or Switch.
TDSP AMS Data Practices for Prolonged Widespread Power Outages
|  | AEP | CNP | Oncor | TNMP | LPL | Notes/Comments
7) | Define a “Prolonged Widespread Power Outage” | Effective September 1, 2021, in accordance with House Bill 2483: “Widespread Power Outage" is defined as an event that results in: |  |  |  | TBD
(1) A loss of electric power that:
(A) Affects a significant number of distribution customers of a transmission and distribution utility; and
(B) Has lasted or is expected to last for at least eight hours; and
(2) A risk to public safety.
8) | If communication is lost to a meter during a widespread prolonged outage, how are the missing intervals handled? |  |  |  |  | Normal process will be deployed where missing intervals will be estimated using our standard VEE process until communiction has been reestablished. Gap Retrieval will be able to obtain and fill in the missing usage.
|  | During any widespread power outage event where AEP has initiated the Catastrophic Estimation Process (CEP), AEP will use any Actual reads obtained from the meter. Any missing interval usage due to non-communicating meters will be shown as a Zero-Actual. Once the widespread power outage has concluded, and CEP is turned off and normal AMS meter communications have returned, any 15-minute interval data recovered from the meter will replace any Zero-Actuals sent during the outage window. All recovered interval data will be sent via LSE file to ERCOT and Smart Meter Texas (SMT). | During any widespread power outage event, as defined in House Bill 2483, any missing Interval(s) usage data will be estimated for the duration of the outage and that usage will be estimated as (0) zero. When the AMS meter returns to normal communications actual 15-minute interval data is recovered replacing prior estimated usage data. LSE files containing the actual 15-minute interval usage data will be provided to ERCOT and Smart Meter Texas (SMT). | Normal process will be deployed where missing intervals will be estimated using our standard VEE process until Gap Retrieval is able to obtain the missing usage. | During a widespread power outage event, missing interval data for non-communicating meters will be submitted as (0) zero actual. Once the meter begins to communicate, any previous intervals will be replaced, with LSE files submitted to ERCOT and Smart Meter Texas (SMT).
| Under what conditions would an estimate appear as an actual read in the SMT Portal? |  |  |  |  | TBD
|  | AEP | CNP | Oncor | TNMP | LPL | Notes/Comments
9) | Do the TDSPs utilize other data practices during widespread prolonged outages, which may deviate from normal VEE processes? |  |  |  |  | Normal VEE Procresses will take place.
|  | AEP’s normal VEE processes are utilized where CEP is not initiated. If CEP is initiated during a widespread prolonged outage, AEP will use any Actual reads obtained from the meter. If Actual reads are unavailable due to non-communicating meters, AEP will use Zero-Actuals for any missing intervals. | No fundamental changes to our VEE logic, however, we do expect estimation processes to run longer and CNP will adjust our data processing schedules to accommodate any additional processing timeframes, therefore the Market should expect later delivery times of any corresponding LSE data to be sent to ERCOT and Smart Meter Texas (SMT). | Typically not, however we will determine on a case-by-case basis; e.g. during Winter Storm Uri, Oncor made the decision to adjust estimated usage due to the impact of high Wholesale prices on Initial Settlement. | TNMP will utilize normal VEE and non-communicating meter logic. |  | TDSPs will send market notices if/when deviating from normal VEE processes.
10) | At what point will REPs know when the TDSPs utilize data practices for widespread, prolonged outages that will deviate from normal VEE processes? | [5 empty] | TDSPs will send market notices if/when deviating from normal VEE processes.
|  | Any initial and re-versioned LSE file updates would be visible to Customers and their REP of Record. Each 15-minute interval provided in the daily LSE file will include an “A” for Actual or “E” for Estimated interval usage indicator. |  |  |  | Same
|  | Interval Data on SMT portal may reflect current TDSP VEE process until LSE file is re-versioned to reflect TDSPs use of widespread, prolonged outage data practices that may deviate from normal VEE practices. |  |  |  | TBD
11) | Unless otherwise directed by the PUCT, will TDSPs generate 867s and 810s with estimated end register reads during a widespread, prolonged outage? | Yes, as described in the TXSET Implementation Guide for 867_03 and 810_02, anytime an estimated reading is used to produce the Monthly 867_03 Usage and corresponding 810_02 Invoice transactions. The Monthly 867_03 Usage transaction for the Meter Reads could reflect an AE or EE indicator as described below: |  |  |  | Yes, as described in the TXSET Implementation Guide for 867_03 and 810_02, anytime an estimated reading is used to produce the Monthly 867_03 Usage and corresponding 810_02 Invoice transactions. The Monthly 867_03 Usage transaction for the Meter Reads could reflect an AE or EE indicator as described below:
|  | (a) AE - Meter Reading – Beginning Actual/Ending Estimated |  |  |  | (a) AE - Meter Reading – Beginning Actual/Ending Estimated
|  | (b) EE --- Meter Reading – Beginning Estimated/Ending Estimated |  |  |  | (b) EE --- Meter Reading – Beginning Estimated/Ending Estimated
12) | Does the AMS meter store data? |  | Yes, CNP’s AMS meters store daily 15-minute interval usage data for the most recent 6 months. |  |  | See Above
|  | Yes, AMS meters store interval usage data for up to the most recent 45 days. |  | Yes, Oncor’s AMS meters store interval usage data up to 34 days. | Yes, for a typical 2 channel meter, approximately 90 days of data is stored.
If so, how much data is stored?
|  | AEP | CNP | Oncor | TNMP |  | Notes/Comments
13) | After a widespread, prolonged outage concludes, does the TDSP deploy any gap retrieval processes to recover interval data once power is restored to a premise? |  |  |  |  | As part of standard intergration once communication is restored reads will be obtained
|  | After a widespread prolonged outage has concluded, AEP’s gap retrieval process will interrogate the AMS meter for any Actual interval usage stored locally at the Meter. For any intra-day intervals that are still missing after running the gap retrieval process, AEP will use any Actual data retrieved along with the standard gap-fill estimation process to estimate any remaining missing intervals. | Yes, in addition to the Missing Interval Monitor (MIM) which systematically performs a daily look back for any missing intervals starting nightly at 10:00 PM until 2:00 AM to recover any gaps in the interval usage data, CNP may utilize Emergency Operating Procedures (EOP) specific to the widespread, prolonged outage depending on the scenario to retrieve actual data. Initial and any re-versioned updates of LSE file(s) are always sent to ERCOT for settlements and Smart Meter Texas (SMT) for REP of Records and Customer’s access. | Yes. The gap retrieval process will typically make two attempts to obtain the missing intervals after power has been restored. The system will look back for up to four days. Each time missing intervals are obtained, Oncor sends a new version of the LSE data to SMT and ERCOT. | TNMP utilizes daily, weekly and monthly automated gap retrieval processes. If we are able to obtain actual intervals, estimated and missing intervals will be replaced, and a new version of LSE data will be submitted. |  | Initial and any re-versioned updates of LSE file(s) are always sent to ERCOT for settlements and Smart Meter Texas (SMT) for REP of Records and Customer’s access.
| If so, describe the gap retrieval process, i.e. number of attempts made to retrieve actual data, re-versioned LSE files etc. |  |  |  |  | 3 Attempts | See question 4(b) within the TDSP AMS Data Practices matrix for specific data retrieval timelines for replacing Estimated usage with Actual usage.
TDSPs will make all reasonable attempts to provide market notice(s) when Gap Retrieval process has been initiated outside of normal Gap Retrieval processing, for potential impacts to Time of Use customer’s billing.
14) | Unless otherwise directed by the PUCT, will the TDSPs send cancel/rebills if the gap retrieval process yields actual interval data to replace estimated intervals?
|  | Any gap retrieval that yields actual interval usage data will not trigger the TDSP’s cancel 867 and 810 rebill processes. However, with the retrieval of actual 15-minute interval data will trigger re-versioned updates to LSE file(s) that are always sent to ERCOT for settlements and Smart Meter Texas (SMT) for REP of Records and Customer’s access. True-up of any Register Read(s) and/or 867_03 Usage would be achieved through the next month’s 867_03 Monthly Usage and 810_02 Invoicing processes. |  |  |  | Same
15) | If TDSPs utilize other data practices during widespread prolonged outages, what impacts may be experienced with 867s/810s and sum of interval data, unless otherwise directed by PUCT? | No differences unless otherwise directed by PUCT. There may be variances between 867 Monthly Usage and 15-minute Interval Usage Data for the same period. 867 Read and Usage could be estimated consumption for the purposes of providing on-time 867 usage and 810 invoice transactions to the Market. While through gap retrieval processes completed post usage/invoicing periods, the estimated 15-minute interval usage data may be replaced with actual interval usage data that creates re-versioned updates of LSE file(s) sent to ERCOT for settlements and Smart Meter Texas (SMT) for REP of Records and Customer’s access. |  |  |  | Same
For Oncor only: some impacts may be determined on a case-by-case basis.
|  | AEP | CNP | Oncor | TNMP |  | Notes/Comments
16) | Unless directed by PUCT, will TDSPs make allowances for any demand considerations due to possible cold load pick up impacts? |  |  |  |  | Allowances will be determined on a case-by-case basis.
|  | AEP does not make allowances to modify demand readings and billings, unless otherwise directed by PUCT. | The PUCT issued an Order Regarding Demand Readings and Billings on March 5, 2021. CNP sent a market notice regarding compliance with the PUCT’s Demand Readings and Billings Order on April 7, 2021 and a final notice on April 15, 2021. CNP will comply with any future orders issued by the PUCT regarding cold load pick up impacts. | Allowances will be determined on a case-by-case basis. | TNMP will make allowances as directed by a PUCT order.
Note on G55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: When the estimation gets replaced with a regular read, all other estimates between that regular and the next regular read get replaced with prorations as well. Reply: Replaced technical answer with Williams reply
Note on G62: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: How will we send the LSE file to ERCOT etc? How will we test this? Also will we be using SMT in this instance? Reply: I agree, how will this be tested and do we have a specific contact at ERCOT to send it to?
Note on G82: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: We have also estimated reads when it was determined that the Meter was not operating correctly. This is a rare occurrence.
Note on G95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I understood we would be using the midnight read. Reply: I think we should follow Oncor in this example to give us room for both instances.
Note on G104: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Same as the other TDSPs. We will know to rebill if the next month's end read is less than previous bill's end read. Otherwise we will true-up.
Note on G108: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: What process will we use to test this?
Note on G139: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Same here, i believe we will use the same process as the other tdsp's
Note on G141: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I believe we will use the same process as the other tdsp's