## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for April 2024

## Slide 2: Non-IRR GREDP < 85% – April 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 399 | 172 | 203 | 1.07 | 84.73
Unit 400 | 164 | 200 | 1.44 | 82.00
Unit 401 | 166 | 197 | 0.71 | 84.26

## Slide 3: IRR Summary – April 2024
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 83.12 | 71.00 | 81.60
GREDP Median (%) | 94.14 | 80.74 | 86.24
Average MW Error | 6.42 | 6.72 | 7.07
Median MW Error | 5.74 | 5.90 | 6.22
Total Intervals Scored | 211,705 | 99,506 | 97,831
100+ Intervals Scored | 188 | 180 | 111
Total Intervals Scored Average | 575.29 | 568.61 | 881.36

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 4,553 | 4,558 | 5.62 | 99.89
Unit 2 | 3,775 | 3,961 | 10.03 | 95.30
Unit 3 | 3,867 | 3,951 | 4.24 | 97.87
Unit 4 | 3,483 | 3,585 | 6.80 | 97.15
Unit 7 | 3,243 | 3,250 | 2.69 | 99.78
Unit 8 | 3,180 | 3,208 | 4.42 | 99.13
Unit 9 | 3,171 | 3,178 | 3.27 | 99.78
Unit 12 | 2,919 | 2,966 | 3.17 | 98.42
Unit 13 | 2,773 | 2,849 | 11.78 | 97.33
Unit 14 | 2,800 | 2,834 | 9.56 | 98.80
Unit 15 | 2,767 | 2,815 | 3.81 | 98.29
Unit 18 | 2,518 | 2,631 | 5.04 | 95.71
Unit 19 | 2,525 | 2,621 | 4.13 | 96.34
Unit 21 | 2,497 | 2,499 | 4.67 | 99.92
Unit 22 | 2,372 | 2,434 | 5.11 | 97.45
Unit 24 | 2,347 | 2,414 | 7.16 | 97.22
Unit 27 | 2,146 | 2,153 | 12.19 | 99.67
Unit 30 | 2,019 | 2,084 | 8.44 | 96.88
Unit 31 | 2,025 | 2,078 | 3.21 | 97.45

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 32 | 1,923 | 1,959 | 1.22 | 98.16
Unit 33 | 1,900 | 1,943 | 6.27 | 97.79
Unit 34 | 1,916 | 1,931 | 5.07 | 99.22
Unit 36 | 1,829 | 1,863 | 2.62 | 98.17
Unit 37 | 1,796 | 1,852 | 7.45 | 96.98
Unit 38 | 1,694 | 1,760 | 4.27 | 96.25
Unit 39 | 1,714 | 1,751 | 9.90 | 97.89
Unit 40 | 1,631 | 1,707 | 3.45 | 95.55
Unit 43 | 1,608 | 1,662 | 10.54 | 96.75
Unit 44 | 1,616 | 1,650 | 10.33 | 97.94
Unit 45 | 1,550 | 1,627 | 6.53 | 95.27
Unit 46 | 1,552 | 1,618 | 4.30 | 95.92
Unit 47 | 1,539 | 1,596 | 3.68 | 96.43
Unit 50 | 1,483 | 1,553 | 7.86 | 95.49
Unit 51 | 1,477 | 1,546 | 4.30 | 95.54
Unit 53 | 1,485 | 1,515 | 6.57 | 98.02
Unit 55 | 1,442 | 1,476 | 1.26 | 97.70
Unit 56 | 1,448 | 1,476 | 10.93 | 98.10
Unit 57 | 1,464 | 1,472 | 4.71 | 99.46

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 58 | 1,396 | 1,449 | 4.67 | 96.34
Unit 59 | 1,405 | 1,432 | 6.31 | 98.11
Unit 66 | 1,239 | 1,298 | 8.55 | 95.45
Unit 67 | 1,246 | 1,263 | 1.08 | 98.65
Unit 70 | 1,157 | 1,211 | 13.66 | 95.54
Unit 77 | 1,087 | 1,137 | 0.80 | 95.60
Unit 81 | 985 | 1,035 | 4.81 | 95.17
Unit 83 | 987 | 1,019 | 7.64 | 96.86
Unit 88 | 946 | 979 | 7.98 | 96.63
Unit 89 | 966 | 973 | 4.77 | 99.28
Unit 90 | 886 | 929 | 8.23 | 95.37
Unit 95 | 772 | 809 | 7.17 | 95.43
Unit 100 | 701 | 725 | 10.18 | 96.69
Unit 105 | 673 | 687 | 4.22 | 97.96
Unit 106 | 642 | 673 | 1.63 | 95.39
Unit 107 | 632 | 646 | 2.23 | 97.83
Unit 113 | 579 | 593 | 4.74 | 97.64
Unit 115 | 548 | 573 | 7.74 | 95.64
Unit 120 | 490 | 507 | 6.49 | 96.65

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 121 | 494 | 500 | 6.36 | 98.80
Unit 126 | 447 | 450 | 4.32 | 99.33
Unit 129 | 424 | 426 | 4.72 | 99.53
Unit 130 | 420 | 424 | 5.02 | 99.06
Unit 133 | 404 | 421 | 3.46 | 95.96
Unit 146 | 359 | 366 | 20.63 | 98.09
Unit 149 | 315 | 317 | 4.37 | 99.37
Unit 154 | 223 | 228 | 8.87 | 97.81
Unit 155 | 214 | 223 | 7.19 | 95.96
Unit 156 | 218 | 222 | 2.35 | 98.20
Unit 157 | 213 | 219 | 8.90 | 97.26
Unit 158 | 214 | 217 | 1.70 | 98.62
Unit 162 | 190 | 194 | 8.93 | 97.94
Unit 168 | 166 | 166 | 8.47 | 100.00
Unit 171 | 144 | 145 | 3.94 | 99.31
Unit 172 | 144 | 144 | 4.37 | 100.00
Unit 177 | 113 | 115 | 11.92 | 98.26
Unit 185 | 101 | 104 | 12.05 | 97.12
Unit 186 | 103 | 103 | 6.17 | 100.00

## Slide 8: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 187 | 100 | 102 | 13.60 | 98.04

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 5 | 3,254 | 3,468 | 8.27 | 93.83
Unit 6 | 3,138 | 3,306 | 3.30 | 94.92
Unit 10 | 2,656 | 3,081 | 6.65 | 86.21
Unit 11 | 2,562 | 2,994 | 2.88 | 85.57
Unit 16 | 2,218 | 2,670 | 4.19 | 83.07
Unit 17 | 2,393 | 2,644 | 2.41 | 90.51
Unit 20 | 2,222 | 2,516 | 5.90 | 88.31
Unit 23 | 2,291 | 2,418 | 3.80 | 94.75
Unit 25 | 2,224 | 2,351 | 6.87 | 94.60
Unit 26 | 1,587 | 2,189 | 13.52 | 72.50
Unit 28 | 1,991 | 2,103 | 5.09 | 94.67
Unit 29 | 1,876 | 2,097 | 8.15 | 89.46
Unit 35 | 1,823 | 1,931 | 5.27 | 94.41
Unit 41 | 1,255 | 1,698 | 7.62 | 73.91
Unit 42 | 1,571 | 1,680 | 6.68 | 93.51
Unit 48 | 801 | 1,573 | 4.40 | 50.92
Unit 49 | 1,481 | 1,565 | 8.45 | 94.63
Unit 52 | 1,419 | 1,517 | 3.66 | 93.54
Unit 54 | 1,281 | 1,500 | 5.95 | 85.40

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 60 | 1,319 | 1,410 | 7.61 | 93.55
Unit 61 | 1,197 | 1,396 | 7.56 | 85.74
Unit 62 | 830 | 1,390 | 4.28 | 59.71
Unit 63 | 1,271 | 1,372 | 9.28 | 92.64
Unit 64 | 1,216 | 1,338 | 2.72 | 90.88
Unit 65 | 1,225 | 1,338 | 5.61 | 91.55
Unit 68 | 1,046 | 1,237 | 1.60 | 84.56
Unit 69 | 1,137 | 1,215 | 8.05 | 93.58
Unit 71 | 1,136 | 1,197 | 10.63 | 94.90
Unit 72 | 1,022 | 1,184 | 6.58 | 86.32
Unit 73 | 1,069 | 1,156 | 8.88 | 92.47
Unit 74 | 934 | 1,151 | 2.92 | 81.15
Unit 75 | 1,051 | 1,146 | 16.51 | 91.71
Unit 76 | 1,079 | 1,145 | 2.58 | 94.24
Unit 78 | 1,039 | 1,099 | 13.77 | 94.54
Unit 79 | 901 | 1,076 | 5.25 | 83.74
Unit 80 | 924 | 1,060 | 6.08 | 87.17
Unit 82 | 875 | 1,031 | 9.22 | 84.87
Unit 84 | 864 | 1,007 | 20.76 | 85.80

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 85 | 935 | 994 | 2.26 | 94.06
Unit 86 | 835 | 993 | 8.15 | 84.09
Unit 87 | 899 | 991 | 7.38 | 90.72
Unit 91 | 788 | 926 | 13.01 | 85.10
Unit 92 | 805 | 857 | 5.89 | 93.93
Unit 93 | 600 | 812 | 9.25 | 73.89
Unit 94 | 709 | 811 | 4.58 | 87.42
Unit 96 | 740 | 783 | 6.47 | 94.51
Unit 97 | 555 | 768 | 3.78 | 72.27
Unit 98 | 455 | 765 | 3.07 | 59.48
Unit 99 | 518 | 729 | 9.31 | 71.06
Unit 101 | 571 | 725 | 13.47 | 78.76
Unit 102 | 672 | 721 | 5.05 | 93.20
Unit 103 | 414 | 717 | 8.15 | 57.74
Unit 104 | 652 | 699 | 10.92 | 93.28
Unit 108 | 601 | 643 | 2.71 | 93.47
Unit 109 | 592 | 629 | 4.10 | 94.12
Unit 110 | 446 | 606 | 3.09 | 73.60
Unit 111 | 486 | 602 | 9.19 | 80.73

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 112 | 529 | 595 | 2.34 | 88.91
Unit 114 | 546 | 575 | 6.22 | 94.96
Unit 116 | 513 | 565 | 7.95 | 90.80
Unit 117 | 254 | 554 | 2.39 | 45.85
Unit 118 | 498 | 552 | 2.18 | 90.22
Unit 119 | 475 | 527 | 3.62 | 90.13
Unit 122 | 399 | 494 | 10.40 | 80.77
Unit 123 | 439 | 470 | 3.30 | 93.40
Unit 124 | 411 | 469 | 3.62 | 87.63
Unit 125 | 440 | 467 | 3.57 | 94.22
Unit 127 | 225 | 449 | 9.76 | 50.11
Unit 128 | 348 | 429 | 10.38 | 81.12
Unit 131 | 378 | 423 | 5.69 | 89.36
Unit 132 | 338 | 422 | 2.70 | 80.09
Unit 134 | 297 | 421 | 10.25 | 70.55
Unit 135 | 303 | 421 | 19.95 | 71.97
Unit 136 | 294 | 418 | 9.08 | 70.33
Unit 137 | 339 | 412 | 3.07 | 82.28
Unit 138 | 348 | 406 | 4.99 | 85.71

## Slide 13: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 139 | 327 | 405 | 10.34 | 80.74
Unit 140 | 382 | 404 | 8.83 | 94.55
Unit 141 | 367 | 399 | 5.86 | 91.98
Unit 142 | 264 | 398 | 6.22 | 66.33
Unit 143 | 271 | 382 | 7.02 | 70.94
Unit 144 | 171 | 378 | 14.90 | 45.24
Unit 145 | 354 | 375 | 3.43 | 94.40
Unit 147 | 240 | 359 | 17.53 | 66.85
Unit 148 | 296 | 357 | 9.92 | 82.91
Unit 150 | 137 | 294 | 12.96 | 46.60
Unit 151 | 194 | 285 | 7.48 | 68.07
Unit 152 | 231 | 263 | 5.34 | 87.83
Unit 153 | 104 | 231 | 6.90 | 45.02
Unit 159 | 159 | 207 | 15.56 | 76.81
Unit 160 | 175 | 202 | 6.17 | 86.63
Unit 161 | 179 | 197 | 5.81 | 90.86
Unit 163 | 142 | 192 | 5.01 | 73.96
Unit 164 | 134 | 183 | 8.98 | 73.22
Unit 165 | 162 | 182 | 7.57 | 89.01

## Slide 14: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 166 | 87 | 175 | 1.40 | 49.71
Unit 167 | 116 | 170 | 5.65 | 68.24
Unit 169 | 144 | 163 | 8.07 | 88.34
Unit 170 | 133 | 146 | 8.46 | 91.10
Unit 173 | 129 | 137 | 2.11 | 94.16
Unit 174 | 55 | 135 | 5.41 | 40.74
Unit 175 | 106 | 130 | 4.98 | 81.54
Unit 176 | 109 | 123 | 8.13 | 88.62
Unit 178 | 82 | 115 | 21.07 | 71.30
Unit 179 | 63 | 113 | 3.96 | 55.75
Unit 180 | 80 | 112 | 5.50 | 71.43
Unit 181 | 94 | 109 | 6.94 | 86.24
Unit 182 | 97 | 108 | 4.89 | 89.81
Unit 183 | 100 | 107 | 2.77 | 93.46
Unit 184 | 87 | 105 | 8.56 | 82.86
Unit 188 | 39 | 101 | 7.21 | 38.61