## Slide 1
Annual Review of 2023 MDRPOC Performance and Methodology
Scope of Performance Review and Comments Received During Comment Period
Luke Butler
Mgr Resource Forecasting & Analysis
5/22/2024

## Slide 2: Review of MDRPOC Performance and Methodology
The Methodology for Calculating Maximum Daily Resource Planned Outage Capacity includes the following requirement:
For each calendar year, ERCOT will review the current methodology and the calculated Maximum Daily Resource Planned Outage Capacity and report its findings to Technical Advisory Committee (TAC). The findings will include but not be limited to, the following:
  The aggregated hours of Resource Outages, including Planned Outages, Maintenance Outages, and Forced Outages in the preceding calendar year.
  Comparison of the calculated Maximum Daily Resource Planned Outage Capacity and the aggregated hours of thermal Resource Planned Outages in the preceding calendar year.
  The following comment/request was also submitted for the performance review:
  When reviewing the MDRPOC effectiveness, ERCOT should consider sensitivities to load growth and generation retirements on the decreasing planned outage availability – and how that decreased planned outage ability translates to reliability outcomes.
  Results of the performance review will be presented to TAC by end of 2024.

## Slide 3: Comments Received on MDRPOC Methodology
Consideration of battery contribution should be reviewed.
Consideration of new generation beyond PG6.9 should be reviewed due to significant load growth.
The current contract period for the Firm Fuel Supply Service (FFSS) runs from November 15 through March 15 of the following year. To ensure these resources have completed necessary maintenance prior to the contract period's start date, planned outage requests from these units should be prioritized in the planned outage queue.
Prioritize planned resource outages for major turbine inspections and maintenance.
Allow ERCOT flexibility to approve outages that may extend a day beyond available capacity.

## Slide 4: Comments Received on MDRPOC Methodology cont.
Allow for a minimum MDRPOC throughout the year, applicable only to thermal Generation Resources larger than 500 MW. Recommendation that minimum amount for such resources be 2,500 MW for summer and 5,000 MW for winter.
Gradually increase and decrease the MDRPOC entering and exiting the shoulder seasons rather than relying solely on the existing calculation, which produces abrupt changes in the MDRPOC that may not make sense given market conditions.
Create a third MDRPOC evaluation window between 7 days and 30 days ahead.