APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Thursday, April 4, 2024 – 9:30 a.m.

Attendance

ROS Representatives:

| Borkar, Sandeep | Lower Colorado River Authority (LCRA) |  |  |
| --- | --- | --- | --- |
| Bowen, Kenneth | CPS Energy |  | Via Teleconference |
| Burkhead, Brett | Calpine Corporation (Calpine) |  |  |
| Carter, Matt | Garland Power & Light (GP&L) |  |  |
| Cochran, Adam | Tenaska Power Services (Tenaska) |  |  |
| Fun, Meng | Chariot Energy |  | Via Teleconference |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  | Via Teleconference |
| Hanson, Kevin | National Grid Renewables (NG Renewables) |  | Via Teleconference |
| Hendrix, Chris | Demand Control 2 |  | Via Teleconference |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) |  | Via Teleconference |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  | Via Teleconference |
| Miller, Alex | EDF Renewables |  |  |
| Mrini, Imane | Austin Energy |  | Via Teleconference |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  | Via Teleconference |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |  |
| Reed, Cyrus | Sierra Club |  | Via Teleconference |
| Reid, Mike | Air Liquide |  | Via Teleconference |
| Rich, Katie | Luminant Corporation (Luminant) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  | Via Teleconference |
| Smith, Chase | Southern Power |  | Via Teleconference |
| Surendran, Resmi | Shell Energy North America (SENA) |  | Via Teleconference |
| Woitt, Wes | CenterPoint Energy (CNP) |  |  |

The following proxy was assigned:

- Chris Hendrix to Jennifer Schmitt

| - Guests: |  |  |
| --- | --- | --- |
| Aldridge, Ryan | AB Power | Via Teleconference |
| Aliati, Valdir | BPPUS | Via Teleconference |
| Anderson, Connor | AB Power Advisors | Via Teleconference |
| Ashley, Kristy | Customized Energy Solutions (CES) | Via Teleconference |
| Barati, Camron | Potomac Economics | Via Teleconference |
| Barnes, Bill | NRG | Via Teleconference |
| Beckman, Kara | NextEra Energy | Via Teleconference |
| Benson, Mariah | Texas Public Power Association (TPPA) | Via Teleconference |
| Berry, D. | LCRA | Via Teleconference |
| Bertin, Suzanne |  | Via Teleconference |
| Bezwada, Neelima | Potomac Economics | Via Teleconference |
| Bivens, Carrie | NextEra Energy | Via Teleconference |
| Blakey, Eric | Pedernales Electric Cooperative (PEC) | Via Teleconference |
| Blakenship, David | CNP |  |
| Block, Laurie | L Block Consulting | Via Teleconference |
| Callender, Hudson | CPS Energy | Via Teleconference |
| Chan, Vanessa | Enel | Via Teleconference |
| Chatterjee, Kanishk | Shell Energy North America (SENA) | Via Teleconference |
| Cheng, Yong | LCRA | Via Teleconference |
| Coleman, Diana | CPS Energy | Via Teleconference |
| Collins, Bob | Texas Reliability Entity (Texas RE) | Via Teleconference |
| De Arizon, Paloma | CNP | Via Teleconference |
| DeRidder, Chris | Nfront Consulting | Via Teleconference |
| Desrosiers, Erik | New Grid Inc. | Via Teleconference |
| Dharme, Neeraja | EDFT | Via Teleconference |
| Didsayabutra, Paul | BPPUS | Via Teleconference |
| Donohoo, Ken | OwlERC, LLC | Via Teleconference |
| Downey, Marty | Luminant Corporation | Via Teleconference |
| Dreyfus, Mark | MD Energy Consulting | Via Teleconference |
| Evans, Doug | AEP | Via Teleconference |
| Favaro, Diego | Serena Energy | Via Teleconference |
| Fink, Regan | PG Renewables | Via Teleconference |
| Fleming, Jacqueline | Talen Energy | Via Teleconference |
| Fletcher, Jennifer | Sempra Infrastructure | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Friday, Ron | LCRA | Via Teleconference |
| Fun, Meng | Chariot Energy | Via Teleconference |
| Garrett, Bob | Key Capture Energy | Via Teleconference |
| Greer, Clayton | Cholla Petro | Via Teleconference |
| Haley, Ian | Morgan Stanley |  |
| Hayden, Mario | Enel | Via Teleconference |
| Headrick, Bridget | CES | Via Teleconference |
| Helton, Bob | ENGIE |  |
| Henry, Mark | Texas RE |  |
| Hernandez, Evelyn | Nordex | Via Teleconference |
| Hernandez, Jessica | CNP | Via Teleconference |
| Hjaltman, Courtney | Public Utility Commission of Texas (PUCT) | Via Teleconference |
| Hoffer, Phil | AEP | Via Teleconference |
| Holt, Blake | LCRA |  |
| Horstmyer, Reid | Altop Energy | Via Teleconference |
| Huynh, Thuy | Potomac Economics | Via Teleconference |
| Inal, Ozgur | DRW Holdings | Via Teleconference |
| Jablonski, Ward | MEPPI | Via Teleconference |
| Jackson, Jimmy | CPS Energy | Via Teleconference |
| Jewell, Michael | Jewell and Associates | Via Teleconference |
| Jha, Monica | Vistra | Via Teleconference |
| Johnson, John | EDF Trading | Via Teleconference |
| Johnson, Shannon | PEC | Via Teleconference |
| Kasalika, Erick | CPS Energy | Via Teleconference |
| Kee, David | CPS Energy | Via Teleconference |
| Keefer, Andrew | DME | Via Teleconference |
| Keller, Jenna | Potomac Economics | Via Teleconference |
| Khayat, Maribel | CNP | Via Teleconference |
| Koberlein, Paul | LP&L | Via Teleconference |
| Koz, Brian |  | Via Teleconference |
| Kroskey, Tony | Brazos | Via Teleconference |
| Lasher, Warren | Lasher Energy Consulting | Via Teleconference |
| Lee, Jim | CNP |  |
| Leverett, Travis | WETT | Via Teleconference |
| Lewis, Peter | LCRA | Via Teleconference |
| Lin, Blake | Potomac Economics | Via Teleconference |
| Loew, Beverly | Goff Policy | Via Teleconference |
| Lotter, Eric | GridMonitor | Via Teleconference |
| Loyferman, Larisa | CNP | Via Teleconference |
| Lu, Bo | Broad Reach Power | Via Teleconference |
| Macaraeg, Tad | Stem | Via Teleconference |
| Martin, Collin | Oncor | Via Teleconference |
| Matevosyan, Julia | ESIG | Via Teleconference |
| Mathew, Biju | LCRA | Via Teleconference |
| Mathew, Shirley | Texas RE | Via Teleconference |
| McClellan, Suzi | Good Company Associates | Via Teleconference |
| McDaniel-Wyman, Constance |  | Via Teleconference |
| McDonald, Jeff | Potomac Economics |  |
| Morris, Sandy | WETT | Via Teleconference |
| Mrini, Imane | Austin Energy | Via Teleconference |
| Nguyen, Andy | Constellation | Via Teleconference |
| Ortiz, Paul | AEP | Via Teleconference |
| Oxendine, Helen | CPS Energy | Via Teleconference |
| Palani, Ananth | GP&L | Via Teleconference |
| Parvathaneni, Sirisha | Oncor | Via Teleconference |
| Pearson, Kelsey | Longhorn Power | Via Teleconference |
| Penney, David | Texas RE | Via Teleconference |
| Pfefferle, Ryan | Occidental Chemical | Via Teleconference |
| Pietrucha, Doug | AEE | Via Teleconference |
| Prasad, Julian | EPE Consulting | Via Teleconference |
| Preas, Dylan | LCRA TSC |  |
| Promubol, Jimmy | SENA | Via Teleconference |
| Pullela, Suma | Orsted | Via Teleconference |
| Pyka, Greg | SENERGY | Via Teleconference |
| Richmond, Michele | Texas Competitive Power Advocates (TCPA) | Via Teleconference |
| Robertson, William | CPS Energy | Via Teleconference |
| Sams, Bryan | Calpine | Via Teleconference |
| Schwarz, Brad | Sharyland |  |
| Sersen, Juliana | Baker Botts | Via Teleconference |
| Shaffer, Jarred | Office of Texas Governor Greg Abbott | Via Teleconference |
| Shirani, Sahar | Tesla | Via Teleconference |
| Shu, Tony | DC Energy | Via Teleconference |
| Siddiqi, Shams | Crescent Power Consulting | Via Teleconference |
| Sills, Kevin | GP&L |  |
| Springer, Tyler | AEP | Via Teleconference |
| Stanfill, Susan | PGR | Via Teleconference |
| Stephenson, Zac | TEC | Via Teleconference |
| Tovar, Matt | Oncor | Via Teleconference |
| Turner, Lucas | STEC | Via Teleconference |
| Ulk, Ryan | SENA | Via Teleconference |
| Van Winkle, Kim | PUCT | Via Teleconference |
| Vara, John | GSEC | Via Teleconference |
| Varnell, John | Tenaska | Via Teleconference |
| Walke, Pranil | Calpine | Via Teleconference |
| Walker, Mark |  | Via Teleconference |
| Walker, Zachary | Oncor | Via Teleconference |
| Wallner, Jeremy | SENA | Via Teleconference |
| Wang, Shawn | Enel | Via Teleconference |
| White, Laurie | AEP Texas |  |
| Williams, Wes | Bryan Texas Utilities | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power |  |
| Woods, Brad | Texas RE | Via Teleconference |
| Wu, Tiffany |  | Via Teleconference |
| Xie, Fei | Austin Energy | Via Teleconference |
| Zang, Hailing | TC Energy | Via Teleconference |
| Zhang, Mandy | GEUS | Via Teleconference |
| ERCOT Staff: |  |  |
| Abbott, Kristin |  | Via Teleconference |
| Albracht, Brittney |  | Via Teleconference |
| Anderson, Troy |  | Via Teleconference |
| Arth, Matt |  | Via Teleconference |
| Azeredo, Chris |  | Via Teleconference |
| Benavides, Marcos |  | Via Teleconference |
| Billo, Jeff |  |  |
| Boren, Ann |  | Via Teleconference |
| Butler, Luke |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Du, Pengwei |  | Via Teleconference |
| Fernandes, Jennifer |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Golen, Robert |  | Via Teleconference |
| Gnanam, Prabhu |  | Via Teleconference |
| Hanson, Pamela |  | Via Teleconference |
| Herrera, Shane |  | Via Teleconference |
| Hinojosa, Luis |  | Via Teleconference |
| House, Donald |  | Via Teleconference |
| Huang, Fred |  |  |
| Jenkins, Darrell |  | Via Teleconference |
| Khan, Riaz |  | Via Teleconference |
| Krein, Steve |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Maggio, Dave |  | Via Teleconference |
| Mago, Nitika |  |  |
| Matlock, Robert |  | Via Teleconference |
| Miller, Megan |  | Via Teleconference |
| Moore, Ava |  | Via Teleconference |
| Patterson, Mark |  |  |
| Pedigo, Jake |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Roberts Randy |  | Via Teleconference |
| Sanchez, Daniel |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Thomas, Shane |  | Via Teleconference |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the April 4, 2024 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

March 7, 2024

Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update

- Ms. Rich reviewed the disposition of items considered at the March 27, 2024 TAC meeting, including Nodal Operating Guide Revision Request (NOGRR) 245, Inverter-Based Resource (IBR) Ride-Through Requirements and NOGRR255, High Resolution Data Requirements.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the February 2024 Operations Report.

- System Planning Report

- Ping Yan reviewed the February 2024 System Planning Report.  Ms. Yan highlighted challenges with generation assumptions and considerations for the 2024 Regional Transmission Plan, noted the ERCOT-recommended proposal, and stated next steps include ERCOT Staff developing Planning Guide Revision Requests (PGRRs) for needed changes to the planning assumptions and processes.  Ms. Yan encouraged participants to attend the April 9, 2024 Regional Planning Group (RPG) meeting for further discussion.

- April 8, 2024, Eclipse Update

- Luke Butler provided an update on the timeline and potential impacts for the total solar eclipse that will occur on Monday, April 8, 2024, and summarized the tools ERCOT will use to balance the system.

- Discuss potential changes to ERCOT Contingency Reserve Service (ECRS) Deployment/Release Triggers for Summer 2024

- Luis Hinojosa summarized the TAC and ERCOT Board (Board) request to review the methodology used to compute ECRS requirements and deployment triggers, and potential alternative solutions that takes into account the analysis conducted by the Independent Market Monitor (IMM) on the impact of ECRS.  Mr. Hinojosa highlighted discussion at the March 19, 2024 workshop hosted by ERCOT to discuss possible manual triggers to release ECRS sooner (Ancillary Services Methodology - Review on ECRS Minimum Quantity Determination and Deployment Workshop), reviewed the three potential concepts introduced at the workshop that could be implemented prior to the Real-Time Co-optimization (RTC) & Single-Model ESR (“RTC+B”) project, and presented examples and supporting analysis followed by a summary of next steps.

- Nodal Protocol Revision Request (NPRR) 1224, ECRS Manual Deployment Triggers

- Mr. Hinojosa provided an overview of NPRR1224, noted that ERCOT would be requesting Urgent status at the April 5, 2024 Protocol Revision Subcommittee (PRS) meeting, and requested participant feedback on the issues.  In response to participant questions and concerns, Jeff Billo reviewed the reliability and operational risks ERCOT is addressing with ECRS reserves.  Jeff McDonald summarized collaborative discussions with ERCOT Staff in developing NPRR1224 concepts and expressed support for the ERCOT solution.  Nitika Mago reviewed the Revision Request timeline targeting a Summer 2024 implementation timeframe for NPRR1224.  Some Market Participants requested additional time to consider the issues noting concern for unintended consequences and a desire for ERCOT and IMM staff to provide additional analysis.  ROS took no action on this item.

New PRS Referrals (see Key Documents)

NPRR1217, Remove Verbal Dispatch Instruction (VDI) Requirement for Deployment and Recall of Load Resources and Emergency Response Service (ERS) Resources

Mark Patterson provided an overview of NPRR1217.  Some Market Participants noted their reservations  with moving forward without fully understanding system impacts associated with eliminating the VDI requirement and requested tabling NPRR1217 for additional time to discuss the issues at a future Technology Working Group (TWG) meeting.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (see Key Documents)

Impact Analysis

Planning Guide Revision Request (PGRR) 112, Dynamic Data Model and Full Interconnection Study (FIS) Deadline for Quarterly Stability Assessment

Market Participants reviewed the 4/1/24 Revised Impact Analysis to PGRR112.  Market Participants requested a December 1, 2024 implementation date to allow them time to accommodate the new deadline requirements.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

PGRR114, Related to NPRR1212, Clarification of Distribution Service Provider’s Obligation to Provide an ESI ID

Market Participants reviewed the 11/22/23 Impact Analysis and 4/3/24 RMS comments to PGRR113.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Language Review

NOGRR262, Provisions for Operator-Controlled Manual Load Shed

Fred Huang provided an overview of NOGRR262 and NPRR1221, Related to NOGRR262, Provisions for Operator-Controlled Manual Load Shed.  Market Participants requested further review of NOGRR262 and the NPRR1221 by the Operations Working Group (OWG).  Ms. Rich noted these items could be considered for inclusion in the Combined Ballot.

NPRR1221 (see Key Documents)

This item was considered with NOGRR262.

Revision Requests Tabled at ROS (see Key Documents)

Planning Guide Revision Request (PGRR) 073, Related to NPRR956, Designation of Providers of Transmission Additions

Resource Registration Glossary Revision Request (RRGRR) 036, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

NOGRR256, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

PGRR111, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

ROS took no action on these items.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

NPRR1198, Congestion Mitigation Using Topology Reconfigurations

Mr. Floyd summarized NPRR1198 and NOGRR258 discussion at the March 13, 2024 OWG meeting and stated that OWG was in consensus to support a ROS recommendation to endorse NPRR1198 as amended by the 3/8/24 LCRA comments.

Brett Burkhead moved to endorse NPRR1198 as amended by the 3/8/24 LCRA comments.  Chase Smith seconded the motion.  The motion carried with four abstentions from the Cooperative (STEC), Independent Generator (Calpine), Independent Power Marketer (IPM) (SENA), and Investor Owned Utility (IOU) (CNP) Market Segments.  (Please see ballot posted with Key Documents.)

NOGRR258, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

Mr. Floyd stated that OWG was in consensus to support a ROS recommendation for approval of NOGRR258 as amended by the 3/8/24 LCRA comments.  Market Participants offered non-substantive revisions to paragraph (2) of Section 11.8, Extended Action Plans (EAPs).

Sandeep Borkar moved to recommend approval of NOGRR258 as amended by the 3/8/24 LCRA comments as revised by ROS.  Matt Carter seconded the motion.  The motion carried with four abstentions from the Cooperative (STEC), Independent Generator (Calpine), IPM (SENA), and IOU (CNP) Market Segments.  (Please see ballot posted with Key Documents.)

Planning Working Group (PLWG) (See Key Documents)

Dylan Preas reviewed PLWG activities.

PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

ROS took no action on this item.

PGRR113, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

Mr. Preas summarized PGRR113 discussion at the March 18, 2024 PLWG meeting and stated that there was consensus to support a ROS recommendation for approval of PGRR113.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Steady State Working Group (SSWG) (see Key Documents)

William Robertson reviewed SSWG activities.

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

ROS took no action on this item.

Inverter Based Resources Working Group (IBRWG)  (see Key Documents)

- Julia Matevosyan reviewed IBRWG activities.

System Protection Working Group (SPWG) (see Key Documents)

SPWG Procedures

Jessica Hernandez reviewed SPWG activities and presented the updated SPWG Procedures for ROS consideration.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Eithar Nashawati moved to approve the Combined Ballot as follows:

- To approve the March 7, 2024 ROS Meeting Minutes as submitted

- To request PRS continue to table NPRR1217

- To endorse and forward to TAC the 3/7/24 ROS Report and the 4/1/24 Revised Impact Analysis for PGRR112 with a recommended effective date of December 1, 2024

- To endorse and forward to TAC the 3/7/24 ROS Report and the 11/22/23 Impact Analysis for PGRR114

- To table NOGRR262 and refer the issue to OWG

- To request PRS table NPRR1221 for further review by OWG

- To recommend approval of PGRR113 as submitted

- To approve the SPWG Procedures as submitted

Mr. Borkar seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Jimmy Jackson reviewed PDCWG activities.

Other Business

Future ROS Meeting Format

Ms. Rich noted that the May 2, 2024 ROS meeting will be Webex only.

Review Open Action Items List

- Market Participants reviewed the Open Action Items list.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group (DWG)

- Network Data Support Working Group (NDSWG)

- Operations Training Working Group (OTWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Rich adjourned the April 4, 2024 ROS meeting at 12:06 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/04042024-ROS-Meeting