## Slide 1
NPRR1230
TAC
May 22, 2024
Freddy Garcia
Mgr Ops Analysis & Improvement

## Slide 2: IROL Shadow Price Cap Analysis for 09/06/2023
Original case:
E_PASP: violating at max shadow price of $4500/MWh
System Lambda: $4,676/MWh
ECRS/RRS/NSPIN released
HDL/LDL overrides in effect
Rerun case:
South Texas Export IROLs included w/ Shadow Price Cap of $19,721/MW
System Lambda: $5,001/MWh
E_PATA: Resolved
E_PASP: Overload reduced (ca. 10 MW violation)
ECRS/RRS/NSPIN released (input, no change)
HDL/LDL overrides relaxed
Rerun of SCED interval 19:00 on 09/06/2023 w/ inclusion of South Texas Export IROLs (E_PASP, E_PATA)

## Slide 3: Load Zone Price Impact of IROL Shadow Price Cap on 09/06/2023
Settlement Point LMPs original case and rerun analysis for SCED interval 19:00
Chart: Settlement Point
| LZ_AEN | LZ_CPS | LZ_HOUSTON | LZ_LCRA | LZ_NORTH | LZ_RAYBN | LZ_SOUTH | LZ_WEST | DC_E | DC_L | DC_N | DC_R | HB_BUSAVG | HB_HOUSTON | HB_NORTH | HB_PAN | HB_SOUTH | HB_WEST | HB_HUBAVG
LMP Original | 5176.379 | 5202.602 | 4859.0239 | 5160.7863 | 4994.583 | 4990.5498 | 2915.4636 | 5018.9696 | 4992.2311 | 1607.6211 | 5007.4311 | 25.6192 | 4793.4481 | 4864.3163 | 4991.6807 | 5009.7816 | 4151.4651 | 5017.8538 | 4756.329
LMP w/ IROL SP | 5859.8031 | 6882.4879 | 5016.4482 | 5885.4178 | 5538.8145 | 5526.0926 | 2403.1682 | 5738.7369 | 5532.5216 | -185.9146 | 5625.5826 | -220.5212 | 5227.0667 | 5033.9707 | 5526.8577 | 5645.2305 | 4377.135 | 5699.1413 | 5159.2762
Column1

## Slide 4: Load Zone Price Impact of IROL Shadow Price Cap on 09/06/2023
Settlement Point LMP delta between original case and rerun analysis for SCED interval 19:00
Chart: Settlement Point
| LZ_AEN | LZ_CPS | LZ_HOUSTON | LZ_LCRA | LZ_NORTH | LZ_RAYBN | LZ_SOUTH | LZ_WEST | DC_E | DC_L | DC_N | DC_R | HB_BUSAVG | HB_HOUSTON | HB_NORTH | HB_PAN | HB_SOUTH | HB_WEST | HB_HUBAVG
LMP delta | 683.4242 | 1679.8858 | 157.4243 | 724.6315 | 544.2315 | 535.5428 | -512.2954 | 719.7673 | 540.2904 | -1793.5357 | 618.1514 | -246.1404 | 433.6186 | 169.6544 | 535.1771 | 635.4489 | 225.6699 | 681.2875 | 402.9472