Date:			May 22, 2024

To:			Technical Advisory Committee (TAC) Representatives

From:			Diana Coleman, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR(s) recommended for approval by PRS: - NPRR1198, Congestion Mitigation Using Topology Reconfigurations [EDF Renewables] - NPRR1218, REC Program Changes Per P.U.C. SUBST. R. 25.173, Renewable Energy Credit Program [ERCOT] - NRRR1220, Market Restart Approval Process Modifications [ERCOT] - NPRR1222, Public Utility Commission of Texas Approval of the Methodology for Determining Ancillary Service Requirements [ERCOT] - NPRR1223, Addition of TA Contact Information Into TDSP Application Form [ERCOT] - NPRR1224, ECRS Manual Deployment Triggers – URGENT [ERCOT] - NPRR1228, Continued One-Winter Procurements for Firm Fuel Supply Service (FFSS) – URGENT [ERCOT] - NPRR1230, Methodology for Setting Transmission Shadow Price Caps for an IROL in SCED – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1198, Congestion Mitigation Using Topology Reconfigurations Sponsor: EDF Renewables Proposed Effective Date: Upon system implementation – Priority 2025; Rank 4520 Estimated Impacts: Between $50K and $80K, Annual Recurring Operations and Maintenance (O&M) Between $180K and $220K; 1.0 Full-Time Employee (FTE) Revision Description: This NPRR defines Extended Action Plan (EAP), adds EAP as a type of Constraint Management Plan (CMP) suitable for managing congestion that is resolvable by Security-Constrained Economic Dispatch (SCED), and removes language limiting the application of EAPs to congestion issues for which there exists no feasible SCED. PRS Decision: On 4/5/24, PRS voted to recommend approval of NPRR1198 as amended by the 3/8/24 LCRA comments. There were four abstentions from the Cooperative (STEC), Independent Generator (2) (Jupiter Power, Calpine), and Investor Owned Utility (IOU) (CNP) Market Segments. On 5/9/24, PRS voted to endorse and forward to TAC the 4/5/24 PRS Report and 4/30/24 Impact Analysis for NPRR1198 with a recommended priority of 2025 and rank of 4520. There were three abstentions from the Cooperative (STEC), Independent Generator (Calpine), and IOU (CNP) Market Segments. - NPRR1218, REC Program Changes Per P.U.C. SUBST. R. 25.173, Renewable Energy Credit Program Sponsor: ERCOT Proposed Effective Date: Upon system implementation Estimated Impacts: Less than $20K O&M Revision Description: This NPRR updates Section 14, State of Texas Renewable Energy Credit Trading Program, to comply with P.U.C. SUBST. R. 25.173, Renewable Energy Credit Program. This includes an update of the Renewable Portfolio Standard (RPS) requirement to pertain to only solar renewable energy. PRS Decision: On 4/5/24, PRS voted unanimously to recommend approval of NPRR1218 as amended by the 4/4/24 Reliant comments as revised by PRS. On 5/9/24, PRS voted unanimously to endorse and forward to TAC the 4/5/24 PRS Report and 3/5/24 Impact Analysis for NPRR1218. - NPRR1220, Market Restart Approval Process Modifications Sponsor: ERCOT Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval Estimated Impacts: No impact Revision Description: This NPRR modifies the Market Restart process. The proposed process requires Technical Advisory Committee (TAC) and ERCOT Board approval, with an alternative mechanism to ERCOT Board approval where circumstances require it. PRS Decision: On 4/5/24, PRS voted unanimously to recommend approval of NPRR1220 as submitted. On 5/9/24, PRS voted unanimously to endorse and forward to TAC the 4/5/24 PRS Report and 3/20/24 Impact Analysis for NPRR1220. - NPRR1222, Public Utility Commission of Texas Approval of the Methodology for Determining Ancillary Service Requirements Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR, consistent with ERCOT discussions with the PUCT, elevates final approval of the Other Binding Document titled, “ERCOT Methodologies for Determining Minimum Ancillary Service Requirements”, from the ERCOT Board of Directors to the PUCT. PRS Decision: On 4/5/24, PRS voted unanimously to recommend approval of NPRR1222 as submitted. On 5/9/24, PRS voted unanimously to endorse and forward to TAC the 4/5/24 PRS Report and 3/20/24 Impact Analysis for NPRR1222. - NPRR1223, Addition of TA Contact Information Into TDSP Application Form Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR updates Section 23, Form J, Transmission and/or Distribution Service Provider Application for Registration, to require Transmission and/or Distribution Service Providers (TDSPs) to provide contact information to ERCOT. PRS Decision: On 4/5/24, PRS voted unanimously to recommend approval of NPRR1223 as submitted. On 5/9/24, PRS voted unanimously to endorse and forward to TAC the 4/5/24 PRS Report as revised by PRS and 3/21/24 Impact Analysis for NPRR1223. - NPRR1224, ECRS Manual Deployment Triggers – URGENT Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR introduces a trigger that ERCOT may use to manually release ERCOT Contingency Reserve Service (ECRS) from SCED-dispatchable Resources when the system power balance constraint is consistently violated and the MW amount of the power balance violation is at least 40 MW for ten consecutive minutes. This NPRR also requires that the Energy Offer Curves for the capacity assigned to ECRS be offered at no less than $1,000 per MWh. PRS Decision: On 4/5/24, PRS voted to grant NPRR1224 Urgent status. There were two opposing votes from the Cooperative (LCRA) and Independent Generator (Calpine) Market Segments and two abstentions from the Independent Power Marketer (IPM) (2) (Tenaska, Morgan Stanley) Market Segments. PRS then voted to table NPRR1224. There were three abstentions from the Cooperative (PEC), Independent Generator (Jupiter Power), and IOU (Oncor) Market Segments. On 5/9/24, PRS voted to recommend approval of NPRR1224 as amended by the 4/30/24 TCPA comments as revised by PRS and to forward to TAC NPRR1224 and the 3/27/24 Impact Analysis. There were five opposing votes from the Consumer (4) (Residential, OPUC, City of Eastland, Occidental) and Independent Retail Electric Provider (IREP) (Reliant) Market Segments and six abstentions from the Cooperative (2) (STEC, PEC), Independent Generator (NextEra Energy), and Municipal (3) (CPS Energy, GEUS, Austin Energy) Market Segments. CFSG Review: Pending - NPRR1228, Continued One-Winter Procurements for Firm Fuel Supply Service (FFSS) – URGENT Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR decreases – from two to one – the number of FFSS obligation periods awarded in an FFSS procurement. PRS Decision: On 5/9/24, PRS voted unanimously to grant NPRR1228 Urgent status; to recommend approval of NPRR1228 as submitted; and to forward to TAC NPRR1228 and the 5/2/24 Impact Analysis. CFSG Review: Pending - NPRR1230, Methodology for Setting Transmission Shadow Price Caps for an IROL in SCED – URGENT Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR establishes a Shadow Price cap for congestion impacting an Interconnection Reliability Operating Limit (IROL). PRS Decision: On 5/9/24, PRS voted to grant NPRR1230 Urgent status. There were two opposing votes from the Independent Generator (2) (Constellation, Calpine) Market Segment and six abstentions from the Independent Generator (Jupiter Power), IPM (Tenaska), IOU (Linebacker Power), and Municipal (3) (CPS Energy, GEUS, Austin Energy) Market Segments. PRS then voted to recommend approval of NPRR1230 as revised by PRS and to forward to TAC NPRR1230 and the 5/7/24 Impact Analysis. There were twelve abstentions from the Independent Generator (6) (Constellation, Jupiter Power, Calpine, NextEra Energy, ENGIE, EDF Renewables), IPM (3) (Tenaska, SENA, NG Renewables), IOU (Linebacker Power), and Municipal (CPS Energy, GEUS) Market Segments. CFSG Review: Pending Revision Requests Rejected None Revision Requests Withdrawn - NPRR1162, Single Agent Designation for a QSE and its Sub-QSEs for Voice Communications over the ERCOT WAN [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1190, High Dispatch Limit Override Provision for Increased Load Serving Entity Costs [Joint Sponsors] - NRRR1215, Clarifications to the Day-Ahead Market (DAM) Energy-Only Offer Calculation [ERCOT] - NPRR1216, Implementation of Emergency Pricing Program [ERCOT] - NPRR1225, Exclusion of Lubbock Load from Securitization Charges [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1180, Inclusion of Forecasted Load in Planning Analyses [Oncor] - NPRR1188, Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources [ERCOT] - NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater [ERCOT] - NPRR1200, Utilization of Calculated Values for Non-WSL for ESRs [NextEra Energy] - NPRR1202, Refundable Deposits for Large Load Interconnection Studies [Lancium] - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk [Joint Sponsors] - NPRR1217, Remove Verbal Dispatch Instruction (VDI) Requirement for Deployment and Recall of Load Resources and Emergency Response Service (ERS) Resources [ERCOT] - NPRR1219, Methodology Revisions and New Definitions for the Report on Capacity, Demand and Reserves in the ERCOT Region (CDR) [ERCOT] - NPRR1221, Related to NOGRR262, Provisions for Operator Controlled Manual Load Shed [ERCOT] - NPRR1226, Demand Response Monitor [ERCOT Steel Mills] - SCR826, ERCOT.com Enhancements [Residential Consumer] - SCR827, Grid Conditions Graph Addition for Operating Reserve Demand Curve (ORDC) Level [ACES] New Revision Requests Scheduled for Consideration at PRS - NPRR1227, Related to RMGRR181, Alignment of Defined Term Usage and Resolution of Inconsistencies [ERCOT] - NPRR1229, Real-Time Constraint Management Plan Energy Payment [STEC] - NPRR1231, FFSS Program Communication Improvements and Additional Clarifications [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr