## Slide 1: Operations Working Group ROS Update
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
HITE List Sub-Chair – Pushkar Chhajed
06/06/2024

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT
April Peak Demand – 63,997 MW 4/30 HE 1800 April 2023 Peak 60,995.
April All Time Renewable – 37,806 MW 4/5 16:07
New All Time Wind Penetration Record 69.15% on 4/10/2024 01:43

## Slide 3: Texas Reliability Entity Report
Industry Outreach
  5/21 Summer Outlook
  5/22 Talk with Texas IBR Registration
  Reliability Workshop 101 and 102 scheduled for June
  2024 Summer Reliability Assessment is available
  NERC alert from April on 6GHZ interference was acknowledged by 99% of the participants in Texas

## Slide 4: NOGRR262 – Provisions for Operator Controlled Load Shed
Oncor Provided Overview of Comments Filed on 5/13/2024
  Remove the proposed language stating that Transmission Operators (TOs) should avoid the use of Load designated as critical, Under-Frequency Load Shed (UFLS), or Under-voltage Load Shed (UVLS). Adequately covered in 4.5.3.4
  Replace “if possible” with “if applicable” in paragraph (7)(b).
  Add a requirement to paragraph (7)(b) for the TO to notify ERCOT if its Supervisory Control and Data Acquisition (SCADA)-controlled Load shed capability has been exhausted.
  Add “If determined appropriate by the TO and as soon as practicable” in lieu of “Whenever possible” in paragraph (c), along with a corresponding change of “shall” to “should.”
Gold Spread expressed concerns on “SCADA-controlled Load shed should be utilized before non-SCADA controlled Load shed when executing a Load shed instruction” due to some Coop’s not have SCADA control and could add burden other Coops with SCADA control.
ERCOT and Golden Spread will meet to discuss and possibly propose new language.
ERCOT expressed the need to gain consensus move this forward.
NOGRR262 will remain tabled at OWG.

## Slide 5: NPRR 1221 – Related to NOGRR262
There were no new comments filed
NPRR 1221 remains tabled pending consensus on NOGRR262

## Slide 6: NPRR 1070 - Planning Criteria for GTC Exit Solutions
ERCOT provided an update indicating they were still actively working in comments and coordinating with the PUC.
ERCOT will need a little more time to complete. No timeline was available.
Remains tabled at OWG.

## Slide 7: OTWG Update
No Update from OTWG.
Latest information is posted on the OWG meeting April meeting page

## Slide 8: Other Business
None.