DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting – Webex Only

Thursday, May 2, 2024 – 9:30 a.m.

Attendance

ROS Representatives:

| Borkar, Sandeep | Lower Colorado River Authority (LCRA) |  |  |
| --- | --- | --- | --- |
| Bowen, Kenneth | CPS Energy |  |  |
| Burkhead, Brett | Calpine Corporation (Calpine) |  |  |
| Cochran, Adam | Tenaska Power Services (Tenaska) |  |  |
| Fun, Meng | Chariot Energy |  |  |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  |  |
| Haley, Ian | Morgan Stanley |  |  |
| Hanson, Kevin | National Grid Renewables (NG Renewables) |  |  |
| Hendrix, Chris | Demand Control 2 |  |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |  |
| McCreary, Shawn | Garland Power & Light (GP&L) |  | Alt. Rep. for Matt Carter |
| Miller, Alex | EDF Renewables |  |  |
| Mrini, Imane | Austin Energy |  |  |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |  |
| Reed, Cyrus | Sierra Club |  |  |
| Reid, Mike | Air Liquide |  |  |
| Rich, Katie | Luminant Corporation (Luminant) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  |  |
| Smith, Chase | Southern Power |  |  |
| Woitt, Wes | CenterPoint Energy (CNP) |  |  |

The following proxy was assigned:

- Resmi Surendran to Kevin Hanson

| - Guests: |  |  |
| --- | --- | --- |
| Anderson, Connor | AB Power Advisors |  |
| Bailey, Robert | NRG |  |
| Blakenship, David | CNP |  |
| Bulzak, Jacob | PUCT |  |
| Bunch, Kevin | EDF Trading |  |
| Cardoso, Matheus | SRNA |  |
| Carter. Cathy | GridAxon |  |
| Cheng, Yong | LCRA |  |
| Chwialkowski, Todd | EDF Renewables |  |
| Collins, Bob | Texas Reliability Entity (Texas RE) |  |
| Cook, Kristin | Southern Power |  |
| Cox, Jason | EQ Energy Advisors |  |
| Dharme, Neeraja | EDFT |  |
| Downey, Marty | Luminant Corporation |  |
| Escamilla, Gerardo | CPS Energy |  |
| Evans, Doug | AEP |  |
| Fink, Regan | PG Renewables |  |
| Floyd, Rickey | Oncor |  |
| Gant, Jim | Priority Power Management LLC |  |
| Helton, Bob | ENGIE |  |
| Henry, Mark | Texas RE |  |
| Hernandez, R. | GVEC |  |
| Huynh, Thuy | Potomac Economics |  |
| Jackson, Jimmy | CPS Energy |  |
| Kawakami, Jill |  |  |
| Khayat, Maribel | CNP |  |
| Korde, Kshitij | NG Renewables |  |
| Koz, Brian |  |  |
| Lotter, Eric | GridMonitor |  |
| Matevosyan, Julia | ESIG |  |
| McClellan, Suzi | Good Company Associates |  |
| McWyman, Constance |  |  |
| Mrini, Imane | Austin Energy |  |
| Mulholland, Chad | NRG Energy |  |
| Murugesan, Malini | PEC |  |
| Packard, John | STEC |  |
| Palani, Ananth | GP&L |  |
| Pearson, Arthur | Blueprint Power |  |
| Penney, David | Texas RE |  |
| Pfefferle, Ryan | Occidental Chemical |  |
| Pietrucha, Doug | Texas Advanced Energy |  |
| Prasad, Julian | EPE Consulting |  |
| Preas, Dylan | LCRA TSC |  |
| Pullela, Suma | Orsted |  |
| Pyka, Greg | SENERGY |  |
| Qureshi, Fahad | CNP |  |
| Reed, Ronald | CNP |  |
| Ritch, John | Trafigura |  |
| Robertson, William | CPS Energy |  |
| Rochelle, Jenni | CES |  |
| Schneiderman, Jason | Morgan Stanley |  |
| Senanayake, Sam | PGR |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Sweet, Regina | Onward Energy |  |
| Turner, Lucas | STEC |  |
| Valencia, Karina | Oncor |  |
| Varnell, John | Tenaska |  |
| Walker, Zachary | Oncor |  |
| Wang, Shawn | Enel |  |
| White, Laurie | AEP Texas |  |
| Withrow, David | AEP |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Woods, Brad | Texas RE |  |
| You, Steve | EDP |  |
| Zang, Hailing | TC Energy |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Avila, Nelson |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Butler, Luke |  |  |
| Clifton, Suzy |  |  |
| Cyphers, Darrell |  |  |
| Golen, Robert |  |  |
| Gnanam, Prabhu |  |  |
| Gonzalez, Luis |  |  |
| Hanson, Pamela |  |  |
| Herrera, Shane |  |  |
| Hinojosa, Luis |  |  |
| Huang, Fred |  |  |
| Kang, Sun Wook |  |  |
| Lee, Alex |  |  |
| Li, Ying |  |  |
| Mago, Nitika |  |  |
| Patterson, Mark |  |  |
| Pedigo, Jake |  |  |
| Phillips, Cory |  |  |
| Sanchez, Daniel |  |  |
| Smith, Ira |  |  |
| Solis, Stephen |  |  |
| Thuerwaechter, Kashia |  |  |
| Troublefield, Jordan |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  |  |
| Zinbi, Sara |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the May 2, 2024 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- April 4, 2024

Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update

- Ms. Rich reviewed the disposition of items considered at the April 15, 2024 TAC meeting.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the March 2024 Operations Report.

- System Planning Report

- Ping Yan reviewed the March 2024 System Planning Report.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1221, Related to NOGRR262, Provisions for Operator-Controlled Manual Load Shed

Rickey Floyd summarized NPRR1221 discussion at the April 18, 2024 Operations Working Group (OWG) meeting.  Market Participants expressed support to request PRS continue to table NPRR1221 for further review by OWG.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

OWG (see Key Documents)

Mr. Floyd reviewed OWG activities.

NOGRR262, Provisions for Operator-Controlled Manual Load Shed

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

Revision Requests Tabled at PRS and Referred to ROS (see Key Documents)

NPRR1217, Remove Verbal Dispatch Instruction (VDI) Requirement for Deployment and Recall of Load Resources and Emergency Response Service (ERS) Resources

ROS took no action on this item.

ROS Revision Requests (see Key Documents)

Impact Analysis

Planning Guide Revision Request (PGRR) 113, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

Market Participants reviewed the 4/30/24 Revised Impact Analysis for PGRR113.

Brett Burkhead moved to endorse and forward to TAC the 4/4/24 ROS Report and the 4/30/24 Revised Impact Analysis for PGRR113.  Wes Woitt seconded the motion.  The motion carried with one abstention from the Independent Generator (Calpine) Market Segment.  (Please see ballot posted with Key Documents.)

Nodal Operating Guide Revision Request (NOGRR) 258, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

Market Participants reviewed the 4/20/24 Impact Analysis for NOGRR258.

Chris Hendrix moved to endorse and forward to TAC the 4/4/24 ROS Report and the 4/30/24 Impact Analysis for NOGRR258. Kevin Hanson seconded the motion.  The motion carried with three abstentions from the Cooperative (STEC), Independent Generator (Calpine), IOU (CNP) Market Segments.  (Please see ballot posted with Key Documents.)

Language Review

NOGRR263, Clarification of Controllable Load Resource Primary Frequency Response Responsibilities

Jim Gant provided an overview of NOGRR263.  Market Participants requested further review of NOGRR263 by the Performance, Disturbance, Compliance Working Group (PDCWG).  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

PGRR111, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

NOGRR256, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

Resource Registration Glossary Revision Request (RRGRR) 036, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

ROS took no action on these items.

Steady State Working Group (SSWG) (see Key Documents)

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

William Robertson reviewed SSWG activities, including PGRR106 discussion, and stated that SSWG was in consensus to support a ROS recommendation to recommend approval of PGRR106 as amended by the 12/12/23 ERCOT comments.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the April 4, 2024 ROS Meeting Minutes

- To request PRS continue to table NPRR1221 for further review by OWG

- To table NOGRR263 and refer the issue to PDCWG

- To recommended approval of PGRR106 as amended by the 12/12/23 ERCOT Comments

Mr. Hanson seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Inverter Based Resources Working Group (IBRWG) (see Key Documents)

- Julia Matevosyan reviewed IBRWG activities.

Dynamics Working Group (DWG) (see Key Documents)

Fahad Qureshi reviewed DWG activities.

- Network Data Support Working Group (NDSWG) (see Key Documents)

- Gerardo Escamilla reviewed NDSWG activities, including discussion on updating the ERCOT ICCP Communication Handbook.

- Operations Training Working Group (OTWG)

- No report or update was provided for this item.

Other Business

Review Open Action Items List

- Market Participants reviewed the Open Action Items list.

No Report

- Black Start Working Group (BSWG)

- PDCWG

- Planning Working Group (PLWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Rich adjourned the May 2, 2024 ROS meeting at 10:43 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/05022024-ROS-Meeting-_-Webex