## Slide 1: Congestion Management Working Group - 5/17/2024 Meeting Update
June 5, 2024
Alexandra miller, chair

## Slide 2: SCR819 – Not To Exceed - Implementation
Expected to help reduce margin of safety derates for GTCs by limiting unexpected increases in infra-marginal generation during SCED intervals when flows are nearing GTL – HSL will set Base Point
System updates to be released by end of May
Roll out sequence with 2 week monitor periods
  North Edinburg to Lobo GTC
  Panhandle IROL
  WESTEX, McCamey GTCs, South Texas Export IROL
  Other GTCs

## Slide 3: Mitigation for ESRs
ERCOT staff shared a draft NPRR for implementing the Just In Time framework previously modeled and discussed
“…introduces a dynamic ‘just-in-time’ mitigation framework that determines the MOC as a function of the maximum Shadow Price and the Shift Factor of the ESR in intervals when an ESR has been flagged for mitigation through the Security-Constrained Economic Dispatch (SCED) Constraint Competitiveness Test (CCT) process.”
The group will discuss the draft language in June and then return to WMS

## Slide 4: Tabled Items
CRR Auction Solution Time, Transaction Limits
NPRR 1214 Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk
Smaller load zones – IMM to bring next iteration of analysis to June meeting