## Slide 1
NERC IBR Model Deficiencies Alert Summary
ERCOT IBRWG Meeting
June 14, 2024
Mark Henry—Texas RE

## Slide 2: NERC IBR Modelling Alert Summary
Timeline
Issued June 4, 2024
Follow-up to March 23 NERC Alert 2 on equipment settings and performance and the various IBR disturbance event reports since 2017
4th NERC Alert on IBRs since 2017
Pertains to all IBRs – solar, wind (Type 3-4), and batteries
Submittal due September 2, 2024 - with separate Approval (Acknowledgement by June 11)
Purpose
Provide recommendations to industry
Gather data on extent of IBR model quality deficiencies
Gain insight into modelling practices
Data collection includes specific settings for inverter and plant level controls

## Slide 3: Respondents
Do you own any BPS-connected IBR generating facilities?
If NO – submit this response and approval
If YES – data collection for IBR generating facilities includes: solar photovoltaic (PV), type 3 and type 4 wind, battery energy storage systems (BESS), and any hybrid facilities with an IBR component
Specifically, detailed data responses apply to NERC-registered Bulk Electric System (BES) IBRs
Identified by Inclusion I4 of the NERC BES Definition, facilities with nameplate aggregation >75MVA and connected at 100kV and above
IBRs within scope of NERC’s proposed Category 2 GO Registry Criteria (facilities rated at 20 MVA connected at 60kV and above) do not have any requirements to respond to this alert
All Transmission Planners and Planning Coordinators respond to questions and provide data submittals where applicable
Notes: Pjt 2020-06 definition
Inverter-Based Resource (IBR): A plant/facility that is connected to the electric system, consisting of one or more IBR Unit(s) operated as a single resource at a common point of interconnection. IBRs include, but are not limited to, solar photovoltaic (PV), Type 3 and Type 4 wind, battery energy storage system (BESS), and fuel cell.
Inverter-Based Resource Unit (IBR Unit): An individual device that uses a power electronic interface, such as an inverter or converter, capable of exporting Real Power from a primary energy source or energy storage system, and that connects at a single point on the collector system; or a grouping of multiple devices that uses a power electronic interface(s), such as an inverter or converter, capable of exporting Real Power from a primary energy source or energy storage system, and that connect together at a single point on the collector system

## Slide 4: Recommendations for Planning Coordinators and Transmission Planners
All models should be detailed and accurate representations of expected or as-built facilities across all expected operational conditions
Industry-approved standard library positive sequence phasor domain (PSPD) models are sufficient for use in Interconnection-wide base-case creation
Equipment-specific models should be used for detailed reliability studies (e.g., during generation interconnection studies and local reliability studies)
Clear, consistent, sufficiently detailed, and comprehensive modeling requirements should include standard library, PSPD, and EMT models
TPs and PCs model requirements should include acceptable positive sequence library equipment-specific PSPD and equipment-specific EMT model (if EMT analysis performed)
1
2
3
4
5

## Slide 5: Questions for Planning Coordinators and Transmission Planners
Each TP and PC should respond to fifteen questions on various aspects of modelling. All are YES/NO except the following:
Question 4: Provide a link(s) to your organization’s publicly available model submission and model quality requirements.
Question 12: Provide a copy or link to your organization’s quantitative metrics used to determine model accuracy (if applicable)
Question 15: Submit one PSPD dynamic model (.dyd or .dyr) and associated loadflow model file (.epc or .sav) representative of your distribution, sub-transmission, and transmission systems used during Interconnection and Planning studies.
-GOs will need PC/TP assistance to complete planning case(s) -Bus #s and machine ID #s part of responses
Notes: Q4 use ERCOT material
Q12 ditto
Q15 submit ERCOT case

## Slide 6: Recommendations for Generator Owners
Coordinate with inverter manufacturers, plant controller manufacturers, TPs, and PCs to meet all TP and PC modeling requirements and provide adequate proof of conformance
Maintain an accurate and representative model throughout the lifecycle of the project, and notify TP and PC of expected changes
Implement all applicable recommendations in this alert such that an updated set (e.g., standard library, equipment specific PSPD, and EMT) of dynamic models is available for inclusion in the next applicable TP and PC annual model updates

## Slide 7: Generator Owner Data Submission Worksheet
GOs complete one Data Submission Worksheet per IBR plant
Inverter information – 9 questions
Inverter and Facility Protection and Capability – 17 questions
Comments column
Note that four questions refer to populating separate worksheets on:
Voltage Protection
Frequency Protection
Reactive Capability
Model Data (actual dynamic and load flow models)
Further, two questions require collaboration with PC/TP for model information

## Slide 8
Questions?