## Slide 1
Annual Distributed Generation Estimate
Thinesh Devadhas Mohanadhas
Principal Engineer, Emerging Technologies
June 26, 2024

## Slide 2: ERCOT Estimated Total DG Growth 2015-2023 (MW)
Chart: MW
| Nat Gas MW > 1 MW | Diesel/IC MW > 1 MW | Solar MW >1MW | Battery MW >1MW | Other Renewable MW >1MW | Nat Gas MW < 1 MW | Diesel/IC MW < 1 MW | Solar MW <1MW | Battery MW < 1 MW | Other Renewable MW < 1 MW
2015 | 93.31 | 242.8956 | 64.189 | 0 | 90.328 | 2.0787 | 1.6325 | 132.4419 | 0 | 4.5842
2016 | 103.155 | 265.2456 | 78.199 | 0 | 108.408 | 2.2787 | 4.1875 | 235.2925 | 0 | 4.3834
2017 | 160 | 280 | 90 | 2 | 120 | 10 | 10 | 360 | 0 | 20
2018 | 230 | 280 | 220 | 2 | 130 | 10 | 10 | 500 | 0 | 20
2019 | 260 | 350 | 260 | 2 | 120 | 10 | 10 | 710 | 0 | 20
2020 | 310 | 280 | 270 | 130 | 130 | 30 | 20 | 990 | 10 | 20
2021 | 410 | 290 | 290 | 260 | 130 | 30 | 20 | 1440 | 60 | 20
2022 | 460 | 290 | 290 | 390 | 130 | 30 | 20 | 2100 | 130 | 20
2023 | 480 | 310 | 300 | 540 | 130 | 39 | 20 | 2750 | 190 | 20
Annual Estimates (MW) | 
2015 | 650
2016 | 800
2017 | 1050
2018 | 1400
2019 | 1710
2020 | 2180
2021 | 2920
2022 | 3850
2023 | 4770
Notes: Major areas of DG growth in ERCOT
Solar PV <1 MW
DGR Energy Storage> 1 MW
Natural gas > 1 MW
Detail for Systems > 1 MW
New applications for Energy Storage/Increased Growth in Distribution connected batteries
Continuation of upward trend for Nat Gas
Limited growth for solar > 1 MW
Declining Landfill Gas, Hydro, Wind
Detail for Systems < 1 MW
Steady Solar PV trend in line with projections
Increased Growth in Distribution connected batteries
Lack of reporting on residential energy storage from most NOIEs.

## Slide 3: ERCOT Solar PV Rooftop Projections vs Actual 2023
Chart: MW
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Conservative | 235 | 360 | 500 | 710 | 990 | 1440 | 1793.2863 | 2022.0117 | 2255.7 | 2489.3883 | 2718.1137 | 2937.326 | 3143.2298 | 3333.0048 | 3504.8858 | 3658.1146 | 3792.799
Moderate | 235 | 360 | 500 | 710 | 990 | 1440 | 1985.1523 | 2654.3005 | 3360.8995 | 4030.0477 | 4601.4628 | 5047.8786 | 5373.0033 | 5597.8849 | 5747.9356 | 5845.6677 | 5908.3261
Aggressive | 235 | 360 | 500 | 710 | 990 | 1440 | 2533.3646 | 3759.5 | 4985.6354 | 5976.0027 | 6646.9277 | 7049.0625 | 7272.6357 | 7391.7637 | 7453.8044 | 7485.7301 | 7502.0576
Notes: Total of ~2750 MW for NOIEs plus Competitive Choice areas
2022 moderate curve projection was ~2663 MW
Scenarios :
Conservative reaches ~2500 by 2025 and ~3700 MW by 2032
Moderate reaches ~4000 MW by 2025 and ~5900 MW by 2032
Aggressive reaches ~6000 MW by 2025 and ~7500 MW by 2032
2016-2023 Data matches the “Moderate” profile best (so far).

## Slide 4: Settlement-Only Distributed Generation in ERCOT 2010-2023
Chart: MW
| 2009-Q4 | 2010-Q1 | 2010-Q2 | 2010-Q3 | 2010-Q4 | 2011-Q1 | 2011-Q2 | 2011-Q3 | 2011-Q4 | 2012-Q1 | 2012-Q2 | 2012-Q3 | 2012-Q4 | 2013-Q1 | 2013-Q2 | 2013-Q3 | 2013-Q4 | 2014-Q1 | 2014-Q2 | 2014-Q3 | 2014-Q4 | 2015-Q1 | 2015-Q2 | 2015-Q3 | 2015-Q4 | 2016-Q1 | 2016-Q2 | 2016-Q3 | 2016-Q4 | 2017-Q1 | 2017-Q2 | 2017-Q3 | 2017-Q4 | 2018-Q1 | 2018-Q2 | 2018-Q3 | 2018-Q4 | 2019-Q1 | 2019-Q2 | 2019-Q3 | 2019-Q4 | 2020-Q1 | 2020-Q2 | 2020-Q3 | 2020-Q4 | 2021-Q1 | 2021-Q2 | 2021-Q3 | 2021-Q4 | 2022-Q1 | 2022-Q2 | 2022-Q3 | 2022-Q4 | 2023-Q1 | 2023-Q2 | 2023-Q3 | 2023-Q4
ACCUMULATED MW | 79.36 | 84.16 | 84.16 | 99.02 | 107.22 | 110.42 | 110.42 | 121.22 | 121.22 | 150.02 | 160.58 | 160.58 | 160.58 | 160.58 | 310.66 | 322.93 | 332.31 | 352.07 | 356.07 | 361.07 | 373.34 | 392.61 | 416.34 | 425.47 | 427.05 | 430.31 | 439.44 | 450.44 | 459.1 | 467.14 | 495 | 528.3 | 593.59 | 609.93 | 646.1 | 672.5 | 742.73 | 748.73 | 772.83 | 796.53 | 808.93 | 820.63 | 834.53 | 870.53 | 890.93 | 895.98 | 924.58 | 935.48 | 946.58 | 946.58 | 963.43 | 985.83 | 1004.33 | 1024.14 | 1025.34 | 1039.54 | 1045.14
RENEWABLE MW | 67.66 | 72.46 | 72.46 | 87.32 | 87.32 | 90.52 | 90.52 | 93.72 | 93.72 | 122.52 | 133.08 | 133.08 | 133.08 | 133.08 | 133.08 | 133.08 | 133.08 | 143.07 | 143.07 | 143.07 | 143.07 | 152.57 | 154.57 | 154.57 | 156.15 | 158.15 | 159.72 | 170.72 | 170.72 | 170.72 | 170.72 | 179.51 | 216.56 | 219.14 | 219.14 | 229.14 | 290.64 | 290.64 | 305.64 | 318.14 | 328.14 | 328.14 | 328.14 | 328.14 | 338.14 | 338.14 | 338.14 | 338.14 | 348.04 | 348.04 | 348.04 | 348.04 | 348.04 | 354.85 | 354.85 | 355.9 | 355.9
ACCUMULATED COUNT | 13 | 14 | 14 | 16 | 17 | 18 | 18 | 20 | 20 | 23 | 29 | 29 | 29 | 29 | 41 | 43 | 44 | 48 | 49 | 50 | 52 | 55 | 59 | 60 | 61 | 63 | 65 | 67 | 74 | 86 | 106 | 117 | 133 | 146 | 172 | 189 | 208 | 213 | 218 | 228 | 236 | 244 | 255 | 288 | 298 | 302 | 319 | 325 | 327 | 327 | 341 | 360 | 374 | 382 | 383 | 388 | 394
SODGs | # Units | MW
Non-Renewable | 332 | 690
Renewable + Storage | 62 | 355
TOTALS | 394 | 1045