ERCOT BUSINESS PRACTICE

CURRENT OPERATING PLAN PRACTICES BY QUALIFIED SCHEDULING ENTITIES

Version 2.9

Document Revisions

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| 5-31-10 | 0.1 | Initial draft | Bob Spangler/ Floyd Trefny |
| 6-15-10 | 0.2 | Incorporated comments from ERCOT Market Trials Team | Bob Spangler/ Floyd Trefny |
| 7-22-10 | 1.0 | Incorporated written comments received from 5 Market Participants and from the NATF meeting on 7-8-10 and from ERCOT Market Trials Team on 7-22-10 | Bob Spangler/Floyd Trefny |
| 8-10-10 | 1.1 | Revised Section 3.2, COP Reporting for Combined Cycle Trains, first bulleted ¶ to indicated a COP reported Resource Status of either OFF or OUT may be used. | Bob Spangler |
| 11-16-10 | 1.2 | Update the Business Practice to describe COP reporting requirements for Quick Start Generation Resources as described in Nodal Protocols as revised by NPRR272. Added clarification language for Resource Status codes ONEMR and EMR. | Bob Spangler |
| 11/29/10 | 1.21 | Incorporate Resmi Surendran comments in Section 3.5 and Section 4 table entries. | Bob Spangler |
| 12/13/2010 | 1.22 | Incorporate ERCOT Management comments to version 1.21 | Bob Spangler |
| 12/15/2010 | 2.0 | Final draft for updates to: - add the QSGR guidance, and - clarify the use of ONEMR and EMR Resource Status Codes. | R Spangler |
| 1/20/2011 | 2.0 | Approved for Public Release | RGS |
| 8/27/2012 | 2.1 | Updated for NPRR 348, section 4.”Specific COP Protocol Requirements and ERCOT Expectations”. Updated COP Resource Status Expectations for the following COP Statuses (ON, ONTEST, OFF) | Jimmy Hartmann/Sandip Sharma |
| 2/23/2017 | 2.2 | Updated Section 3.1 to capture NPRR 785 implementation | Pengwei Du, Nick Steffan, Nitika Mago |
| 6/16/2017 | 2.3 | Updated Section 3.5 and the appendix to capture Protocol changes. The revision also includes additional cleanup items. | S. Krein, A. Townsend D. Maggio |
| 2/20/2019 | 2.4 | Update Section 3.6 and appendix to capture NPRR901 | J. Chen |
| 08/08/2023 | 2.5 | Update 3.3 to clarify expectation of resource status submission for combined cycle resources committed for additional capacity while providing AS. | R. Lee |
| 1/26/2024 | 2.6 | Update Section 3.2, 4 and 5 for QSE to opt out the RUC settlement through COP submissions as revised by NPRR1092 | H. You |
| 06/28/2024 | 2.7 | New Section 3.7 to capture updates from NPRR 1186 | R. King |
| 12/3/2025 | 2.8 | Updated to reflect RTCB Implementation | RTCB Team |
| 9/17/2026 | 2.9 | Updated to reflect COP HBSOC expectation for ESRs | Z. Chu, R. King |

PROTOCOL DISCLAIMER

This Business Practice describes ERCOT Systems and the response of these systems to Market Participant submissions incidental to the conduct of operations in the ERCOT Texas Nodal Market implementation and is not intended to be a substitute for the ERCOT Nodal Protocols (available at http://www.ercot.com/mktrules/nprotocols/, as amended from time to time. If any conflict exists between this document and the ERCOT Nodal Protocols, the ERCOT Nodal Protocols shall control in all respects.

APPROVED

Title:	Director Forecasting and Operational Risk Management

Name: Nitika Mago

Date: 9/17/2026

Title:	Director Market Design & Analysis

Name: Gordon Drake

Date: 9/17/2026

Contents

1.	Background and Purpose	6

2.	Principles and Definitions	7

3.	Discussion and ERCOT Expectations	9

3.1.	Intermittent Renewable Resources	10

3.2.	COP Reporting for Combined Cycle Trains (CCT)	12

3.3.	RUC-Committed Resources	13

3.4.	Reliability Must Run Resources	13

3.5.	Quick Start Generation Resources Available For Deployment by SCED	14

3.6.	Switchable Generation Resources	15

3.7.	Energy Storage Resources	17

4.	Appendix I – MMS System Generated Notices	19

# Background and Purpose

Consistent with the ERCOT Nodal Protocols, the term “Resource” is used throughout this document, without qualification, to refer to either a Generation, Energy Storage or Load Resources.  Nodal Protocol Subsection 3.9 (1) requires each Qualified Scheduling Entity (QSE) representing Resources to submit a Current Operating Plan (COP).  Protocol Section 3.9 includes the following requirements:

- The QSE must reflect in its COP the expected operating conditions for each Resource (including RMR, Black Start Units, Qualifying Facilities (QF), etc.) that it represents for each hour in the next seven Operating Days [Subsections 3.9 (7) and (8) and 3.9.1 (1) and (2)].

- The QSE must update its COP to reflect changes in availability of any Resource as soon as reasonably practicable, but in no event later than 60 minutes after the event that caused the change [Subsection 3.9.1 (2)].

- The QSE must notify ERCOT, by means of the COP, of its plans to have a Resource On-Line by using the Resource Status codes listed in Section 3.9.1, Current Operating Plan (COP) Criteria.  To reflect changes to a Resource’s capability, each QSE is required to report by exception, changes to the COP for all hours after the Operating Period through the rest of the Operating Day [Subsection 3.9 (5)].  When a QSE updates its COP to show changes in Resource Status, the QSE shall update for each On-Line Resource, either an Energy Offer Curve or Energy Bid/Offer Curve under Section 4.4.9, Energy Offers and Bids, or Output Schedule under Section 6.4.2, Output Schedules.

Real Time telemetry provides information for the Operating Hour.  COP entries always refer to forward hours beginning in the Operating Day with the prompt hour (the hour immediately following the Operating Period) and extending to all hours in the following six Operating Days (for a total of seven Operating Days).  For these hours, the COP entries are determined solely by the QSE.  The assignment of Resource Status, the operating parameters, High Sustained Limit (HSL), Low Sustained Limit (LSL), High Emergency Limit (HEL), Low Emergency Limit (LEL), and Ancillary Service Resource Capabilities are expected to be consistent with the QSE’s expected or anticipated operating conditions for each Resource in each hour of the COP reporting period.  Additionally, COP entries for Minimum State of Charge (MinSOC), Maximum State of Charge (MaxSOC) and Hour Beginning Planned State of Charge (HBSOC).

The purpose of this document is to communicate to the QSEs, ERCOT’s expectations regarding COP entries based on the usage of the COP data by the various ERCOT market and operations systems.  The COP is an artifact created in the ERCOT Nodal Protocols that belongs wholly to the QSE, consequently, ERCOT does not proscribe COP entries made by QSE and it is not the intention of this document to do so.

# Principles and Definitions

- ERCOT expects each QSE to submit a COP that is based on the QSE’s best estimate of the anticipated or expected operating conditions of each of its Generation Resources, Energy Storage Resources and Load Resources in each of the hours covered by the updated COP.  The nature of the Protocol requirements related to the COP timeline and content suggests that each QSE should have an operator task that periodically (e.g. top of the hour) requires the operator(s) to review and update the COP.

- QSEs are responsible for notifying ERCOT of a change in Resource Status (availability) via telemetry and through changes in the current COP as soon as practicable following the change [Protocol Subsection 6.5.5.1 (1)] but in no event later than 60 minutes after the event that caused the change.

- QSE are responsible for assuring that COP entries and Outage Scheduler entries are consistent and meet Protocol requirements.

- A Generation Resource is “unavailable” if that Generation Resource is unable to start or synchronize to the ERCOT Transmission Grid due to a physical or regulatory impairment.  For example, a Generation Resource can be unavailable because it or the associated transmission equipment necessary to interconnect the Generation Resource to the grid is undergoing an outage.  In other words, a Resource may be “unavailable” because of a forced or maintenance outage, 100% fuel curtailment, or emissions limit exceedance, or other impairments to operation as determined by the QSE or Resource Owner.

- A Load Resource is “unavailable” if it is not available for dispatch as determined by the Load Resource Owner and its QSE.

- An Energy Storage Resource is limited in the number of Resource Statuses it can enter, and does not have the option to enter an “OFF” status.  It must enter one of the five “ON” statuses or “OUT” if it is Off-line and unavailable, or not connected to the ERCOT System and operating in a Private Microgrid Island (PMI).

- A Resource is “available” if it is not “unavailable”.

- COP entries are used in ERCOT system applications for study periods that include the COP reporting period.  These applications include Resource Adequacy Reporting, all Reliability Unit Commitment (RUC) studies (DRUC, HRUC and WRUC) and Network Security Analysis with extended time horizons (e.g. studies that are related to voltage support, dynamic system response, etc.).

- If a Generation Resource is offered into the DAM, the DAM will honor the Generation Resource’s temporal constraints including start times.  The DAM implementation includes logic to initialize, for each Generation Resource, the startup temporal conditions at the beginning of the DAM study period (HE0001). The initialization logic implementation relies on EMS and COP Resource Status entries to determine the applicability of a temporal constraint for hours preceding HE0001.

- Generation Resources with start times longer than 24 hours must be on-line prior to HE0001 for their Three Part Offer (3PO) to be considered in the DAM optimization.

- The HRUC process will honor available Generation Resource temporal constraints, including start times.  The HRUC implementation includes logic to initialize, for each Generation Resource, the startup temporal conditions at the beginning of the HRUC study period.  HRUC relies on the Resource operating history from EMS for On-Line and Off-Line times to initialize Resource temporal constraints.  HRUC uses the COP entries to determine the Resource Status during the HRUC study period.  Protocols require the QSE to notify ERCOT that it plans to have a Resource On-Line by using the Resource Status codes for the COP.  Similarly, Protocols require the QSE to request a Resource decommitment for the remaining hours in the Adjustment Period using the Resource Status codes in the COP.  QSEs may also call ERCOT and request a decommitment if the decommitment is to occur in the Operating Period.

- ERCOT uses the HSL and LSL Resource capability reported in the COP during the validation of DAM Resource Energy Offer Curves (or Energy Bid/Offer Curves for ESRs) and Ancillary Service Offers.  While the Resource Status reported in the COP is not used in the DAM, Resources reported as being OFF in a COP reporting hour that are offered in the DAM for that hour must have Resource capability entries consistent with the QSE DAM energy or Ancillary Service offers.

# Discussion and ERCOT Expectations

The Nodal Protocols provide the following definition of the COP in Section 2, “Definitions and Acronyms”:

“A plan by a QSE reflecting anticipated operating conditions for each of the Resources that it represents for each hour in the next seven Operating Days, including Resource operational data, Resource Status, and Ancillary Service Schedule.”

Furthermore, Section 3.9.1(1) requires the following:

“Each QSE that represents a Resource must submit a COP to ERCOT that reflects expected operating conditions for each Resource for each hour in the next seven Operating Days.”

Common to both of these statements in the Nodal Protocols is the idea that the COP represents the QSE’s anticipated or expected operating conditions.  The expectation is that the amount or level of uncertainty starts low and increases as the time horizon of the plan is extended.  This distinction is important, for example, the ERCOT Day-Ahead Market (DAM) and the Day-Ahead and Hourly Reliability Unit Commitment (DRUC & HRUC) applications use data from the COP as needed for the remaining hours in the current Operating Day and next or prompt Operating Day while other applications such as Resource Adequacy Reporting, WRUC, and Outage Evaluation, use data extending beyond the prompt Operating Day to the last COP reporting hour.  The ability of these applications to provide solutions that best represent the expected conditions during the study period of the application is directly related to the QSE’s diligence in keeping ERCOT informed of its current plans for the operation of its Resources during the COP reporting period.

The terms “availability, available, and unavailable” as used in the Protocols are intended to differentiate between Resources that can be operated versus those that cannot be operated because of a physical or regulatory impairment associated with the Resource itself, or the transmission equipment necessary to the interconnection of the Resource to the ERCOT Transmission Grid.  The QSE is required to use the Resource Status in its COP to reflect the availability/unavailability of the Resource and provide the details concerning the nature and type of physical impediment to ERCOT through the Outage Scheduler.  Resource Outages extending longer than the COP timeframe are only reported in the Outage Scheduler.  Consequently, for the COP, ERCOT interprets availability as follows: “A Resource is available if it is not unavailable”.

The term “resource capability” as used in the Protocols is intended to describe the injection limits reflected by the Resource’s HSL/LSL/HEL/LEL values.  If the HSL/LSL/HEL/LEL values provided in the COP result from a Resource derating, then the detail of the derating is provided to ERCOT through the Outage Scheduler.  Resource deratings that occur in Real Time are provided to ERCOT via telemetry of actual Resource capability (i.e. the HSL/LSL/HEL/LEL telemetry values).

QSEs provide COPs to ERCOT through the MMS applications. QSEs also receive notices and other messages via MIS system for ERCOT detected errors in QSE submissions.  Please see Appendix I, Selected Excerpts from MIS Business Requirements for Notices, Notifications, Alarms and Alerts Version 1.0 Applicable to Current Operating Plans for detail of error messages.

## Intermittent Renewable Resources

Nodal Protocol 3.13 (1) requires ERCOT to produce forecasts of Renewable Production Potential for Wind-powered Generation Resources (WGRs) and PhotoVoltaic Generation Resources (PVGR) to be used as input into the Day-Ahead and Hour-Ahead Reliability Unit Commitment processes (DRUC and HRUC).

Additionally, Protocols require QSE’s to provide a Resource Status in the COP reporting hours to indicate the availability of the WGR/PVGR and its LEL/LSL/HSL/HEL capability.  If the WGR/PVGR is available, the expected Resource Status is either ON (indicating that the WGR/PVGR has submitted an EOC) or ONOS (indicating that the WGR/PVGR will operate under the Protocol provisions for a WGR/PVGR with/without an Output Schedule).  A WGR/PVGR reporting a Resource Status OFF may be subject to a Reliability Unit Commitment Dispatch Instruction.

As described in Protocol 4.2.2 (1), ERCOT provides for each WGR a rolling Short Term Wind Power Forecast (STWPF) in the form of an hourly forecast for the next 168 hours.  Also Protocol 4.2.3 (1) requires ERCOT to produce a Short-Term PhotoVoltaic Power Forecast (STPPF) every hour that provides a rolling 168-hour hourly forecast of PhotoVoltaic production potential for each PVGR.

Upon implementation of NPRR 785, per protocol 3.9.1 (8), for hours which fall within the 168 hour rolling window for forecasting, ERCOT will automatically update the HSL in the COPs for WGRs with the most recently updated STWPF and HSL values in COPs for PVGRs with the most recently updated STPPF. An Extensible Markup Language (XML) message will be sent every time when a WGR’s or PVGR’s COP HSL value is updated with the forecast value to its corresponding Qualified Scheduling Entity (QSE).

For hours which fall within the 168-hour rolling window for forecasting and have a forecast from ERCOT, QSEs for WGRs and PVGRs will only be able to update the COP HSL values with values that are lower than the most recent forecast for the resource. For any hour where a QSE update exists, ERCOT’s automatic COP HSL update logic will retain the lower of the most recent forecast and the QSE’s submitted HSL value.

QSEs that submit COPs for WGRs and/or PVGRs for hours which do not have a forecast from ERCOT, it is recommended that the resource’s High Reasonability Limit (HRL) be used as its COP HSL value for these hours. Once these hours fall within the 168-hour rolling window for forecasting, ERCOT’s systems will automatically start updating the COP HSL value with the most recent forecast for the resource.

Outages and de-rates should be first entered into the Outage Scheduler. Outages entered prior to a specific hour’s adjustment period and that hour’s forecast delivery will be taken into account, however outages later in the hour will not be. Given a scenario where the timing doesn’t permit this, QSEs representing WGRs or PVGRs are required to adjust the pre-populated COP and potentially its Resource Status in its COP to account for WGR/PVGR deratings or availability reductions due to outages not captured by STWPF/STPPF.  Updates to COP entries represent the QSE’s best estimate of the anticipated or expected deratings, expected meteorological, regulatory, and physical conditions for WGRs/PVGRs for the next 168 hours. Updates by the QSE to the forecasted HSL should not be necessary in the event of properly timed outages.

## COP Reporting for Combined Cycle Trains (CCT)

In ERCOT, the CCT owner must submit a Resource Asset Registration Form to register each of the operating configurations that will participate in the ERCOT market as an individual Combined Cycle Generation Resource with a unique Resource ID (i.e. each of the CCT registered configurations are referred to a Combine Cycle Generation Resource (CCGR)).  For those CCGRs that are injecting power into the ERCOT Grid, the COP is expected to show an appropriate On-Line Resource Status such as ON.

The following rules should be applied by the QSE when reporting the Resource Status for CCGR configurations in its COP:

- For those COP reporting hours that the QSE expects to commit a CCGR configuration, the QSE should show the committed CCGR configuration to be in an appropriate On-Line Resource Status (i.e. ON, ONOS etc.).  All other CCGRs configurations in the CCT should be shown with a Resource Status of OFF or OUT, as appropriate to the CCGR configuration availability, in that hour.

- If the QSE does not intend to commit a CCT in a COP reporting hour, the CCGR configurations that are available should be reported in the COP as OFF and those CCGR configurations that are unavailable should be reported as OUT.

- If a CCGR configuration is RUC committed in a COP reporting hour, the QSE should show the Resource Status for the committed CCGR configuration as ONRUC, if the QSE is not intending to opt of RUC settlement.  All other CCGR configurations should be reported as OFF or OUT, as appropriate to the CCGR configuration availability, in that hour.

- If a CCGR configuration is RUC committed in a COP reporting hour, the QSE may opt out of the RUC Settlement by setting the COP status of any Combined Cycle Generation Resource within the same Combined Cycle Train as the RUC-committed Resource to ONOPTOUT for the first hour of a contiguous block of RUC-Committed Hours in the Opt Out Snapshot, as per protocol 2.1 and 5.5.2 (14).  All other CCGR configurations should be reported as OFF or OUT, as appropriate to the CCGR configuration availability, in that hour.

The protocol requirements for the decommitment of a Resource apply.

The QSE should report an appropriate Resource Capability (HSL/LSL/HEL/LEL) and Ancillary Service Capability in its COP in accordance with the guidelines described in Section 4 below.  The QSE/CCT Owner for facilities with the ability to interconnect to either ERCOT or another Control Area must assure that the combined commitment of its Resource capacity in each Control Area is not greater than the actual capability of the generation facility.

## RUC-Committed Resources

For Resources that are committed in specific hours of an Operating Day by a RUC process for the purpose of meeting ERCOT System capacity requirements, the QSE must report a COP Resource Status of ONRUC or ONOPTOUT in the commitment hours. Failure to do so will result in the COP update being rejected.

## Reliability Must Run Resources

In accordance with Protocol Section 4.4.8, ERCOT shall decide when to make a Reliability Must Run (RMR) Unit available for commitment in the DRUC or HRUC.  By 1430 hours in the Day Ahead ERCOT shall submit Three-Part Supply Offers based on the RMR Agreement and any other relevant information as provided under contract on behalf of RMR Units for any RMR Units to be considered in the DRUC or HRUC.

Because ERCOT is responsible for all RMR commitments, ERCOT requests that the QSE show a Resource Status of either EMR for all COP reporting hours during which the RMR is available or OUT in those hours in which the RMR is expected to be unavailable.  QSEs comply with Protocol 4.3(2) (“By 0600 hours in the Day Ahead, each QSE representing RMR Units must indicate the availability of the RMR Units for the Operating Day”) by updating their COP for the next Operating Day, by 0600 in the Day Ahead, to reflect the expected availability of the RMR Unit during the next Operating Day.

ERCOT shall notify the QSE representing an RMR Unit of any RMR Unit that is being committed by the DRUC or HRUC at the same time it notifies other Market Participants of the results of these processes.  Within 1 hour of the notification, the QSE is expected to update the RMR COP Resource Status to ONRUC for commitments by the RUC processes.

In all hours for the COP reporting Period, the QSE should report LEL/LSL/HSL/HEL values consistent with the RMR Agreement, such as the specified RMR Capacity.

## Quick Start Generation Resources Available For Deployment by SCED

Nodal Protocol Section 2.1 defines a Quick Start Generation Resource (QSGR) as Generation Resource that can come On-Line from a cold start state within ten minutes of receiving a notice or instruction from ERCOT.  Before engaging in the activities described in this section, a Generation Resource must be qualified by ERCOT as a QSGR in accordance with Protocol Section 8.1.1.2, General Capacity Testing Requirements, paragraph (15).

A QSE may offer a QSGR into the ERCOT Day-Ahead Market in the same manner as it would offer any other Generation Resource into this market (i.e. by submitting a Three Part Supply Offer).  If a QSGR Three Part Supply Offer is struck in the DAM, then all Nodal Protocol requirements related to a DAM awarded Three Part Supply Offer apply.  For example, the QSGR committed by DAM may be eligible for a DAM make whole payment provided it is started by either the QSE, or a SCED Dispatch Instruction, if the QSGR is provided by the QSE for deployment by SCED during a DAM commitment period.

The QSE shall provide entries in its COP consistent with:

- a DAM award and its decision to operate the QSGR during the DAM committed hours, or

- the QSE’s intent to provide the QSGR for deployment by SCED during a COP reporting hour.

A QSE may offer to sell Ancillary Services on a QSGR in the Day-Ahead Market, or may assign self-arranged Ancillary Service to a QSGR.

Whether or not the QSE submits a Three Part Supply Offer for its QSGR in the Day-Ahead Market, the QSE may provide the QSGR for deployment during an Operating Hour in the Nodal Real-Time Market through the operation of SCED as described in Nodal Protocol 3.8.3; however, the Real-Time Settlement Intervals in which the QSGR was provided for SCED deployment are considered as QSE-Committed Settlement Intervals for purposes of Settlement and Billing.

For those hours in the COP reporting period during which the QSE intends to provide the QSGR for deployment by the SCED in accordance with Protocol Section 3.8.3, Quick Start Generation Resources, the QSE shall report the following in the COP:

- LSL/HSL values set to the QSE’s expected QSGR low and high sustained limits in the COP reporting hour;

- LEL/HEL values set to the QSE’s expected QSGR capability at each of these limits (Note, LEL/HEL may equal LSL/HSL, respectively);

A QSE must submit and maintain an Energy Offer Curve for their QSGRs for each COP reporting hour in which the QSGR has an “OFFQS” or “OFF” Resource Status.

## Switchable Generation Resources

Nodal Protocol Section 2.1 defines a Switchable Generation Resource (SWGR) as A Generation Resource that can be connected to either the ERCOT Transmission Grid or a non-ERCOT Control Area.

SWGRs are required to submit COPs just like all other Resources. Protocol Section 3.9.1, Current Operating Plan (COP) Criteria, requires each QSE representing a Resource to submit a COP for all hours for the next seven operating days to reflect the QSE’s expected operation of the Resource. A QSE representing a SWGR shall submit its COP for the hours to reflect its intentions to operate in ERCOT grid or in another grid.

If the QSE’s intent is to operate the SWGR synchronized to ERCOT grid, the QSE shall submit its COP in the same manner of any other ERCOT Generation Resource, to reflect the Resource’s On-Line status, as described in Protocol Section 3.9.1 (5) (b) (i).

If the QSE’s intent is to operate the SWGR in another grid, the QSE shall submit its COP to report the status as “EMRSWGR”, for the hours when the Resource operating in non-ERCOT grid.

If the QSE’s intent is to operate the SWGR Off-Line, the QSE shall submit its COP as one of the following to reflect the Resource’s Off-Line status: “OFF” or “EMR”, as described in Protocol Section 3.9.1 (5) (b) (ii). Resource status code of OUT in COP should be used when the Resource is on outage.

As describe in Section 3.2, the QSE representing a Combined Cycle Train (CCT) is required to submit its COP for each Combined Cycle Generation Resource (CCGR) (i.e. each CCT operating configuration) in each operating hour, to reflect the intended operating conditions of CCT.

When a CCT is registered as SWGR, the QSE representing the CCT shall submit its COPs with the following rules:

- If the QSE intends to operate the CCT in a COP reporting hour, and the CCT is only synchronized to ERCOT grid, the QSE shall submit On-Line status (i.e. ON, ONEMR, etc.) for the committed CCGR configuration, and OFF or OUT status for all other CCGR configurations, as appropriate to the CCGR configuration availability, in that hour.

- If the QSE intends to not operate the CCT in a COP reporting hour, either in ERCOT grid or non-ERCOT grid, the QSE shall submit OFF or OUT (during outage) status for its all CCGR configurations, as appropriate to the CCGR configuration availability, in that hour.

- If the QSE intends to operate the CCT in a COP reporting hour, and the CCT is only synchronized to non-ERCOT grid, the QSE shall submit:

- EMRSWGR for the CCGR configurations that are available but require switching back the part of CCT committed to non-ERCOT grids;

- OFF for the CCGR configurations that are available without switching back the parts of CCT committed to non-ERCOT grids;

- OUT for the CCGR configurations that are unavailable due to outages.

- If the QSE intends to operate the CCT in a COP reporting hour, part of the CCT is synchronized to ERCOT grid, and another part of the CCT is synchronized to non-ERCOT grid, the QSE shall submit:

- On-Line status (i.e. ON, ONEMR, etc.) for the CCGR configuration that is committed to operate in ERCOT grid in that operating hour;

- EMRSWGR for the CCGR configurations that are available but require switching back the part of CCT committed to non-ERCOT grids;

- OFF for the CCGR configurations that are available without switching back the parts of CCT committed to non-ERCOT grids;

- OUT for the CCGR configurations that are unavailable due to outages.

## Energy Storage Resources

Nodal Protocol 2.1 defines an Energy Storage Resource as an Energy Storage System (ESS) registered with ERCOT for the purpose of providing energy and/or Ancillary Service to the ERCOT System.  In addition, 2.1 includes the following definitions related to State of Charge (SOC) for an ESR.

- State of Charge (SOC): The stored energy in MWh, of an ESR, that can be injected into the grid at the Point of Interconnection (POI) or Point of Common Coupling (POCC)

  - Hour Beginning Planned SOC (HBSOC): The planned State of Charge, in MWh, at the beginning of an hour, as communicated to ERCOT by the QSE for the Resource.

  - Minimum State of Charge (MinSOC): The minimum amount of State of Charge, in MWh of an ESR

  - Maximum State of Charge (MaxSOC): The maximum State of Charge, in MWh of an ESR

As described in Protocol Section 3.9.1 (5) (h), the COP for ESRs must include:

- Minimum State of Charge (MinSOC);

- Maximum State of Charge (MaxSOC); and

- Hour Beginning Planned SOC (HBSOC)

As described in Protocol Section 3.9.1 (17), a QSE representing an ESR shall ensure that the COP values for a given hour follow the following rules:

- MinSOC is greater than or equal to the nameplate minimum MWh operating SOC limit;

- MaxSOC is less than or equal to the nameplate maximum MWh operating SOC limit; and

- HBSOC is a value between the corresponding COP values of MinSOC and MaxSOC.

QSEs shall ensure that HBSOC submissions accurately reflect the Resource's expected real-time operating condition for each hour of the Operating Day, consistent with Protocol Section 3.9.1.

An accurate HBSOC submission is a critical input in the RUC optimization.  Systemically inaccurate or ‘flat’ (i.e., unchanging) HBSOC submissions that do not reflect actual expected conditions create a disconnect between the RUC study period and real-time SCED.   Where a flat HBSOC value is submitted, the RUC engine will be unable to utilize the ESR's capacity for energy or AS products in the corresponding operating hour, unless the net SOC impact of those awards, calculated using the applicable deployment factors, sums to zero relative to the submitted flat trajectory.  This may cause ERCOT’s RUC to recommend additional Resource commitments. This may also cause additional RUC capacity short charges billed to QSEs if those RUC recommendations are acted upon by ERCOT.

Accurate HBSOC submissions are required even when the Resource is in ONTEST status: the QSE shall make best efforts to submit COP HBSOC values that reflect the Resource's expected operating condition while testing.

In addition, as described in Protocol Section 3.9.1 (3), for a COP provided by an ESR, the QSE shall ensure that the Hour Beginning Planned SOC (HBSOC) for any two consecutive hours shall be feasible based on the ESR’s maximum rate of charge or discharge.

# Appendix I – MMS System Generated Notices

Selected Excerpts from

Section 5.3.1.1 of the EIP External Interfaces Specification RTC+B v1.00

Applicable to Current Operating Plans

See this link and section 5.3.1: https://www.ercot.com/files/docs/2024/06/24/EIP_External_Interfaces_Specification_RTCB_v1.0.zip

The following notices are system-generated and will display on the MMS market-facing user interface on the notices page and on MIS notices page. In addition to the protocol-required notices, the MMS system generates some additional notices that are documented below.

Note: Some notices appear more than once if there are multiple protocol requirements for the same notice

| # | Description | Generated by: | Owner | Type | Priority | Audience | Text |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 11 | Five minutes before the end of each hour, ERCOT shall identify inconsistencies between the telemetered Resource Status and the Resource Status stated in the COP for that Resource in the next hour. On detecting an inconsistency, ERCOT shall provide a notice of inconsistent Resource Status to the QSE using the Messaging System | MMS | Sys. Ops. | COP Warning | Med | A QSE |  |
| 29 | Notify QSEs who do not have complete COPs for all hours of the current operating day and the following day | MMS | Sys. Ops. | COP Warning | Med | A QSE |  |
| 38 | MMS hourly process that checks the COP for combined cycle configurations and will issue warning messages sent to the QSE if two or more configurations are marked as online in any one of the remaining hours of today and all the hours for tomorrow. | MMS | Sys. Ops | Market Message | High | A QSE |  |
| 39 | MMS hourly process that issues warning messages to QSEs if two or more jointly owned units belonging to the same physical resource do not have the same Resource Status in the COP for any of the remaining hours of today and all the hours of tomorrow. | MMS | Sys. Ops | Market Message | High | A QSE |  |
| 51 | Notify QSE when a WGR’s or PVGR’s COP HSL value is updated with the forecast value. | MMS | Sys. Ops | Market Message | Med | A QSE |  |
| 4 | ERCOT is issuing an Operating Condition Notice (OCN) for a projected reserve capacity shortage for hours ending [hh:mm:z]through [hh:mm:z].ERCOT is requesting all QSEs to update their COPs. | EMS | Sys. Ops. | OCN | Medium | All QSEs |  |