## Slide 1
Supply Analysis Working Group Update
July 2024 Update to WMS
July 10, 2024
Kevin Hanson (Black Mountain Energy Storage) Chair
Greg Lackey (CPS Energy) Co-Vice Chair
Pete Warnken (ERCOT) Co-Vice Chair

## Slide 2
OVERVIEW (page 1)
SAWG Chair Kevin Hanson changed from National Grid to Black Mountain Energy Storage (Item for Vote)
Thinesh Devadhas Mohanadhas (ERCOT) presented the Annual Distributed Generation Report
  2023 annual estimate is 4,770 MW which includes around 3 GWs of <1 MW Solar
  By 2032, the Moderate forecast is ~6 GWs of Solar PV Rooftop
Katie Lamb (ERCOT) and Sam Morris (ERCOT) presented an update on the Long Term Load Forecast
  Assumes only Crypto loads are dispatchable
  Data centers, hydrogen/ammonia, oil and gas, or industrial/manufacturing are assumed non-dispatchable by 24x7 loads
  Large Flexible Load (LFL) 15% response tied to 4CP
  ERCOT peak from just 4CP impact moves from Hour 17 to Hour 22 in 2028
  Slide 12 has all new contracted and executive letter LFL at 100% of max (resulting in peak of 147,977 MWs)
  2030 minimum load with all loads (including contracted and executive letter LFL) is around 88 GWs
CONE Study Update from Pete Warnken (ERCOT)
  CONE study status report filed with the PUCT on June 6, 2024
  Discussion on the CONE study was held during the June 13, 2024 PUCT Open Meeting
  Final report and CONE model has been completed
  After the PUCT has been briefed, ERCOT posting location will be determined
  The 10.35% ATWACC is non-Texas Energy Fund (TEF)

## Slide 3
OVERVIEW (page 2)
Reliability Standard Update from Pete Warnken (ERCOT)
  Reliability Standard “Proposal for Publication” approved at June 13, 2024 PUCT open meeting
  SERVM model data files are filed on ERCOT website (https://ercot.servicenowservices.com/csp?id=kb_article_view&sysparm_article=KB0012417 )
  Account creating is needed to download the files
VOLL Update from Pete Warnken (ERCOT)
  VOLL Survey closed in May 2024
  Brattle project team conducting survey checks and developing VOLL estimation models
  Preliminary VOLL value based on survey data is expected in mid to late July 2024
August MORA Report Q&A from Pete Warnken (ERCOT)
  Low wind Risk Profile has been added
  The monthly outlook includes the South IROL impact
CDR NPRR is still being worked on

## Slide 4
Questions?