## Slide 1: SSWG Report to ROS 7-11-2024
SSWG Chair - William Robertson
Presenter: SSWG Vice Chair - Zach Walker

## Slide 2: SSWG Updates:
The 24SSWG Final Cases were posted in early June
  Again, this was the first set of Node-Breaker cases released
24SSWG TPIT 2 and CR Report posted June 2024 with along with 24SSWG Final Cases
24SSWG Contingency Definitions and 24SSWG Planning Data Dictionary posted in late June
SSWG is currently in the early stages of the 24SSWG U1 Case Build and planning to have these set of cases posted in October
SSWG has finalized the PM updates and are seeking ROS approval.
The following slide showcases all procedure manual (PM) changes SSWG is seeking ROS approval on.

## Slide 3: Procedure Manual Revision: Summary of Changes
Section 2.1/2.2: Definitions and Acronyms
  Added Acronyms for Congestion Mitigation Using Topology Reconfigurations (CMP, RAS)
  Moved LFL, CLR, NCLR from Definitions to Acronyms
Section 3.3.4.1: TSPs
  Updated Actual In-Service Date “Optional” to “Required once energized in the field”
  Added Technical Rationale and Other Rationale(Optional) due to FAC-014-3 R6 requirement
Section 3.3.4.4: ERCOT (Responsibilities)
  Added Language regarding ERCOT providing technical rationale (via FAC-014-3 R6)
  Added ERCOT responsibility to remove CMP and RAS configurations from the SSWG Base Cases
Section 3.3.5: Process Overview for Building the SSWG Cases
  Added step for CMP and RAS removal during the Case Build Process
Section 4.3.3.1: Extraordinary Dispatch Conditions
  Moved SODG Dispatch from step 9 to step 4
Section 6 - Appendix F: Technical Rationale for Less Limiting Facilities
  Language establishes the technical rationale for using less limiting Facility Ratings, System steady-state voltages limits and stability criteria than those described in the RC SOL Methodology.

## Slide 4: Questions?