## Slide 1
“ESR Catch-All” Revision Requests Document List and Overview
RTCBTF
July 17, 2024

## Slide 2: List of “ESR Catch-All” DRAFT Documents (total of 4 Documents)
2
NPRR XXX Energy Storage Resource Terminology Alignment for the Single-Model Era:
NOGRR XXX Energy Storage Resource Terminology Alignment for the Single-Model Era:
PGRR XXX Energy Storage Resource Terminology Alignment for the Single-Model Era:
OBDRR XXX Energy Storage Resource Terminology Alignment for the Single-Model Era: Procedure for Identifying Resource Node Locations (This one will likely be in two parts [pre-go-live and at go-live.)

## Slide 3: Overview and Purpose of Revision Requests
3
1) ……… approved by the ERCOT Board of Directors at its August 11, 2020, meeting, included a blanket provision in paragraph (1) of Section 3.8.5, Energy Storage Resources, as follows:
“For the purposes of all ERCOT Protocols and Other Binding Documents, all requirements that apply to Generation Resources and Controllable Load Resources shall be understood to apply to Energy Storage Resources (ESRs) to the same extent, except where the Protocols explicitly provide otherwise.”
2) This NPRR (NOGRR, PGRR, OBDR) applies to ESRs in the future single-model era and should be implemented simultaneously with NPRR1014, BESTF-4 Energy Storage Resource Single Model (which is part of the RTCB Project).
3) With the implementation of this NPRR at the time of RTCB go-live, all references to the Combo-Model will be removed.
4) The Impact Analysis Report for this NPRR ….. is no Cost/Budgetary Impact and no impact to ERCOT staffing, computer systems, business functions and grid operations and practices.

## Slide 4: Next Steps
4
ERCOT to complete final review
ERCOT to post Revision Requests with numbers (within the next few weeks)
Revision Requests addressed at PRS --- like all other RRs
Follow the normal stakeholder process
If you review them in the next couple of weeks ---- please do not hesitate to send informal comments to ERCOT.
Market Participants will have the chance to comment formally as the documents go through the normal stakeholder process.

## Slide 5: Typical One-Line (Battery and Other Generation Resources) Current Approach = Combo Model
34.5 kV
SCODE_LD1
WGR 1
WGR 2
SCODE_BES1
SS_AUX
M2
138 kV
M1
Resource Node

## Slide 6: Typical One-Line (Battery and Other Generation Resources) [with Single Model Transition] {After RTCB Go-live}
34.5 kV
WGR 1
WGR 2
SS_AUX
M2
138 kV
M1
SCODE_ESR1
Resource Node