## Slide 1
Single Model ESR (Energy Storage Resource) - RIOO
Andy Adams
July 25, 2024

## Slide 2: ESR (Energy Storage Resource) - RIOO
RIOO ESR Timelines
  ESR panels and functionality go live July 25th 2024. New ESR data can be entered as single model.
  Data conversion timelines in RIOO
    8/6/2024 - ERCOT will send an RFI to gather additional information.
    9/16/2024 - Responses will be due back via DocuSign
    9/26/2024 - ERCOT will convert Combo model ESRs to Single model ESRs using existing data and data from RFI in RIOO-RS.
    Combo model data still in the planning phase in RIOO-IS will be converted to single model after it gradates to RIOO-RS on the production load date.
Migration of Combo to Single model ESRs
  ERCOT is developing a process to convert current combo model data to single model.
  ERCOT will initiate request for information (RFI) to gather single model data not gathered in the existing combo model. It will be used in the process to convert combo to single model ESR.

## Slide 3: Parallel ESR Telemetry Prior to RTC+B Go-Live
Model
Current
EMS/MMS
To support testing and ensure readiness, parallel telemetry for combo-model and single-model representations of ESRs will be required prior to RTC+B go-live.
To support this new telemetry, QSEs will need the ESR name provided in the prepopulated Excel file (or entered into RIOO when completing the interconnection request)
Single-model telemetry, including those needed for RTC+B, will be required prior to RTC+B go-live
RTC+B
EMS/MMS
Telemetry from QSE
UNIT1
CLR1
ESR1
Excel Template: