## Slide 1: Operations Working Group Meeting Notes
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
HITE List Sub-Chair – Pushkar Chhajed
07/19/2024

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT
June Peak Demand – 79,698 MW 6/30 HE 18:00
June Solar Penetration – 19,395 MW on 6/22/24 - New all time peak
June Wind Penetration - 27,881 MW on 6/17/24 - New all time peak
June Renewable - 37,897 MW on 6/18/24 – New all time peak

## Slide 3: Texas Reliability Entity Report
Notice of public comment on SAR BAL-001 TRE started on 7-15 going on for 30 days ending on 8/14
NERC standard review form on July 25 from 9-11, meeting material on NERC website
Workshop for cyber and physical security on Aug 28 at Texas RE agenda on TRE website
Industry workshop announcement on misoperations reduction workshop in Salt Lake City at WECC on October 1 - 2 sign up is on the NERC website.

## Slide 4: NPRR 1070 - Planning Criteria for GTC Exit Solutions
ERCOT is currently still working with PUC staff to finalize the language on the congestion cost savings criteria, and does not have a specific timeline on the posting yet.
Remains tabled at OWG.

## Slide 5: NPRR 1238 - Voluntary Registration of Loads with Curtailable Load Capabilities
Golden spread submitted – needed to meet compliance going forward.
Question from Collin Martin why for transmission load only, and not other larger distribution side loads.
Bill Blevins – Based off what was done for registered curtailable type load. The transmission load they may already have telemetry on. On the distribution they would need to register and get telemetry.
Bill Blevins – Worked on this the same time NPRR 1217 came out. This mentions VDI’s and in 1217 it gets stricken, and there should not be any VDI’s for ERS everything should be over XML.
Marybell - has concerns including distribution load, it should not be that large. May have issues with UFLS if large number of customers sign up.
Bill Blevins – Some benefit on setting setpoint above the 3000 to avoid an emergency.
VECL to be taken away from TO native load during Summer and Winter %’s.

## Slide 6: NOGRR 265 – Related to NPRR 1238 Voluntary Registration of Loads with Curtailable Load Capabilities
Collin Martin – paragraph 2 talks about VECL entering into agreement with QSE, Collin believes the TO should also be part of that agreement. Could impact the equipment type used by customer.
Bill Blevins – Potential to add the sign off by TSP on existing form at ERCOT.
Collin Martin – recommend 2 times a year updates to match Winter and Summer table updates as appose to 4 times per year.

## Slide 7: HITE List Reminder
Sent email reminder for HITE list timeline for private and public submission is ongoing until August 1.
Will review at August OWG meeting.

## Slide 8: OTWG Update
ERCOT Severe Weather Drill
  ERCOT sent market notification on 7/9/24.
  This drill is mainly for communication and Emergency notifications between market participants and ERCOT.
  Facilitation Window Thursday 8/29/2024 from 0800 to 1300. No CEH’s provided
  MP to send them a Single Point of Contact for this drill before August 15th to systemoperationstraining@ercot.com
ERCOT Black Start Training
    Weeks of October 14th – November 21st, ERCOT is planning to send the market notification by first week of September.
    No pilot session is planned to be included for this year.
  A CBT portion through ERCOT LMS is a required pre-requisite before the in-person session. CEH’s provided
  In-person session is planned for Two and a half days (Tuesday afternoon, all day Wednesday, and all day Thursday)
ERCOT Operations Training Seminar
  Plan to include some additional topics related to QSEs for 2025 seminar.
    Will include additional speakers from market participants as available.
  No EEA or emergency training simulation with the seminar.
  ERCOT is planning to host next year’s OTS on March-April timeframe (cycle 2).

## Slide 9: Other Business
None.