## Slide 1: NOGRR 245 Bifurcation: Joint Commenters’ Update on Key Items Under Discussion with ERCOT Staff
Presented to the ERCOT Technical Advisory Committee
July 31, 2024
Joint Commenters include Invenergy Energy Management LLC, NextEra Energy Resources LLC, Southern Power Company, Avangrid Renewables LLC, and Clearway Renew, LLC. This presentation represents the collaboration and compromise of a diverse set of Market Participants registered with ERCOT. Statements made herein should not be used to represent the position of an individual company in any proceeding unrelated to NOGRR 245.

## Slide 2: Key items for TAC consideration
Modeling: Submission Timing & Process
  Model timing requirements in NOGRR 245 need to account for real-world factors including reliance on 3rd parties for critical inputs, timing of maximization activities, and ERCOT's changing modeling requirements.
Policy: Exemption Requests
  NOGRR245 requires Resource Entities to submit exemption requests prior to the development of the criteria and process for exemptions in a subsequent NOGRR (i.e., “Phase II”).
Policy: FRT/VRT Limitation Attestations
  Resource Entities, as the legal entities registered with ERCOT and bound by the ERCOT Protocols and Operating Guides, should be allowed to confirm FRT/VRT limitations with ERCOT.

## Slide 3: Modeling: Submission Timing & Process
The dynamic model delivery timeline will be impacted by equipment vintage, OEM and Resource Entity engineering resources, timing of maximization solution development, and ERCOT’s evolving modeling requirements
  Resources with known and available maximization solutions (or that are already in maximized state) will be able to deliver models and associated reports more quickly
  Development and delivery of maximization solutions in late 2024 or 2025 will result in additional time needed to deliver models and associated reports
The draft DWG Manual introduces multiple new technical requirements that must be incorporated into the modeling process
ERCOT should grant reasonable extensions to the modeling deadline for reasons beyond the control of the Resource Entity

## Slide 4
KEY
* Initial Model – Completely Dependent on OEM
Pull Settings for Substation, PPC and IBR
Obtain Maximum Ride Through Settings & Parameters
Identify and Share Proposed IBR & PPC Settings Changes
Provide Information to Modeling Contractor
Update Substation Settings/Coordinate with Proposed IBR Settings
Obtain Updated Models for IBR/PPC
Simulate MQTs and Other Model Verifications
Troubleshoot MQT Issues
Update PPC and IBR Settings
Share with TO/TOP/ERCOT for Feedback
Issue Model Reports and Parameter Sheets
Data Gathering & Review Stage
Modeling Stage
Simulate Live Tests Based on MOD Requirements
Submit Test Data to Modeling Specialist
Update Models and Re-run MQT
Final Submittal of All Documentation
Create As-Built Model and Final Reports
OEM Input Required
Modeling Specialist
Resource Owner
Steps may repeat multiple times until models are approved/pass all tests
Field Testing Stage
May need to be updated again post-model validation
Modeling: Submission Process

## Slide 5: Policy: Exemption Requests
ERCOT should not take action to reject a frequency/voltage ride-through exemption request until ERCOT and stakeholders have determined the appropriate criteria for evaluating the exemption request (e.g., a reliability risk assessment of the IBR to the ERCOT System) and the appropriate process for approving or rejecting exemption requests are established in Phase I

## Slide 6: Policy: FRT/VRT Limitation Attestations
Requiring attestations from non-Market Participants goes against extensive precedent in the ERCOT Protocols and PUCT Substantive Rules.
The Resource Entity is the Market Participant and bound by the applicable rules; OEMs and consultants are not.
Resource Entities should not be required to obtain a signed statement from an executive/officer of an entity that has no legally-binding obligations to ERCOT (i.e., OEMs and MP consultants).
At minimum, the attestation of an executive/officer of the Resource Entity should provide ERCOT with adequate representation that any statements regarding an IBR’s FRT/VRT limitations are truthful and accurate.
Examples in ERCOT Protocols | 
8.5.1.3(1) | PFR Exemptions for WGRs
16.12(5); 23 (Form L) | Digital Certificates
16.1.4(1)(a); 23 (Form S) | CEII Purchases
16.1.3(3); 23 (Form Q) | LSIPA compliance
3.6.1(8) | Load Resource participation
3.8.7(1), (6) | Establishing MW injection/withdraw limits for self-limiting facilities
3.14.1.1(2) | NSO Submission
Examples in PUCT Substantive Rules | 
25.41(l)(1) | REP threshold targets
25.53(c)(3)(B) | EOPs
25.71(d) | General reporting requirements
25.88(e)(3) | Retail Performance Monitoring
25.91(d) | Generating Capacity Reports
25.93(d)(2)(A) | Wholesale Electricity Transaction Reports
25.55(c)(3)(A)(v) & (B)(v) | PGC Weatherization