## Slide 1
Nodal Operating Guide Revision Request (NOGRR) 245, Inverter-Based Resource (IBR) Ride-Through Requirements
ERCOT Update
Technical Advisory Committee
July 31, 2024

## Slide 2: NOGRR 245 Update
Prior to 6/17/24 Reliability & Markets (R&M) Committee Meeting:
  Joint Commenters comments opposed TAC-recommended version
  Joint Commenters informed ERCOT of their intent to appeal TAC-recommended version if ERCOT Board of Directors (ERCOT Board) sent it to PUCT
  Appeal would delay the immediate benefits to system reliability of NOGRR245
On 6/16/24, ERCOT filed comments requesting R&M Committee recommend tabling NOGRR until a Special Meeting or regularly-scheduled August meetings to allow bifurcating the exemptions process and allow other clarifications to accommodate Joint Commenters
On 6/18/24, ERCOT Board tabled NOGRR 245 based on ERCOT comments

## Slide 3: NOGRR 245 Update
ERCOT worked with Joint Commenters on revisions to:
  Retain the near-term benefits of the TAC-endorsed NOGRR 245
  Bifurcate the details of the exemption process and criteria to a subsequent NOGRR (including revisions to achieve bifurcation)
  Provide clarifications, remove redundancy and correct errors
ERCOT comments identify the specific reason for all changes to the TAC-recommended version
ERCOT will recommend the ERCOT Board designate the subsequent NOGRR as Board Priority Revision Request with timeline to become effective no later than April 1, 2025 to coincide w/ deadline for submitting exemption requests

## Slide 4: Next Steps
On 8/19/24, R&M Committee to discuss
On 8/20/24, ERCOT Board to consider approval
  ERCOT will present results of Request for Information associated with Market Notices M-C050124-01 and M-C050124-02 to maximize IBR and WGR ride-through capability
After PUCT approval of NOGRR 245, ERCOT will file new NOGRR to develop exemption criteria as soon as possible
Key Takeaway: ERCOT continues to recommend REs with IBRs and non-IBR WGRs take all actions to verify and maximize ride-through capability ASAP to try to prevent a major reliability event.