## Slide 1: Planning Working Group Update
to
The Reliability and Operations Subcommittee
Dylan Preas, PLWG Chair
Mina Turner, PLWG Vice-Chair
August 1, 2024

## Slide 2: PLWG Update July 16, 2024, Meeting
PGRR107 (NPRR1180) – Inclusion of Forecasted Load in Planning Analyses
  ERCOT reviewed comments submitted on July 15.
  Discussion related to Substantiated Load definition included load double counting, transparency/reporting requirements, and impact to the Capacity, Demand, and Reserves (CDR) report.
  PLWG tabled PGRR107 (NPRR1180) for further discussion.

## Slide 3: PLWG Update July 16, 2024, Meeting
PGRR115 (NPRR1234) – Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater
  ERCOT reviewed the proposed language, followed by lengthy discussion including submission of future large load information to ERCOT, large loads in the QSA, and keeping large load commissioning plans up to date.
  ERCOT Steel Mills reviewed reply comments submitted on July 3, discussing concerns related to remote-control disconnect requirements for existing large loads.
  PLWG tabled PGRR115 (NPRR1234) for further discussion.

## Slide 4: PLWG Update July 16, 2024, Meeting
NERC Topics Roundtable
  Mina Turner (AEP) is on the drafting team for NERC CIP-014-4 and plans to discuss the revised standard at a future PLWG meeting.
  Future topics related to NERC TPL-008-1 Transmission Planning Performance Requirements for Extreme Weather.

## Slide 5: PLWG Update July 16, 2024, Meeting
Congestion Cost Test Implementation & NPRR1070 – Planning Criteria for GTC Exit Solutions
  Remains tabled as ERCOT staff develops draft revision requests.
Open Action Item(s)

## Slide 6: Questions?