## Slide 1
HDL/LDL Manual Override Report
WMS
Cory Carswell
Market Analysis
August 7, 2024

## Slide 2: Introduction
Per protocol language section 6.5.7.1.13 (10):
  No sooner than sixty days after the applicable Operating Day, ERCOT shall provide to the appropriate TAC subcommittee instances of manual overrides of HDL or LDL, including the name of the Generation Resource, the reason for the override, and, as applicable, the cost as calculated in Section 6.6.3.6, Real-Time High Dispatch Limit Override Energy Payment.

## Slide 3: Manual Override Driver – Solar Eclipse
The Solar Eclipse took place on 04/08/2024, roughly between 12:20 PM, when solar generation was 13,792 MW. During totality at 13:37, solar generation was reduced to 734 MW, then fully recovered at 14:54 with solar generation of 13,792 MW. ERCOT took manual actions to pre-posture slower ramping resources to increase the ramp rate of these resources in anticipation of the increased net load ramp.
Resource Name | SCED Timestamp | # LDL Override Intervals
CALAVERS_JKS1 | 4/8/2024 11:55 | 22
CALAVERS_JKS2 | 4/8/2024 11:55 | 21
FPPYD1_FPP_G2_J02 | 4/8/2024 11:40 | 26
FPPYD2_FPP_G3 | 4/8/2024 11:40 | 3
LEG_LEG_G1 | 4/8/2024 11:45 | 19
WAP_WAP_G5 | 4/8/2024 11:45 | 30
WAP_WAP_G8 | 4/8/2024 11:45 | 24