## Slide 1: Congestion Management Working Group - 7/15/2024 Meeting Update
August 7, 2024
Alexandra miller, chair

## Slide 2: CRR Long Term Auction Solution Time, Transaction Limits
Enforcement of 400,000 transaction limit has been lifted after implementing software changes on 6/28 and reconfiguring IT resources, but could be enforced again if needed
Possible solutions discussed:
  Increasing minimum point-to-point option bid price
  Bid fees on uncleared bids or on uncleared option bids
  Removing multi-month bid functionality from LTA (44% of bids)
    Stakeholders have mixed positions on this solution, with some preferring improving system efficiency
Next Steps for ERCOT:
  Perform more testing on impact of removal of multi-month product
  Look into increasing bid limits given improved system efficiency

## Slide 3: IMM Load Zone Analysis
LZ definitions have not changed since 2003, reevaluation considered since 2020
Updated analysis including LMP data 2021-April 2024, used k-means clustering to group into new load zones
Comparison of current and modeled new zones showed significant price differences
Intra-zonal congestion was significantly lower with new load zones
GTC-based load zones show similar results to price-based clustering
Issues discussed included:
  Analysis does not propose new infrastructure, based on past data
  How changes might influence planning studies and project approvals
  Impact on congestion management efficiency and
  Need to research protocol changes needed for implementation

## Slide 4: Mitigation for ESRs
ERCOT staff shared refinements of the draft NPRR for implementing the Just In Time framework previously modeled and discussed
  Consideration of high system Lambda prices in determination of MOC
  Handling of multiple constraints: use lowest absolute constraint contribution
Presentation of analysis of impact of mitigation with new framework
Stakeholder Discussion:
  Ensuring minimal over-mitigation
  Maintaining AS obligations
Next steps – formal introduction of the refined NPRR draft and ongoing stakeholder engagement

## Slide 5: NPRR 1214 Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk
Data storage formats and difficulty retrieving data is making historical analysis challenging to show specific example impacts for past conditions
Discussion highlighted need for change to have locational price signals for appropriate market behavior to incentivize generation when and where it is needed
Will be discussed at next meeting, and can wrap up discussion on merits with or without additional historic data

## Slide 6: Ongoing Items
Request for update and discussion of NPRR1111 (SCR819) next month