## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for July 2024

## Slide 2: Non-IRR GREDP < 85% – July 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 345 | 1,095 | 1,514 | 3.71 | 72.32
Unit 374 | 960 | 1,150 | 4.46 | 83.48
Unit 466 | 50 | 77 | 4.14 | 64.94
Unit 480 | 8 | 22 | 1.94 | 36.36

## Slide 3: IRR Summary – July 2024
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 88.74 | 75.12 | 81.63
GREDP Median (%) | 97.14 | 83.66 | 84.21
Average MW Error | 5.72 | 5.96 | 6.95
Median MW Error | 5.06 | 5.22 | 6.28
Total Intervals Scored | 34,160 | 16,581 | 13,495
100+ Intervals Scored | 91 | 285 | 49
Total Intervals Scored Average | 90.13 | 128.53 | 275.41

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – July 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 842 | 882 | 7.65 | 95.46
Unit 2 | 790 | 829 | 2.12 | 95.30
Unit 3 | 789 | 827 | 1.57 | 95.41
Unit 4 | 658 | 678 | 4.68 | 97.05
Unit 5 | 644 | 662 | 3.54 | 97.28
Unit 7 | 555 | 558 | 6.55 | 99.46
Unit 10 | 504 | 508 | 11.09 | 99.21
Unit 11 | 492 | 499 | 2.77 | 98.60
Unit 12 | 469 | 483 | 6.77 | 97.10
Unit 13 | 461 | 470 | 10.22 | 98.09
Unit 14 | 466 | 470 | 20.13 | 99.15
Unit 16 | 451 | 451 | 4.84 | 100.00
Unit 17 | 443 | 444 | 3.72 | 99.77
Unit 30 | 335 | 340 | 1.14 | 98.53
Unit 31 | 334 | 336 | 5.17 | 99.40
Unit 33 | 324 | 329 | 4.79 | 98.48
Unit 37 | 294 | 298 | 1.05 | 98.66
Unit 39 | 274 | 284 | 2.02 | 96.48
Unit 47 | 248 | 252 | 1.58 | 98.41

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – July 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 50 | 227 | 229 | 5.63 | 99.13
Unit 51 | 214 | 223 | 5.48 | 95.96
Unit 53 | 208 | 212 | 3.63 | 98.11
Unit 58 | 174 | 175 | 7.07 | 99.43
Unit 61 | 154 | 158 | 8.96 | 97.47
Unit 65 | 147 | 149 | 7.46 | 98.66
Unit 66 | 141 | 148 | 5.41 | 95.27
Unit 69 | 135 | 137 | 2.25 | 98.54
Unit 70 | 120 | 126 | 3.60 | 95.24
Unit 71 | 122 | 126 | 3.73 | 96.83
Unit 72 | 124 | 125 | 2.02 | 99.20
Unit 73 | 124 | 125 | 5.66 | 99.20
Unit 75 | 120 | 121 | 2.32 | 99.17
Unit 77 | 114 | 117 | 6.61 | 97.44
Unit 78 | 114 | 117 | 5.27 | 97.44
Unit 79 | 116 | 116 | 3.75 | 100.00
Unit 84 | 102 | 107 | 2.85 | 95.33
Unit 86 | 105 | 106 | 2.92 | 99.06
Unit 87 | 103 | 106 | 12.30 | 97.17

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – July 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 88 | 102 | 105 | 6.72 | 97.14
Unit 89 | 101 | 105 | 3.73 | 96.19
Unit 90 | 100 | 104 | 11.94 | 96.15

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – July 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 6 | 509 | 594 | 6.19 | 85.69
Unit 8 | 452 | 540 | 2.50 | 83.70
Unit 9 | 477 | 531 | 7.18 | 89.83
Unit 15 | 371 | 456 | 8.05 | 81.36
Unit 18 | 362 | 437 | 6.28 | 82.84
Unit 19 | 388 | 429 | 8.19 | 90.44
Unit 20 | 361 | 417 | 6.17 | 86.57
Unit 21 | 180 | 411 | 2.40 | 43.80
Unit 22 | 328 | 396 | 9.51 | 82.83
Unit 23 | 327 | 386 | 1.72 | 84.72
Unit 24 | 334 | 379 | 9.70 | 88.13
Unit 25 | 329 | 354 | 10.04 | 92.94
Unit 26 | 306 | 353 | 5.48 | 86.69
Unit 27 | 322 | 351 | 12.20 | 91.74
Unit 28 | 327 | 350 | 8.62 | 93.43
Unit 29 | 283 | 340 | 5.61 | 83.24
Unit 32 | 225 | 334 | 12.31 | 67.37
Unit 34 | 238 | 329 | 1.02 | 72.34
Unit 35 | 255 | 322 | 3.97 | 79.19

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – July 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 36 | 253 | 311 | 5.61 | 81.35
Unit 38 | 263 | 289 | 6.59 | 91.00
Unit 40 | 247 | 274 | 2.26 | 90.15
Unit 41 | 227 | 272 | 8.66 | 83.46
Unit 42 | 212 | 272 | 10.69 | 77.94
Unit 43 | 244 | 270 | 2.52 | 90.37
Unit 44 | 138 | 265 | 4.05 | 52.08
Unit 45 | 215 | 257 | 13.69 | 83.66
Unit 46 | 207 | 254 | 5.47 | 81.50
Unit 48 | 190 | 239 | 10.60 | 79.50
Unit 49 | 190 | 235 | 6.53 | 80.85
Unit 52 | 208 | 222 | 5.10 | 93.69
Unit 54 | 187 | 200 | 13.89 | 93.50
Unit 55 | 181 | 194 | 8.85 | 93.30
Unit 56 | 150 | 188 | 4.35 | 79.79
Unit 57 | 159 | 188 | 1.17 | 84.57
Unit 59 | 135 | 161 | 5.01 | 83.85
Unit 60 | 136 | 159 | 12.09 | 85.53
Unit 62 | 129 | 153 | 1.30 | 84.31

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – July 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 63 | 128 | 152 | 3.90 | 84.21
Unit 64 | 134 | 151 | 2.28 | 88.74
Unit 67 | 130 | 146 | 3.54 | 89.04
Unit 68 | 123 | 139 | 6.86 | 88.49
Unit 74 | 100 | 124 | 10.19 | 80.65
Unit 76 | 104 | 119 | 15.80 | 87.39
Unit 80 | 38 | 114 | 8.65 | 33.33
Unit 81 | 86 | 111 | 2.38 | 77.48
Unit 82 | 92 | 110 | 1.83 | 83.64
Unit 83 | 41 | 110 | 19.54 | 37.27
Unit 85 | 99 | 107 | 9.98 | 92.52
Unit 91 | 85 | 100 | 6.11 | 85.00