## Price Adders
OPERATING RESERVE DEMAND CURVE SIMULATION
This spreadsheet provides a general overview of the ORDC calculation and is not intended to be a substitute for the ERCOT Protocols, as amended from time to time. If any conflict exists between this spreadsheetn and the ERCOT Protocols, the ERCOT Protocols shall control in all respects. For more information, please visit: http://www.ercot.com/mktrules/nprotocols/
STEP 1 - Enter Data
Real-Time On-Line CAPacity | RTOLCAP |  | 3500 | <- Enter the online capactity
Real-Time OFF-line CAPacity | RTOFFCAP |  | 1000 | <- Enter the offline capactity
System Lambda | λ |  | 30 | <- Enter the current system lambda
Physical Responsive Capability | PRC |  | 3200
Displaying data for |  |  | Winter
Value of Lost Load | VOLL |  | 5000 | <- Administratively set to $5,000
Min Contingency Level |  |  | 3000 | <- Administratively set to 3,000 MW
STEP 2 - Seasonal Data |  |  |  | <- Enter the desired seasonal data
STEP 3 - Results
ORDC
Mean | µ |  | 892.27
Standard Deviation | σ | 933.1976 | 1319.94
Real-Time Off-Line Reserve Price Adder | RTOFFPA |  | 801.6772
Real-Time On-Line Reserve Price Adder | RTORPA |  | 1986.9861
Click for Graphical Results
Click for LOLP Chart

## Graph
Back

## LOLP Chart
Shifted LOLP Distribution by Season and TOD Block
Season | Start Date | End Date | Start Hour | End Hour | Average | Standard Deviation
Winter | 2024-12-01 | 2025-02-28 | 1 | 2 | 892.27 | 1319.94 | Winter = December, January, February
Winter | 2024-12-01 | 2025-02-28 | 3 | 6 | 892.27 | 1319.94 | Spring = March, April, May
Winter | 2024-12-01 | 2025-02-28 | 7 | 10 | 892.27 | 1319.94 | Summer = June, July, August
Winter | 2024-12-01 | 2025-02-28 | 11 | 14 | 892.27 | 1319.94 | Fall = September, October, November
Winter | 2024-12-01 | 2025-02-28 | 15 | 18 | 892.27 | 1319.94
Winter | 2024-12-01 | 2025-02-28 | 19 | 22 | 892.27 | 1319.94
Winter | 2024-12-01 | 2025-02-28 | 23 | 24 | 892.27 | 1319.94
To update click the "Click for LOLP Data" link below, or navigate to ERCOT.com/Market Information/View Data Products (https://www.ercot.com/mp/data-products?page=1) and search for LOLP and select the "LOLP Distribution by Season and TOD Block" report. Copy and paste the desired season data into this sheet beginning with Cell A3.
Back
Click for LOLP Data

## Price Adder Data
RTOLCAP | 3500
RTOFFCAP | 1000
SYSTEM LAMBDA | 30
PRC | 3200
VOLL | 5000
MCL | 3000
ORDC Data
RTOLCAP | RTORPA | RTOFFPA
0 | 4970 | 2485
5 | 4970 | 2485
10 | 4970 | 2485
15 | 4970 | 2485
20 | 4970 | 2485
25 | 4970 | 2485
30 | 4970 | 2485
35 | 4970 | 2485
40 | 4970 | 2485
45 | 4970 | 2485
50 | 4970 | 2485
55 | 4970 | 2485
60 | 4970 | 2485
65 | 4970 | 2485
70 | 4970 | 2485
75 | 4970 | 2485
80 | 4970 | 2485
85 | 4970 | 2485
90 | 4970 | 2485
95 | 4970 | 2485
100 | 4970 | 2485
105 | 4970 | 2485
110 | 4970 | 2485
115 | 4970 | 2485
120 | 4970 | 2485
125 | 4970 | 2485
130 | 4970 | 2485
135 | 4970 | 2485
140 | 4970 | 2485
145 | 4970 | 2485
150 | 4970 | 2485
155 | 4970 | 2485
160 | 4970 | 2485
165 | 4970 | 2485
170 | 4970 | 2485
175 | 4970 | 2485
180 | 4970 | 2485
185 | 4970 | 2485
190 | 4970 | 2485
195 | 4970 | 2485
200 | 4970 | 2485
205 | 4970 | 2485
210 | 4970 | 2485
215 | 4970 | 2485
220 | 4970 | 2485
225 | 4970 | 2485
230 | 4970 | 2485
235 | 4970 | 2485
240 | 4970 | 2485
245 | 4970 | 2485
250 | 4970 | 2485
255 | 4970 | 2485
260 | 4970 | 2485
265 | 4970 | 2485
270 | 4970 | 2485
275 | 4970 | 2485
280 | 4970 | 2485
285 | 4970 | 2485
290 | 4970 | 2485
295 | 4970 | 2485
300 | 4970 | 2485
305 | 4970 | 2485
310 | 4970 | 2485
315 | 4970 | 2485
320 | 4970 | 2485
325 | 4970 | 2485
330 | 4970 | 2485
335 | 4970 | 2485
340 | 4970 | 2485
345 | 4970 | 2485
350 | 4970 | 2485
355 | 4970 | 2485
360 | 4970 | 2485
365 | 4970 | 2485
370 | 4970 | 2485
375 | 4970 | 2485
380 | 4970 | 2485
385 | 4970 | 2485
390 | 4970 | 2485
395 | 4970 | 2485
400 | 4970 | 2485
405 | 4970 | 2485
410 | 4970 | 2485
415 | 4970 | 2485
420 | 4970 | 2485
425 | 4970 | 2485
430 | 4970 | 2485
435 | 4970 | 2485
440 | 4970 | 2485
445 | 4970 | 2485
450 | 4970 | 2485
455 | 4970 | 2485
460 | 4970 | 2485
465 | 4970 | 2485
470 | 4970 | 2485
475 | 4970 | 2485
480 | 4970 | 2485
485 | 4970 | 2485
490 | 4970 | 2485
495 | 4970 | 2485
500 | 4970 | 2485
505 | 4970 | 2485
510 | 4970 | 2485
515 | 4970 | 2485
520 | 4970 | 2485
525 | 4970 | 2485
530 | 4970 | 2485
535 | 4970 | 2485
540 | 4970 | 2485
545 | 4970 | 2485
550 | 4970 | 2485
555 | 4970 | 2485
560 | 4970 | 2485
565 | 4970 | 2485
570 | 4970 | 2485
575 | 4970 | 2485
580 | 4970 | 2485
585 | 4970 | 2485
590 | 4970 | 2485
595 | 4970 | 2485
600 | 4970 | 2485
605 | 4970 | 2485
610 | 4970 | 2485
615 | 4970 | 2485
620 | 4970 | 2485
625 | 4970 | 2485
630 | 4970 | 2485
635 | 4970 | 2485
640 | 4970 | 2485
645 | 4970 | 2485
650 | 4970 | 2485
655 | 4970 | 2485
660 | 4970 | 2485
665 | 4970 | 2485
670 | 4970 | 2485
675 | 4970 | 2485
680 | 4970 | 2485
685 | 4970 | 2485
690 | 4970 | 2485
695 | 4970 | 2485
700 | 4970 | 2485
705 | 4970 | 2485
710 | 4970 | 2485
715 | 4970 | 2485
720 | 4970 | 2485
725 | 4970 | 2485
730 | 4970 | 2485
735 | 4970 | 2485
740 | 4970 | 2485
745 | 4970 | 2485
750 | 4970 | 2485
755 | 4970 | 2485
760 | 4970 | 2485
765 | 4970 | 2485
770 | 4970 | 2485
775 | 4970 | 2485
780 | 4970 | 2485
785 | 4970 | 2485
790 | 4970 | 2485
795 | 4970 | 2485
800 | 4970 | 2485
805 | 4970 | 2485
810 | 4970 | 2485
815 | 4970 | 2485
820 | 4970 | 2485
825 | 4970 | 2485
830 | 4970 | 2485
835 | 4970 | 2485
840 | 4970 | 2485
845 | 4970 | 2485
850 | 4970 | 2485
855 | 4970 | 2485
860 | 4970 | 2485
865 | 4970 | 2485
870 | 4970 | 2485
875 | 4970 | 2485
880 | 4970 | 2485
885 | 4970 | 2485
890 | 4970 | 2485
895 | 4970 | 2485
900 | 4970 | 2485
905 | 4970 | 2485
910 | 4970 | 2485
915 | 4970 | 2485
920 | 4970 | 2485
925 | 4970 | 2485
930 | 4970 | 2485
935 | 4970 | 2485
940 | 4970 | 2485
945 | 4970 | 2485
950 | 4970 | 2485
955 | 4970 | 2485
960 | 4970 | 2485
965 | 4970 | 2485
970 | 4970 | 2485
975 | 4970 | 2485
980 | 4970 | 2485
985 | 4970 | 2485
990 | 4970 | 2485
995 | 4970 | 2485
1000 | 4970 | 2485
1005 | 4970 | 2485
1010 | 4970 | 2485
1015 | 4970 | 2485
1020 | 4970 | 2485
1025 | 4970 | 2485
1030 | 4970 | 2485
1035 | 4970 | 2485
1040 | 4970 | 2485
1045 | 4970 | 2485
1050 | 4970 | 2485
1055 | 4970 | 2485
1060 | 4970 | 2485
1065 | 4970 | 2485
1070 | 4970 | 2485
1075 | 4970 | 2485
1080 | 4970 | 2485
1085 | 4970 | 2485
1090 | 4970 | 2485
1095 | 4970 | 2485
1100 | 4970 | 2485
1105 | 4970 | 2485
1110 | 4970 | 2485
1115 | 4970 | 2485
1120 | 4970 | 2485
1125 | 4970 | 2485
1130 | 4970 | 2485
1135 | 4970 | 2485
1140 | 4970 | 2485
1145 | 4970 | 2485
1150 | 4970 | 2485
1155 | 4970 | 2485
1160 | 4970 | 2485
1165 | 4970 | 2485
1170 | 4970 | 2485
1175 | 4970 | 2485
1180 | 4970 | 2485
1185 | 4970 | 2485
1190 | 4970 | 2485
1195 | 4970 | 2485
1200 | 4970 | 2485
1205 | 4970 | 2485
1210 | 4970 | 2485
1215 | 4970 | 2485
1220 | 4970 | 2485
1225 | 4970 | 2485
1230 | 4970 | 2485
1235 | 4970 | 2485
1240 | 4970 | 2485
1245 | 4970 | 2485
1250 | 4970 | 2485
1255 | 4970 | 2485
1260 | 4970 | 2485
1265 | 4970 | 2485
1270 | 4970 | 2485
1275 | 4970 | 2485
1280 | 4970 | 2485
1285 | 4970 | 2485
1290 | 4970 | 2485
1295 | 4970 | 2485
1300 | 4970 | 2485
1305 | 4970 | 2485
1310 | 4970 | 2485
1315 | 4970 | 2485
1320 | 4970 | 2485
1325 | 4970 | 2485
1330 | 4970 | 2485
1335 | 4970 | 2485
1340 | 4970 | 2485
1345 | 4970 | 2485
1350 | 4970 | 2485
1355 | 4970 | 2485
1360 | 4970 | 2485
1365 | 4970 | 2485
1370 | 4970 | 2485
1375 | 4970 | 2485
1380 | 4970 | 2485
1385 | 4970 | 2485
1390 | 4970 | 2485
1395 | 4970 | 2485
1400 | 4970 | 2485
1405 | 4970 | 2485
1410 | 4970 | 2485
1415 | 4970 | 2485
1420 | 4970 | 2485
1425 | 4970 | 2485
1430 | 4970 | 2485
1435 | 4970 | 2485
1440 | 4970 | 2485
1445 | 4970 | 2485
1450 | 4970 | 2485
1455 | 4970 | 2485
1460 | 4970 | 2485
1465 | 4970 | 2485
1470 | 4970 | 2485
1475 | 4970 | 2485
1480 | 4970 | 2485
1485 | 4970 | 2485
1490 | 4970 | 2485
1495 | 4970 | 2485
1500 | 4970 | 2485
1505 | 4970 | 2485
1510 | 4970 | 2485
1515 | 4970 | 2485
1520 | 4970 | 2485
1525 | 4970 | 2485
1530 | 4970 | 2485
1535 | 4970 | 2485
1540 | 4970 | 2485
1545 | 4970 | 2485
1550 | 4970 | 2485
1555 | 4970 | 2485
1560 | 4970 | 2485
1565 | 4970 | 2485
1570 | 4970 | 2485
1575 | 4970 | 2485
1580 | 4970 | 2485
1585 | 4970 | 2485
1590 | 4970 | 2485
1595 | 4970 | 2485
1600 | 4970 | 2485
1605 | 4970 | 2485
1610 | 4970 | 2485
1615 | 4970 | 2485
1620 | 4970 | 2485
1625 | 4970 | 2485
1630 | 4970 | 2485
1635 | 4970 | 2485
1640 | 4970 | 2485
1645 | 4970 | 2485
1650 | 4970 | 2485
1655 | 4970 | 2485
1660 | 4970 | 2485
1665 | 4970 | 2485
1670 | 4970 | 2485
1675 | 4970 | 2485
1680 | 4970 | 2485
1685 | 4970 | 2485
1690 | 4970 | 2485
1695 | 4970 | 2485
1700 | 4970 | 2485
1705 | 4970 | 2485
1710 | 4970 | 2485
1715 | 4970 | 2485
1720 | 4970 | 2485
1725 | 4970 | 2485
1730 | 4970 | 2485
1735 | 4970 | 2485
1740 | 4970 | 2485
1745 | 4970 | 2485
1750 | 4970 | 2485
1755 | 4970 | 2485
1760 | 4970 | 2485
1765 | 4970 | 2485
1770 | 4970 | 2485
1775 | 4970 | 2485
1780 | 4970 | 2485
1785 | 4970 | 2485
1790 | 4970 | 2485
1795 | 4970 | 2485
1800 | 4970 | 2485
1805 | 4970 | 2485
1810 | 4970 | 2485
1815 | 4970 | 2485
1820 | 4970 | 2485
1825 | 4970 | 2485
1830 | 4970 | 2485
1835 | 4970 | 2485
1840 | 4970 | 2485
1845 | 4970 | 2485
1850 | 4970 | 2485
1855 | 4970 | 2485
1860 | 4970 | 2485
1865 | 4970 | 2485
1870 | 4970 | 2485
1875 | 4970 | 2485
1880 | 4970 | 2485
1885 | 4970 | 2485
1890 | 4970 | 2485
1895 | 4970 | 2485
1900 | 4970 | 2485
1905 | 4970 | 2485
1910 | 4970 | 2485
1915 | 4970 | 2485
1920 | 4970 | 2485
1925 | 4970 | 2485
1930 | 4970 | 2485
1935 | 4970 | 2485
1940 | 4970 | 2485
1945 | 4970 | 2485
1950 | 4970 | 2485
1955 | 4970 | 2485
1960 | 4970 | 2485
1965 | 4970 | 2485
1970 | 4970 | 2485
1975 | 4970 | 2485
1980 | 4970 | 2485
1985 | 4970 | 2485
1990 | 4970 | 2485
1995 | 4970 | 2485
2000 | 4970 | 2485
2005 | 4346.9442 | 1861.9442
2010 | 4343.9445 | 1858.9445
2015 | 4340.9371 | 1855.9371
2020 | 4337.9222 | 1852.9222
2025 | 4334.8997 | 1849.8997
2030 | 4331.8697 | 1846.8697
2035 | 4328.8322 | 1843.8322
2040 | 4325.7872 | 1840.7872
2045 | 4322.7347 | 1837.7347
2050 | 4319.6748 | 1834.6748
2055 | 4316.6075 | 1831.6075
2060 | 4313.5328 | 1828.5328
2065 | 4310.4508 | 1825.4508
2070 | 4307.3614 | 1822.3614
2075 | 4304.2648 | 1819.2648
2080 | 4301.1608 | 1816.1608
2085 | 4298.0497 | 1813.0497
2090 | 4294.9313 | 1809.9313
2095 | 4291.8057 | 1806.8057
2100 | 4288.673 | 1803.673
2105 | 4285.5331 | 1800.5331
2110 | 4282.3861 | 1797.3861
2115 | 4279.2321 | 1794.2321
2120 | 4276.071 | 1791.071
2125 | 4272.9029 | 1787.9029
2130 | 4269.7278 | 1784.7278
2135 | 4266.5458 | 1781.5458
2140 | 4263.3568 | 1778.3568
2145 | 4260.1609 | 1775.1609
2150 | 4256.9582 | 1771.9582
2155 | 4253.7487 | 1768.7487
2160 | 4250.5323 | 1765.5323
2165 | 4247.3092 | 1762.3092
2170 | 4244.0794 | 1759.0794
2175 | 4240.8428 | 1755.8428
2180 | 4237.5996 | 1752.5996
2185 | 4234.3498 | 1749.3498
2190 | 4231.0933 | 1746.0933
2195 | 4227.8303 | 1742.8303
2200 | 4224.5607 | 1739.5607
2205 | 4221.2847 | 1736.2847
2210 | 4218.0021 | 1733.0021
2215 | 4214.7132 | 1729.7132
2220 | 4211.4178 | 1726.4178
2225 | 4208.1161 | 1723.1161
2230 | 4204.808 | 1719.808
2235 | 4201.4937 | 1716.4937
2240 | 4198.1731 | 1713.1731
2245 | 4194.8463 | 1709.8463
2250 | 4191.5132 | 1706.5132
2255 | 4188.1741 | 1703.1741
2260 | 4184.8288 | 1699.8288
2265 | 4181.4775 | 1696.4775
2270 | 4178.1201 | 1693.1201
2275 | 4174.7567 | 1689.7567
2280 | 4171.3873 | 1686.3873
2285 | 4168.012 | 1683.012
2290 | 4164.6309 | 1679.6309
2295 | 4161.2439 | 1676.2439
2300 | 4157.851 | 1672.851
2305 | 4154.4524 | 1669.4524
2310 | 4151.0481 | 1666.0481
2315 | 4147.6381 | 1662.6381
2320 | 4144.2224 | 1659.2224
2325 | 4140.8011 | 1655.8011
2330 | 4137.3742 | 1652.3742
2335 | 4133.9418 | 1648.9418
2340 | 4130.5039 | 1645.5039
2345 | 4127.0606 | 1642.0606
2350 | 4123.6118 | 1638.6118
2355 | 4120.1577 | 1635.1577
2360 | 4116.6982 | 1631.6982
2365 | 4113.2335 | 1628.2335
2370 | 4109.7635 | 1624.7635
2375 | 4106.2883 | 1621.2883
2380 | 4102.8079 | 1617.8079
2385 | 4099.3224 | 1614.3224
2390 | 4095.8319 | 1610.8319
2395 | 4092.3363 | 1607.3363
2400 | 4088.8357 | 1603.8357
2405 | 4085.3301 | 1600.3301
2410 | 4081.8197 | 1596.8197
2415 | 4078.3044 | 1593.3044
2420 | 4074.7843 | 1589.7843
2425 | 4071.2594 | 1586.2594
2430 | 4067.7297 | 1582.7297
2435 | 4064.1954 | 1579.1954
2440 | 4060.6565 | 1575.6565
2445 | 4057.1129 | 1572.1129
2450 | 4053.5648 | 1568.5648
2455 | 4050.0122 | 1565.0122
2460 | 4046.4551 | 1561.4551
2465 | 4042.8936 | 1557.8936
2470 | 4039.3278 | 1554.3278
2475 | 4035.7576 | 1550.7576
2480 | 4032.1831 | 1547.1831
2485 | 4028.6045 | 1543.6045
2490 | 4025.0216 | 1540.0216
2495 | 4021.4346 | 1536.4346
2500 | 4017.8435 | 1532.8435
2505 | 4014.2483 | 1529.2483
2510 | 4010.6492 | 1525.6492
2515 | 4007.0461 | 1522.0461
2520 | 4003.4391 | 1518.4391
2525 | 3999.8282 | 1514.8282
2530 | 3996.2135 | 1511.2135
2535 | 3992.5951 | 1507.5951
2540 | 3988.973 | 1503.973
2545 | 3985.3472 | 1500.3472
2550 | 3981.7177 | 1496.7177
2555 | 3978.0848 | 1493.0848
2560 | 3974.4483 | 1489.4483
2565 | 3970.8083 | 1485.8083
2570 | 3967.1649 | 1482.1649
2575 | 3963.5181 | 1478.5181
2580 | 3959.868 | 1474.868
2585 | 3956.2147 | 1471.2147
2590 | 3952.5581 | 1467.5581
2595 | 3948.8984 | 1463.8984
2600 | 3945.2355 | 1460.2355
2605 | 3941.5695 | 1456.5695
2610 | 3937.9005 | 1452.9005
2615 | 3934.2286 | 1449.2286
2620 | 3930.5537 | 1445.5537
2625 | 3926.876 | 1441.876
2630 | 3923.1954 | 1438.1954
2635 | 3919.5121 | 1434.5121
2640 | 3915.826 | 1430.826
2645 | 3912.1373 | 1427.1373
2650 | 3908.446 | 1423.446
2655 | 3904.752 | 1419.752
2660 | 3901.0556 | 1416.0556
2665 | 3897.3567 | 1412.3567
2670 | 3893.6554 | 1408.6554
2675 | 3889.9517 | 1404.9517
2680 | 3886.2458 | 1401.2458
2685 | 3882.5375 | 1397.5375
2690 | 3878.8271 | 1393.8271
2695 | 3875.1145 | 1390.1145
2700 | 3871.3998 | 1386.3998
2705 | 3867.683 | 1382.683
2710 | 3863.9643 | 1378.9643
2715 | 3860.2436 | 1375.2436
2720 | 3856.521 | 1371.521
2725 | 3852.7966 | 1367.7966
2730 | 3849.0703 | 1364.0703
2735 | 3845.3424 | 1360.3424
2740 | 3841.6128 | 1356.6128
2745 | 3837.8815 | 1352.8815
2750 | 3834.1486 | 1349.1486
2755 | 3830.4143 | 1345.4143
2760 | 3826.6784 | 1341.6784
2765 | 3822.9412 | 1337.9412
2770 | 3819.2026 | 1334.2026
2775 | 3815.4626 | 1330.4626
2780 | 3811.7214 | 1326.7214
2785 | 3807.979 | 1322.979
2790 | 3804.2355 | 1319.2355
2795 | 3800.4908 | 1315.4908
2800 | 3796.7451 | 1311.7451
2805 | 3792.9984 | 1307.9984
2810 | 3789.2508 | 1304.2508
2815 | 3785.5023 | 1300.5023
2820 | 3781.753 | 1296.753
2825 | 3778.0028 | 1293.0028
2830 | 3774.252 | 1289.252
2835 | 3770.5005 | 1285.5005
2840 | 3766.7483 | 1281.7483
2845 | 3762.9956 | 1277.9956
2850 | 3759.2424 | 1274.2424
2855 | 3755.4888 | 1270.4888
2860 | 3751.7347 | 1266.7347
2865 | 3747.9803 | 1262.9803
2870 | 3744.2256 | 1259.2256
2875 | 3740.4707 | 1255.4707
2880 | 3736.7155 | 1251.7155
2885 | 3732.9603 | 1247.9603
2890 | 3729.2049 | 1244.2049
2895 | 3725.4496 | 1240.4496
2900 | 3721.6942 | 1236.6942
2905 | 3717.939 | 1232.939
2910 | 3714.1839 | 1229.1839
2915 | 3710.4289 | 1225.4289
2920 | 3706.6743 | 1221.6743
2925 | 3702.9199 | 1217.9199
2930 | 3699.1659 | 1214.1659
2935 | 3695.4122 | 1210.4122
2940 | 3691.6591 | 1206.6591
2945 | 3687.9064 | 1202.9064
2950 | 3684.1544 | 1199.1544
2955 | 3680.4029 | 1195.4029
2960 | 3676.6521 | 1191.6521
2965 | 3672.9021 | 1187.9021
2970 | 3669.1528 | 1184.1528
2975 | 3665.4044 | 1180.4044
2980 | 3661.6568 | 1176.6568
2985 | 3657.9102 | 1172.9102
2990 | 3654.1646 | 1169.1646
2995 | 3650.4201 | 1165.4201
3000 | 3646.6766 | 1161.6766
3005 | 2852.1854 | 1157.9343
3010 | 2843.6881 | 1154.1933
3015 | 2835.1802 | 1150.4534
3020 | 2826.6618 | 1146.7149
3025 | 2818.133 | 1142.9778
3030 | 2809.5941 | 1139.2421
3035 | 2801.0452 | 1135.5079
3040 | 2792.4864 | 1131.7752
3045 | 2783.9179 | 1128.044
3050 | 2775.3399 | 1124.3146
3055 | 2766.7526 | 1120.5868
3060 | 2758.156 | 1116.8607
3065 | 2749.5505 | 1113.1365
3070 | 2740.9361 | 1109.414
3075 | 2732.313 | 1105.6935
3080 | 2723.6814 | 1101.9749
3085 | 2715.0415 | 1098.2584
3090 | 2706.3934 | 1094.5439
3095 | 2697.7374 | 1090.8315
3100 | 2689.0735 | 1087.1212
3105 | 2680.4019 | 1083.4132
3110 | 2671.7229 | 1079.7074
3115 | 2663.0366 | 1076.004
3120 | 2654.3432 | 1072.3029
3125 | 2645.6429 | 1068.6042
3130 | 2636.9358 | 1064.908
3135 | 2628.2221 | 1061.2143
3140 | 2619.502 | 1057.5232
3145 | 2610.7757 | 1053.8347
3150 | 2602.0433 | 1050.1489
3155 | 2593.3051 | 1046.4659
3160 | 2584.5612 | 1042.7855
3165 | 2575.8118 | 1039.1081
3170 | 2567.0571 | 1035.4335
3175 | 2558.2972 | 1031.7618
3180 | 2549.5324 | 1028.0931
3185 | 2540.7628 | 1024.4274
3190 | 2531.9887 | 1020.7648
3195 | 2523.2102 | 1017.1054
3200 | 2514.4274 | 1013.4491
3205 | 2505.6406 | 1009.796
3210 | 2496.85 | 1006.1462
3215 | 2488.0558 | 1002.4998
3220 | 2479.2581 | 998.8567
3225 | 2470.4571 | 995.217
3230 | 2461.653 | 991.5809
3235 | 2452.846 | 987.9482
3240 | 2444.0364 | 984.3191
3245 | 2435.2242 | 980.6936
3250 | 2426.4097 | 977.0718
3255 | 2417.593 | 973.4538
3260 | 2408.7744 | 969.8394
3265 | 2399.9541 | 966.2289
3270 | 2391.1322 | 962.6223
3275 | 2382.3089 | 959.0196
3280 | 2373.4845 | 955.4208
3285 | 2364.6591 | 951.826
3290 | 2355.8328 | 948.2353
3295 | 2347.006 | 944.6486
3300 | 2338.1788 | 941.0661
3305 | 2329.3513 | 937.4878
3310 | 2320.5239 | 933.9138
3315 | 2311.6966 | 930.344
3320 | 2302.8697 | 926.7785
3325 | 2294.0433 | 923.2174
3330 | 2285.2177 | 919.6608
3335 | 2276.3931 | 916.1086
3340 | 2267.5696 | 912.5609
3345 | 2258.7474 | 909.0178
3350 | 2249.9268 | 905.4792
3355 | 2241.1079 | 901.9453
3360 | 2232.2909 | 898.4161
3365 | 2223.476 | 894.8917
3370 | 2214.6635 | 891.372
3375 | 2205.8535 | 887.8571
3380 | 2197.0461 | 884.3471
3385 | 2188.2417 | 880.8421
3390 | 2179.4403 | 877.3419
3395 | 2170.6423 | 873.8468
3400 | 2161.8477 | 870.3567
3405 | 2153.0568 | 866.8717
3410 | 2144.2698 | 863.3918
3415 | 2135.4868 | 859.9171
3420 | 2126.7081 | 856.4475
3425 | 2117.9339 | 852.9833
3430 | 2109.1643 | 849.5243
3435 | 2100.3995 | 846.0707
3440 | 2091.6398 | 842.6224
3445 | 2082.8853 | 839.1795
3450 | 2074.1362 | 835.7422
3455 | 2065.3928 | 832.3103
3460 | 2056.6551 | 828.8839
3465 | 2047.9235 | 825.4631
3470 | 2039.198 | 822.048
3475 | 2030.479 | 818.6385
3480 | 2021.7665 | 815.2347
3485 | 2013.0607 | 811.8366
3490 | 2004.362 | 808.4443
3495 | 1995.6704 | 805.0578
3500 | 1986.9861 | 801.6772
3505 | 1978.3094 | 798.3025
3510 | 1969.6403 | 794.9336
3515 | 1960.9792 | 791.5708
3520 | 1952.3262 | 788.214
3525 | 1943.6815 | 784.8632
3530 | 1935.0452 | 781.5185
3535 | 1926.4177 | 778.1799
3540 | 1917.7989 | 774.8474
3545 | 1909.1892 | 771.5212
3550 | 1900.5887 | 768.2011
3555 | 1891.9977 | 764.8874
3560 | 1883.4162 | 761.5799
3565 | 1874.8445 | 758.2787
3570 | 1866.2828 | 754.984
3575 | 1857.7312 | 751.6956
3580 | 1849.1899 | 748.4137
3585 | 1840.6592 | 745.1382
3590 | 1832.1392 | 741.8692
3595 | 1823.63 | 738.6068
3600 | 1815.1319 | 735.351
3605 | 1806.645 | 732.1017
3610 | 1798.1695 | 728.8591
3615 | 1789.7056 | 725.6232
3620 | 1781.2535 | 722.394
3625 | 1772.8134 | 719.1715
3630 | 1764.3853 | 715.9558
3635 | 1755.9696 | 712.7468
3640 | 1747.5664 | 709.5448
3645 | 1739.1758 | 706.3495
3650 | 1730.798 | 703.1612
3655 | 1722.4332 | 699.9798
3660 | 1714.0816 | 696.8054
3665 | 1705.7433 | 693.6379
3670 | 1697.4185 | 690.4775
3675 | 1689.1074 | 687.3241
3680 | 1680.8102 | 684.1777
3685 | 1672.527 | 681.0385
3690 | 1664.2579 | 677.9065
3695 | 1656.0032 | 674.7815
3700 | 1647.7631 | 671.6638
3705 | 1639.5376 | 668.5533
3710 | 1631.3269 | 665.45
3715 | 1623.1313 | 662.354
3720 | 1614.9508 | 659.2654
3725 | 1606.7856 | 656.184
3730 | 1598.636 | 653.11
3735 | 1590.502 | 650.0434
3740 | 1582.3838 | 646.9842
3745 | 1574.2815 | 643.9324
3750 | 1566.1954 | 640.8881
3755 | 1558.1255 | 637.8512
3760 | 1550.0721 | 634.8219
3765 | 1542.0352 | 631.8001
3770 | 1534.0151 | 628.7859
3775 | 1526.0119 | 625.7792
3780 | 1518.0257 | 622.7802
3785 | 1510.0567 | 619.7888
3790 | 1502.105 | 616.805
3795 | 1494.1708 | 613.8289
3800 | 1486.2542 | 610.8605
3805 | 1478.3553 | 607.8999
3810 | 1470.4744 | 604.947
3815 | 1462.6115 | 602.0018
3820 | 1454.7669 | 599.0645
3825 | 1446.9405 | 596.1349
3830 | 1439.1326 | 593.2132
3835 | 1431.3434 | 590.2993
3840 | 1423.5729 | 587.3933
3845 | 1415.8212 | 584.4952
3850 | 1408.0886 | 581.6051
3855 | 1400.3751 | 578.7228
3860 | 1392.6809 | 575.8485
3865 | 1385.0062 | 572.9822
3870 | 1377.3509 | 570.1238
3875 | 1369.7154 | 567.2735
3880 | 1362.0996 | 564.4312
3885 | 1354.5037 | 561.597
3890 | 1346.9279 | 558.7708
3895 | 1339.3723 | 555.9527
3900 | 1331.8369 | 553.1426
3905 | 1324.322 | 550.3407
3910 | 1316.8276 | 547.547
3915 | 1309.3538 | 544.7614
3920 | 1301.9008 | 541.9839
3925 | 1294.4687 | 539.2146
3930 | 1287.0576 | 536.4535
3935 | 1279.6676 | 533.7007
3940 | 1272.2989 | 530.956
3945 | 1264.9514 | 528.2196
3950 | 1257.6254 | 525.4915
3955 | 1250.321 | 522.7716
3960 | 1243.0382 | 520.06
3965 | 1235.7772 | 517.3567
3970 | 1228.538 | 514.6617
3975 | 1221.3208 | 511.975
3980 | 1214.1257 | 509.2967
3985 | 1206.9528 | 506.6267
3990 | 1199.8021 | 503.9651
3995 | 1192.6738 | 501.3119
4000 | 1185.568 | 498.667
4005 | 1178.4847 | 496.0305
4010 | 1171.424 | 493.4024
4015 | 1164.3862 | 490.7828
4020 | 1157.3711 | 488.1716
4025 | 1150.379 | 485.5688
4030 | 1143.4098 | 482.9744
4035 | 1136.4638 | 480.3885
4040 | 1129.541 | 477.8111
4045 | 1122.6414 | 475.2422
4050 | 1115.7652 | 472.6817
4055 | 1108.9124 | 470.1298
4060 | 1102.0831 | 467.5863
4065 | 1095.2774 | 465.0514
4070 | 1088.4954 | 462.5249
4075 | 1081.7371 | 460.007
4080 | 1075.0026 | 457.4976
4085 | 1068.292 | 454.9968
4090 | 1061.6054 | 452.5045
4095 | 1054.9428 | 450.0207
4100 | 1048.3043 | 447.5456
4105 | 1041.6899 | 445.0789
4110 | 1035.0998 | 442.6209
4115 | 1028.534 | 440.1714
4120 | 1021.9925 | 437.7305
4125 | 1015.4755 | 435.2982
4130 | 1008.9829 | 432.8745
4135 | 1002.5149 | 430.4594
4140 | 996.0715 | 428.0528
4145 | 989.6527 | 425.6549
4150 | 983.2587 | 423.2656
4155 | 976.8894 | 420.8849
4160 | 970.5449 | 418.5128
4165 | 964.2252 | 416.1493
4170 | 957.9305 | 413.7944
4175 | 951.6608 | 411.4482
4180 | 945.416 | 409.1106
4185 | 939.1963 | 406.7815
4190 | 933.0017 | 404.4612
4195 | 926.8322 | 402.1494
4200 | 920.6879 | 399.8463
4205 | 914.5689 | 397.5518
4210 | 908.475 | 395.2659
4215 | 902.4065 | 392.9887
4220 | 896.3633 | 390.7201
4225 | 890.3455 | 388.4601
4230 | 884.353 | 386.2087
4235 | 878.386 | 383.966
4240 | 872.4444 | 381.7319
4245 | 866.5284 | 379.5064
4250 | 860.6378 | 377.2895
4255 | 854.7728 | 375.0813
4260 | 848.9333 | 372.8817
4265 | 843.1194 | 370.6907
4270 | 837.3311 | 368.5083
4275 | 831.5685 | 366.3345
4280 | 825.8315 | 364.1693
4285 | 820.1202 | 362.0128
4290 | 814.4345 | 359.8648
4295 | 808.7745 | 357.7254
4300 | 803.1403 | 355.5947
4305 | 797.5318 | 353.4725
4310 | 791.949 | 351.3589
4315 | 786.392 | 349.2539
4320 | 780.8607 | 347.1575
4325 | 775.3552 | 345.0696
4330 | 769.8754 | 342.9903
4335 | 764.4214 | 340.9196
4340 | 758.9932 | 338.8574
4345 | 753.5908 | 336.8038
4350 | 748.2142 | 334.7587
4355 | 742.8633 | 332.7222
4360 | 737.5383 | 330.6942
4365 | 732.239 | 328.6747
4370 | 726.9655 | 326.6637
4375 | 721.7177 | 324.6613
4380 | 716.4957 | 322.6673
4385 | 711.2995 | 320.6818
4390 | 706.129 | 318.7049
4395 | 700.9843 | 316.7364
4400 | 695.8653 | 314.7764
4405 | 690.772 | 312.8248
4410 | 685.7044 | 310.8817
4415 | 680.6625 | 308.947
4420 | 675.6462 | 307.0208
4425 | 670.6556 | 305.103
4430 | 665.6907 | 303.1936
4435 | 660.7514 | 301.2927
4440 | 655.8377 | 299.4001
4445 | 650.9495 | 297.5159
4450 | 646.0869 | 295.6401
4455 | 641.2499 | 293.7727
4460 | 636.4383 | 291.9136
4465 | 631.6523 | 290.0628
4470 | 626.8917 | 288.2204
4475 | 622.1565 | 286.3863
4480 | 617.4467 | 284.5606
4485 | 612.7623 | 282.7431
4490 | 608.1032 | 280.9339
4495 | 603.4694 | 279.133
4500 | 598.8609 | 277.3404
4505 | 594.2777 | 275.556
4510 | 589.7196 | 273.7798
4515 | 585.1867 | 272.0119
4520 | 580.679 | 270.2522
4525 | 576.1963 | 268.5007
4530 | 571.7387 | 266.7574
4535 | 567.3061 | 265.0222
4540 | 562.8985 | 263.2953
4545 | 558.5158 | 261.5764
4550 | 554.1579 | 259.8657
4555 | 549.825 | 258.1631
4560 | 545.5168 | 256.4687
4565 | 541.2334 | 254.7823
4570 | 536.9747 | 253.104
4575 | 532.7406 | 251.4337
4580 | 528.5312 | 249.7715
4585 | 524.3463 | 248.1173
4590 | 520.1859 | 246.4712
4595 | 516.05 | 244.833
4600 | 511.9385 | 243.2029
4605 | 507.8513 | 241.5807
4610 | 503.7885 | 239.9664
4615 | 499.7499 | 238.3601
4620 | 495.7355 | 236.7617
4625 | 491.7452 | 235.1712
4630 | 487.779 | 233.5886
4635 | 483.8368 | 232.0139
4640 | 479.9185 | 230.4471
4645 | 476.0242 | 228.888
4650 | 472.1537 | 227.3368
4655 | 468.307 | 225.7935
4660 | 464.4841 | 224.2578
4665 | 460.6847 | 222.73
4670 | 456.909 | 221.2099
4675 | 453.1568 | 219.6976
4680 | 449.4281 | 218.193
4685 | 445.7227 | 216.696
4690 | 442.0407 | 215.2068
4695 | 438.382 | 213.7252
4700 | 434.7464 | 212.2513
4705 | 431.134 | 210.7849
4710 | 427.5447 | 209.3262
4715 | 423.9784 | 207.8751
4720 | 420.4349 | 206.4316
4725 | 416.9144 | 204.9956
4730 | 413.4166 | 203.5671
4735 | 409.9415 | 202.1462
4740 | 406.4891 | 200.7327
4745 | 403.0592 | 199.3268
4750 | 399.6518 | 197.9282
4755 | 396.2669 | 196.5372
4760 | 392.9043 | 195.1535
4765 | 389.5639 | 193.7772
4770 | 386.2458 | 192.4083
4775 | 382.9498 | 191.0468
4780 | 379.6758 | 189.6926
4785 | 376.4237 | 188.3457
4790 | 373.1936 | 187.0061
4795 | 369.9853 | 185.6738
4800 | 366.7986 | 184.3488
4805 | 363.6337 | 183.031
4810 | 360.4903 | 181.7203
4815 | 357.3684 | 180.4169
4820 | 354.2679 | 179.1207
4825 | 351.1887 | 177.8316
4830 | 348.1308 | 176.5496
4835 | 345.0941 | 175.2748
4840 | 342.0784 | 174.007
4845 | 339.0837 | 172.7463
4850 | 336.1099 | 171.4927
4855 | 333.157 | 170.2461
4860 | 330.2248 | 169.0064
4865 | 327.3133 | 167.7738
4870 | 324.4224 | 166.5481
4875 | 321.5519 | 165.3294
4880 | 318.7019 | 164.1175
4885 | 315.8722 | 162.9126
4890 | 313.0627 | 161.7145
4895 | 310.2734 | 160.5233
4900 | 307.5042 | 159.3389
4905 | 304.7549 | 158.1613
4910 | 302.0255 | 156.9905
4915 | 299.316 | 155.8265
4920 | 296.6261 | 154.6692
4925 | 293.9559 | 153.5186
4930 | 291.3052 | 152.3747
4935 | 288.674 | 151.2375
4940 | 286.0621 | 150.1069
4945 | 283.4695 | 148.9829
4950 | 280.8961 | 147.8656
4955 | 278.3418 | 146.7548
4960 | 275.8065 | 145.6506
4965 | 273.2901 | 144.5529
4970 | 270.7925 | 143.4617
4975 | 268.3137 | 142.377
4980 | 265.8535 | 141.2988
4985 | 263.4119 | 140.227
4990 | 260.9888 | 139.1617
4995 | 258.584 | 138.1027
5000 | 256.1975 | 137.0501
5005 | 253.8292 | 136.0038
5010 | 251.479 | 134.9639
5015 | 249.1469 | 133.9303
5020 | 246.8326 | 132.9029
5025 | 244.5362 | 131.8818
5030 | 242.2575 | 130.867
5035 | 239.9965 | 129.8583
5040 | 237.753 | 128.8558
5045 | 235.527 | 127.8595
5050 | 233.3184 | 126.8693
5055 | 231.127 | 125.8853
5060 | 228.9528 | 124.9073
5065 | 226.7958 | 123.9354
5070 | 224.6557 | 122.9695
5075 | 222.5325 | 122.0097
5080 | 220.4262 | 121.0558
5085 | 218.3366 | 120.1079
5090 | 216.2637 | 119.166
5095 | 214.2073 | 118.23
5100 | 212.1673 | 117.2998
5105 | 210.1437 | 116.3756
5110 | 208.1364 | 115.4572
5115 | 206.1452 | 114.5446
5120 | 204.1702 | 113.6379
5125 | 202.2111 | 112.7369
5130 | 200.268 | 111.8416
5135 | 198.3406 | 110.9521
5140 | 196.429 | 110.0683
5145 | 194.533 | 109.1902
5150 | 192.6526 | 108.3178
5155 | 190.7876 | 107.451
5160 | 188.9379 | 106.5897
5165 | 187.1035 | 105.7341
5170 | 185.2843 | 104.8841
5175 | 183.4802 | 104.0395
5180 | 181.6911 | 103.2005
5185 | 179.9169 | 102.367
5190 | 178.1574 | 101.539
5195 | 176.4127 | 100.7164
5200 | 174.6827 | 99.8992
5205 | 172.9671 | 99.0874
5210 | 171.2661 | 98.281
5215 | 169.5794 | 97.4799
5220 | 167.9069 | 96.6841
5225 | 166.2487 | 95.8937
5230 | 164.6045 | 95.1085
5235 | 162.9743 | 94.3285
5240 | 161.3581 | 93.5538
5245 | 159.7556 | 92.7843
5250 | 158.1669 | 92.02
5255 | 156.5919 | 91.2608
5260 | 155.0304 | 90.5068
5265 | 153.4824 | 89.7578
5270 | 151.9478 | 89.014
5275 | 150.4264 | 88.2752
5280 | 148.9183 | 87.5414
5285 | 147.4233 | 86.8127
5290 | 145.9414 | 86.0889
5295 | 144.4723 | 85.3701
5300 | 143.0162 | 84.6563
5305 | 141.5728 | 83.9473
5310 | 140.1421 | 83.2433
5315 | 138.724 | 82.5441
5320 | 137.3184 | 81.8497
5325 | 135.9253 | 81.1602
5330 | 134.5445 | 80.4755
5335 | 133.176 | 79.7956
5340 | 131.8196 | 79.1204
5345 | 130.4753 | 78.4499
5350 | 129.1431 | 77.7841
5355 | 127.8227 | 77.123
5360 | 126.5143 | 76.4666
5365 | 125.2175 | 75.8148
5370 | 123.9325 | 75.1676
5375 | 122.659 | 74.525
5380 | 121.397 | 73.8869
5385 | 120.1465 | 73.2534
5390 | 118.9073 | 72.6244
5395 | 117.6794 | 72
5400 | 116.4627 | 71.3799
5405 | 115.2571 | 70.7643
5410 | 114.0625 | 70.1532
5415 | 112.8788 | 69.5464
5420 | 111.706 | 68.944
5425 | 110.544 | 68.346
5430 | 109.3927 | 67.7523
5435 | 108.252 | 67.1629
5440 | 107.1218 | 66.5778
5445 | 106.0021 | 65.997
5450 | 104.8928 | 65.4204
5455 | 103.7939 | 64.848
5460 | 102.7051 | 64.2798
5465 | 101.6265 | 63.7158
5470 | 100.558 | 63.1559
5475 | 99.4995 | 62.6002
5480 | 98.4509 | 62.0486
5485 | 97.4122 | 61.501
5490 | 96.3832 | 60.9575
5495 | 95.3639 | 60.418
5500 | 94.3543 | 59.8826
5505 | 93.3542 | 59.3511
5510 | 92.3636 | 58.8237
5515 | 91.3824 | 58.3001
5520 | 90.4105 | 57.7805
5525 | 89.4479 | 57.2648
5530 | 88.4945 | 56.753
5535 | 87.5502 | 56.245
5540 | 86.6149 | 55.7409
5545 | 85.6886 | 55.2406
5550 | 84.7712 | 54.7441
5555 | 83.8626 | 54.2513
5560 | 82.9627 | 53.7623
5565 | 82.0716 | 53.2771
5570 | 81.1891 | 52.7955
5575 | 80.3151 | 52.3176
5580 | 79.4496 | 51.8434
5585 | 78.5925 | 51.3729
5590 | 77.7437 | 50.9059
5595 | 76.9032 | 50.4426
5600 | 76.0709 | 49.9828
5605 | 75.2468 | 49.5266
5610 | 74.4307 | 49.074
5615 | 73.6226 | 48.6248
5620 | 72.8225 | 48.1792
5625 | 72.0302 | 47.737
5630 | 71.2458 | 47.2983
5635 | 70.4691 | 46.863
5640 | 69.7 | 46.4311
5645 | 68.9386 | 46.0027
5650 | 68.1847 | 45.5776
5655 | 67.4383 | 45.1558
5660 | 66.6994 | 44.7374
5665 | 65.9678 | 44.3223
5670 | 65.2435 | 43.9104
5675 | 64.5264 | 43.5019
5680 | 63.8165 | 43.0966
5685 | 63.1137 | 42.6945
5690 | 62.4179 | 42.2956
5695 | 61.7292 | 41.8999
5700 | 61.0473 | 41.5074
5705 | 60.3724 | 41.1181
5710 | 59.7042 | 40.7319
5715 | 59.0428 | 40.3487
5720 | 58.3881 | 39.9687
5725 | 57.7401 | 39.5918
5730 | 57.0986 | 39.2179
5735 | 56.4636 | 38.847
5740 | 55.8351 | 38.4791
5745 | 55.213 | 38.1143
5750 | 54.5972 | 37.7524
5755 | 53.9878 | 37.3935
5760 | 53.3845 | 37.0375
5765 | 52.7875 | 36.6844
5770 | 52.1966 | 36.3342
5775 | 51.6117 | 35.9869
5780 | 51.0329 | 35.6425
5785 | 50.46 | 35.3009
5790 | 49.893 | 34.9621
5795 | 49.3319 | 34.6261
5800 | 48.7766 | 34.293
5805 | 48.2271 | 33.9626
5810 | 47.6832 | 33.6349
5815 | 47.145 | 33.31
5820 | 46.6124 | 32.9878
5825 | 46.0853 | 32.6682
5830 | 45.5637 | 32.3514
5835 | 45.0476 | 32.0372
5840 | 44.5369 | 31.7257
5845 | 44.0315 | 31.4168
5850 | 43.5314 | 31.1105
5855 | 43.0365 | 30.8068
5860 | 42.5468 | 30.5056
5865 | 42.0623 | 30.207
5870 | 41.5829 | 29.911
5875 | 41.1085 | 29.6174
5880 | 40.6392 | 29.3264
5885 | 40.1748 | 29.0379
5890 | 39.7153 | 28.7518
5895 | 39.2607 | 28.4682
5900 | 38.8109 | 28.187
5905 | 38.3659 | 27.9082
5910 | 37.9256 | 27.6318
5915 | 37.49 | 27.3578
5920 | 37.059 | 27.0862
5925 | 36.6327 | 26.8169
5930 | 36.2109 | 26.55
5935 | 35.7936 | 26.2853
5940 | 35.3807 | 26.023
5945 | 34.9723 | 25.763
5950 | 34.5683 | 25.5052
5955 | 34.1686 | 25.2497
5960 | 33.7732 | 24.9964
5965 | 33.3821 | 24.7453
5970 | 32.9952 | 24.4964
5975 | 32.6124 | 24.2498
5980 | 32.2338 | 24.0053
5985 | 31.8593 | 23.7629
5990 | 31.4888 | 23.5227
5995 | 31.1224 | 23.2846
6000 | 30.7599 | 23.0487
6005 | 30.4014 | 22.8148
6010 | 30.0467 | 22.583
6015 | 29.696 | 22.3533
6020 | 29.349 | 22.1256
6025 | 29.0058 | 21.9
6030 | 28.6664 | 21.6763
6035 | 28.3307 | 21.4547
6040 | 27.9987 | 21.2351
6045 | 27.6702 | 21.0174
6050 | 27.3454 | 20.8018
6055 | 27.0242 | 20.588
6060 | 26.7065 | 20.3762
6065 | 26.3923 | 20.1663
6070 | 26.0815 | 19.9583
6075 | 25.7742 | 19.7522
6080 | 25.4703 | 19.548
6085 | 25.1697 | 19.3456
6090 | 24.8724 | 19.145
6095 | 24.5784 | 18.9464
6100 | 24.2877 | 18.7495
6105 | 24.0002 | 18.5544
6110 | 23.7159 | 18.3611
6115 | 23.4348 | 18.1696
6120 | 23.1568 | 17.9799
6125 | 22.8818 | 17.7919
6130 | 22.61 | 17.6056
6135 | 22.3411 | 17.4211
6140 | 22.0753 | 17.2382
6145 | 21.8124 | 17.0571
6150 | 21.5525 | 16.8777
6155 | 21.2955 | 16.6999
6160 | 21.0414 | 16.5238
6165 | 20.7901 | 16.3493
6170 | 20.5416 | 16.1764
6175 | 20.296 | 16.0052
6180 | 20.0531 | 15.8356
6185 | 20 | 15.6676
6190 | 20 | 15.5011
6195 | 20 | 15.3362
6200 | 20 | 15.1729
6205 | 20 | 15.0111
6210 | 20 | 14.8509
6215 | 20 | 14.6921
6220 | 20 | 14.5349
6225 | 20 | 14.3792
6230 | 20 | 14.2249
6235 | 20 | 14.0722
6240 | 20 | 13.9208
6245 | 20 | 13.771
6250 | 20 | 13.6225
6255 | 20 | 13.4755
6260 | 20 | 13.3299
6265 | 20 | 13.1857
6270 | 20 | 13.0429
6275 | 20 | 12.9015
6280 | 20 | 12.7614
6285 | 20 | 12.6227
6290 | 20 | 12.4853
6295 | 20 | 12.3493
6300 | 20 | 12.2145
6305 | 20 | 12.0811
6310 | 20 | 11.949
6315 | 20 | 11.8182
6320 | 20 | 11.6887
6325 | 20 | 11.5604
6330 | 20 | 11.4334
6335 | 20 | 11.3076
6340 | 20 | 11.1831
6345 | 20 | 11.0598
6350 | 20 | 10.9377
6355 | 20 | 10.8168
6360 | 20 | 10.6972
6365 | 20 | 10.5787
6370 | 20 | 10.4613
6375 | 20 | 10.3452
6380 | 20 | 10.2302
6385 | 20 | 10.1163
6390 | 20 | 10.0036
6395 | 20 | 9.892
6400 | 20 | 9.7815
6405 | 20 | 9.6721
6410 | 20 | 9.5639
6415 | 20 | 9.4567
6420 | 20 | 9.3506
6425 | 20 | 9.2455
6430 | 20 | 9.1415
6435 | 20 | 9.0386
6440 | 20 | 8.9367
6445 | 20 | 8.8359
6450 | 20 | 8.736
6455 | 20 | 8.6372
6460 | 20 | 8.5394
6465 | 20 | 8.4426
6470 | 20 | 8.3467
6475 | 20 | 8.2519
6480 | 20 | 8.158
6485 | 20 | 8.0651
6490 | 20 | 7.9731
6495 | 20 | 7.8821
6500 | 20 | 7.792
6505 | 10 | 7.7028
6510 | 10 | 7.6146
6515 | 10 | 7.5273
6520 | 10 | 7.4408
6525 | 10 | 7.3553
6530 | 10 | 7.2707
6535 | 10 | 7.1869
6540 | 10 | 7.104
6545 | 10 | 7.022
6550 | 10 | 6.9408
6555 | 10 | 6.8605
6560 | 10 | 6.781
6565 | 10 | 6.7023
6570 | 10 | 6.6245
6575 | 10 | 6.5475
6580 | 10 | 6.4713
6585 | 10 | 6.3959
6590 | 10 | 6.3213
6595 | 10 | 6.2475
6600 | 10 | 6.1744
6605 | 10 | 6.1021
6610 | 10 | 6.0307
6615 | 10 | 5.9599
6620 | 10 | 5.8899
6625 | 10 | 5.8207
6630 | 10 | 5.7522
6635 | 10 | 5.6844
6640 | 10 | 5.6173
6645 | 10 | 5.551
6650 | 10 | 5.4854
6655 | 10 | 5.4205
6660 | 10 | 5.3562
6665 | 10 | 5.2927
6670 | 10 | 5.2299
6675 | 10 | 5.1677
6680 | 10 | 5.1062
6685 | 10 | 5.0454
6690 | 10 | 4.9852
6695 | 10 | 4.9257
6700 | 10 | 4.8668
6705 | 10 | 4.8086
6710 | 10 | 4.751
6715 | 10 | 4.694
6720 | 10 | 4.6376
6725 | 10 | 4.5819
6730 | 10 | 4.5268
6735 | 10 | 4.4722
6740 | 10 | 4.4183
6745 | 10 | 4.365
6750 | 10 | 4.3122
6755 | 10 | 4.2601
6760 | 10 | 4.2085
6765 | 10 | 4.1574
6770 | 10 | 4.107
6775 | 10 | 4.0571
6780 | 10 | 4.0077
6785 | 10 | 3.9589
6790 | 10 | 3.9107
6795 | 10 | 3.863
6800 | 10 | 3.8158
6805 | 10 | 3.7691
6810 | 10 | 3.723
6815 | 10 | 3.6773
6820 | 10 | 3.6322
6825 | 10 | 3.5876
6830 | 10 | 3.5435
6835 | 10 | 3.4999
6840 | 10 | 3.4568
6845 | 10 | 3.4141
6850 | 10 | 3.372
6855 | 10 | 3.3303
6860 | 10 | 3.2891
6865 | 10 | 3.2483
6870 | 10 | 3.2081
6875 | 10 | 3.1682
6880 | 10 | 3.1289
6885 | 10 | 3.09
6890 | 10 | 3.0515
6895 | 10 | 3.0134
6900 | 10 | 2.9758
6905 | 10 | 2.9387
6910 | 10 | 2.9019
6915 | 10 | 2.8656
6920 | 10 | 2.8297
6925 | 10 | 2.7942
6930 | 10 | 2.7591
6935 | 10 | 2.7244
6940 | 10 | 2.6901
6945 | 10 | 2.6562
6950 | 10 | 2.6227
6955 | 10 | 2.5896
6960 | 10 | 2.5569
6965 | 10 | 2.5245
6970 | 10 | 2.4926
6975 | 10 | 2.461
6980 | 10 | 2.4297
6985 | 10 | 2.3989
6990 | 10 | 2.3684
6995 | 10 | 2.3382
7000 | 10 | 2.3084
7005 | 2.4491 | 2.279
7010 | 2.4164 | 2.2499
7015 | 2.384 | 2.2211
7020 | 2.3521 | 2.1927
7025 | 2.3206 | 2.1646
7030 | 2.2895 | 2.1368
7035 | 2.2587 | 2.1094
7040 | 2.2284 | 2.0823
7045 | 2.1984 | 2.0555
7050 | 2.1689 | 2.0291
7055 | 2.1397 | 2.0029
7060 | 2.1109 | 1.9771
7065 | 2.0824 | 1.9515
7070 | 2.0544 | 1.9263
7075 | 2.0266 | 1.9014
7080 | 1.9993 | 1.8767
7085 | 1.9722 | 1.8524
7090 | 1.9456 | 1.8284
7095 | 1.9192 | 1.8046
7100 | 1.8933 | 1.7811
7105 | 1.8676 | 1.7579
7110 | 1.8423 | 1.735
7115 | 1.8173 | 1.7124
7120 | 1.7926 | 1.69
7125 | 1.7682 | 1.6679
7130 | 1.7442 | 1.6461
7135 | 1.7204 | 1.6245
7140 | 1.697 | 1.6032
7145 | 1.6739 | 1.5822
7150 | 1.6511 | 1.5614
7155 | 1.6285 | 1.5409
7160 | 1.6063 | 1.5206
7165 | 1.5843 | 1.5005
7170 | 1.5627 | 1.4807
7175 | 1.5413 | 1.4612
7180 | 1.5202 | 1.4419
7185 | 1.4993 | 1.4228
7190 | 1.4788 | 1.4039
7195 | 1.4585 | 1.3853
7200 | 1.4384 | 1.3669
7205 | 1.4187 | 1.3488
7210 | 1.3992 | 1.3308
7215 | 1.3799 | 1.3131
7220 | 1.3609 | 1.2956
7225 | 1.3421 | 1.2783
7230 | 1.3236 | 1.2613
7235 | 1.3054 | 1.2444
7240 | 1.2873 | 1.2278
7245 | 1.2695 | 1.2113
7250 | 1.252 | 1.1951
7255 | 1.2346 | 1.179
7260 | 1.2175 | 1.1632
7265 | 1.2006 | 1.1476
7270 | 1.184 | 1.1321
7275 | 1.1675 | 1.1169
7280 | 1.1513 | 1.1018
7285 | 1.1353 | 1.0869
7290 | 1.1195 | 1.0722
7295 | 1.1039 | 1.0577
7300 | 1.0885 | 1.0434
7305 | 1.0734 | 1.0293
7310 | 1.0584 | 1.0153
7315 | 1.0436 | 1.0015
7320 | 1.029 | 0.98792
7325 | 1.0146 | 0.97448
7330 | 1.0004 | 0.96121
7335 | 0.98641 | 0.9481
7340 | 0.97258 | 0.93517
7345 | 0.95894 | 0.92239
7350 | 0.94548 | 0.90978
7355 | 0.9322 | 0.89733
7360 | 0.91909 | 0.88504
7365 | 0.90616 | 0.87291
7370 | 0.8934 | 0.86093
7375 | 0.88081 | 0.8491
7380 | 0.86839 | 0.83742
7385 | 0.85614 | 0.8259
7390 | 0.84405 | 0.81452
7395 | 0.83212 | 0.80328
7400 | 0.82035 | 0.79219
7405 | 0.80874 | 0.78125
7410 | 0.79729 | 0.77044
7415 | 0.78599 | 0.75978
7420 | 0.77484 | 0.74925
7425 | 0.76384 | 0.73885
7430 | 0.75299 | 0.7286
7435 | 0.74228 | 0.71847
7440 | 0.73172 | 0.70847
7445 | 0.7213 | 0.69861
7450 | 0.71102 | 0.68887
7455 | 0.70089 | 0.67926
7460 | 0.69088 | 0.66978
7465 | 0.68102 | 0.66041
7470 | 0.67128 | 0.65117
7475 | 0.66168 | 0.64206
7480 | 0.65221 | 0.63305
7485 | 0.64287 | 0.62417
7490 | 0.63365 | 0.61541
7495 | 0.62456 | 0.60676
7500 | 0.6156 | 0.59822
7505 | 0.60675 | 0.58979
7510 | 0.59803 | 0.58148
7515 | 0.58942 | 0.57327
7520 | 0.58093 | 0.56517
7525 | 0.57256 | 0.55718
7530 | 0.5643 | 0.5493
7535 | 0.55616 | 0.54152
7540 | 0.54813 | 0.53384
7545 | 0.5402 | 0.52627
7550 | 0.53239 | 0.51879
7555 | 0.52468 | 0.51141
7560 | 0.51708 | 0.50414
7565 | 0.50958 | 0.49695
7570 | 0.50219 | 0.48987
7575 | 0.49489 | 0.48288
7580 | 0.4877 | 0.47598
7585 | 0.48061 | 0.46917
7590 | 0.47361 | 0.46246
7595 | 0.46671 | 0.45584
7600 | 0.45991 | 0.4493
7605 | 0.4532 | 0.44285
7610 | 0.44658 | 0.43649
7615 | 0.44006 | 0.43021
7620 | 0.43362 | 0.42402
7625 | 0.42728 | 0.41791
7630 | 0.42102 | 0.41189
7635 | 0.41485 | 0.40594
7640 | 0.40876 | 0.40008
7645 | 0.40276 | 0.3943
7650 | 0.39685 | 0.38859
7655 | 0.39101 | 0.38296
7660 | 0.38526 | 0.37741
7665 | 0.37958 | 0.37193
7670 | 0.37399 | 0.36653
7675 | 0.36847 | 0.3612
7680 | 0.36304 | 0.35594
7685 | 0.35767 | 0.35076
7690 | 0.35239 | 0.34565
7695 | 0.34717 | 0.3406
7700 | 0.34203 | 0.33563
7705 | 0.33697 | 0.33072
7710 | 0.33197 | 0.32588
7715 | 0.32704 | 0.32111
7720 | 0.32219 | 0.3164
7725 | 0.3174 | 0.31176
7730 | 0.31268 | 0.30718
7735 | 0.30802 | 0.30267
7740 | 0.30343 | 0.29821
7745 | 0.29891 | 0.29382
7750 | 0.29445 | 0.28949
7755 | 0.29005 | 0.28522
7760 | 0.28572 | 0.28101
7765 | 0.28144 | 0.27686
7770 | 0.27723 | 0.27276
7775 | 0.27308 | 0.26872
7780 | 0.26898 | 0.26474
7785 | 0.26495 | 0.26081
7790 | 0.26097 | 0.25694
7795 | 0.25705 | 0.25312
7800 | 0.25318 | 0.24936
7805 | 0.24937 | 0.24565
7810 | 0.24562 | 0.24199
7815 | 0.24191 | 0.23838
7820 | 0.23826 | 0.23482
7825 | 0.23467 | 0.23131
7830 | 0.23112 | 0.22785
7835 | 0.22763 | 0.22444
7840 | 0.22418 | 0.22108
7845 | 0.22079 | 0.21776
7850 | 0.21744 | 0.2145
7855 | 0.21414 | 0.21127
7860 | 0.21089 | 0.2081
7865 | 0.20769 | 0.20497
7870 | 0.20453 | 0.20188
7875 | 0.20141 | 0.19884
7880 | 0.19835 | 0.19584
7885 | 0.19532 | 0.19288
7890 | 0.19235 | 0.18996
7895 | 0.18941 | 0.18709
7900 | 0.18652 | 0.18426
7905 | 0.18366 | 0.18146
7910 | 0.18085 | 0.17871
7915 | 0.17808 | 0.176
7920 | 0.17535 | 0.17332
7925 | 0.17266 | 0.17069
7930 | 0.17001 | 0.16809
7935 | 0.1674 | 0.16553
7940 | 0.16483 | 0.16301
7945 | 0.16229 | 0.16052
7950 | 0.15979 | 0.15807
7955 | 0.15733 | 0.15565
7960 | 0.1549 | 0.15327
7965 | 0.15251 | 0.15092
7970 | 0.15016 | 0.14861
7975 | 0.14784 | 0.14633
7980 | 0.14555 | 0.14408
7985 | 0.1433 | 0.14186
7990 | 0.14107 | 0.13968
7995 | 0.13889 | 0.13753
8000 | 0.13673 | 0.13541
8005 | 0.13461 | 0.13332
8010 | 0.13251 | 0.13127
8015 | 0.13045 | 0.12924
8020 | 0.12842 | 0.12724
8025 | 0.12642 | 0.12527
8030 | 0.12445 | 0.12333
8035 | 0.12251 | 0.12142
8040 | 0.12059 | 0.11953
8045 | 0.11871 | 0.11768
8050 | 0.11685 | 0.11585
8055 | 0.11502 | 0.11404
8060 | 0.11322 | 0.11227
8065 | 0.11144 | 0.11052
8070 | 0.10969 | 0.1088
8075 | 0.10797 | 0.1071
8080 | 0.10627 | 0.10542
8085 | 0.1046 | 0.10377
8090 | 0.10296 | 0.10215
8095 | 0.10133 | 0.10055
8100 | 0.099736 | 0.098974
8105 | 0.098162 | 0.097421
8110 | 0.096612 | 0.095891
8115 | 0.095084 | 0.094383
8120 | 0.09358 | 0.092899
8125 | 0.092099 | 0.091436
8130 | 0.09064 | 0.089995
8135 | 0.089202 | 0.088575
8140 | 0.087787 | 0.087177
8145 | 0.086393 | 0.0858
8150 | 0.085019 | 0.084443
8155 | 0.083667 | 0.083106
8160 | 0.082335 | 0.08179
8165 | 0.081023 | 0.080493
8170 | 0.079732 | 0.079216
8175 | 0.078459 | 0.077958
8180 | 0.077206 | 0.076719
8185 | 0.075972 | 0.075499
8190 | 0.074757 | 0.074297
8195 | 0.07356 | 0.073113
8200 | 0.072382 | 0.071947
8205 | 0.071221 | 0.070798
8210 | 0.070079 | 0.069667
8215 | 0.068953 | 0.068553
8220 | 0.067845 | 0.067456
8225 | 0.066754 | 0.066376
8230 | 0.065679 | 0.065312
8235 | 0.064621 | 0.064264
8240 | 0.063579 | 0.063233
8245 | 0.062554 | 0.062217
8250 | 0.061544 | 0.061216
8255 | 0.060549 | 0.060231
8260 | 0.05957 | 0.05926
8265 | 0.058605 | 0.058305
8270 | 0.057656 | 0.057364
8275 | 0.056721 | 0.056438
8280 | 0.055801 | 0.055525
8285 | 0.054895 | 0.054627
8290 | 0.054003 | 0.053743
8295 | 0.053125 | 0.052872
8300 | 0.05226 | 0.052014
8305 | 0.051409 | 0.05117
8310 | 0.050571 | 0.050339
8315 | 0.049746 | 0.049521
8320 | 0.048934 | 0.048715
8325 | 0.048134 | 0.047921
8330 | 0.047347 | 0.04714
8335 | 0.046572 | 0.046371
8340 | 0.045809 | 0.045614
8345 | 0.045059 | 0.044869
8350 | 0.044319 | 0.044135
8355 | 0.043592 | 0.043413
8360 | 0.042876 | 0.042702
8365 | 0.042171 | 0.042002
8370 | 0.041477 | 0.041313
8375 | 0.040794 | 0.040635
8380 | 0.040121 | 0.039967
8385 | 0.039459 | 0.039309
8390 | 0.038808 | 0.038662
8395 | 0.038167 | 0.038026
8400 | 0.037536 | 0.037399
8405 | 0.036915 | 0.036781
8410 | 0.036304 | 0.036174
8415 | 0.035702 | 0.035576
8420 | 0.03511 | 0.034988
8425 | 0.034527 | 0.034409
8430 | 0.033954 | 0.033838
8435 | 0.033389 | 0.033277
8440 | 0.032834 | 0.032725
8445 | 0.032287 | 0.032182
8450 | 0.031749 | 0.031647
8455 | 0.031219 | 0.03112
8460 | 0.030698 | 0.030602
8465 | 0.030186 | 0.030092
8470 | 0.029681 | 0.02959
8475 | 0.029185 | 0.029096
8480 | 0.028696 | 0.02861
8485 | 0.028215 | 0.028132
8490 | 0.027742 | 0.027662
8495 | 0.027277 | 0.027198
8500 | 0.026818 | 0.026743
8505 | 0.026368 | 0.026294
8510 | 0.025924 | 0.025853
8515 | 0.025488 | 0.025419
8520 | 0.025058 | 0.024991
8525 | 0.024636 | 0.024571
8530 | 0.02422 | 0.024157
8535 | 0.023811 | 0.02375
8540 | 0.023409 | 0.023349
8545 | 0.023013 | 0.022955
8550 | 0.022624 | 0.022567
8555 | 0.02224 | 0.022186
8560 | 0.021863 | 0.021811
8565 | 0.021493 | 0.021441
8570 | 0.021128 | 0.021078
8575 | 0.020769 | 0.02072
8580 | 0.020416 | 0.020369
8585 | 0.020068 | 0.020023
8590 | 0.019726 | 0.019682
8595 | 0.01939 | 0.019347
8600 | 0.019059 | 0.019018
8605 | 0.018734 | 0.018694
8610 | 0.018414 | 0.018375
8615 | 0.018099 | 0.018061
8620 | 0.01779 | 0.017753
8625 | 0.017485 | 0.017449
8630 | 0.017185 | 0.017151
8635 | 0.016891 | 0.016857
8640 | 0.016601 | 0.016568
8645 | 0.016316 | 0.016284
8650 | 0.016035 | 0.016005
8655 | 0.015759 | 0.01573
8660 | 0.015488 | 0.015459
8665 | 0.015221 | 0.015194
8670 | 0.014959 | 0.014932
8675 | 0.014701 | 0.014675
8680 | 0.014447 | 0.014422
8685 | 0.014197 | 0.014173
8690 | 0.013952 | 0.013928
8695 | 0.01371 | 0.013687
8700 | 0.013473 | 0.01345
8705 | 0.013239 | 0.013218
8710 | 0.01301 | 0.012989
8715 | 0.012784 | 0.012763
8720 | 0.012562 | 0.012542
8725 | 0.012343 | 0.012324
8730 | 0.012129 | 0.01211
8735 | 0.011917 | 0.011899
8740 | 0.01171 | 0.011692
8745 | 0.011505 | 0.011489
8750 | 0.011305 | 0.011288
8755 | 0.011107 | 0.011091
8760 | 0.010913 | 0.010898
8765 | 0.010722 | 0.010707
8770 | 0.010534 | 0.01052
8775 | 0.01035 | 0.010336
8780 | 0.010168 | 0.010155
8785 | 0.00999 | 0.0099768
8790 | 0.0098146 | 0.0098018
8795 | 0.0096421 | 0.0096297
8800 | 0.0094725 | 0.0094605
8805 | 0.0093058 | 0.0092942
8810 | 0.0091419 | 0.0091307
8815 | 0.0089808 | 0.0089699
8820 | 0.0088223 | 0.0088118
8825 | 0.0086666 | 0.0086564
8830 | 0.0085135 | 0.0085036
8835 | 0.008363 | 0.0083534
8840 | 0.008215 | 0.0082057
8845 | 0.0080696 | 0.0080606
8850 | 0.0079266 | 0.0079179
8855 | 0.007786 | 0.0077776
8860 | 0.0076478 | 0.0076397
8865 | 0.007512 | 0.0075041
8870 | 0.0073785 | 0.0073708
8875 | 0.0072473 | 0.0072398
8880 | 0.0071183 | 0.0071111
8885 | 0.0069915 | 0.0069845
8890 | 0.0068668 | 0.0068601
8895 | 0.0067443 | 0.0067378
8900 | 0.0066239 | 0.0066176
8905 | 0.0065056 | 0.0064995
8910 | 0.0063893 | 0.0063833
8915 | 0.0062749 | 0.0062692
8920 | 0.0061626 | 0.006157
8925 | 0.0060521 | 0.0060468
8930 | 0.0059436 | 0.0059384
8935 | 0.0058369 | 0.0058319
8940 | 0.0057321 | 0.0057272
8945 | 0.0056291 | 0.0056243
8950 | 0.0055278 | 0.0055232
8955 | 0.0054283 | 0.0054239
8960 | 0.0053305 | 0.0053262
8965 | 0.0052344 | 0.0052303
8970 | 0.00514 | 0.005136
8975 | 0.0050472 | 0.0050433
8980 | 0.004956 | 0.0049522
8985 | 0.0048664 | 0.0048628
8990 | 0.0047783 | 0.0047748
8995 | 0.0046918 | 0.0046884
9000 | 0.0046068 | 0.0046035