## 20XX ECRS (hidden)
20XX ECRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
21 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
22 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
23 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
24 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A

## 2024 ECRS
2024 ECRS
HE | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01
1 | 1071 | 1208 | 969 | 936 | 1303 | 1201 | 1522 | 1606 | 1428 | 1118 | 1123 | 1408
2 | 1081 | 1164 | 889 | 899 | 1298 | 1321 | 1500 | 1590 | 1390 | 1062 | 1250 | 1152
3 | 1099 | 1379 | 969 | 961 | 1409 | 1403 | 1585 | 1491 | 1226 | 982 | 1133 | 1307
4 | 1128 | 1197 | 906 | 985 | 1269 | 1407 | 1413 | 1441 | 1303 | 983 | 1104 | 1257
5 | 1118 | 1413 | 1027 | 935 | 1443 | 1327 | 1360 | 1408 | 1212 | 1061 | 1119 | 1173
6 | 1108 | 1478 | 1263 | 1079 | 1172 | 1296 | 1389 | 1390 | 1160 | 1090 | 1157 | 1161
7 | 1609 | 1687 | 1283 | 1126 | 1339 | 1407 | 1506 | 1328 | 1125 | 1026 | 1261 | 1307
8 | 1692 | 1939 | 1463 | 1328 | 1899 | 2006 | 1877 | 1729 | 1477 | 1228 | 1528 | 1569
9 | 2284 | 2577 | 2097 | 1719 | 2532 | 2593 | 1862 | 2055 | 1942 | 1650 | 2156 | 1839
10 | 2608 | 2737 | 2179 | 1911 | 2319 | 2030 | 2162 | 2127 | 2212 | 2155 | 2200 | 2104
11 | 2307 | 2373 | 2258 | 1776 | 2434 | 2149 | 2243 | 2644 | 2775 | 2070 | 1825 | 1847
12 | 1935 | 1854 | 1960 | 1843 | 2213 | 2286 | 2386 | 2529 | 2650 | 1797 | 1541 | 1573
13 | 1813 | 1746 | 1592 | 1715 | 2171 | 2290 | 2383 | 2673 | 2645 | 1705 | 1381 | 1433
14 | 1595 | 1665 | 1543 | 1796 | 2514 | 2573 | 2568 | 2749 | 2673 | 1796 | 1563 | 1499
15 | 1772 | 1692 | 1909 | 1906 | 2518 | 2503 | 2389 | 2677 | 2541 | 2011 | 1903 | 1699
16 | 1502 | 1828 | 2035 | 1863 | 2627 | 2504 | 2666 | 2793 | 2797 | 2131 | 1685 | 1688
17 | 1667 | 1745 | 2252 | 2067 | 3007 | 2804 | 2659 | 2958 | 2853 | 2241 | 1698 | 1673
18 | 1694 | 1663 | 2217 | 2225 | 2935 | 2664 | 2592 | 2906 | 2833 | 2020 | 1845 | 1711
19 | 1543 | 1840 | 1912 | 1622 | 2370 | 2475 | 2467 | 2761 | 2026 | 1748 | 1503 | 1755
20 | 1428 | 1439 | 1748 | 1552 | 1856 | 2229 | 2206 | 2559 | 1955 | 1871 | 1558 | 1562
21 | 1393 | 1431 | 1480 | 1343 | 1992 | 2243 | 2298 | 2448 | 2140 | 1555 | 1445 | 1641
22 | 1416 | 1410 | 1245 | 1290 | 2084 | 2106 | 2204 | 2354 | 1910 | 1468 | 1297 | 1453
23 | 1220 | 1361 | 1154 | 1168 | 1564 | 1719 | 2075 | 2079 | 1756 | 1368 | 1272 | 1469
24 | 1207 | 1194 | 1110 | 1082 | 1447 | 1673 | 1871 | 1833 | 1564 | 1251 | 1166 | 1344

## 2025 ECRS
2024 ECRS
HE | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01
1 | 2023-01-01: 737.9164; 2023-02-01: 640.4003; 2023-03-01: 580.2755; 2023-04-01: 779.8966; 2023-05-01: 781.8345; 2023-06-01: 769.8649; 2023-07-01: 844.8658
2 | 2023-01-01: 793.8248; 2023-02-01: 618.1703; 2023-03-01: 658.7912; 2023-04-01: 741.7491; 2023-05-01: 881.988; 2023-06-01: 752.9412; 2023-07-01: 755.3798
3 | 2023-01-01: 780.6751; 2023-02-01: 664.3544; 2023-03-01: 707.339; 2023-04-01: 694.1991; 2023-05-01: 995.9972; 2023-06-01: 811.5977; 2023-07-01: 779.8613
4 | 2023-01-01: 759.0858; 2023-02-01: 696.4141; 2023-03-01: 690.827; 2023-04-01: 801.6697; 2023-05-01: 867.3864; 2023-06-01: 817.3543; 2023-07-01: 794.7965
5 | 2023-01-01: 816.5128; 2023-02-01: 783.2073; 2023-03-01: 745.7875; 2023-04-01: 774.952; 2023-05-01: 1016.9802; 2023-06-01: 915.4962; 2023-07-01: 722.7501
6 | 2023-01-01: 959.1603; 2023-02-01: 730.7308; 2023-03-01: 757.1891; 2023-04-01: 834.3891; 2023-05-01: 820.2322; 2023-06-01: 828.82; 2023-07-01: 813.0595
7 | 2023-01-01: 1061.0342; 2023-02-01: 870.3493; 2023-03-01: 789.2018; 2023-04-01: 848.3609; 2023-05-01: 1042.3268; 2023-06-01: 802.2056; 2023-07-01: 949.6914
8 | 2023-01-01: 1124.9852; 2023-02-01: 910.6799; 2023-03-01: 994.6839; 2023-04-01: 926.5352; 2023-05-01: 1862.6378; 2023-06-01: 1692.4084; 2023-07-01: 1529.2874
9 | 2023-01-01: 1777.7354; 2023-02-01: 2021.6373; 2023-03-01: 1942.0588; 2023-04-01: 2157.7045; 2023-05-01: 2629.6783; 2023-06-01: 2394.6258; 2023-07-01: 2465.7971
10 | 2023-01-01: 2151.2003; 2023-02-01: 2108.2186; 2023-03-01: 2355.5627; 2023-04-01: 2372.9647; 2023-05-01: 2335.0692; 2023-06-01: 2227.1753; 2023-07-01: 2533.275
11 | 2023-01-01: 1961.2322; 2023-02-01: 2124.1811; 2023-03-01: 2181.116; 2023-04-01: 2118.6358; 2023-05-01: 2654.8882; 2023-06-01: 2566.6221; 2023-07-01: 2686.0242
12 | 2023-01-01: 1437.8935; 2023-02-01: 1552.9882; 2023-03-01: 1853.4835; 2023-04-01: 1880.1636; 2023-05-01: 2525.0582; 2023-06-01: 2115.6944; 2023-07-01: 2438.3459
13 | 2023-01-01: 1290.9025; 2023-02-01: 1485.8087; 2023-03-01: 1718.0993; 2023-04-01: 1435.4406; 2023-05-01: 2393.7337; 2023-06-01: 2056.8089; 2023-07-01: 2275.6437
14 | 2023-01-01: 1373.9845; 2023-02-01: 1732.0234; 2023-03-01: 1675.0198; 2023-04-01: 1638.8005; 2023-05-01: 2548.5661; 2023-06-01: 1998.4303; 2023-07-01: 2515.4721
15 | 2023-01-01: 1601.3839; 2023-02-01: 2283.2823; 2023-03-01: 2349.9042; 2023-04-01: 2005.1836; 2023-05-01: 2913.2233; 2023-06-01: 2053.3308; 2023-07-01: 2132.4412
16 | 2023-01-01: 1454.8362; 2023-02-01: 2190.8464; 2023-03-01: 2775.2545; 2023-04-01: 2205.7776; 2023-05-01: 3096.3509; 2023-06-01: 2574.5191; 2023-07-01: 2364.6242
17 | 2023-01-01: 1654.135; 2023-02-01: 2128.0241; 2023-03-01: 2770.112; 2023-04-01: 2286.9119; 2023-05-01: 3267.7728; 2023-06-01: 2293.2961; 2023-07-01: 2321.7834
18 | 2023-01-01: 1489.5422; 2023-02-01: 1471.7756; 2023-03-01: 2574.2019; 2023-04-01: 2519.7569; 2023-05-01: 3205.0636; 2023-06-01: 2255.5858; 2023-07-01: 2355.5272
19 | 2023-01-01: 1110.4969; 2023-02-01: 1469.0969; 2023-03-01: 1559.2648; 2023-04-01: 1706.0531; 2023-05-01: 2363.9326; 2023-06-01: 2022.9768; 2023-07-01: 1682.3964
20 | 2023-01-01: 1117.082; 2023-02-01: 840.5857; 2023-03-01: 938.4088; 2023-04-01: 1395.5146; 2023-05-01: 1652.4468; 2023-06-01: 1411.2086; 2023-07-01: 1295.657
21 | 2023-01-01: 1071.9509; 2023-02-01: 767.6471; 2023-03-01: 1076.2436; 2023-04-01: 1256.7854; 2023-05-01: 1505.8472; 2023-06-01: 1297.3055; 2023-07-01: 1509.0484
22 | 2023-01-01: 970.3731; 2023-02-01: 743.0897; 2023-03-01: 727.9446; 2023-04-01: 993.6781; 2023-05-01: 1636.9301; 2023-06-01: 1220.918; 2023-07-01: 1362.6903
23 | 2023-01-01: 963.3458; 2023-02-01: 651.2156; 2023-03-01: 712.3011; 2023-04-01: 777.5123; 2023-05-01: 935.9489; 2023-06-01: 1115.5694; 2023-07-01: 1236.597
24 | 2023-01-01: 871.5269; 2023-02-01: 581.0504; 2023-03-01: 679.5461; 2023-04-01: 738.7484; 2023-05-01: 1119.7883; 2023-06-01: 944.8976; 2023-07-01: 1025.0338

## 2025 Solar Adj Table
Incremental MW Adjustment to ERCOT Contingency Reserve Service, per 1000 MW of Incremental Solar Generation Capacity
Hour Ending
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Jan. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 209.8252 | 209.8252 | 209.8252 | 209.8252 | 204.3596 | 204.3596 | 204.3596 | 204.3596 | 0 | 0 | 0 | 0 | 0 | 0
Feb. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 314.0767 | 314.0767 | 314.0767 | 314.0767 | 196.2507 | 196.2507 | 196.2507 | 196.2507 | 0 | 0 | 0 | 0 | 0 | 0
Mar. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 287.67 | 287.67 | 287.67 | 287.67 | 637.1626 | 637.1626 | 637.1626 | 637.1626 | 1.5745 | 1.5745 | 1.5745 | 1.5745 | 0 | 0
Apr. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 277.8364 | 277.8364 | 277.8364 | 277.8364 | 513.9027 | 513.9027 | 513.9027 | 513.9027 | 54.4049 | 54.4049 | 54.4049 | 54.4049 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 619.2782 | 619.2782 | 619.2782 | 619.2782 | 1009.1656 | 1009.1656 | 1009.1656 | 1009.1656 | 274.2382 | 274.2382 | 274.2382 | 274.2382 | 0 | 0
Jun. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192.2859 | 192.2859 | 192.2859 | 192.2859 | 459.853 | 459.853 | 459.853 | 459.853 | 414.5967 | 414.5967 | 414.5967 | 414.5967 | 0 | 0
Jul. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 311.1907 | 311.1907 | 311.1907 | 311.1907 | 307.2131 | 307.2131 | 307.2131 | 307.2131 | 102.8811 | 102.8811 | 102.8811 | 102.8811 | 0 | 0
Aug. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 394.3591 | 394.3591 | 394.3591 | 394.3591 | 77.1663 | 77.1663 | 77.1663 | 77.1663 | 0 | 0
Sep. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205.7919 | 205.7919 | 205.7919 | 205.7919 | 568.2773 | 568.2773 | 568.2773 | 568.2773 | 0 | 0 | 0 | 0 | 0 | 0
Oct. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 291.1878 | 291.1878 | 291.1878 | 291.1878 | 230.7743 | 230.7743 | 230.7743 | 230.7743 | 0 | 0 | 0 | 0 | 0 | 0
Nov. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 324.8621 | 324.8621 | 324.8621 | 324.8621 | 431.6096 | 431.6096 | 431.6096 | 431.6096 | 0 | 0 | 0 | 0 | 0 | 0
Dec. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.4881 | 38.4881 | 38.4881 | 38.4881 | 0 | 0 | 0 | 0 | 0 | 0

## Charts
Month | Group | HE | Type | 2024 ECRS | 2025 (2024 Method) | 2025 ECRS Proposed | Month | Mar |  |  | ECRS Requirement Comparison for March
Jan | a. HE1-2 & HE23-24 | 1 | ECRS | 1071 | 1207.2986 | 737.9164 | Type | (All) |  |  | 2025 ECRS (Proposed): Range: 580 MW - 2648 MW; Avg: 1370 MW (191 MW decrease from prev year)
Jan | a. HE1-2 & HE23-24 | 2 | ECRS | 1081 | 1300.3529 | 793.8248
Jan | b. HE3-6 | 3 | ECRS | 1099 | 1237.8516 | 780.6751 | Row Labels | 2024 ECRS | 2025 ECRS (2024 Method) | 2025 ECRS (Proposed) |  | min | 580
Jan | b. HE3-6 | 4 | ECRS | 1128 | 1249.8751 | 759.0858 | 1 | 969 | 874.9093 | 580.2755 |  | max | 2648
Jan | b. HE3-6 | 5 | ECRS | 1118 | 1231.5045 | 816.5128 | 2 | 889 | 905.0251 | 658.7912 |  | avg | 1370
Jan | b. HE3-6 | 6 | ECRS | 1108 | 1486.7802 | 959.1603 | 3 | 969 | 1012.3795 | 707.339 |  | Change | -191
Jan | c. HE7-10 | 7 | ECRS | 1609 | 1830.715 | 1061.0342 | 4 | 906 | 1012.9842 | 690.827
Jan | c. HE7-10 | 8 | ECRS | 1692 | 1666.3938 | 1124.9852 | 5 | 1027 | 1116.26 | 745.7875
Jan | c. HE7-10 | 9 | ECRS | 2284 | 2521.9506 | 1777.7354 | 6 | 1263 | 1236.4599 | 757.1891
Jan | c. HE7-10 | 10 | ECRS | 2608 | 2540.0055 | 2151.2003 | 7 | 1283 | 1409.5183 | 789.2018
Jan | d. HE11-14 | 11 | ECRS | 2307 | 2287.2406 | 1961.2322 | 8 | 1463 | 1623.8374 | 994.6839
Jan | d. HE11-14 | 12 | ECRS | 1935 | 1746.1831 | 1437.8935 | 9 | 2097 | 2366.6326 | 1942.0588
Jan | d. HE11-14 | 13 | ECRS | 1813 | 1650.1297 | 1290.9025 | 10 | 2179 | 2620.3377 | 2355.5627 |  |  | req | remove
Jan | d. HE11-14 | 14 | ECRS | 1595 | 1642.1041 | 1373.9845 | 11 | 2258 | 2380.7509 | 2181.116 |  |  | 900 | 500
Jan | e. HE15-18 | 15 | ECRS | 1772 | 1816.345 | 1601.3839 | 12 | 1960 | 2015.7024 | 1853.4835 |  |  | 400 | 400
Jan | e. HE15-18 | 16 | ECRS | 1502 | 1673.987 | 1454.8362 | 13 | 1592 | 1857.6139 | 1718.0993
Jan | e. HE15-18 | 17 | ECRS | 1667 | 1973.1613 | 1654.135 | 14 | 1543 | 1806.2093 | 1675.0198
Jan | e. HE15-18 | 18 | ECRS | 1694 | 2104.3681 | 1489.5422 | 15 | 1909 | 2454.1149 | 2349.9042
Jan | f. HE19-22 | 19 | ECRS | 1543 | 1761.8571 | 1110.4969 | 16 | 2035 | 2924.2304 | 2775.2545
Jan | f. HE19-22 | 20 | ECRS | 1428 | 1607.9089 | 1117.082 | 17 | 2252 | 2956.4646 | 2770.112
Jan | f. HE19-22 | 21 | ECRS | 1393 | 1584.9165 | 1071.9509 | 18 | 2217 | 2816.1004 | 2574.2019
Jan | f. HE19-22 | 22 | ECRS | 1416 | 1578.957 | 970.3731 | 19 | 1912 | 1983.4464 | 1559.2648
Jan | a. HE1-2 & HE23-24 | 23 | ECRS | 1220 | 1440.2411 | 963.3458 | 20 | 1748 | 1461.0964 | 938.4088
Jan | a. HE1-2 & HE23-24 | 24 | ECRS | 1207 | 1363.6927 | 871.5269 | 21 | 1480 | 1753.6629 | 1076.2436
Feb | a. HE1-2 & HE23-24 | 1 | ECRS | 1208 | 850.5344 | 640.4003 | 22 | 1245 | 1302.7485 | 727.9446
Feb | a. HE1-2 & HE23-24 | 2 | ECRS | 1164 | 931.9775 | 618.1703 | 23 | 1154 | 1233.1715 | 712.3011
Feb | b. HE3-6 | 3 | ECRS | 1379 | 971.4444 | 664.3544 | 24 | 1110 | 1108.5235 | 679.5461
Feb | b. HE3-6 | 4 | ECRS | 1197 | 1019.9761 | 696.4141
Feb | b. HE3-6 | 5 | ECRS | 1413 | 1132.3977 | 783.2073 |  |  |  |  | Hourly Average ECRS Requirement Comparison
Feb | b. HE3-6 | 6 | ECRS | 1478 | 1133.6082 | 730.7308 | Type | ECRS |  |  | 2025 ECRS (Proposed) On avg. 235 MW decrease from prev year. Largest decrease is in Jun by 362 MW.
Feb | c. HE7-10 | 7 | ECRS | 1687 | 1383.9516 | 870.3493 | [9 empty] | 30MA
Feb | c. HE7-10 | 8 | ECRS | 1939 | 1477.8943 | 910.6799 | Row Labels | 2024 ECRS | 2025 ECRS (2024 Method) | 2025 ECRS (Proposed) |  |  |  |  | min-change | -362.4927 | Jun
Feb | c. HE7-10 | 9 | ECRS | 2577 | 2290.5199 | 2021.6373 | Jan | 1553.75 | 1687.6592 | 1222.1173 |  | -319.8645 |  |  | max-change | 0 | #N/A
Feb | c. HE7-10 | 10 | ECRS | 2737 | 2315.9309 | 2108.2186 | Feb | 1667.5 | 1556.8069 | 1252.7407 |  | -357.6438 |  |  | AVG-CHANGE | -234.5209
Feb | d. HE11-14 | 11 | ECRS | 2373 | 2296.1124 | 2124.1811 | Mar | 1560.8333 | 1759.6742 | 1408.859 |  | -190.3675
Feb | d. HE11-14 | 12 | ECRS | 1854 | 1657.6253 | 1552.9882 | Apr | 1463.625 | 1745.5484 | 1412.141 |  | -50.8061
Feb | d. HE11-14 | 13 | ECRS | 1746 | 1572.6874 | 1485.8087 | May | 1988.125 | 2464.8629 | 1877.2367 |  | -204.2487
Feb | d. HE11-14 | 14 | ECRS | 1665 | 1808.3663 | 1732.0234 | Jun | 2008.7083 | 2377.6339 | 1580.8189 |  | -362.4927
Feb | e. HE15-18 | 15 | ECRS | 1692 | 2336.3422 | 2283.2823 | Jul | 2049.2917 | 2418.581 | 1641.252 |  | -156.2229
Feb | e. HE15-18 | 16 | ECRS | 1828 | 2246.5939 | 2190.8464 | Aug | 2172 |  |  |  | #N/A
Feb | e. HE15-18 | 17 | ECRS | 1745 | 2273.1405 | 2128.0241 | Sep | 1983.0417 |  |  |  | #N/A
Feb | e. HE15-18 | 18 | ECRS | 1663 | 1802.8035 | 1471.7756 | Oct | 1557.7917 |  |  |  | #N/A
Feb | f. HE19-22 | 19 | ECRS | 1840 | 2030.7021 | 1469.0969 | Nov | 1488.0417 |  |  |  | #N/A
Feb | f. HE19-22 | 20 | ECRS | 1439 | 1343.196 | 840.5857 | Dec | 1526 |  |  |  | #N/A
Feb | f. HE19-22 | 21 | ECRS | 1431 | 1228.8459 | 767.6471
Feb | f. HE19-22 | 22 | ECRS | 1410 | 1213.9531 | 743.0897
Feb | a. HE1-2 & HE23-24 | 23 | ECRS | 1361 | 1103.3413 | 651.2156
Feb | a. HE1-2 & HE23-24 | 24 | ECRS | 1194 | 941.4197 | 581.0504
Mar | a. HE1-2 & HE23-24 | 1 | ECRS | 969 | 874.9093 | 580.2755
Mar | a. HE1-2 & HE23-24 | 2 | ECRS | 889 | 905.0251 | 658.7912
Mar | b. HE3-6 | 3 | ECRS | 969 | 1012.3795 | 707.339
Mar | b. HE3-6 | 4 | ECRS | 906 | 1012.9842 | 690.827
Mar | b. HE3-6 | 5 | ECRS | 1027 | 1116.26 | 745.7875
Mar | b. HE3-6 | 6 | ECRS | 1263 | 1236.4599 | 757.1891
Mar | c. HE7-10 | 7 | ECRS | 1283 | 1409.5183 | 789.2018
Mar | c. HE7-10 | 8 | ECRS | 1463 | 1623.8374 | 994.6839
Mar | c. HE7-10 | 9 | ECRS | 2097 | 2366.6326 | 1942.0588
Mar | c. HE7-10 | 10 | ECRS | 2179 | 2620.3377 | 2355.5627
Mar | d. HE11-14 | 11 | ECRS | 2258 | 2380.7509 | 2181.116
Mar | d. HE11-14 | 12 | ECRS | 1960 | 2015.7024 | 1853.4835
Mar | d. HE11-14 | 13 | ECRS | 1592 | 1857.6139 | 1718.0993
Mar | d. HE11-14 | 14 | ECRS | 1543 | 1806.2093 | 1675.0198
Mar | e. HE15-18 | 15 | ECRS | 1909 | 2454.1149 | 2349.9042
Mar | e. HE15-18 | 16 | ECRS | 2035 | 2924.2304 | 2775.2545
Mar | e. HE15-18 | 17 | ECRS | 2252 | 2956.4646 | 2770.112
Mar | e. HE15-18 | 18 | ECRS | 2217 | 2816.1004 | 2574.2019
Mar | f. HE19-22 | 19 | ECRS | 1912 | 1983.4464 | 1559.2648
Mar | f. HE19-22 | 20 | ECRS | 1748 | 1461.0964 | 938.4088
Mar | f. HE19-22 | 21 | ECRS | 1480 | 1753.6629 | 1076.2436
Mar | f. HE19-22 | 22 | ECRS | 1245 | 1302.7485 | 727.9446
Mar | a. HE1-2 & HE23-24 | 23 | ECRS | 1154 | 1233.1715 | 712.3011
Mar | a. HE1-2 & HE23-24 | 24 | ECRS | 1110 | 1108.5235 | 679.5461
Apr | a. HE1-2 & HE23-24 | 1 | ECRS | 936 | 1005.352 | 779.8966
Apr | a. HE1-2 & HE23-24 | 2 | ECRS | 899 | 949.5511 | 741.7491
Apr | b. HE3-6 | 3 | ECRS | 961 | 977.0846 | 694.1991
Apr | b. HE3-6 | 4 | ECRS | 985 | 1084.0823 | 801.6697
Apr | b. HE3-6 | 5 | ECRS | 935 | 1101.5131 | 774.952
Apr | b. HE3-6 | 6 | ECRS | 1079 | 1155.0176 | 834.3891
Apr | c. HE7-10 | 7 | ECRS | 1126 | 1255.3812 | 848.3609
Apr | c. HE7-10 | 8 | ECRS | 1328 | 1378.6275 | 926.5352
Apr | c. HE7-10 | 9 | ECRS | 1719 | 2420.0296 | 2157.7045
Apr | c. HE7-10 | 10 | ECRS | 1911 | 2517.5507 | 2372.9647
Apr | d. HE11-14 | 11 | ECRS | 1776 | 2278.077 | 2118.6358
Apr | d. HE11-14 | 12 | ECRS | 1843 | 2053.9947 | 1880.1636
Apr | d. HE11-14 | 13 | ECRS | 1715 | 1641.6265 | 1435.4406
Apr | d. HE11-14 | 14 | ECRS | 1796 | 1865.5189 | 1638.8005
Apr | e. HE15-18 | 15 | ECRS | 1906 | 2218.0134 | 2005.1836
Apr | e. HE15-18 | 16 | ECRS | 1863 | 2454.0074 | 2205.7776
Apr | e. HE15-18 | 17 | ECRS | 2067 | 2589.4416 | 2286.9119
Apr | e. HE15-18 | 18 | ECRS | 2225 | 2849.5927 | 2519.7569
Apr | f. HE19-22 | 19 | ECRS | 1622 | 2088.4998 | 1706.0531
Apr | f. HE19-22 | 20 | ECRS | 1552 | 1910.63 | 1395.5146
Apr | f. HE19-22 | 21 | ECRS | 1343 | 1993.1054 | 1256.7854
Apr | f. HE19-22 | 22 | ECRS | 1290 | 1642.4131 | 993.6781
Apr | a. HE1-2 & HE23-24 | 23 | ECRS | 1168 | 1365.1404 | 777.5123
Apr | a. HE1-2 & HE23-24 | 24 | ECRS | 1082 | 1098.9105 | 738.7484
May | a. HE1-2 & HE23-24 | 1 | ECRS | 1303 | 1250.7112 | 781.8345
May | a. HE1-2 & HE23-24 | 2 | ECRS | 1298 | 1372.8552 | 881.988
May | b. HE3-6 | 3 | ECRS | 1409 | 1399.3457 | 995.9972
May | b. HE3-6 | 4 | ECRS | 1269 | 1311.3557 | 867.3864
May | b. HE3-6 | 5 | ECRS | 1443 | 1534.3103 | 1016.9802
May | b. HE3-6 | 6 | ECRS | 1172 | 1340.372 | 820.2322
May | c. HE7-10 | 7 | ECRS | 1339 | 1607.7152 | 1042.3268
May | c. HE7-10 | 8 | ECRS | 1899 | 2428.1385 | 1862.6378
May | c. HE7-10 | 9 | ECRS | 2532 | 3006.5675 | 2629.6783
May | c. HE7-10 | 10 | ECRS | 2319 | 2706.6974 | 2335.0692
May | d. HE11-14 | 11 | ECRS | 2434 | 3009.5151 | 2654.8882
May | d. HE11-14 | 12 | ECRS | 2213 | 2947.0556 | 2525.0582
May | d. HE11-14 | 13 | ECRS | 2171 | 2900.9976 | 2393.7337
May | d. HE11-14 | 14 | ECRS | 2514 | 3152.0408 | 2548.5661
May | e. HE15-18 | 15 | ECRS | 2518 | 3550.2904 | 2913.2233
May | e. HE15-18 | 16 | ECRS | 2627 | 3814.7534 | 3096.3509
May | e. HE15-18 | 17 | ECRS | 3007 | 4005.4496 | 3267.7728
May | e. HE15-18 | 18 | ECRS | 2935 | 3941.3501 | 3205.0636
May | f. HE19-22 | 19 | ECRS | 2370 | 3108.4158 | 2363.9326
May | f. HE19-22 | 20 | ECRS | 1856 | 2455.0656 | 1652.4468
May | f. HE19-22 | 21 | ECRS | 1992 | 2426.1243 | 1505.8472
May | f. HE19-22 | 22 | ECRS | 2084 | 2471.4266 | 1636.9301
May | a. HE1-2 & HE23-24 | 23 | ECRS | 1564 | 1664.2492 | 935.9489
May | a. HE1-2 & HE23-24 | 24 | ECRS | 1447 | 1751.9057 | 1119.7883
Jun | a. HE1-2 & HE23-24 | 1 | ECRS | 1201 | 1425.2622 | 769.8649
Jun | a. HE1-2 & HE23-24 | 2 | ECRS | 1321 | 1410.9184 | 752.9412
Jun | b. HE3-6 | 3 | ECRS | 1403 | 1469.6871 | 811.5977
Jun | b. HE3-6 | 4 | ECRS | 1407 | 1417.7093 | 817.3543
Jun | b. HE3-6 | 5 | ECRS | 1327 | 1567.3383 | 915.4962
Jun | b. HE3-6 | 6 | ECRS | 1296 | 1529.3375 | 828.82
Jun | c. HE7-10 | 7 | ECRS | 1407 | 1449.8044 | 802.2056
Jun | c. HE7-10 | 8 | ECRS | 2006 | 2303.4944 | 1692.4084
Jun | c. HE7-10 | 9 | ECRS | 2593 | 2825.4536 | 2394.6258
Jun | c. HE7-10 | 10 | ECRS | 2030 | 2676.0141 | 2227.1753
Jun | d. HE11-14 | 11 | ECRS | 2149 | 3088.2807 | 2566.6221
Jun | d. HE11-14 | 12 | ECRS | 2286 | 2794.2008 | 2115.6944
Jun | d. HE11-14 | 13 | ECRS | 2290 | 2875.9611 | 2056.8089
Jun | d. HE11-14 | 14 | ECRS | 2573 | 2953.6658 | 1998.4303
Jun | e. HE15-18 | 15 | ECRS | 2503 | 3052.1164 | 2053.3308
Jun | e. HE15-18 | 16 | ECRS | 2504 | 3621.5784 | 2574.5191
Jun | e. HE15-18 | 17 | ECRS | 2804 | 3348.6762 | 2293.2961
Jun | e. HE15-18 | 18 | ECRS | 2664 | 3296.6404 | 2255.5858
Jun | f. HE19-22 | 19 | ECRS | 2475 | 3044.3556 | 2022.9768
Jun | f. HE19-22 | 20 | ECRS | 2229 | 2494.846 | 1411.2086
Jun | f. HE19-22 | 21 | ECRS | 2243 | 2496.2531 | 1297.3055
Jun | f. HE19-22 | 22 | ECRS | 2106 | 2404.3732 | 1220.918
Jun | a. HE1-2 & HE23-24 | 23 | ECRS | 1719 | 1936.9714 | 1115.5694
Jun | a. HE1-2 & HE23-24 | 24 | ECRS | 1673 | 1580.2743 | 944.8976
Jul | a. HE1-2 & HE23-24 | 1 | ECRS | 1522 | 1320.334 | 844.8658
Jul | a. HE1-2 & HE23-24 | 2 | ECRS | 1500 | 1395.8845 | 755.3798
Jul | b. HE3-6 | 3 | ECRS | 1585 | 1477.4754 | 779.8613
Jul | b. HE3-6 | 4 | ECRS | 1413 | 1382.0373 | 794.7965
Jul | b. HE3-6 | 5 | ECRS | 1360 | 1374.1634 | 722.7501
Jul | b. HE3-6 | 6 | ECRS | 1389 | 1483.9383 | 813.0595
Jul | c. HE7-10 | 7 | ECRS | 1506 | 1569.0729 | 949.6914
Jul | c. HE7-10 | 8 | ECRS | 1877 | 2255.4819 | 1529.2874
Jul | c. HE7-10 | 9 | ECRS | 1862 | 2950.7355 | 2465.7971
Jul | c. HE7-10 | 10 | ECRS | 2162 | 3041.7833 | 2533.275
Jul | d. HE11-14 | 11 | ECRS | 2243 | 3285.9907 | 2686.0242
Jul | d. HE11-14 | 12 | ECRS | 2386 | 3175.7528 | 2438.3459
Jul | d. HE11-14 | 13 | ECRS | 2383 | 3120.0039 | 2275.6437
Jul | d. HE11-14 | 14 | ECRS | 2568 | 3476.6862 | 2515.4721
Jul | e. HE15-18 | 15 | ECRS | 2389 | 3157.3338 | 2132.4412
Jul | e. HE15-18 | 16 | ECRS | 2666 | 3460.4617 | 2364.6242
Jul | e. HE15-18 | 17 | ECRS | 2659 | 3437.884 | 2321.7834
Jul | e. HE15-18 | 18 | ECRS | 2592 | 3488.9299 | 2355.5272
Jul | f. HE19-22 | 19 | ECRS | 2467 | 2823.92 | 1682.3964
Jul | f. HE19-22 | 20 | ECRS | 2206 | 2263.8359 | 1295.657
Jul | f. HE19-22 | 21 | ECRS | 2298 | 2374.1508 | 1509.0484
Jul | f. HE19-22 | 22 | ECRS | 2204 | 2205.285 | 1362.6903
Jul | a. HE1-2 & HE23-24 | 23 | ECRS | 2075 | 1792.7239 | 1236.597
Jul | a. HE1-2 & HE23-24 | 24 | ECRS | 1871 | 1732.0781 | 1025.0338
Aug | a. HE1-2 & HE23-24 | 1 | ECRS | 1606
Aug | a. HE1-2 & HE23-24 | 2 | ECRS | 1590
Aug | b. HE3-6 | 3 | ECRS | 1491
Aug | b. HE3-6 | 4 | ECRS | 1441
Aug | b. HE3-6 | 5 | ECRS | 1408
Aug | b. HE3-6 | 6 | ECRS | 1390
Aug | c. HE7-10 | 7 | ECRS | 1328
Aug | c. HE7-10 | 8 | ECRS | 1729
Aug | c. HE7-10 | 9 | ECRS | 2055
Aug | c. HE7-10 | 10 | ECRS | 2127
Aug | d. HE11-14 | 11 | ECRS | 2644
Aug | d. HE11-14 | 12 | ECRS | 2529
Aug | d. HE11-14 | 13 | ECRS | 2673
Aug | d. HE11-14 | 14 | ECRS | 2749
Aug | e. HE15-18 | 15 | ECRS | 2677
Aug | e. HE15-18 | 16 | ECRS | 2793
Aug | e. HE15-18 | 17 | ECRS | 2958
Aug | e. HE15-18 | 18 | ECRS | 2906
Aug | f. HE19-22 | 19 | ECRS | 2761
Aug | f. HE19-22 | 20 | ECRS | 2559
Aug | f. HE19-22 | 21 | ECRS | 2448
Aug | f. HE19-22 | 22 | ECRS | 2354
Aug | a. HE1-2 & HE23-24 | 23 | ECRS | 2079
Aug | a. HE1-2 & HE23-24 | 24 | ECRS | 1833
Sep | a. HE1-2 & HE23-24 | 1 | ECRS | 1428
Sep | a. HE1-2 & HE23-24 | 2 | ECRS | 1390
Sep | b. HE3-6 | 3 | ECRS | 1226
Sep | b. HE3-6 | 4 | ECRS | 1303
Sep | b. HE3-6 | 5 | ECRS | 1212
Sep | b. HE3-6 | 6 | ECRS | 1160
Sep | c. HE7-10 | 7 | ECRS | 1125
Sep | c. HE7-10 | 8 | ECRS | 1477
Sep | c. HE7-10 | 9 | ECRS | 1942
Sep | c. HE7-10 | 10 | ECRS | 2212
Sep | d. HE11-14 | 11 | ECRS | 2775
Sep | d. HE11-14 | 12 | ECRS | 2650
Sep | d. HE11-14 | 13 | ECRS | 2645
Sep | d. HE11-14 | 14 | ECRS | 2673
Sep | e. HE15-18 | 15 | ECRS | 2541
Sep | e. HE15-18 | 16 | ECRS | 2797
Sep | e. HE15-18 | 17 | ECRS | 2853
Sep | e. HE15-18 | 18 | ECRS | 2833
Sep | f. HE19-22 | 19 | ECRS | 2026
Sep | f. HE19-22 | 20 | ECRS | 1955
Sep | f. HE19-22 | 21 | ECRS | 2140
Sep | f. HE19-22 | 22 | ECRS | 1910
Sep | a. HE1-2 & HE23-24 | 23 | ECRS | 1756
Sep | a. HE1-2 & HE23-24 | 24 | ECRS | 1564
Oct | a. HE1-2 & HE23-24 | 1 | ECRS | 1118
Oct | a. HE1-2 & HE23-24 | 2 | ECRS | 1062
Oct | b. HE3-6 | 3 | ECRS | 982
Oct | b. HE3-6 | 4 | ECRS | 983
Oct | b. HE3-6 | 5 | ECRS | 1061
Oct | b. HE3-6 | 6 | ECRS | 1090
Oct | c. HE7-10 | 7 | ECRS | 1026
Oct | c. HE7-10 | 8 | ECRS | 1228
Oct | c. HE7-10 | 9 | ECRS | 1650
Oct | c. HE7-10 | 10 | ECRS | 2155
Oct | d. HE11-14 | 11 | ECRS | 2070
Oct | d. HE11-14 | 12 | ECRS | 1797
Oct | d. HE11-14 | 13 | ECRS | 1705
Oct | d. HE11-14 | 14 | ECRS | 1796
Oct | e. HE15-18 | 15 | ECRS | 2011
Oct | e. HE15-18 | 16 | ECRS | 2131
Oct | e. HE15-18 | 17 | ECRS | 2241
Oct | e. HE15-18 | 18 | ECRS | 2020
Oct | f. HE19-22 | 19 | ECRS | 1748
Oct | f. HE19-22 | 20 | ECRS | 1871
Oct | f. HE19-22 | 21 | ECRS | 1555
Oct | f. HE19-22 | 22 | ECRS | 1468
Oct | a. HE1-2 & HE23-24 | 23 | ECRS | 1368
Oct | a. HE1-2 & HE23-24 | 24 | ECRS | 1251
Nov | a. HE1-2 & HE23-24 | 1 | ECRS | 1123
Nov | a. HE1-2 & HE23-24 | 2 | ECRS | 1250
Nov | b. HE3-6 | 3 | ECRS | 1133
Nov | b. HE3-6 | 4 | ECRS | 1104
Nov | b. HE3-6 | 5 | ECRS | 1119
Nov | b. HE3-6 | 6 | ECRS | 1157
Nov | c. HE7-10 | 7 | ECRS | 1261
Nov | c. HE7-10 | 8 | ECRS | 1528
Nov | c. HE7-10 | 9 | ECRS | 2156
Nov | c. HE7-10 | 10 | ECRS | 2200
Nov | d. HE11-14 | 11 | ECRS | 1825
Nov | d. HE11-14 | 12 | ECRS | 1541
Nov | d. HE11-14 | 13 | ECRS | 1381
Nov | d. HE11-14 | 14 | ECRS | 1563
Nov | e. HE15-18 | 15 | ECRS | 1903
Nov | e. HE15-18 | 16 | ECRS | 1685
Nov | e. HE15-18 | 17 | ECRS | 1698
Nov | e. HE15-18 | 18 | ECRS | 1845
Nov | f. HE19-22 | 19 | ECRS | 1503
Nov | f. HE19-22 | 20 | ECRS | 1558
Nov | f. HE19-22 | 21 | ECRS | 1445
Nov | f. HE19-22 | 22 | ECRS | 1297
Nov | a. HE1-2 & HE23-24 | 23 | ECRS | 1272
Nov | a. HE1-2 & HE23-24 | 24 | ECRS | 1166
Dec | a. HE1-2 & HE23-24 | 1 | ECRS | 1408
Dec | a. HE1-2 & HE23-24 | 2 | ECRS | 1152
Dec | b. HE3-6 | 3 | ECRS | 1307
Dec | b. HE3-6 | 4 | ECRS | 1257
Dec | b. HE3-6 | 5 | ECRS | 1173
Dec | b. HE3-6 | 6 | ECRS | 1161
Dec | c. HE7-10 | 7 | ECRS | 1307
Dec | c. HE7-10 | 8 | ECRS | 1569
Dec | c. HE7-10 | 9 | ECRS | 1839
Dec | c. HE7-10 | 10 | ECRS | 2104
Dec | d. HE11-14 | 11 | ECRS | 1847
Dec | d. HE11-14 | 12 | ECRS | 1573
Dec | d. HE11-14 | 13 | ECRS | 1433
Dec | d. HE11-14 | 14 | ECRS | 1499
Dec | e. HE15-18 | 15 | ECRS | 1699
Dec | e. HE15-18 | 16 | ECRS | 1688
Dec | e. HE15-18 | 17 | ECRS | 1673
Dec | e. HE15-18 | 18 | ECRS | 1711
Dec | f. HE19-22 | 19 | ECRS | 1755
Dec | f. HE19-22 | 20 | ECRS | 1562
Dec | f. HE19-22 | 21 | ECRS | 1641
Dec | f. HE19-22 | 22 | ECRS | 1453
Dec | a. HE1-2 & HE23-24 | 23 | ECRS | 1469
Dec | a. HE1-2 & HE23-24 | 24 | ECRS | 1344