## Slide 1: DWG Report to ROS
Paul Koberlein – DWG Chair
September 9th, 2024

## Slide 2: DWG Update
DWG WebEx meeting held on 8/22/2024
Instability Identified in Recent QSA Study
  ERCOT presented on an issue that was not resolved by curtailment
  Caused by low short circuit ratio under P6 contingency
  Solutions include reducing capacity and tuning inverter controls
  Friendly Reminder: FIS mitigation plans are extremely helpful
TSP Dynamic Devices – Model Guide and Requirements
  ERCOT updated the Model Quality guide 7/1/2024
  ERCOT provided clarification on new and existing requirements
  Majority of update was also presented at IBRWG on 8/9/2024
  Refer to the DWG PM, Planning Guide Section 6.2, and the Model Quality Guide for full details

## Slide 3: DWG Update, continued
Status Update: 2024/25 Flat Start Cases
  Flat start tools will be updated to accommodate node-breaker changes
  Pass 1 will be provided to DWG by 9/5/2024
  Feedback requested by 9/19/2024
GFM Update
  ERCOT is working to create requirements and testing protocols surrounding GFM
  Draft PGRR and NOGRR language will be presented during September IBRWG

## Slide 4: DWG Update, continued
Stability Assessment for Interim Large Load Review Process
  Clarification requested on when stability assessments are needed
  Currently, TSPs are required to study every large load
  In 2023, DWG tabled a stability screening study due to lack of consensus
  This item will be discussed during the October DWG meeting
DWG Leadership
  Vice Chair Fahad Qureshi has agreed to serve as Chair next year
  DWG is seeking a volunteer for a 2025 Vice Chair
  DWG hopes to nominate a Vice Chair candidate next DWG meeting

## Slide 5: Update on DWG Procedure Manual
All comments have been addressed in the updated DWG manual
This occurred during the 8/9/2024 IBRWG/DWG Workshop
The PUCT decision on NOGRR245 is anticipated in September
DWG will request ROS approval of the PM in October
The draft PM is posted on the DWG landing page

## Slide 6: Questions or Feedback?