## Slide 1
Supply Analysis Working Group Update
September 2024 Update to WMS
September 11, 2024
Kevin Hanson (Black Mountain Energy Storage) Chair
Greg Lackey (CPS Energy) Co-Vice Chair
Pete Warnken (ERCOT) Co-Vice Chair

## Slide 2
OVERVIEW (page 1)
CONE/Peaker Net Market Threshold draft NPRR discussion led by Pete Warnken (ERCOT)
  ERCOT will bring back to SAWG after the 8/29/2024 PUC Texas open meeting
  PUC Texas adopted $140/kW-year as the CONE to use for planning studies (based on a frame CT reference technology)
Discussion on NPRR 1235 (Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service) was presented by Katie Rich (Vistra)
  ERCOT is bringing additional language to allow storage to participate in DRRS
  Ryan King (ERCOT) said ERCOT will ask PRS for direction on Phase 2
  Katie Rich (Vistra) asked for NPRR 1235 to come back next month at SAWG
Summer Drought Risk Update was presented by Dan Mantena (ERCOT)
  Presentation found at 4__SAWG_ERCOT_Drought_Risk_Prediction_July2024.pdf
Reliability Standard Update was discussed by Pete Warnken (ERCOT)
  Presentation was filed at PUC Texas on 8/25/2024
CONE/VOLL studies discussion by Pete Warnken (ERCOT)
  ERCOT filed Brattle’s VOLL study Final Report with the PUC on 8/22/2024 (under Project 55837)
  ERCOT proposed VOLL of $35K for studies (Interchange - Documents (texas.gov) ) whereas PUC Texas has proposed VOLL of $30K (55837_13_1422000.PDF (texas.gov))
  PUC Texas adopted $35K VOLL for planning studies at the 8/29/2024 Open Meeting

## Slide 3
OVERVIEW (page 2)
December 2024 Capacity, Demand, and Reserve (CDR) planning was presented by Pete Warnken (ERCOT)
  ERCOT Board approved NPRR 1219 (Methodology Revisions and New Definitions for the Report on Capacity, Demand and Reserves in the ERCOT Region (CDR))
  PUC Texas expected to approve in September
  Spring and Fall supplemental tabs will be added into the CDR beginning in May 2025
  ELCC study for storage by Early to Mid October;
    Expect new NPRR with ELCC for thermal resources to be developed
Other Business
  Solar and wind shapes discussion about ERCOT changing from UL due to company change
Next meeting scheduled for October 25, 2024. The September 27, 2024 meeting will be cancelled.

## Slide 4
Questions?