ERCOT Nodal Operating Guide

- Table of Contents

- October 1, 2024

1	Overview	1

1.1	Document Purpose	1

1.2	Document Relationship	1

1.3	Process for Nodal Operating Guide Revision	1

1.3.1 Introduction	1

1.3.2 Submission of a Nodal Operating Guide Revision Request	3

1.3.3 Nodal Operating Guide Revision Procedure	3

1.3.3.1 Review and Posting of Nodal Operating Guide Revision Requests	 3

1.3.3.2 Withdrawal of a Nodal Operating Guide Revision Request	 4

1.3.3.3 ROS Review and Action	 5

1.3.3.4 Comments to teh ROS Report	 6

1.3.3.5 Nodal Operating Guide Revision Request Impact Analysis	 6

1.3.3.6 ROS Review of Impact Analysis	 7

1.3.3.7 ERCOT Impact Analysis Based on ROS Report	 7

1.3.3.8 PRS Review of Project Prioritization	 7

1.3.3.9 Technical Advisory Committee Vote	 7

1.3.3.10 ERCOT Board Vote	 9

1.3.3.11 PUCT Approval of Revision Requests…………………..   		            9

1.3.3.12 Appeal of Action	 10

1.3.4 Urgent Requests	10

1.3.5 Nodal Operating Guide Revision Implementation	11

1.4	Definitions	11

1.5	Operational Training	17

1.5.1 System Operator Training Objectives	17

1.5.2 System Operator Training Requirements	17

1.5.3 ERCOT Operations Training Seminar	18

1.5.4 ERCOT Severe Weather Drill	18

1.5.5 Training Practices	19

1.5.6 ERCOT Operator Certification Program	19

2	System Operations and Control Requirements	1

2.1	Operational Duties	1

2.2	System Monitoring and Control	3

2.2.1 Overview	3

2.2.2 Security Criteria	5

2.2.3 Response to Transient Voltage Disturbance	5

2.2.4 Load Frequency Control	5

2.2.4.1 Maintenance and Verification	 6

2.2.4.2 Regulation Provider Loss of AGC	6

2.2.4.3 ERCOT Loss of AGC	7

2.2.5 Automatic Voltage Regulators	7

2.2.6 Power System Stabilizers	10

2.2.7 Turbine Speed Governors	12

2.2.8 Performance/Disturbance/Compliance Analysis	13

2.2.9 Time Error and Time Synchronization	14

2.2.9.1 Time Error	 14

2.2.9.2 Time Synchronization	14

2.2.10 Generation Resource and Energy Storage Resource Response Time Requirements	15

2.3	Ancillary Services	16

2.3.1 Responsive Reserve	24

2.3.1.1 Obligation	24

2.3.1.2 Additional Operational Details for Responsive Reserve Providers	24

2.3.1.2.1 Limit on Generation Resources and Controllable Load Resources Providing RRS	30

2.3.2 Non-Spinning Reserve Service	31

2.3.2.1 Additional Operational Details for Non-Spinning Reserve Service Providers	31

2.3.3 ERCOT Contigency Reserve Service	33

2.3.3.1 Additional Operational Details for ERCOT Contigency Reserve Service (ECRS) Providers	33

2.4	Outage Coordination	35

2.5	Reliability Unit Commitment	36

2.5.1 Criteria for Removing Contingencies from the RUC Analyses	36

2.6	Requirements for Under-Frequency and Over- Frequency Relaying	36

2.6.1 Automatic Firm Load Shedding	36

2.6.2 Frequency Ride-Through Requirements for Generation Resources and Energy Storage Resources	40

2.6.2.1 Frequency Ride-Through Requirements for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs) and Type 2 WGRs	41

2.6.2.1.1 Temporary Frequency Ride-Through Requirements for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs) and Type 2 WGRs	42

2.6.2.2 Frequency Ride-Through Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)	43

2.6.3 Frequency Ride-Through Requirements for Direct Current Ties (DC Ties)	44

2.7	System Voltage Profile and Operational Voltage Control	45

2.7.1 Introduction	45

2.7.2 Maintaining Voltage Profile	45

2.7.3 Real-Time Operational Voltage Control	47

2.7.3.1 Operational Guidelines	47

2.7.3.2 ERCOT Responsibilities	48

2.7.3.3 TO/TSP Responsibilities	50

2.7.3.4 QSE Responsibilities	52

2.7.3.5 Resource Entity Responsibilities and Generation Resource and Energy Storage Resource Requirements	53

2.7.4 Special Consideration for Nuclear Power Plants	55

2.7.5 Parameters for Standard Reactor and Capacitor Switching Plan	55

2.7.6 Unit Dispatch Beyond the Corrected Unit Reactive Limit or Unit Reactive Limit	56

2.8	Operation of Direct Current Ties	56

2.8.1 Inadvertent Energy Management	57

2.9	Voltage Ride-Through Requirements For Generation Resources and Energy Storage Resources	57

2.9.1 Voltage Ride-Through Requirements for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs), Type 2 WGRs and Type 3 WGRs 	59

2.9.1.1 Preferred Voltage Ride-Through Requirements for Transmission-Connected Inverter-Based Resources (IBRs)	61

2.9.1.2 Legacy Voltage Ride-Through Requirements for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs) and Type 2 WGRs 	64

2.9.2 Voltage Ride-Through Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)	66

2.10	Voltage Ride-Through Requirements For DC Ties	67

2.11	Ride-Through Reporting Requirements for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs) and Type 2 WGRs 	69

2.11.1 Initial Frequency Ride-Through Capability Documentation and Reporting Requirements 69

2.11.2 Initial Voltage Ride-Through Capability Documentation and Reporting Requirements 	71

2.12	Procedures for Frequency and Voltage Ride-Through Exemptions and Extensions for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs) and Type 2 WGRs 	72

2.12.1 Exemptions and Extensions Process 	72

2.12.1.1 Submission of Exemption Requests	75

2.12.1.2 Submission of Extension Requests 	75

2.12.1.3 imeline for Submission and Determination of Extension Requests	77

2.13	Actions Following a Transmission-Connected Inverter-Based Resource (IBR), Type 1 Wind-powered Generation Resource (WGR) or Type 2 WGR Apparent Failure to Ride-Through 	78

3 	ERCOT AND MARKET PARTICIPANT RESPONSIBILITIES	1

3.1	System Control Interfaces with ERCOT	1

3.1.1 Introduction	1

3.1.2 Compliance with Dispatch Instructions	1

3.1.3 Dispatch Instructions	1

3.2	Qualified Scheduling Entities	3

3.2.1 Operating Obligations	3

3.2.2 Changes in Resource Status	4

3.2.3 Regulatory Required Incident and Disturbance Reports	4

3.2.4 Ancillary Service Qualification and Testing Program	5

3.3	Resource Entities	6

3.3.1 Unit Capability Requirements	7

3.3.2 Unit Reactive Capability Requirements	8

3.3.2.1 Corrected Unit Reactive Limits (CURL)………………………………………...  8

3.3.2.2 Reactive Testing Requirements…………………………………………………...9

3.3.3 Resource Entity Responsibilities for Equipment Ratings	15

3.4	Load Resource Testing Requirement	15

3.5	ERCOT Implementation	16

3.6	Transmission Service Providers	16

3.7  	Transmission Operators	17

3.7.1 Transmission Owner Responsibility for a Vegetation Management Program	20

3.7.2 Trasmission Service Provider Responsibilities for Equipment Ratings	20

3.8  	Requirements for Reporting Sabotage Information	21

4	Emergency Operations	2

4.1	Introduction	2

4.2	Communication Under Emergency Conditions	2

4.2.1 Operating Condition Notice	2

4.2.2 Advisory	3

4.2.3 Watch	4

4.2.4 Emergency Notice	5

4.3	Operation to Maintain Transmission System Security	5

4.3.1 Real-Time and Short Term Planning	6

4.4	Block Load Transfers between ERCOT and Non-ERCOT System	6

4.5	Energy Emergency Alert (EEA)	6

4.5.1 General	6

4.5.2 Operating Procedures	7

4.5.3 Implementation	9

4.5.3.1 General Procedures Prior to EEA Operations	 11

4.5.3.2 General Procedures During EEA Operations	14

4.5.3.3 EEA Levels	15

4.5.3.4 Load Shed Obligation………………………………………………………………..20

4.5.3.5 EEA Termination…………………………………………...……………………….21

4.6	Black Start Service	21

4.6.1 Principles	22

4.6.2 Strategies	22

4.6.3 Priorities	23

4.6.4 Responsibilities	24

4.6.5 Black Start Emergency Back Up Communication Facilities Criteria	27

4.7	Geomagnetic Disturbance Operating Plan	28

4.7.1 Monitoring and Dissemination of Space Weather Information	28

4.7.2 Development and Submission of TO GMD Operating Procedures or Processes	28

4.7.3 ERCOT’s GMD Operating Plan and ERCOT Review of TO GMD Operating Procedures or Processes	29

4.8	Responsive Reserve Service During Scarcity Conditions…………………………………………29

4.8.1 Responsive Reserve Service Manual Deployment…………………………………………..30

4.8.2 Responsive Reserve Service Manual Recall…….……….………….………………………30

5	Network Operations Modeling Requirements	1

5.1	System Modeling Information	1

6	Disturbance Monitoring and System Protection	1

6.1	Disturbance Monitoring Requirements	1

6.1.1 Introduction	1

6.1.1.1 Applicability	2

6.1.2 Fault Recording and Sequence of Events Recording Equipment	2

6.1.2.1 Fault Recording Requirements	 2

6.1.2.2 Fault Recording and Sequence of Events Recording Equipment Location Requirements	 3

6.1.2.3 Fault Recording and Sequence of Events Recording Data Requirements	 5

6.1.2.4 Fault Recording and Sequence of Events Recording Data Retention and Reporting Requirements	7

6.1.3 Dynamic Disturbance Recording Equipment Including Phasor Measurement Unit Equipment 	8

6.1.3.1 Dynamic Disturbance Recording Equipment Requirements	8

6.1.3.1.1 Recording and Triggering Requirements	 8

6.1.3.1.2 Dynamic Disturbance Recording Equipment Location Requirements	 9

6.1.3.1.3 Dynamic Disturbance Recording Data Recording and Redundancy Requirements	 10

6.1.3.1.4 Dynamic Disturbance Recording Data Retention and Data Reporting Requirements	 10

6.1.3.2 Phasor Measurement Unit Requirements	11

6.1.3.2.1 Phasor Measurement Unit Recording Requirements	 11

6.1.3.2.2 Phasor Measurement Unit Location Requirements	 12

6.1.3.2.3 Phasor Measurement Unit Data Recording and Redundancy Requirements	 14

6.1.3.2.4 Phasor Measurement Unit Data Retention and Data Reporting Requirements	 15

6.1.4 Fault Recording, Sequence of Events Recording, and Phasor Measurement Unit Requirements for Inverter-Based Resources (IBRs)	16

6.1.4.1 Fault Recording and Sequence of Events Recording Equipment Requirements	16

6.1.4.1.1 Sequence of Events Recording Data Requirements	 16

6.1.4.1.2 Fault Recording Data and Triggering Requirements	 17

6.1.4.3 Phasor Measurement Unit Equipment Requirements	18

6.1.4.4 Data Retention and Data Reporting Requirements for Fault Recording, Sequence of Events Recording, and Phasor Measurement Unit Equipment	19

6.1.5 Maintenance and Testing Requirements	20

6.1.5.1 Geomagnetic Disturbance (GMD) Measurement Data Processes	 20

6.1.6 Equipment Reporting Requirements	20

6.1.7 Review Process	21

6.2 System Protective Relaying	21

6.2.1 Introduction	21

6.2.1.1 Applicability	 22

6.2.2 Design and Operating Requirements for ERCOT System Facilities	22

6.2.3 Performance Analysis Requirements for ERCOT System Facilities	23

6.2.4 Protective Relay System Failure Response	25

6.2.5 Maintenance and Testing Requirements for ERCOT System Facilities	26

6.2.6 Requirements and Recommendations for ERCOT System Facilities	27

6.2.6.1 General Protection Criteria	 27

6.2.6.1.1 Dependability	 27

6.2.6.1.2 Security	 28

6.2.6.1.3 Dependability and Security	 28

6.2.6.1.4 Operating Time	 28

6.2.6.1.5 Testing and Maintenance	 29

6.2.6.1.6 Analysis of System Performance and Associated Protection Systems	 29

6.2.6.2 Equipment and Design Considerations	 31

6.2.6.2.1 Current Transformers	 31

6.2.6.2.2 Voltage Transformers and Potential Devices	 31

6.2.6.2.3 Batteries and Direct Current Supply	 32

6.2.6.2.4 AC Auxiliary Power	 33

6.2.6.2.5 Circuit Breakers	 33

6.2.6.2.6 Communication Channels	 34

6.2.6.2.7 Control Cables and Wiring	 34

6.2.6.2.8 Environment	 35

6.2.6.3 Specific Application Considerations	 36

6.2.6.3.1 Transmission Line Protection	 36

6.2.6.3.2 Transmission Station Protection	 37

6.2.6.3.3 Breaker Failure Protection	 37

6.2.6.3.4 Generator and Energy Storage Resource Protection and Relay Requirements	 38

6.2.6.3.5 Automatic Under-Frequency Load Shedding Protection Systems	 39

6.2.6.3.6 Automatic Under-Voltage Load Shedding Protection Systems	 39

7	Telemetry and Communication	1

7.1  	ERCOT Wide Area Network	1

7.1.1 ERCOT Responsibilities	2

7.1.2 WAN Participation Responsibilities	2

7.1.3 Joint Responsibilities (Maintenance and Restoration)	11

7.2	ERCOT ICCP Interface	11

7.2.1 Quality Codes	11

7.2.2 Metric of Availability	12

7.3	Telemetry	12

7.3.1 Data from ERCOT to QSEs	13

7.3.2 Data from ERCOT to TSP	13

7.3.3 Data from WAN Participants to ERCOT	14

7.3.4 Resolving Real-Time Data Issues that affect ERCOT Network Security Analysis	15

7.3.5 TSP and QSE Telemetry Restoration	16

7.3.6 General Telemetry Performance Criterion..............................................................................16

7.4	Calibration and Testing of Telemetry Responsibilities	16

7.5	Competitive Renewable Energy Zone Circuits and Stations	17

8	Attachments

8A Black Start Info

8B Protection System Misoperation Report

8C Turbine Governor Speed Tests

8D Seasonal Unit Net Real Power Capability Verification

8E Black Start Plan Template

8F Seasonal Hydro Responsive Reserve Net Capability Verification

8G Load Resource Tests

8H Unit Alternative Fuel Capability

8I Black Start Resource Availabiity Test Form

8J Initial and Sustained Measurements for Primary Frequency Response

8K Remedial Action Scheme (RAS) Template

8L Emergency Operations Plan

8M Selecting Buses for Capturing Sequence of Events Recording and Fault Recording Data

8N Procedure for Calculating RRS Limits for Individual Resources

9	Monitoring Programs	1

9.1	QSE and Resource Monitoring Program	1

9.1.1 Real-Time Data	1

9.1.2 Compliance with Valid Dispatch Instructions	1

9.1.3 Resource Outage Reporting	2

9.1.4 Current Operating Plan Metrics for QSEs	2

9.2	TSP Monitoring Program	2

9.2.1 Intentionally Left Blank	3

9.2.2 Real-Time Data Monitor	3

9.2.3 Transmission Outage Reporting	3

9.3	ERCOT Monitoring Program	4

9.3.1 Transmission Control	4

9.3.2 System and Resource Control	5

9.3.3 Computer and Communication Systems Real-Time Availability and Systems Security	5

9.4	Ancillary Services Monitoring Program	5

9.4.1 Hydro Responsive Testing	5

9.4.2 Resource-Specific Responsive Reserve Performance	6

9.4.3 Resource-specific Non-Spinning Reserve	6

9.4.4 Resource-specific ERCOT Contingency Reserve Service	6

10	Market Data Transparency	1

10.1	Direct Current Tie Outage Information	1

11	Constraint Management Plans and Remedial Action Schemes	1

11.1	Introduction	1

11.2	Remedial Action Schemes	2

11.2.1 Reporting of RAS Operations	8

11.3	Automatic Mitigation Plans	9

11.4	Remedial Action Plan	10

11.4.1 Remedial Action Plan Process	11

11.5	Mitigation Plan	12

11.6	Pre-Contingency Action Plans	13

11.6.1 Pre-Contingency Action Plan Process	14

11.7	Temporary Outage Action Plan	14