## Slide 1: Planning Working Group Update
to
The Reliability and Operations Subcommittee
Dylan Preas, PLWG Chair
Mina Turner, PLWG Vice-Chair
Oct 3, 2024

## Slide 2: PLWG Update Sept 24, 2024 Meeting
PGRR115 (related to NPRR1234) – Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater
  CenterPoint Energy presented reply comments (CEHE comments 08292024).
  Oncor presented reply comments (Oncor comments 09092024).
  ERCOT Steel Mills presented reply comments (ERCOT Steel Mills 09182024).
  Discussion included various aspects of the Large Load rules and processes, including the incorporation of Large Loads into QSAs, dynamic study requirements, deadlines in the LLIS process, and the inclusion of other entities in the LLIS process (e.g., DSPs, Resource Entities for co-located Large Loads).
  PLWG tabled PGRR115 for further discussion.

## Slide 3: PLWG Update Sept 24, 2024 Meeting
PGRR117 – Addition of Resiliency Assessment and Criteria to Reflect PUCT Rule Changes
  LCRA presented reply comments (LCRA comments 09242024).
  Discussion included use of “impact and duration”, where “impact” likely encompasses the magnitude, frequency, and duration of outages.
  ERCOT intends to propose an NPRR to address the process for determining whether an upgrade that meets the proposed resiliency criteria provides sufficient benefit to offset any insufficiency of economic savings or reliability benefits.
  PLWG tabled PGRR117 for further discussion.

## Slide 4: PLWG Update Sept 24, 2024 Meeting
NPRR1247 – Incorporation of Congestion Cost Savings Test in Economic Evaluation of Transmission Projects
  ERCOT presented a draft whitepaper to provide additional details on how the congestion cost savings test will be performed (Congestion Cost Savings Test Evaluation Guideline).
  Discussion include criteria for recommending a project based on one or both criteria, and on assessing direct & indirect costs and benefits of a project.
  NPRR1247 is pending formal assignment.

## Slide 5: PLWG Update Sept 24, 2024 Meeting
NERC Topics Roundtable
  Mina Turner (AEP) is on the drafting team for NERC CIP-014-4 and plans to discuss the revised standard at a future PLWG meeting.
  Future topics related to NERC TPL-008-1 Transmission Planning Performance Requirements for Extreme Weather.

## Slide 6: PLWG Update Sept 24, 2024 Meeting
Review use of “Load” in the Planning Guide, revise as needed.
  ROS assigned PLWG an action item to review and update the Planning Guide for references to “Load” and “load” based on the ROS-endorsed PGRR 107 (ERCOT comments, August 28, 2024 version).
  In September, no one committed to take this action item.
Open Action Item(s)

## Slide 7: Questions?