## Slide 1
Update on Real Time implementation of TSAT
Douglas Bernhoft
ERCOT Operations Support
ROS Meeting
10/03/2023

## Slide 2: Real Time TSAT Implementation For GTC and IROL
Current Status
Transient Security Assessment Tool (TSAT) is currently running in EMS production environment as “Monitoring only” in operations for two GTC scenarios since July 10th, 2024.
These two scenarios have been tested and compared with activated real time limits based on the offline studies. In general, the TSAT limits are consistent with the offline studies for the same outage conditions.
EASTEX GTC
Raymondville – Rio Hondo GTC (RV_RH)

## Slide 3: Real Time TSAT Implementation For GTC and IROL
Implementation Plan
ERCOT currently plans to start include online TSAT calculated limits on November 5th, 2024, for determining the GTC limits for these two scenarios in real time operations.
ERCOT will issue a market notice at least one week prior with official date and time for online TSAT implementation.
ERCOT will continue evaluate the remaining GTCs and provide updates to the stakeholders as needed.
Initial Scenarios to start using online TSAT on 11/05/2024
EASTEX GTC
Raymondville – Rio Hondo GTC (RV_RH)