## Slide 1
NPRR1190
ERCOT
Technical Advisory Committee
ERCOT Public
October 30, 2024

## Slide 2: Background of NPRR649, Lost Opportunity Payments for HDL Manual Overrides
In 2016, NPRR649 created the existing Protocol Section 6.6.3.6, that provides for a payment to Qualified Scheduling Entities (QSEs) for certain losses due to receiving a High Dispatch Limit (HDL) override.
NPRR649 arose from a case filed by Odessa Ector Power Partners, LP (Odessa) with Public Utility Commission of Texas (PUCT) in Docket 41790, complaining of losses due to ERCOT’s issuance of HDL overrides to address transmission constraints.
ERCOT and Odessa reached a settlement agreement and notified the PUCT that:
  The parties requested to dismiss the case;
  ERCOT would grant Odessa’s settlement disputes; and
  ERCOT would file an NPRR creating payments for HDL overrides.

## Slide 3: Background of NPRR649 – Continued
PUCT considered ERCOT/Odessa’s agreed motion to dismiss in an open meeting and dismissed the case as requested.
  PUCT staff supported ERCOT/Odessa’s settlement agreement.
On September 12, 2014, ERCOT filed NPRR649 as required under the settlement agreement.
The stakeholder process for NPRR649 took nearly 2 years.
  Initially TAC rejected NPRR649 and it was appealed to the ERCOT Board.
  The ERCOT Board granted the appeal but remanded NPRR649 back to TAC for further consideration of certain issues.
  The ERCOT Board approved NPRR649 on April 19, 2016.

## Slide 4: Current Policy – Existing language in Protocol Section 6.6.3.6
HDL Overrides are manual out of market actions taken by ERCOT operators to address reliability.
Under current rules, if ERCOT directs a reduction in a Generation Resource’s real power output and that reduction causes the QSE to suffer a demonstrable financial loss, the QSE may be eligible for compensation for the loss if certain conditions are met.
To qualify under the current protocols, the QSE must have either a Day-Ahead Market (DAM) obligation or a bilateral contract to prove the financial loss.

## Slide 5: Changes introduced under NPRR1190
NPRR1190 extends the HDL Override payment provision to entities that are serving their own load and therefore may not have DAM obligations nor bilateral contracts.
Examples of entities eligible under NPRR1190 include:
  A municipality serving its customers; or
  A competitive entity that represents both generation and load within the same QSE.

## Slide 6: NPRR1190 - remanded back to TAC
On June 24, 2024, TAC recommended approval of NPRR1190. There were six opposing votes from the Consumer Market Segment and one abstention from the Independent Retail Electric Provider (IREP) Market Segment.
On August 20, 2024, the ERCOT Board tabled NPRR1190 to allow for additional time for the Reliability and Markets Committee to contemplate the language as well as the Consumer Segment who opposed NPRR1190 at TAC.
October 10, 2024, the ERCOT Board remanded NPRR1190 back to TAC after the Reliability and Markets Committee heard comments from PUCT staff voicing concern about NPRR1190.