## Slide 1: Planning Working Group Report
to
The Reliability and Operations Subcommittee
Dylan Preas, PLWG Chair
Mina Turner, PLWG Vice-Chair
Nov 7, 2024

## Slide 2: PLWG Update Oct 16 Meeting
PGRR115 (related to NPRR1234) – Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater
  AEP reviewed reply comments (115PGRR-11 AEP comments 100424).
  Discussion included various aspects of the Large Load rules and processes, including the introduction of the new terms Applicable Generator and Load Requesting Entity, load level threshold in the Large Load Interconnection Study (LLIS) process, and Loads in be included in the LLIS (i.e., Load requests of neighboring TSPs in the same area).
  ERCOT plans to submit reply comments prior to the Nov 12 PLWG meeting.
  PLWG tabled PGRR115 for further discussion.

## Slide 3: PLWG Update Oct 16 Meeting
PGRR117 – Addition of Resiliency Assessment and Criteria to Reflect PUCT Rule Changes
  ERCOT reviewed reply comments (117PGRR-6 ERCOT comments 101124).
  ERCOT intends to propose a Nodal Protocol Revision Request (NPRR) to address the process for determining whether an upgrade that meets the proposed resiliency criteria provides sufficient benefit to offset any insufficiency of economic savings or reliability benefits.
  PLWG recommends that ROS consider PGRR117-6 ERCOT comments 101124 for endorsement.

## Slide 4: PLWG Update Oct 16 Meeting
PGRR119 – Stability Constraint Modeling Assumptions in the Regional Transmission Plan
  ERCOT reviewed PGRR119, which formalizes the existing practice in which ERCOT applies a reliability margin (e.g., 10 percent) to stability constraints when a constraint is modeled in RTP reliability and economic base cases.
  PLWG tabled PGRR119 for further discussion.

## Slide 5: PLWG Update Oct 16 Meeting
NPRR1247 – Incorporation of Congestion Cost Savings Test in Economic Evaluation of Transmission Projects
  Based on PUCT rulemaking, ERCOT, with support from Energy + Environmental Economics, Inc. (E3) and in consultation with PUCT Staff, developed a congestion cost savings test to be used in economic project evaluation. NPRR1247 incorporates the E3-recommended congestion cost savings test in ERCOT’s economic evaluation.
  The following reply comments were reviewed;
    TIEC (1247NPRR-03 TIEC comments 091124)
    AEP (1247NPRR-06 AEPSC comments 100324)
    ERCOT (1247NPRR-09 ERCOT comments 101124)
    Joint Commenters (EDF Renewables/Invenergy/Pattern Energy) (1247NPRR-10 Joint Commenters 101524)
  ERCOT reviewed the updated draft whitepaper (“Congestion Cost Savings Test Evaluation Guideline Draft V2”).

## Slide 6: PLWG Update Oct 29 Special Meeting
NPRR1247 – Incorporation of Congestion Cost Savings Test in Economic Evaluation of Transmission Projects
  On Oct 29, PLWG held a special meeting to discuss NPRR1247.
  The following reply comments were reviewed;
    Reliant Energy (1247NPRR-11 Reliant comments 101824)
    Joint Commenters (EDF Renewables/Invenergy/Pattern Energy) (1247NPRR-12 Joint Commenters 102324)
    ERCOT (1247NPRR-13 ERCOT comments 102324)
    Luminant Generation Company LLC (1247NPRR-14 Luminant comments 102824)
  Discussion included modeling of generation not meeting Planning Guide 6.9 in economic analysis, references to the whitepaper “Impact of Weather Uncertainty and Transmission Outages on Economic Project Evaluations” in the Protocols, and incorporation of the PUCT Value of Lost Load (VOLL).

## Slide 7: PLWG Update Oct 29 Special Meeting
NPRR1247 – Incorporation of Congestion Cost Savings Test in Economic Evaluation of Transmission Projects
  Starting with 1247NPRR-14 Luminant comments 102824, PLWG prepared draft reply comments for ROS consideration.
  See 1247NPRR Draft PLWG Redlines 102924.
  ERCOT plans to revisit generation modeling assumptions in reliability and economic studies (i.e., Planning Guide Section 6.9) in a future PGRR/NPRR.

## Slide 8: PLWG Update Oct 16 Meeting
NERC Topics Roundtable
  Mina Turner (AEP) is on the drafting team for NERC CIP-014-4 and plans to discuss the revised standard at a future PLWG meeting.
  Future topics related to NERC TPL-008-1 Transmission Planning Performance Requirements for Extreme Weather.

## Slide 9: PLWG Update Oct 16 Meeting
Review use of “Load” in the Planning Guide, revise as needed.
  ROS assigned PLWG an action item to review and update the Planning Guide for references to “Load” and “load” based on the ROS-endorsed PGRR 107 (ERCOT comments, August 28, 2024 version).
  In Oct, this action item remains tabled.
Open Action Item(s)

## Slide 10: Questions?