## Slide 1: DWG Report to ROS
Paul Koberlein – DWG Chair
November 7th, 2024

## Slide 2: DWG Update
DWG WebEx meeting held on 10/22/2024
Large Load Ride Through Events
  ERCOT Presented on Large Load reduction and loss events from 2020-present
  Events have happened in multiple areas in the ERCOT footprint
  There is a potential risk in the Far West Weather Zone in the event of 345kV faults
IBR Fast Frequency Response (FFR)
  AEP Presented on a NERC white paper regarding IBR FFR
  This paper was discussed in the NERC Large Load Task Force
  AEP echoed that NERC is seeing large load ride through issues across regions

## Slide 3: DWG Update, continued
GO Projects in DWG Flat Start Case Build
  Currently there is no cutoff date for adding generation into the Flat Start cases
  DWG discussed this and agreed a cutoff Pass (like SSWG) is the best path
  ERCOT and DWG will take this back and provide a recommendation next DWG meeting
Flat Start Case Development Update
  Pass 2 Posted 11/1/2024
  Recommend updating to PSSE 35.6.3 to avoid a bug
  Significant increase of Extraordinary Dispatch (EXDS) units to meet load demand
  DWG prefers to add EXDS units with dynamic models where available
    If more generation is needed, create a plan to scale down large loads

## Slide 4: DWG Update, continued
Advanced Grid Support (AGS) for Energy Storage Resources (ESR)
  ERCOT presented on Advanced Grid Support for Energy Storage Resources
  With minimum hardware impact, AGS-ESR can enhance grid stability, among other benefits
  ERCOT plans to submit a PGRR and NOGRR in 2024
Large Load Stability Assessment
  Topic was previously tabled at DWG due to lack of consensus
  ERCOT presented some suggestions to survey loads and gather additional information
  Oncor and Center Point opposed this with concerns of increased TSP burden
  ERCOT also presented a screening methodology
  DWG tabled the discussion and will reopen during December DWG meeting

## Slide 5: DWG Update, continued
Miscellaneous
  Updated DWG PM Posted
  Aditi Upadjyay (Lone Star Transmission) volunteered for DWG Vice chair in 2025

## Slide 6: Questions or Feedback?