PGRR Comments


	PGRR Number
	119
	PGRR Title
	Stability Constraint Modeling Assumptions in the Regional Transmission Plan


	Date
	November 6, 2024


	Submitter’s Information

	Name
	Eric Goff; Nabaraj Pokharel

	E-mail Address
	eric@goffpolicy.com; Nabaraj.Pokharel@opuc.texas.gov

	Company
	Office of Public Utility Counsel

	Phone Number
	

	Cell Number
	512-632-7013 / 512-825-7656

	Market Segment
	Residential Consumer


	Comments


OPUC supports ERCOT’s need to effectively plan for managing Interconnection Reliability Operating Limits (IROLs).  However, the proposed “reliability margin” is undefined and could have a significant cost impact.  We request ERCOT provide additional comments to further amend Section 3.1.4.1.1, Regional Transmission Plan Cases, that clarify how it will develop the size of any proposed reliability margin for an IROL.
	Revised Cover Page Language


None
	Revised Proposed Guide Language


None
119PGRR-05 OPUC Comments 110624 
Page 1 of 1
PUBLIC


