| NPRR Number | 1247 | NPRR Title | Incorporation of Congestion Cost Savings Test in Economic Evaluation of Transmission Projects |
| --- | --- | --- | --- |
| Date |  | November 11, 2024 |  |
| Submitter’s Information |  |  |  |
| Name |  | Ping Yan; Matthew Arth |  |
| E-mail Address |  | ping.yan@ercot.com; matthew.arth@ercot.com |  |
| Company |  | Electric Reliability Council of Texas, Inc. (ERCOT) |  |
| Phone Number |  | 512-248-4153 (Ping); 512-275-7435 (Matthew) |  |
| Cell Number |  |  |  |
| Market Segment |  | Not Applicable |  |

Comments

ERCOT submits these comments on Nodal Protocol Revision Request (NPRR) 1247 for the Protocol Revision Subcommittee’s (PRS’s) consideration.

As discussed at the Reliability and Operations Subcommittee (ROS) meeting on November 7, 2024, ERCOT is amenable to revising the Revision Description for NPRR1247 to reference the two white papers applicable to the congestion cost savings test in order to further publicize such white papers and promote greater transparency.  Accordingly, ERCOT revises the Revision Description of NPRR1247 to add a third paragraph as follows:

Revised Cover Page Language

| Revision Description | This Nodal Protocol Revision Request (NPRR) incorporates the consumer energy cost reduction test as the congestion cost savings test in economic project evaluation to address recent amendments by the Public Utility Commission of Texas (PUCT) to 16 Texas Administrative Code (TAC) § 25.101 —specifically adding the requirements in § 25.101(b)(3)(A)(i). Consistent with the PUCT’s rule, this NPRR also preserves the production cost savings test as another standalone means to establish economic need for a transmission project. This NPRR also removes obsolete language regarding transmission projects’ benefits evaluation in paragraph (6) of Section 3.11.2. Additional details regarding how the congestion cost savings test will be performed are included in the Congestion Cost Savings Test Evaluation Guideline white paper, which will be available on the Planning page of the ERCOT website once finalized. ERCOT may also apply the longstanding Impact of Weather Uncertainty and Transmission Outages on Economic Project Evaluations white paper in the instances specified therein to evaluate the impact of weather uncertainties and the impact of including transmission outages on the congestion cost savings test, as it has for the production cost savings test. This white paper is also available on the Planning page of the ERCOT website. |
| --- | --- |

Revised Proposed Protocol Language

3.11.2	Planning Criteria

(1)	ERCOT and Transmission Service Providers (TSPs) shall evaluate the need for transmission system improvements and shall evaluate the relative value of alternative improvements based on established technical and economic criteria.

(2)	The technical reliability criteria are established by the Planning Guide, Operating Guides, and the North American Electric Reliability Corporation (NERC) Reliability Standards.  ERCOT and TSPs shall strongly endeavor to meet these criteria, identify current and future violations thereof and initiate solutions necessary to ensure continual compliance.

(3)	ERCOT shall attempt to meet these reliability criteria as economically as possible and shall actively study the need for economic projects to meet this goal.

(4)	For economic projects, the net economic benefit of a proposed project, or set of projects, will be assessed over the project’s life based on the net benefit that is reasonably expected to accrue from the project as demonstrated through the production cost savings test or the congestion cost savings test.

The current set of financial assumptions upon which the revenue requirement calculations for these tests are based will be reviewed annually, updated as necessary by ERCOT, and posted on the Market Information System (MIS) Secure Area.  The expected economic benefits are based on chronological simulations of the security-constrained unit commitment and economic dispatch of the generators connected to the ERCOT Transmission Grid to serve the expected ERCOT System Load over the planning horizon, comparing simulations with and without the project.  These market simulations are intended to provide a reasonable representation of how the ERCOT System is expected to be operated over the simulated time period.  From a practical standpoint, it is not feasible to perform these simulations for the entire 30 to 40 year expected life of the project.  Therefore, the economic benefits are projected over the period for which simulations are feasible, which is the planning horizon established in Planning Guide Section 3.1.1.2, Regional Transmission Plan, and a qualitative assessment is made of whether the factors driving the economic benefits due to the project can reasonably be expected to continue.

[NPRR1183: Replace paragraph (4) above with the following upon system implementation:] (4) For economic projects, the net economic benefit of a proposed project, or set of projects, will be assessed over the project’s life based on the net benefit that is reasonably expected to accrue from the project as demonstrated through the production cost savings test or the congestion cost savings test. The current set of financial assumptions upon which the revenue requirement calculations for these tests are based will be reviewed annually, updated as necessary by ERCOT, and posted on the ERCOT website. The expected economic benefits are based on chronological simulations of the security-constrained unit commitment and economic dispatch of the generators connected to the ERCOT Transmission Grid to serve the expected ERCOT System Load over the planning horizon, comparing simulations with and without the project. These market simulations are intended to provide a reasonable representation of how the ERCOT System is expected to be operated over the simulated time period. From a practical standpoint, it is not feasible to perform these simulations for the entire 30 to 40 year expected life of the project. Therefore, the economic benefits are projected over the period for which simulations are feasible, which is the planning horizon established in Planning Guide Section 3.1.1.2, Regional Transmission Plan, and a qualitative assessment is made of whether the factors driving the economic benefits due to the project can reasonably be expected to continue.

(5)	To determine the economic benefits of a proposed project under the production cost savings test, the revenue requirement of the capital cost of the project is compared to the expected savings in system production costs resulting from the project over the expected life of the project.  Outputs from the market simulations described in paragraph (4) above will be used to provide an estimate of the expected reduction in total system-wide production cost due to the project.  Other adequately quantifiable and ongoing direct and indirect costs and benefits to the transmission system attributable to the project may be considered as appropriate.  If the levelized ERCOT-wide annual production cost savings equals or exceeds the first-year annual revenue requirement of the transmission project, the project will be deemed to demonstrate sufficient economic benefit and will be recommended.  ERCOT will publish requested non-confidential modeling inputs, assumptions, and outputs utilized in the production cost savings test if that information can be feasibly provided.

(6)	To determine the economic benefits of a proposed project under the congestion cost savings test, the revenue requirement of the capital cost of the project is compared to the expected system-wide consumer energy cost reduction resulting from the project over the expected life of the project.  Outputs from the market simulations described in paragraph (4) above will be used to provide an estimate of the expected reduction in total system-wide consumer energy cost due to the project.  In the market simulations, system-wide consumer energy cost will be calculated using hourly load in MWh multiplied by hourly load nodal energy prices in $/MWh.  Other adequately quantifiable and ongoing direct and indirect costs and benefits to the transmission system attributable to the project may be considered as appropriate.  If the levelized system-wide consumer energy cost reduction equals or exceeds the average of the first three years’ annual revenue requirement for the project, the project will be deemed to demonstrate sufficient economic benefit and will be recommended.  ERCOT will publish requested non-confidential modeling inputs, assumptions, and outputs utilized in the congestion cost savings test if that information can be feasibly provided.