Planning Working Group


PLWG Special Meeting Notes 

	1.
	Antitrust Admonition
	Chair
	5 min

	2.


	NPRR 1247 – Incorporation of Congestion Cost Savings Test in Economic Evaluation of Transmission Projects

· E3 recommended system-wide energy cost reduction (“System-Wide Gross Load Cost”) as the most suitable congestion cost savings test (September 2023 presentation to PLWG). NPRR 1247 incorporates the recommended congestion cost savings test into the economic planning criteria in Section 3.11.2.

· ERCOT posted an updated draft white paper (“Congestion Cost Savings Test Evaluation Guideline”).

· Bill Barnes (Reliant) submitted reply comments on October 18. Bill reviewed the comments.

· Bill Barnes (Reliant) – Generation modeling assumptions impact the economic analysis results. ERCOT has not developed a PGRR to clarify generation modeling assumptions, and ERCOT stakeholders need guardrails in the Nodal Protocols to mitigate against “fictitious generation” in the economic case.
Reliant also adds language to ensure that if unserved energy cost needs to be incorporated in the congestion cost savings methodology the most recently approved Value of Lost Load (VOLL) by the PUCT will be utilized.
· Prabhu Gnanam (ERCOT) – Generation sensitivities are part of the RPG project review process. ERCOT is also discussing how to model generation resources that have not met Planning Guide Section 6.9 requirements in economic and reliability analyses. Previously, ERCOT used load scaling to mitigate generation insufficiency. 

· Alexandra Miller (EDF Renewables) – Stakeholders could have resolved these issues in the last year while they were waiting for ERCOT to submit an NPRR. This is an important issue, and the ERCOT assumptions are too vague.

· Ping Yan (ERCOT) – With respect to “fictitious generation”, is Reliant concerned about 6.9+ generation or generation hubs?

· Bill Barnes (Reliant) – Generation hubs, mostly.

· Alexandra Miller (EDF Renewables) – ERCOT needs to use a different term than generation hub and needs to develop a revised approached for siting them. ERCOT should also draft language to clarify which generation is “more firm” for the purposes of economic analysis.

· Prabhu Gnanam (ERCOT) – Generation sensitivity analyses in the RPG project review process already provide the guardrail that the Reliant comments proposed. ERCOT is also planning to revisit its generation assumptions holistically.

· Alexandra Miller (EDF Renewables), Ajay Pappu (Invenergy), and Kay Patrick (Pattern Energy) submitted reply comments on October 23. Alexandra reviewed the comments.

· Alexandra Miller (EDF Renewables) – The draft NPRR is missing details and guardrails, and ERCOT is rushing it through the stakeholder process. The NPRR should reference the white papers that detail how ERCOT calculates congestion cost savings, or provide greater transparency in some other way.

· Matthew Arth (ERCOT) – The Congestion Cost Savings Test Evaluation Guideline white paper is more detailed than what is typically included in the nodal protocols, and ERCOT prefers not to reference the white papers in the NPRR. In response to stakeholder feedback, ERCOT added language to the white paper committing to provide notice to stakeholders if there are any revisions to the white paper and an opportunity to provide feedback before any such revisions became effective.  In regard to the “Impact of Weather Uncertainty and Transmission Outages on Economic Project Evaluations” white paper, that addresses how and when ERCOT accounts for adequately quantifiable and ongoing direct and indirect costs and benefits to the transmission system attributable to the transmission project, which is discretionary under the Public Utility Commission’s rule 16 Texas Administrative Code § 25.101(b)(3)(A)(i) and therefore is not appropriate to be made binding.
· Mark Bruce (Pattern Energy) – ERCOT needs to be more transparent about binding documents. It is not enough to say that a document will be “posted on the planning page”.

· Ping Yan and Matthew Arth (ERCOT) submitted reply comments on October 23. Matthew reviewed the comments.

· Monica Jha and Ned Bonskowski (Luminant) submitted reply comments on October 28.

· Mark Bruce (Pattern Energy) – The Luminant comments include everything that ERCOT has agreed to plus one additional section. We can incorporate Paragraph 7 from the October 23 Joint Commenters comments into the Luminant comments and send that to ROS. This draft would have most of the ideas that have gained some traction.

· Dylan Preas (PLWG Chair) – The remaining points of disagreement concern modeling future & “fictitious” generation, using VOLL in the calculations, and referencing the white papers.

· Matthew Arth (ERCOT) – ERCOT plans to address generation modeling in a future PGRR and will post comments to ROS confirming its intentions in writing.

· Matthew Arth (ERCOT) – ERCOT wants to strike the VOLL language because unserved energy is not a factor in the congestion cost savings test, but PLWG could take up at a future meeting whether to use the updated VOLL in other transmission planning contexts when unserved energy is anticipated.  Bill Barnes (Reliant) said, via email, that he is okay with striking the VOLL language if that topic is addressed in a future discussion.

· PLWG draft reply comments – Starting with the Luminant October 28 reply comments, PLWG prepared draft 1247NPRR reply comments, striking language in Section 3.11.2 (4) related to the modeling of future & “fictitious” generation (referencing Planning Guide 6.9) and adding language from Joint Commenters reply comments in Section 3.11.2 (6) & (7) related to referencing the white papers.  VOLL language from the Reliant comments are not included in the PLWG draft comments.
· Action – Dylan Preas (Chair) will submit PLWG draft comments as material for the November 7 ROS meeting, so that ROS can vote to accept or strike language; ROS can then formally submit its version of 1247NPRR reply comments. Matthew Arth (ERCOT) agreed that the draft PLWG draft comments will highlight the differences between the October 23 ERCOT comments, which stakeholders generally agreed to, and other stakeholder comments that would augment the October 23 ERCOT comments. ERCOT also committed to submitting narrative comments stating that ERCOT will revisit generation modeling assumptions in reliability and economic analyses in a future PGRR/NPRR; these comments will not include additional redlines.
	PLWG


	180 min



	3.
	Adjourn
	Chair
	

	   Attendees (Webex generated list)

	Display Name
	Attendee Email

	(AEP) Doug Evans
	deevans@aep.com

	053340 - Kristin Cook / Southern Power Company
	krcook@southernco.com

	Alex Miller / EDF Renewables
	alexandra.miller@edf-re.com

	Andrew Hamann - LCRA TSC
	ahamann@lcra.org

	Beckmann, Kara / NextEra
	kara.beckmann@nexteraenergy.com

	Bill Barnes - NRG
	bill.barnes@nrg.com

	Blake Holt - LCRA
	blake.holt@lcra.org

	Bob Wittmeyer
	bob@longhornpwr.com

	Brad Woods - Texas RE
	brad.woods@texasre.org

	Bridget Headrick - Customized Energy Solutions
	bridget.headrick@ces-ltd.com

	Bryan Leath
	bryan.leath@constellation.com

	Caitlin Smith / Jupiter Power
	caitlin.smith@jupiterpower.io

	Cameron Andrews
	cameron.andrews@austinenergy.com

	Carrie Bivens - NextEra
	carrie.bivens@nexteraenergy.com

	Cathey Carter - GridAxon
	cathey@gridaxon.io

	Charles Aleman
	caleman@huntutility.com

	Chase Smith (Southern Power)
	bcsmi@southernco.com

	Chris Matthes
	camatthes@aep.com

	Connor Anderson - AB Power Advisors
	connor.anderson@abpoweradvisors.com

	Constance McD Wyman
	cmcdanielwyman@aep.com

	David Detelich/ CPS Energy
	djdetelich@cpsenergy.com

	David Milner / CPS Energy
	dmilner@cpsenergy.com

	David Withrow - AEP
	dwithrow@aep.com

	Diana Coleman - CPS Energy
	dcoleman@cpsenergy.com

	Dylan Preas - LCRA TSC
	dpreas@lcra.org

	ENEL- Pushkar Chhajed
	pushkar.chhajed@enel.com

	ERCOT - Ann Boren
	ann.boren@ercot.com

	ERCOT - Brittney Albracht
	balbracht@ercot.com

	ERCOT - Cory Phillips
	cory.phillips@ercot.com

	ERCOT - Erin Wasik-Gutierrez
	ewasik-gutierrez@ercot.com

	ERCOT - Gustavo Blanco
	gustavo.blanco@ercot.com

	ERCOT - Jameson Haesler
	jameson.haesler@ercot.com

	ERCOT - Jessica Hernandez
	jessica.hernandez-garcia@ercot.com

	ERCOT - Jordan Troublefield
	jordan.troublefield@ercot.com

	ERCOT - Matt Arth
	matthew.arth@ercot.com

	ERCOT - Nelson Avila
	nelson.avilahernandez@ercot.com

	ERCOT - Ping Yan
	ping.yan@ercot.com

	ERCOT - Priya Ramasubbu
	priya.ramasubbu@ercot.com

	ERCOT - Robert Golen
	robert.golen@ercot.com

	ERCOT - Sun Wook Kang
	sunwook.kang@ercot.com

	ERCOT - Suzy Clifton
	mriwebex@ercot.com

	ERCOT- Prabhu Gnanam
	ggnanam@ercot.com

	ERCOT-Pengwei Du
	pengwei.du@ercot.com

	ERCOT-Sadegh Modarresi
	sadegh.modarresi@ercot.com

	Eric Blakey / Pedernales Electric Cooperative
	eric.blakey@peci.com

	Eric Lotter-Gridmonitor 
	ej@gridmonitor.com

	Erin Rasmussen
	ejrasmussen@aep.com

	Fei
	fei.xie@austinenergy.com

	Gustavo Blanco
	gustavo.blanco@ercot.com

	Haslinger, Bryan
	bryan.haslinger@oncor.com

	Hassan Hayat
	hhayat@aep.com

	Henson, Martha
	martha.henson@oncor.com

	Ingrid Garcia - LCRA
	ingrid.garciabustamante@lcra.org

	Jenni Rochelle (CES)
	jenni.rochelle@ces-ltd.com

	Jennifer O'Neill
	jennifer.oneill@texaspipelines.com

	Jesse Moser
	jesse.moser@nexteraenergy.com

	Jim Lee / CenterPoint Energy
	jim.lee@centerpointenergy.com

	John
	jml@gmail.com

	John Ritch
	john.ritch@trafigura.com

	John Russ Hubbard
	jhubbard@omm.com

	Jon Levine
	jonathan.levine@bakerbotts.com

	Joshua Rivers - PEC
	joshua.rivers@peci.com

	Jun
	jun.li@centerpointenergy.com

	Kade Brasel - CPS Energy
	kbrasel@cpsenergy.com

	Katie Rich - Luminant
	katie.rich@vistracorp.com

	Ken Donohoo, OwlERC LLC
	kdonohoo@owlerc.com

	Kevin S - GPL
	ksills@gpltexas.org

	Kristy Ashley - Customized Energy Solutions
	kashley@ces-ltd.com

	LCRA TSC - Andrew Hamann
	ahamann@lcra.org

	Long Tran -STEC
	long.tran@stec.org

	Louise
	louise.stephens@bakerbotts.com

	Lucas - STEC
	lucas@stec.org

	Maria De Arizon
	maria.dearizon@centerpointenergy.com

	Mariah Benson - TPPA
	mbenson@tppa.com

	Mark Bruce
	mark.bruce@cratyl.us

	Mark Dreyfus
	mark@mdenergyconsulting.com

	Marty Downey
	dpm2591@earthlink.net

	Mason - HEN
	mbeard@huntenergy.com

	Matthew Hall / Invenergy
	mhall@invenergy.com

	McCall Johnson
	mccall@innovantpr.com

	Michael Jewell
	michael@jewellandassociates.com

	Michael Van Schaik (AEP)
	mavanschaik@aep.com

	Mina Turner  AEP
	myturner@aep.com

	Monica - Vistra
	monica.jha@vistracorp.com

	Nabaraj Pokharel
	nabaraj.pokharel@opuc.texas.gov

	Naik, Harsh
	harsh.naik@oncor.com

	Nashawati, Eithar
	eithar.nashawati@oncor.com

	Neeraja Dharme - EDFT
	neeraja.dharme@edftrading.com

	Orlando RB
	orlando.ramirez@ercot.com

	PUC - Julia Wagner
	julia.wagner@puc.texas.gov

	Prabhu Gnanam - ERCOT
	ggnanam@ercot.com

	Raja Kakarla (CNP)
	rajasekhar.kakarla@centerpointenergy.com

	Ramsey Cripe / SEnergy
	rcripe@poweredbysenergy.com

	Rebecca Lynds
	rebecca.lynds@enel.com

	Rob Bevill - TNMP
	robert.bevill@tnmp.com

	Sandy - WETT
	smorris@wettllc.com

	Shane Thomas - Shell
	shane.thomas2@shell.com

	Shuye Teng - Constellation Energy Generation
	shuye.teng@constellation.com

	Suzi McClellan
	smcclellan@goodcompanyassociates.com

	Thuy Huynh
	thuynh@potomaceconomics.com

	Travis Leverett
	tleverett@wettllc.com

	Trevor Safko - LCRA
	trevor.safko@lcra.org

	Velasquez, Ivan
	ivan.velasquez@oncor.com

	Ward Jablonski (MEPPI)
	edward.jablonski@meppi.com

	Warren Lasher
	warren@lasherenergy.com

	Wes Woitt
	wesley.woitt@centerpointenergy.com

	Ying
	yli3@ercot.com

	Yogesh Mahajan
	yogesh.mahajan@gridstor.com

	deb lewis
	rnrengineering@verizon.net

	user1
	aditi.upadhyay@nexteraenergy.com

	yong
	ycheng@ercot.com


10292024
Public
1 of 1

