## Slide 1: Congestion Management Working Group - 11/19/2024 Meeting Update
december 4, 2024
Alexandra miller, chair

## Slide 2: CRR Long Term Auction Solution Time, Transaction Limits
Administrative guardrails Update: TOU limits and Lowering bids per account holder
  NPRR 1261 – Operational Flexibility for CRR auction limits – to PRS in Dec - enables market operations to specify limits for each auction with notice to avoid a single conservative limit
  Lowering of bids per CRRAH – TAC approved reducing limit to 3,000 for LTAS, effective for most recent auction which closed 11/21/2024
Market Redesign: removing multi-month product
  Studying impact of removing multi-month product – preliminary results are promising
  NPRR will be introduced after additional testing
Other Identified Options: pricing report to curb price discovery participation; a new TOU super peak obligation to avoid some option bidding
  Staff continued working with vendor to explore pricing report concept
  CMWG will have discussion in Dec on super peak TOU concept
Requests for ongoing updates with more details on solution times, hardware improvements in parallel

## Slide 3: NPRR1230 Methodology for Setting Transmission Shadow Price Caps
TAC Requested periodic updates to stakeholders, CMWG supported more event-based updates
Recap of Purpose of NPRR1230 to better manage the two South Texas Export IROLs, implemented October 1, raising shadow price cap to allow SCED solution.
  Transparent solution avoiding manual out of market action
  Control room can focus on scarcity conditions
Counterfactual Analysis of event on Nov 17, 2024, with peak shadow price of $12,893/MWh during interval 15:10, compared actual to what-if with $5,251/MWh cap
  Counterfactual simulation with lower cap showed lower system lambda, but violated both GTC flows (~120 MW) due to generation on hurting side not seeing enough price impact to curtail

## Slide 4: NPRR 1214 Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk
ERCOT staff and sponsors continuing to work on language revisions
Additional changes needed include:
  Data source as telemetered rather than metered
  Additional sections needed to fully incorporate locational adder
  Minor correction to restore one change made during edits to move implementation to post-RTC
CMWG will discuss again in December with expectation of new filed comments

## Slide 5: WMS Parking Lot Items Assigned to CMWG
Review increased transparency and policy awareness of Generic Transmission Constraints (GTCs) and curtailments
  Consensus was to keep this item
  CMWG supports updates on policy changes impacting GTCs
  Expect ongoing policy awareness discussions through 2025
Creating Smaller Load Zones for Aggregation
  Consensus was to remove this item
  The IMM shared a potential methodology considering current congestion patterns
  At this time there is not a sponsor for this effort