## Slide 1
Supply Analysis Working Group Update
December 2024 Update to WMS
December 4, 2024
Kevin Hanson (Black Mountain Energy Storage) Chair
Greg Lackey (CPS Energy) Co-Vice Chair
Pete Warnken (ERCOT) Co-Vice Chair

## Slide 2
OVERVIEW – page 1
Meeting was focused on:
  Effective Load Carrying Capability Study (ELCC)
  Dispatchable Resource Reserve Service (DRRS) Discussion
  Interregional Transmission Capability Study
  NPRR 1219 Implementation/December CDR Preparation
Kevin Carden of PowerGem presented the ELCC Study results
  Presentation can be found at https://www.ercot.com/files/docs/2024/11/21/2__SAWG_ELCC%20Study_11.21.24_.pptx
  ERCOT is modeled as “Copper sheet” (not nodal currently)
  Some rules of thumb:
    Average ELCC is associated with Gross Peak
    Marginal ELCC is associated with Net Peak
NPRR 1235 DRRS was discussed by multiple stakeholders
  Katie Rich (Luminant) discussed their filed comments which suggests using FIP and a Market Heat Rate to set the cap price e.g. 150 MMBtu/MWh * FIP (https://www.ercot.com/files/docs/2024/11/13/1235NPRR-19%20Luminant%20Comments%20111324.docx )
  Gordan Drake (ERCOT) presented on two possible concepts for DRRS (https://www.ercot.com/files/docs/2024/11/21/3__20241122%20SAWG%20ERCOT%20DRRS%20Presentation_final.pptx )
  The IMM discussed their filed comments (https://www.ercot.com/files/docs/2024/11/20/1235NPRR-20%20IMM%20Comments%20112024.docx )

## Slide 3
OVERVIEW – page 2
NPRR 1235 will return to SAWG next month for further discussions after the PUCT has met on 12/19/2024.
Mark Henry (TRE) presented on the Interregional Transmission Capability Study from NERC (https://www.ercot.com/files/docs/2024/11/21/4__ITCS%20Summary%20for%20SAWG%20241122.pdf )
Pete Warnken (ERCOT) discussed the upcoming CDR
  Internal ERCOT meetings will finalize the load forecast used in the December 2024 CDR.
Next SAWG meeting is Friday January 24, 2025

## Slide 4
Questions?