## Slide 1: RCWG Update to WMS
12.04.2024

## Slide 2: VCMRR042
Luminant presented new VCMRR042 comments to incorporate:
  SO2 – annual index prices used for all months
  NOx – seasonal index prices for Apr – Aug to be used May – Sep (Ozone Season)
  For the effective month, ERCOT will calculate monthly averages using applicable index prices published during first 15 days of the prior month.
  Grey box added to allow ERCOT to use daily index prices (SO2 – daily, NOx – seasonal daily) when ERCOT systems are developed to automate the process.
RCWG is supportive of Luminant’s 11.11.2024 VCMRR042 comments

## Slide 3: NPRR1251, Updated FFSS Fuel Replacement Costs Recovery
Following an FFSS deployment and ERCOT approval, the QSE may restock fuel to restore ability to generate at FFSS MW award level
ERCOT presented new language that adds the below clarity:
  The QSE may restock using existing inventories or new fuel purchases
  The replacement cost may be based on either new fuel purchases made within 30 days after approval to restock OR FOP from Operating Day of approval plus $.05/gallon to cover transportation cost.
RCWG is supportive of NPRR1251 as filed by ERCOT

## Slide 4: RCWG Updates
Leadership
No December meeting