## Slide 1
Meter Working Group Update
November 20, 2024

## Slide 2: SMOGRR028 Discussion (Loss Comp. Current Limiting Reactors)
  ERCOT presented comments to SMOGRR028 and posted the revised language on the Nov 20th MWG meeting webpage.
    Changes reflect Loss Compensation methodology discussed at 4/30 MWG
    ERCOT clarified projects that utilized initially proposed loss compensation methodology could continue to do so until the new language has been adopted
  Stakeholders reviewing proposed changes for discussion at Dec MWG.
  Scenarios were presented illustrating when Loss Compensation for Current Limiting Reactors would or wouldn’t be required.
PUBLIC - 12/3/24 MWG TO WMS

## Slide 3: NPRR1200 Discussion (Loss Comp. Current Limiting Reactors)
  MWG maintained previous position that SMOGRR028 is the better technical solution.
  MWG was informed by NextEra Energy that the Submitter is no longer with the company but they will review their position and consider withdrawing NPRR1200.
PUBLIC - 12/3/24 MWG TO WMS

## Slide 4: Generation Netting for ERCOT-Polled Settlement Meters
  Eolian presented on possible changes to the transferable load limit from Protocol 10.3.2.3(6).
    Multiple TDSPs brought up concerns on using EPS meters at both transmission and distribution levels due to netting for a single facility.
    There was no objection during the discussion to allowing the 500 kW limit to be raised. Eolian will discuss internally and consider submitting a NPRR
PUBLIC - 1/10/24 MWG TO WMS
PUBLIC - 12/3/24 MWG TO WMS

## Slide 5: Other MWG Discussion
  2025 Leadership
  Next MWG will be scheduled for December 2024 to discuss SMOGRR028.
PUBLIC - 1/10/24 MWG TO WMS
PUBLIC - 12/3/24 MWG TO WMS