## 20XX ECRS (hidden)
20XX ECRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
21 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
22 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
23 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
24 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A

## 2024 ECRS
2024 ECRS
HE | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01
1 | 1071 | 1208 | 969 | 936 | 1303 | 1201 | 1522 | 1606 | 1428 | 1118 | 1123 | 1408
2 | 1081 | 1164 | 889 | 899 | 1298 | 1321 | 1500 | 1590 | 1390 | 1062 | 1250 | 1152
3 | 1099 | 1379 | 969 | 961 | 1409 | 1403 | 1585 | 1491 | 1226 | 982 | 1133 | 1307
4 | 1128 | 1197 | 906 | 985 | 1269 | 1407 | 1413 | 1441 | 1303 | 983 | 1104 | 1257
5 | 1118 | 1413 | 1027 | 935 | 1443 | 1327 | 1360 | 1408 | 1212 | 1061 | 1119 | 1173
6 | 1108 | 1478 | 1263 | 1079 | 1172 | 1296 | 1389 | 1390 | 1160 | 1090 | 1157 | 1161
7 | 1609 | 1687 | 1283 | 1126 | 1339 | 1407 | 1506 | 1328 | 1125 | 1026 | 1261 | 1307
8 | 1692 | 1939 | 1463 | 1328 | 1899 | 2006 | 1877 | 1729 | 1477 | 1228 | 1528 | 1569
9 | 2284 | 2577 | 2097 | 1719 | 2532 | 2593 | 1862 | 2055 | 1942 | 1650 | 2156 | 1839
10 | 2608 | 2737 | 2179 | 1911 | 2319 | 2030 | 2162 | 2127 | 2212 | 2155 | 2200 | 2104
11 | 2307 | 2373 | 2258 | 1776 | 2434 | 2149 | 2243 | 2644 | 2775 | 2070 | 1825 | 1847
12 | 1935 | 1854 | 1960 | 1843 | 2213 | 2286 | 2386 | 2529 | 2650 | 1797 | 1541 | 1573
13 | 1813 | 1746 | 1592 | 1715 | 2171 | 2290 | 2383 | 2673 | 2645 | 1705 | 1381 | 1433
14 | 1595 | 1665 | 1543 | 1796 | 2514 | 2573 | 2568 | 2749 | 2673 | 1796 | 1563 | 1499
15 | 1772 | 1692 | 1909 | 1906 | 2518 | 2503 | 2389 | 2677 | 2541 | 2011 | 1903 | 1699
16 | 1502 | 1828 | 2035 | 1863 | 2627 | 2504 | 2666 | 2793 | 2797 | 2131 | 1685 | 1688
17 | 1667 | 1745 | 2252 | 2067 | 3007 | 2804 | 2659 | 2958 | 2853 | 2241 | 1698 | 1673
18 | 1694 | 1663 | 2217 | 2225 | 2935 | 2664 | 2592 | 2906 | 2833 | 2020 | 1845 | 1711
19 | 1543 | 1840 | 1912 | 1622 | 2370 | 2475 | 2467 | 2761 | 2026 | 1748 | 1503 | 1755
20 | 1428 | 1439 | 1748 | 1552 | 1856 | 2229 | 2206 | 2559 | 1955 | 1871 | 1558 | 1562
21 | 1393 | 1431 | 1480 | 1343 | 1992 | 2243 | 2298 | 2448 | 2140 | 1555 | 1445 | 1641
22 | 1416 | 1410 | 1245 | 1290 | 2084 | 2106 | 2204 | 2354 | 1910 | 1468 | 1297 | 1453
23 | 1220 | 1361 | 1154 | 1168 | 1564 | 1719 | 2075 | 2079 | 1756 | 1368 | 1272 | 1469
24 | 1207 | 1194 | 1110 | 1082 | 1447 | 1673 | 1871 | 1833 | 1564 | 1251 | 1166 | 1344

## 2025 ECRS (Current)
2025 ECRS (Current)
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
H01 | 1207.2986 | 850.5344 | 874.9093 | 1005.352 | 1250.7112 | 1367.3085 | 1325.5829 | 1557.2477 | 1407.2351 | 1047.3225 | 0 | 0
H02 | 1300.3529 | 931.9775 | 905.0251 | 949.5511 | 1372.8552 | 1388.1547 | 1390.0303 | 1494.6265 | 1329.6305 | 1036.6325 | 0 | 0
H03 | 1237.8516 | 971.4444 | 1012.3795 | 977.0846 | 1399.3457 | 1469.6872 | 1471.4921 | 1382.2893 | 1267.7457 | 1119.4281 | 0 | 0
H04 | 1249.8751 | 1019.9761 | 991.4978 | 1084.0823 | 1311.3557 | 1417.7093 | 1374.4398 | 1416.6351 | 1330.53 | 979.3955 | 0 | 0
H05 | 1231.5045 | 1132.3977 | 1116.26 | 1101.5131 | 1534.3103 | 1567.3383 | 1368.8705 | 1420.0806 | 1335.1351 | 1148.9994 | 0 | 0
H06 | 1486.7802 | 1133.6082 | 1236.4599 | 1155.0176 | 1340.372 | 1529.3375 | 1480.2681 | 1522.597 | 1343.1068 | 1180.9548 | 0 | 0
H07 | 1830.715 | 1358.6713 | 1409.5183 | 1255.3812 | 1607.7152 | 1449.8044 | 1539.1054 | 1516.128 | 1503.9267 | 1209.0415 | 0 | 0
H08 | 1666.3938 | 1463.0364 | 1623.8374 | 1378.6275 | 2428.1385 | 2303.4944 | 2196.5452 | 1859.3894 | 1520.222 | 1231.2357 | 0 | 0
H09 | 2521.9506 | 2263.3202 | 2366.6326 | 2421.693 | 3006.6644 | 2825.4536 | 2915.7827 | 2929.1221 | 2361.3469 | 2053.8085 | 0 | 0
H10 | 2540.0055 | 2285.8165 | 2620.3377 | 2518.5489 | 2706.6974 | 2676.0141 | 2997.3493 | 2566.3165 | 2341.3749 | 2712.5742 | 0 | 0
H11 | 2267.8728 | 2264.8453 | 2385.0566 | 2295.8254 | 3003.2492 | 3092.5495 | 3218.9531 | 3079.8341 | 2669.8556 | 2184.1643 | 0 | 0
H12 | 1726.8153 | 1626.3582 | 2020.0081 | 2072.6185 | 2940.7897 | 2797.7266 | 3078.453 | 3179.178 | 2515.1976 | 1945.7922 | 0 | 0
H13 | 1630.7619 | 1541.4204 | 1861.9196 | 1659.375 | 2894.7317 | 2879.4869 | 3039.6219 | 2911.7025 | 2399.4574 | 2144.1699 | 0 | 0
H14 | 1622.7363 | 1777.0993 | 1810.515 | 1884.9217 | 3145.7749 | 2957.1916 | 3392.9979 | 2941.6796 | 2513.4951 | 2121.9923 | 0 | 0
H15 | 1797.4817 | 2316.805 | 2463.6516 | 2250.842 | 3540.4234 | 3060.5484 | 3074.8168 | 3036.3524 | 3089.4636 | 2206.2738 | 0 | 0
H16 | 1655.1237 | 2227.0567 | 2933.7672 | 2486.836 | 3804.6183 | 3630.0104 | 3382.6797 | 3381.6718 | 3477.6681 | 2331.4901 | 0 | 0
H17 | 1954.298 | 2253.6033 | 2966.0014 | 2622.2993 | 3996.9111 | 3357.1082 | 3349.7389 | 3810.7066 | 3629.0536 | 2460.9678 | 0 | 0
H18 | 2085.5048 | 1783.2663 | 2825.6371 | 2885.4491 | 3931.4392 | 3305.1185 | 3446.6015 | 3866.8513 | 3950.7403 | 2522.0766 | 0 | 0
H19 | 1761.8571 | 2030.7021 | 1983.47 | 2091.9752 | 3105.6411 | 3051.9578 | 3054.1201 | 3215.0454 | 3296.2728 | 2015.3184 | 0 | 0
H20 | 1607.9089 | 1343.196 | 1461.12 | 1915.7656 | 2452.2909 | 2502.4482 | 2452.8852 | 2658.5121 | 2691.9448 | 2145.6123 | 0 | 0
H21 | 1584.9165 | 1228.8459 | 1753.6865 | 1996.5809 | 2423.3496 | 2503.8552 | 2418.4093 | 2600.1899 | 2164.6493 | 1634.1911 | 0 | 0
H22 | 1578.957 | 1213.9531 | 1302.7721 | 1645.8885 | 2468.6518 | 2411.9754 | 2238.0689 | 2337.4837 | 2098.0212 | 1672.1634 | 0 | 0
H23 | 1440.2411 | 1103.3413 | 1233.1715 | 1365.1404 | 1664.2492 | 1932.9392 | 1792.2922 | 1990.6712 | 1762.9015 | 1344.2135 | 0 | 0
H24 | 1363.6927 | 941.4197 | 1108.5235 | 1098.9105 | 1751.9057 | 1561.888 | 1724.2239 | 1744.2409 | 1587.7582 | 1231.2894 | 0 | 0

## 2025 ECRS (Proposed)
2025 ECRS (Proposed)
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
H01 | 737.9164 | 640.4003 | 580.2755 | 779.8966 | 781.8345 | 769.8649 | 844.8658 | 1009.662 | 836.717 | 582.1614 | 0 | 0
H02 | 793.8248 | 618.1703 | 658.7912 | 741.7491 | 881.988 | 730.1775 | 755.3798 | 985.948 | 796.7648 | 567.4492 | 0 | 0
H03 | 780.6751 | 664.3544 | 707.339 | 694.1991 | 995.9972 | 811.5977 | 778.5107 | 933.8577 | 798.4724 | 687.9246 | 0 | 0
H04 | 759.0858 | 696.4141 | 669.3406 | 801.6697 | 867.3864 | 817.3543 | 794.7965 | 885.6264 | 784.4533 | 576.5509 | 0 | 0
H05 | 816.5128 | 783.2073 | 745.7875 | 774.952 | 1016.9802 | 915.4962 | 722.7501 | 897.4715 | 776.8981 | 757.3943 | 0 | 0
H06 | 959.1603 | 730.7308 | 757.1891 | 834.3891 | 820.2322 | 828.82 | 813.0595 | 927.1468 | 824.5513 | 722.4825 | 0 | 0
H07 | 1061.0342 | 845.069 | 789.2018 | 848.3609 | 1042.3268 | 802.2056 | 919.7239 | 946.7375 | 893.8152 | 659.9277 | 0 | 0
H08 | 1124.9852 | 895.822 | 994.6839 | 926.5352 | 1862.6378 | 1692.4084 | 1470.3507 | 985.1643 | 822.5097 | 741.3601 | 0 | 0
H09 | 1777.7354 | 1994.4375 | 1942.0588 | 2159.3679 | 2629.7751 | 2394.6258 | 2430.8443 | 2197.2922 | 1826.128 | 1638.5944 | 0 | 0
H10 | 2151.2003 | 2078.1042 | 2355.5627 | 2373.9629 | 2335.0692 | 2227.1753 | 2488.8411 | 2007.9727 | 1885.9436 | 2453.2826 | 0 | 0
H11 | 1941.8644 | 2092.9141 | 2185.4217 | 2136.3842 | 2648.6223 | 2570.8908 | 2618.9866 | 2398.3766 | 2159.8101 | 1909.0725 | 0 | 0
H12 | 1418.5257 | 1521.7212 | 1857.7892 | 1898.7873 | 2518.7924 | 2119.2202 | 2341.0462 | 2268.9422 | 1840.916 | 1621.0822 | 0 | 0
H13 | 1271.5347 | 1454.5417 | 1722.405 | 1453.189 | 2387.4679 | 2060.3347 | 2195.2616 | 1787.8684 | 1646.2631 | 1706.0211 | 0 | 0
H14 | 1354.6167 | 1700.7564 | 1679.3255 | 1658.2032 | 2542.3003 | 2001.9561 | 2431.7837 | 1664.2922 | 1615.322 | 1589.6257 | 0 | 0
H15 | 1582.5206 | 2263.745 | 2359.441 | 2038.0121 | 2903.3563 | 2061.7628 | 2049.9242 | 1773.8755 | 2198.6987 | 1596.9393 | 0 | 0
H16 | 1435.9729 | 2171.3092 | 2784.7912 | 2238.6062 | 3086.2159 | 2582.9511 | 2286.8423 | 2069.617 | 2490.0723 | 1660.2884 | 0 | 0
H17 | 1635.2717 | 2108.4869 | 2779.6488 | 2319.7696 | 3259.2342 | 2301.728 | 2233.6383 | 2462.4224 | 2578.526 | 1703.98 | 0 | 0
H18 | 1470.6789 | 1452.2384 | 2583.7386 | 2555.6133 | 3195.1526 | 2264.064 | 2313.1988 | 2518.4921 | 2877.4097 | 1642.8232 | 0 | 0
H19 | 1110.4969 | 1469.0969 | 1559.2883 | 1709.5285 | 2361.1579 | 2030.5789 | 1912.5965 | 1821.833 | 2095.0238 | 1196.272 | 0 | 0
H20 | 1117.082 | 840.5857 | 938.4324 | 1400.6501 | 1649.6721 | 1418.8108 | 1295.657 | 1538.7815 | 1450.7083 | 1345.4364 | 0 | 0
H21 | 1071.9509 | 767.6471 | 1076.2672 | 1260.2609 | 1503.0724 | 1297.3055 | 1509.0484 | 1722.4355 | 1440.4936 | 1127.1541 | 0 | 0
H22 | 970.3731 | 743.0897 | 727.9682 | 997.1535 | 1634.1554 | 1220.918 | 1362.6903 | 1448.6896 | 1325.8569 | 984.2178 | 0 | 0
H23 | 963.3458 | 651.2156 | 712.3011 | 777.5123 | 935.9489 | 1115.5694 | 1236.597 | 1353.6842 | 1187.5528 | 904.9952 | 0 | 0
H24 | 871.5269 | 581.0504 | 679.5461 | 738.7484 | 1119.7883 | 944.8976 | 1025.0338 | 1195.2965 | 999.5667 | 733.5522 | 0 | 0

## 2025 Solar Adj Table
Incremental MW Adjustment to ERCOT Contingency Reserve Service, per 1000 MW of Incremental Solar Generation Capacity
Hour Ending
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Jan. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 21 | 21 | 21 | 20 | 20 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
Feb. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 33 | 33 | 33 | 20 | 20 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
Mar. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 33 | 33 | 33 | 73 | 73 | 73 | 73 | 0 | 0 | 0 | 0 | 0 | 0
Apr. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 55 | 55 | 55 | 55 | 6 | 6 | 6 | 6 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59 | 59 | 59 | 59 | 96 | 96 | 96 | 96 | 26 | 26 | 26 | 26 | 0 | 0
Jun. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 17 | 17 | 17 | 41 | 41 | 41 | 41 | 37 | 37 | 37 | 37 | 0 | 0
Jul. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 8 | 8 | 8 | 8 | 0 | 0
Aug. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 29 | 29 | 29 | 6 | 6 | 6 | 6 | 0 | 0
Sep. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 22 | 22 | 22 | 60 | 60 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0
Oct. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 28 | 28 | 28 | 22 | 22 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0
Nov. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 31 | 31 | 31 | 42 | 42 | 42 | 42 | 0 | 0 | 0 | 0 | 0 | 0
Dec. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0

## Charts
Month | Group | HE | Type | 2024 ECRS | 2025 (2024 Method) | 2025 ECRS (Proposed) | Month | Oct |  |  | ECRS Requirement Comparison for October
Jan | a. HE1-2 & HE23-24 | 1 | ECRS | 1071 | 1207.2986 | 737.9164 | Type | (All) |  |  | 2025 ECRS (Proposed): Range: 567 MW - 2453 MW; Avg: 1213 MW (345 MW decrease from prev year)
Jan | a. HE1-2 & HE23-24 | 2 | ECRS | 1081 | 1300.3529 | 793.8248
Jan | b. HE3-6 | 3 | ECRS | 1099 | 1237.8516 | 780.6751 | Row Labels | 2024 ECRS | 2025 ECRS (2024 Method) | 2025 ECRS (Proposed) |  | min | 567
Jan | b. HE3-6 | 4 | ECRS | 1128 | 1249.8751 | 759.0858 | 1 | 1118 | 1047.3225 | 582.1614 |  | max | 2453
Jan | b. HE3-6 | 5 | ECRS | 1118 | 1231.5045 | 816.5128 | 2 | 1062 | 1036.6325 | 567.4492 |  | avg | 1213
Jan | b. HE3-6 | 6 | ECRS | 1108 | 1486.7802 | 959.1603 | 3 | 982 | 1119.4281 | 687.9246 |  | Change | -345
Jan | c. HE7-10 | 7 | ECRS | 1609 | 1830.715 | 1061.0342 | 4 | 983 | 979.3955 | 576.5509
Jan | c. HE7-10 | 8 | ECRS | 1692 | 1666.3938 | 1124.9852 | 5 | 1061 | 1148.9994 | 757.3943
Jan | c. HE7-10 | 9 | ECRS | 2284 | 2521.9506 | 1777.7354 | 6 | 1090 | 1180.9548 | 722.4825
Jan | c. HE7-10 | 10 | ECRS | 2608 | 2540.0055 | 2151.2003 | 7 | 1026 | 1209.0415 | 659.9277
Jan | d. HE11-14 | 11 | ECRS | 2307 | 2267.8728 | 1941.8644 | 8 | 1228 | 1231.2357 | 741.3601
Jan | d. HE11-14 | 12 | ECRS | 1935 | 1726.8153 | 1418.5257 | 9 | 1650 | 2053.8085 | 1638.5944
Jan | d. HE11-14 | 13 | ECRS | 1813 | 1630.7619 | 1271.5347 | 10 | 2155 | 2712.5742 | 2453.2826 |  |  | req | remove
Jan | d. HE11-14 | 14 | ECRS | 1595 | 1622.7363 | 1354.6167 | 11 | 2070 | 2184.1643 | 1909.0725 |  |  | 900 | 500
Jan | e. HE15-18 | 15 | ECRS | 1772 | 1797.4817 | 1582.5206 | 12 | 1797 | 1945.7922 | 1621.0822 |  |  | 400 | 400
Jan | e. HE15-18 | 16 | ECRS | 1502 | 1655.1237 | 1435.9729 | 13 | 1705 | 2144.1699 | 1706.0211
Jan | e. HE15-18 | 17 | ECRS | 1667 | 1954.298 | 1635.2717 | 14 | 1796 | 2121.9923 | 1589.6257
Jan | e. HE15-18 | 18 | ECRS | 1694 | 2085.5048 | 1470.6789 | 15 | 2011 | 2206.2738 | 1596.9393
Jan | f. HE19-22 | 19 | ECRS | 1543 | 1761.8571 | 1110.4969 | 16 | 2131 | 2331.4901 | 1660.2884
Jan | f. HE19-22 | 20 | ECRS | 1428 | 1607.9089 | 1117.082 | 17 | 2241 | 2460.9678 | 1703.98
Jan | f. HE19-22 | 21 | ECRS | 1393 | 1584.9165 | 1071.9509 | 18 | 2020 | 2522.0766 | 1642.8232
Jan | f. HE19-22 | 22 | ECRS | 1416 | 1578.957 | 970.3731 | 19 | 1748 | 2015.3184 | 1196.272
Jan | a. HE1-2 & HE23-24 | 23 | ECRS | 1220 | 1440.2411 | 963.3458 | 20 | 1871 | 2145.6123 | 1345.4364
Jan | a. HE1-2 & HE23-24 | 24 | ECRS | 1207 | 1363.6927 | 871.5269 | 21 | 1555 | 1634.1911 | 1127.1541
Feb | a. HE1-2 & HE23-24 | 1 | ECRS | 1208 | 850.5344 | 640.4003 | 22 | 1468 | 1672.1634 | 984.2178
Feb | a. HE1-2 & HE23-24 | 2 | ECRS | 1164 | 931.9775 | 618.1703 | 23 | 1368 | 1344.2135 | 904.9952
Feb | b. HE3-6 | 3 | ECRS | 1379 | 971.4444 | 664.3544 | 24 | 1251 | 1231.2894 | 733.5522
Feb | b. HE3-6 | 4 | ECRS | 1197 | 1019.9761 | 696.4141
Feb | b. HE3-6 | 5 | ECRS | 1413 | 1132.3977 | 783.2073 |  |  |  |  | Hourly Average ECRS Requirement Comparison
Feb | b. HE3-6 | 6 | ECRS | 1478 | 1133.6082 | 730.7308 | Type | ECRS |  |  | 2025 ECRS (Proposed) On avg. 335 MW decrease from prev year. Largest decrease is in Aug by 597 MW.
Feb | c. HE7-10 | 7 | ECRS | 1687 | 1358.6713 | 845.069 | [9 empty] | 30MA
Feb | c. HE7-10 | 8 | ECRS | 1939 | 1463.0364 | 895.822 | Row Labels | 2024 ECRS | 2025 ECRS (2024 Method) | 2025 ECRS (Proposed) |  |  |  |  | min-change | -596.9381 | Aug
Feb | c. HE7-10 | 9 | ECRS | 2577 | 2263.3202 | 1994.4375 | Jan | 1553.75 | 1681.2873 | 1215.7455 |  | -338.0045 |  |  | max-change | 0 | #N/A
Feb | c. HE7-10 | 10 | ECRS | 2737 | 2285.8165 | 2078.1042 | Feb | 1667.5 | 1544.279 | 1240.2128 |  | -427.2872 |  |  | AVG-CHANGE | -334.7961
Feb | d. HE11-14 | 11 | ECRS | 2373 | 2264.8453 | 2092.9141 | Mar | 1560.8333 | 1761.0899 | 1410.2748 |  | -150.5586
Feb | d. HE11-14 | 12 | ECRS | 1854 | 1626.3582 | 1521.7212 | Apr | 1463.625 | 1754.97 | 1421.5626 |  | -42.0624
Feb | d. HE11-14 | 13 | ECRS | 1746 | 1541.4204 | 1454.5417 | May | 1988.125 | 2461.758 | 1874.1318 |  | -113.9932
Feb | d. HE11-14 | 14 | ECRS | 1665 | 1777.0993 | 1700.7564 | Jun | 2008.7083 | 2376.6294 | 1582.5297 |  | -426.1786
Feb | e. HE15-18 | 15 | ECRS | 1692 | 2316.805 | 2263.745 | Jul | 2049.2917 | 2405.1387 | 1617.9761 |  | -431.3155
Feb | e. HE15-18 | 16 | ECRS | 1828 | 2227.0567 | 2171.3092 | Aug | 2172 | 2434.1063 | 1575.0619 |  | -596.9381
Feb | e. HE15-18 | 17 | ECRS | 1745 | 2253.6033 | 2108.4869 | Sep | 1983.0417 | 2232.7805 | 1506.3531 |  | -476.6886
Feb | e. HE15-18 | 18 | ECRS | 1663 | 1783.2663 | 1452.2384 | Oct | 1557.7917 | 1736.6295 | 1212.8578 |  | -344.9339
Feb | f. HE19-22 | 19 | ECRS | 1840 | 2030.7021 | 1469.0969 | Nov | 1488.0417 |  |  |  | #N/A
Feb | f. HE19-22 | 20 | ECRS | 1439 | 1343.196 | 840.5857 | Dec | 1526 |  |  |  | #N/A
Feb | f. HE19-22 | 21 | ECRS | 1431 | 1228.8459 | 767.6471
Feb | f. HE19-22 | 22 | ECRS | 1410 | 1213.9531 | 743.0897
Feb | a. HE1-2 & HE23-24 | 23 | ECRS | 1361 | 1103.3413 | 651.2156
Feb | a. HE1-2 & HE23-24 | 24 | ECRS | 1194 | 941.4197 | 581.0504
Mar | a. HE1-2 & HE23-24 | 1 | ECRS | 969 | 874.9093 | 580.2755
Mar | a. HE1-2 & HE23-24 | 2 | ECRS | 889 | 905.0251 | 658.7912
Mar | b. HE3-6 | 3 | ECRS | 969 | 1012.3795 | 707.339
Mar | b. HE3-6 | 4 | ECRS | 906 | 991.4978 | 669.3406
Mar | b. HE3-6 | 5 | ECRS | 1027 | 1116.26 | 745.7875
Mar | b. HE3-6 | 6 | ECRS | 1263 | 1236.4599 | 757.1891
Mar | c. HE7-10 | 7 | ECRS | 1283 | 1409.5183 | 789.2018
Mar | c. HE7-10 | 8 | ECRS | 1463 | 1623.8374 | 994.6839
Mar | c. HE7-10 | 9 | ECRS | 2097 | 2366.6326 | 1942.0588
Mar | c. HE7-10 | 10 | ECRS | 2179 | 2620.3377 | 2355.5627
Mar | d. HE11-14 | 11 | ECRS | 2258 | 2385.0566 | 2185.4217
Mar | d. HE11-14 | 12 | ECRS | 1960 | 2020.0081 | 1857.7892
Mar | d. HE11-14 | 13 | ECRS | 1592 | 1861.9196 | 1722.405
Mar | d. HE11-14 | 14 | ECRS | 1543 | 1810.515 | 1679.3255
Mar | e. HE15-18 | 15 | ECRS | 1909 | 2463.6516 | 2359.441
Mar | e. HE15-18 | 16 | ECRS | 2035 | 2933.7672 | 2784.7912
Mar | e. HE15-18 | 17 | ECRS | 2252 | 2966.0014 | 2779.6488
Mar | e. HE15-18 | 18 | ECRS | 2217 | 2825.6371 | 2583.7386
Mar | f. HE19-22 | 19 | ECRS | 1912 | 1983.47 | 1559.2883
Mar | f. HE19-22 | 20 | ECRS | 1748 | 1461.12 | 938.4324
Mar | f. HE19-22 | 21 | ECRS | 1480 | 1753.6865 | 1076.2672
Mar | f. HE19-22 | 22 | ECRS | 1245 | 1302.7721 | 727.9682
Mar | a. HE1-2 & HE23-24 | 23 | ECRS | 1154 | 1233.1715 | 712.3011
Mar | a. HE1-2 & HE23-24 | 24 | ECRS | 1110 | 1108.5235 | 679.5461
Apr | a. HE1-2 & HE23-24 | 1 | ECRS | 936 | 1005.352 | 779.8966
Apr | a. HE1-2 & HE23-24 | 2 | ECRS | 899 | 949.5511 | 741.7491
Apr | b. HE3-6 | 3 | ECRS | 961 | 977.0846 | 694.1991
Apr | b. HE3-6 | 4 | ECRS | 985 | 1084.0823 | 801.6697
Apr | b. HE3-6 | 5 | ECRS | 935 | 1101.5131 | 774.952
Apr | b. HE3-6 | 6 | ECRS | 1079 | 1155.0176 | 834.3891
Apr | c. HE7-10 | 7 | ECRS | 1126 | 1255.3812 | 848.3609
Apr | c. HE7-10 | 8 | ECRS | 1328 | 1378.6275 | 926.5352
Apr | c. HE7-10 | 9 | ECRS | 1719 | 2421.693 | 2159.3679
Apr | c. HE7-10 | 10 | ECRS | 1911 | 2518.5489 | 2373.9629
Apr | d. HE11-14 | 11 | ECRS | 1776 | 2295.8254 | 2136.3842
Apr | d. HE11-14 | 12 | ECRS | 1843 | 2072.6185 | 1898.7873
Apr | d. HE11-14 | 13 | ECRS | 1715 | 1659.375 | 1453.189
Apr | d. HE11-14 | 14 | ECRS | 1796 | 1884.9217 | 1658.2032
Apr | e. HE15-18 | 15 | ECRS | 1906 | 2250.842 | 2038.0121
Apr | e. HE15-18 | 16 | ECRS | 1863 | 2486.836 | 2238.6062
Apr | e. HE15-18 | 17 | ECRS | 2067 | 2622.2993 | 2319.7696
Apr | e. HE15-18 | 18 | ECRS | 2225 | 2885.4491 | 2555.6133
Apr | f. HE19-22 | 19 | ECRS | 1622 | 2091.9752 | 1709.5285
Apr | f. HE19-22 | 20 | ECRS | 1552 | 1915.7656 | 1400.6501
Apr | f. HE19-22 | 21 | ECRS | 1343 | 1996.5809 | 1260.2609
Apr | f. HE19-22 | 22 | ECRS | 1290 | 1645.8885 | 997.1535
Apr | a. HE1-2 & HE23-24 | 23 | ECRS | 1168 | 1365.1404 | 777.5123
Apr | a. HE1-2 & HE23-24 | 24 | ECRS | 1082 | 1098.9105 | 738.7484
May | a. HE1-2 & HE23-24 | 1 | ECRS | 1303 | 1250.7112 | 781.8345
May | a. HE1-2 & HE23-24 | 2 | ECRS | 1298 | 1372.8552 | 881.988
May | b. HE3-6 | 3 | ECRS | 1409 | 1399.3457 | 995.9972
May | b. HE3-6 | 4 | ECRS | 1269 | 1311.3557 | 867.3864
May | b. HE3-6 | 5 | ECRS | 1443 | 1534.3103 | 1016.9802
May | b. HE3-6 | 6 | ECRS | 1172 | 1340.372 | 820.2322
May | c. HE7-10 | 7 | ECRS | 1339 | 1607.7152 | 1042.3268
May | c. HE7-10 | 8 | ECRS | 1899 | 2428.1385 | 1862.6378
May | c. HE7-10 | 9 | ECRS | 2532 | 3006.6644 | 2629.7751
May | c. HE7-10 | 10 | ECRS | 2319 | 2706.6974 | 2335.0692
May | d. HE11-14 | 11 | ECRS | 2434 | 3003.2492 | 2648.6223
May | d. HE11-14 | 12 | ECRS | 2213 | 2940.7897 | 2518.7924
May | d. HE11-14 | 13 | ECRS | 2171 | 2894.7317 | 2387.4679
May | d. HE11-14 | 14 | ECRS | 2514 | 3145.7749 | 2542.3003
May | e. HE15-18 | 15 | ECRS | 2518 | 3540.4234 | 2903.3563
May | e. HE15-18 | 16 | ECRS | 2627 | 3804.6183 | 3086.2159
May | e. HE15-18 | 17 | ECRS | 3007 | 3996.9111 | 3259.2342
May | e. HE15-18 | 18 | ECRS | 2935 | 3931.4392 | 3195.1526
May | f. HE19-22 | 19 | ECRS | 2370 | 3105.6411 | 2361.1579
May | f. HE19-22 | 20 | ECRS | 1856 | 2452.2909 | 1649.6721
May | f. HE19-22 | 21 | ECRS | 1992 | 2423.3496 | 1503.0724
May | f. HE19-22 | 22 | ECRS | 2084 | 2468.6518 | 1634.1554
May | a. HE1-2 & HE23-24 | 23 | ECRS | 1564 | 1664.2492 | 935.9489
May | a. HE1-2 & HE23-24 | 24 | ECRS | 1447 | 1751.9057 | 1119.7883
Jun | a. HE1-2 & HE23-24 | 1 | ECRS | 1201 | 1367.3085 | 769.8649
Jun | a. HE1-2 & HE23-24 | 2 | ECRS | 1321 | 1388.1547 | 730.1775
Jun | b. HE3-6 | 3 | ECRS | 1403 | 1469.6872 | 811.5977
Jun | b. HE3-6 | 4 | ECRS | 1407 | 1417.7093 | 817.3543
Jun | b. HE3-6 | 5 | ECRS | 1327 | 1567.3383 | 915.4962
Jun | b. HE3-6 | 6 | ECRS | 1296 | 1529.3375 | 828.82
Jun | c. HE7-10 | 7 | ECRS | 1407 | 1449.8044 | 802.2056
Jun | c. HE7-10 | 8 | ECRS | 2006 | 2303.4944 | 1692.4084
Jun | c. HE7-10 | 9 | ECRS | 2593 | 2825.4536 | 2394.6258
Jun | c. HE7-10 | 10 | ECRS | 2030 | 2676.0141 | 2227.1753
Jun | d. HE11-14 | 11 | ECRS | 2149 | 3092.5495 | 2570.8908
Jun | d. HE11-14 | 12 | ECRS | 2286 | 2797.7266 | 2119.2202
Jun | d. HE11-14 | 13 | ECRS | 2290 | 2879.4869 | 2060.3347
Jun | d. HE11-14 | 14 | ECRS | 2573 | 2957.1916 | 2001.9561
Jun | e. HE15-18 | 15 | ECRS | 2503 | 3060.5484 | 2061.7628
Jun | e. HE15-18 | 16 | ECRS | 2504 | 3630.0104 | 2582.9511
Jun | e. HE15-18 | 17 | ECRS | 2804 | 3357.1082 | 2301.728
Jun | e. HE15-18 | 18 | ECRS | 2664 | 3305.1185 | 2264.064
Jun | f. HE19-22 | 19 | ECRS | 2475 | 3051.9578 | 2030.5789
Jun | f. HE19-22 | 20 | ECRS | 2229 | 2502.4482 | 1418.8108
Jun | f. HE19-22 | 21 | ECRS | 2243 | 2503.8552 | 1297.3055
Jun | f. HE19-22 | 22 | ECRS | 2106 | 2411.9754 | 1220.918
Jun | a. HE1-2 & HE23-24 | 23 | ECRS | 1719 | 1932.9392 | 1115.5694
Jun | a. HE1-2 & HE23-24 | 24 | ECRS | 1673 | 1561.888 | 944.8976
Jul | a. HE1-2 & HE23-24 | 1 | ECRS | 1522 | 1325.5829 | 844.8658
Jul | a. HE1-2 & HE23-24 | 2 | ECRS | 1500 | 1390.0303 | 755.3798
Jul | b. HE3-6 | 3 | ECRS | 1585 | 1471.4921 | 778.5107
Jul | b. HE3-6 | 4 | ECRS | 1413 | 1374.4398 | 794.7965
Jul | b. HE3-6 | 5 | ECRS | 1360 | 1368.8705 | 722.7501
Jul | b. HE3-6 | 6 | ECRS | 1389 | 1480.2681 | 813.0595
Jul | c. HE7-10 | 7 | ECRS | 1506 | 1539.1054 | 919.7239
Jul | c. HE7-10 | 8 | ECRS | 1877 | 2196.5452 | 1470.3507
Jul | c. HE7-10 | 9 | ECRS | 1862 | 2915.7827 | 2430.8443
Jul | c. HE7-10 | 10 | ECRS | 2162 | 2997.3493 | 2488.8411
Jul | d. HE11-14 | 11 | ECRS | 2243 | 3218.9531 | 2618.9866
Jul | d. HE11-14 | 12 | ECRS | 2386 | 3078.453 | 2341.0462
Jul | d. HE11-14 | 13 | ECRS | 2383 | 3039.6219 | 2195.2616
Jul | d. HE11-14 | 14 | ECRS | 2568 | 3392.9979 | 2431.7837
Jul | e. HE15-18 | 15 | ECRS | 2389 | 3074.8168 | 2049.9242
Jul | e. HE15-18 | 16 | ECRS | 2666 | 3382.6797 | 2286.8423
Jul | e. HE15-18 | 17 | ECRS | 2659 | 3349.7389 | 2233.6383
Jul | e. HE15-18 | 18 | ECRS | 2592 | 3446.6015 | 2313.1988
Jul | f. HE19-22 | 19 | ECRS | 2467 | 3054.1201 | 1912.5965
Jul | f. HE19-22 | 20 | ECRS | 2206 | 2452.8852 | 1295.657
Jul | f. HE19-22 | 21 | ECRS | 2298 | 2418.4093 | 1509.0484
Jul | f. HE19-22 | 22 | ECRS | 2204 | 2238.0689 | 1362.6903
Jul | a. HE1-2 & HE23-24 | 23 | ECRS | 2075 | 1792.2922 | 1236.597
Jul | a. HE1-2 & HE23-24 | 24 | ECRS | 1871 | 1724.2239 | 1025.0338
Aug | a. HE1-2 & HE23-24 | 1 | ECRS | 1606 | 1557.2477 | 1009.662
Aug | a. HE1-2 & HE23-24 | 2 | ECRS | 1590 | 1494.6265 | 985.948
Aug | b. HE3-6 | 3 | ECRS | 1491 | 1382.2893 | 933.8577
Aug | b. HE3-6 | 4 | ECRS | 1441 | 1416.6351 | 885.6264
Aug | b. HE3-6 | 5 | ECRS | 1408 | 1420.0806 | 897.4715
Aug | b. HE3-6 | 6 | ECRS | 1390 | 1522.597 | 927.1468
Aug | c. HE7-10 | 7 | ECRS | 1328 | 1516.128 | 946.7375
Aug | c. HE7-10 | 8 | ECRS | 1729 | 1859.3894 | 985.1643
Aug | c. HE7-10 | 9 | ECRS | 2055 | 2929.1221 | 2197.2922
Aug | c. HE7-10 | 10 | ECRS | 2127 | 2566.3165 | 2007.9727
Aug | d. HE11-14 | 11 | ECRS | 2644 | 3079.8341 | 2398.3766
Aug | d. HE11-14 | 12 | ECRS | 2529 | 3179.178 | 2268.9422
Aug | d. HE11-14 | 13 | ECRS | 2673 | 2911.7025 | 1787.8684
Aug | d. HE11-14 | 14 | ECRS | 2749 | 2941.6796 | 1664.2922
Aug | e. HE15-18 | 15 | ECRS | 2677 | 3036.3524 | 1773.8755
Aug | e. HE15-18 | 16 | ECRS | 2793 | 3381.6718 | 2069.617
Aug | e. HE15-18 | 17 | ECRS | 2958 | 3810.7066 | 2462.4224
Aug | e. HE15-18 | 18 | ECRS | 2906 | 3866.8513 | 2518.4921
Aug | f. HE19-22 | 19 | ECRS | 2761 | 3215.0454 | 1821.833
Aug | f. HE19-22 | 20 | ECRS | 2559 | 2658.5121 | 1538.7815
Aug | f. HE19-22 | 21 | ECRS | 2448 | 2600.1899 | 1722.4355
Aug | f. HE19-22 | 22 | ECRS | 2354 | 2337.4837 | 1448.6896
Aug | a. HE1-2 & HE23-24 | 23 | ECRS | 2079 | 1990.6712 | 1353.6842
Aug | a. HE1-2 & HE23-24 | 24 | ECRS | 1833 | 1744.2409 | 1195.2965
Sep | a. HE1-2 & HE23-24 | 1 | ECRS | 1428 | 1407.2351 | 836.717
Sep | a. HE1-2 & HE23-24 | 2 | ECRS | 1390 | 1329.6305 | 796.7648
Sep | b. HE3-6 | 3 | ECRS | 1226 | 1267.7457 | 798.4724
Sep | b. HE3-6 | 4 | ECRS | 1303 | 1330.53 | 784.4533
Sep | b. HE3-6 | 5 | ECRS | 1212 | 1335.1351 | 776.8981
Sep | b. HE3-6 | 6 | ECRS | 1160 | 1343.1068 | 824.5513
Sep | c. HE7-10 | 7 | ECRS | 1125 | 1503.9267 | 893.8152
Sep | c. HE7-10 | 8 | ECRS | 1477 | 1520.222 | 822.5097
Sep | c. HE7-10 | 9 | ECRS | 1942 | 2361.3469 | 1826.128
Sep | c. HE7-10 | 10 | ECRS | 2212 | 2341.3749 | 1885.9436
Sep | d. HE11-14 | 11 | ECRS | 2775 | 2669.8556 | 2159.8101
Sep | d. HE11-14 | 12 | ECRS | 2650 | 2515.1976 | 1840.916
Sep | d. HE11-14 | 13 | ECRS | 2645 | 2399.4574 | 1646.2631
Sep | d. HE11-14 | 14 | ECRS | 2673 | 2513.4951 | 1615.322
Sep | e. HE15-18 | 15 | ECRS | 2541 | 3089.4636 | 2198.6987
Sep | e. HE15-18 | 16 | ECRS | 2797 | 3477.6681 | 2490.0723
Sep | e. HE15-18 | 17 | ECRS | 2853 | 3629.0536 | 2578.526
Sep | e. HE15-18 | 18 | ECRS | 2833 | 3950.7403 | 2877.4097
Sep | f. HE19-22 | 19 | ECRS | 2026 | 3296.2728 | 2095.0238
Sep | f. HE19-22 | 20 | ECRS | 1955 | 2691.9448 | 1450.7083
Sep | f. HE19-22 | 21 | ECRS | 2140 | 2164.6493 | 1440.4936
Sep | f. HE19-22 | 22 | ECRS | 1910 | 2098.0212 | 1325.8569
Sep | a. HE1-2 & HE23-24 | 23 | ECRS | 1756 | 1762.9015 | 1187.5528
Sep | a. HE1-2 & HE23-24 | 24 | ECRS | 1564 | 1587.7582 | 999.5667
Oct | a. HE1-2 & HE23-24 | 1 | ECRS | 1118 | 1047.3225 | 582.1614
Oct | a. HE1-2 & HE23-24 | 2 | ECRS | 1062 | 1036.6325 | 567.4492
Oct | b. HE3-6 | 3 | ECRS | 982 | 1119.4281 | 687.9246
Oct | b. HE3-6 | 4 | ECRS | 983 | 979.3955 | 576.5509
Oct | b. HE3-6 | 5 | ECRS | 1061 | 1148.9994 | 757.3943
Oct | b. HE3-6 | 6 | ECRS | 1090 | 1180.9548 | 722.4825
Oct | c. HE7-10 | 7 | ECRS | 1026 | 1209.0415 | 659.9277
Oct | c. HE7-10 | 8 | ECRS | 1228 | 1231.2357 | 741.3601
Oct | c. HE7-10 | 9 | ECRS | 1650 | 2053.8085 | 1638.5944
Oct | c. HE7-10 | 10 | ECRS | 2155 | 2712.5742 | 2453.2826
Oct | d. HE11-14 | 11 | ECRS | 2070 | 2184.1643 | 1909.0725
Oct | d. HE11-14 | 12 | ECRS | 1797 | 1945.7922 | 1621.0822
Oct | d. HE11-14 | 13 | ECRS | 1705 | 2144.1699 | 1706.0211
Oct | d. HE11-14 | 14 | ECRS | 1796 | 2121.9923 | 1589.6257
Oct | e. HE15-18 | 15 | ECRS | 2011 | 2206.2738 | 1596.9393
Oct | e. HE15-18 | 16 | ECRS | 2131 | 2331.4901 | 1660.2884
Oct | e. HE15-18 | 17 | ECRS | 2241 | 2460.9678 | 1703.98
Oct | e. HE15-18 | 18 | ECRS | 2020 | 2522.0766 | 1642.8232
Oct | f. HE19-22 | 19 | ECRS | 1748 | 2015.3184 | 1196.272
Oct | f. HE19-22 | 20 | ECRS | 1871 | 2145.6123 | 1345.4364
Oct | f. HE19-22 | 21 | ECRS | 1555 | 1634.1911 | 1127.1541
Oct | f. HE19-22 | 22 | ECRS | 1468 | 1672.1634 | 984.2178
Oct | a. HE1-2 & HE23-24 | 23 | ECRS | 1368 | 1344.2135 | 904.9952
Oct | a. HE1-2 & HE23-24 | 24 | ECRS | 1251 | 1231.2894 | 733.5522
Nov | a. HE1-2 & HE23-24 | 1 | ECRS | 1123
Nov | a. HE1-2 & HE23-24 | 2 | ECRS | 1250
Nov | b. HE3-6 | 3 | ECRS | 1133
Nov | b. HE3-6 | 4 | ECRS | 1104
Nov | b. HE3-6 | 5 | ECRS | 1119
Nov | b. HE3-6 | 6 | ECRS | 1157
Nov | c. HE7-10 | 7 | ECRS | 1261
Nov | c. HE7-10 | 8 | ECRS | 1528
Nov | c. HE7-10 | 9 | ECRS | 2156
Nov | c. HE7-10 | 10 | ECRS | 2200
Nov | d. HE11-14 | 11 | ECRS | 1825
Nov | d. HE11-14 | 12 | ECRS | 1541
Nov | d. HE11-14 | 13 | ECRS | 1381
Nov | d. HE11-14 | 14 | ECRS | 1563
Nov | e. HE15-18 | 15 | ECRS | 1903
Nov | e. HE15-18 | 16 | ECRS | 1685
Nov | e. HE15-18 | 17 | ECRS | 1698
Nov | e. HE15-18 | 18 | ECRS | 1845
Nov | f. HE19-22 | 19 | ECRS | 1503
Nov | f. HE19-22 | 20 | ECRS | 1558
Nov | f. HE19-22 | 21 | ECRS | 1445
Nov | f. HE19-22 | 22 | ECRS | 1297
Nov | a. HE1-2 & HE23-24 | 23 | ECRS | 1272
Nov | a. HE1-2 & HE23-24 | 24 | ECRS | 1166
Dec | a. HE1-2 & HE23-24 | 1 | ECRS | 1408
Dec | a. HE1-2 & HE23-24 | 2 | ECRS | 1152
Dec | b. HE3-6 | 3 | ECRS | 1307
Dec | b. HE3-6 | 4 | ECRS | 1257
Dec | b. HE3-6 | 5 | ECRS | 1173
Dec | b. HE3-6 | 6 | ECRS | 1161
Dec | c. HE7-10 | 7 | ECRS | 1307
Dec | c. HE7-10 | 8 | ECRS | 1569
Dec | c. HE7-10 | 9 | ECRS | 1839
Dec | c. HE7-10 | 10 | ECRS | 2104
Dec | d. HE11-14 | 11 | ECRS | 1847
Dec | d. HE11-14 | 12 | ECRS | 1573
Dec | d. HE11-14 | 13 | ECRS | 1433
Dec | d. HE11-14 | 14 | ECRS | 1499
Dec | e. HE15-18 | 15 | ECRS | 1699
Dec | e. HE15-18 | 16 | ECRS | 1688
Dec | e. HE15-18 | 17 | ECRS | 1673
Dec | e. HE15-18 | 18 | ECRS | 1711
Dec | f. HE19-22 | 19 | ECRS | 1755
Dec | f. HE19-22 | 20 | ECRS | 1562
Dec | f. HE19-22 | 21 | ECRS | 1641
Dec | f. HE19-22 | 22 | ECRS | 1453
Dec | a. HE1-2 & HE23-24 | 23 | ECRS | 1469
Dec | a. HE1-2 & HE23-24 | 24 | ECRS | 1344