## Index
RTP Scope Section Number | Input Assumption | Status | Date
Transmission Topology
3.1.1 | Start Cases | Final | 2020-07-13
3.1.2 | Recently Approved RPG Projects | Final | 2020-08-17
3.1.2 | Model Updates/Corrections | Final | 2020-11-20
3.1.3 | Transmission & Generation Outages | Final | 2020-07-13
Generation
3.2.1 | Generation Additions, Retirements and Mothballs | Final | 2020-08-27
3.2.2 | Renewable Generation Dispatch | Final | 2020-07-13
3.2.3 | Switchable Generation | Final | 2020-07-13
3.2.4 | DC Tie Modeling and Dispatch | Final | 2020-07-13
3.2.5 | Reserve Requirements | Final | 2020-07-13
3.2.6 | Fuel Price Assumptions | Final | 2020-07-13
3.2.6 | Emission Cost Assumptions | Final | 2020-07-13
Demand
3.3 | Load Forecast (Economic) Weather Year Assumption | Final | 2020-07-13

## Start Cases
Date Last Updated: | 2020-07-13 | Back
Status | Final
Based on 2019 RTP final summer peak reliability cases for years 2022 and 2025

## Recently Approved RPG Projects
Date Last Updated: | 2020-08-17 | Back
Status | Final
Project Name | TDSP | Approve Date | 2022 SUM | 2025 SUM
Updated Eagle Mountain to Saginaw 138 kV Double-Circuit Line Upgrade project | Oncor | 2020-07-26 | X | X
Updated Oncor Big Spring – Buzzard Draw 69 kV Line Conversion to 138 kV project | Oncor | 2020-06-26 | X | X
Corpus Christi North Shore Project | AEP | 2020-06-09 | - | X
Frio County Transmission Project | AEP/STEC | 2020-05-21 | X | X
W.A. Parish to Westpark Tollway Ckt 09 Rebuild Project | CNP | 2020-01-27 | X | X
Mason to North Brady Line Rebuild Transmission Project | AEP | 2019-11-26 | X | X
Lon Hill to Warburton 138 kV Line Rebuild Transmission Project | AEP/STEC | 2019-10-11 | X | X
Ward and Winkler County Transmission Improvement Project | TNMP | 2019-10-10 | X | X
Permian Basin Area Upgrades | Oncor | 2019-09-06 | X | X
Dilley to Jourdanton 69 kV Transmission Project | AEP | 2019-07-17 | X | X
Eldorado Live Oak to Sonora 69 kV Line Rebuild Project | AEP | 2019-01-29 | - | X
Fort Bend to West Columbia 69 kV to 138 kV Circuit 45 Conversion Project | CNP | 2018-11-26 | X | X
Wink - No Trees 138 kV Line Upgrade | Oncor | 2018-09-06 | X | X

## Model Updates & Corrections
Date Last Updated: | 2020-11-20 | Back
Status | Final
Model Corrections/Updates Made to the 2020 RTP Cases
Transmission Changes | TO | 2022 SUM | 2025 SUM | Comments
Added Whitepoint Area Improvements | AEP | X | X | TPIT Project 50950 (Tier 4)
Applied Ballinger 138/69 kV (6340-6338) Transformer Upgrade | AEP | X | X | TPIT Project 48818 (Tier 4)
Removed Eagle Pass DC Tie | AEP | X | X
Backed out Rio Hondo (8319) to E Rio Hondo (5764) 138 kV Line Upgrade | AEP/STEC | X | X
Updated Benbrook Switch Auto (1869-1872) Ratings | Oncor | X | X | Updated to reflect Operations
Updated Culberson Switch (1097) - Culberson (71097) Ratings | Oncor | X | X | Updated to reflect June SSWG cases
Updated Kiamichi tie-line (140077-140078 Ckts. 1 & 2) Ratings | Oncor | X | X | Updated to reflect June SSWG cases
Updated Jones Street TNP (1972) to Jones Street TNP (37030) Ratings | Oncor | X | X | Updated to reflect Operations
Updated Jones Street TNP (1972) to Lakepointe TNP (37010) Ratings | Oncor | X | X | Updated to reflect Operations
Updated Jones Street TNP (1973) to Jones Street TNP (37030) Ratings | Oncor | X | X | Updated to reflect Operations
Updated Farmland (79641/23924) - Tahoka (133641) Ratings | Oncor/Sharyland | X | X | Updated to reflect June SSWG cases
Updated Niels Bohr (132993) - Harald (133043) Ratings | WETT | X | X | Updated to reflect June SSWG cases
Updated Cagnon (5056) - Kendall (7046) Ratings | LCRA | X | X | TPIT Project 51953 (Tier 4)
Updated McCarty Lane (7182) - Ranch Road 12 (7186) Ratings | LCRA | X | X | TPIT Project 54105 (Tier 4)
Updated Glidden (7258) - Kleimann (78115) Ratings | LCRA | X | X | TPIT Project 5277 (Tier 4)
Updated Wirtz (7104) - Flat Rock (7111) - Pale Face (7477) Ratings | LCRA | X | X | TPIT Project 4465 (Tier 4)
Updated Decatur Emergency Tie configuration | Oncor | X | X | Updated to reflect June SSWG cases
Updated Dupont Switch (8422) - Resnik (8580) 138 kV double circuit | AEP | X | X | Updated to reflect 2019 RTP's proposed project
Updated Upgrade Elm Mott - Bosque 138 kV line | Oncor | X | X | TPIT Project 52149 (Tier 4)
Updated dynamic ratings for: -Rio Hondo (8319) to Burns (5763) -Burns (5763) to Heidelburg (5765) -Heidelburg (5765) to Weslaco Sub (5768) | AEP/STEC | X | X | Updated to reflect Operations
Updated Noelke (7053) – Schneeman Draw (76005) Ckt 1 345-kV Line | STEC/LCRA | X | X | Updated to reflect Operations
Updated Jack Creek (975) – Twin Oak Switch (3400) Ckt 1 345-kV Line | Oncor/TMPA | X | X | Updated to reflect Operations
Updated Killeen Switch (3422) – Brown Switch (1444) Ckt 1 345-kV Line Updated Killeen Switch (3422) – Brown Switch (1444) Ckt 2 345-kV Line Updated Killeen Switch (3422) – Salado Switch (3699) Ckt 2 345-kV Line Updated Killeen Switch (3422) – Killeen Switch Star Bus (3431) Ckt 1 345/138-kV Transformer Updated Killeen Switch (3423) – Harker Heights South (3633) Ckt 1 138-kV Line | Oncor/Sharyland Oncor | X | X | Updated to reflect current SSWG cases
Applied Hasse Area 69-kV to 138-kV Conversions: -Holder Conversion -Downing Conversion -Downing Stephenville Conversion -Carlton Downing Conversion -Hasse Downing Conversion | BEPC |  | X | TPIT Project 52147 (Tier 4) TPIT Project 52169 (Tier 4) TPIT Project 52670 (Tier 4) TPIT Project 52175 (Tier 4) TPIT Project 52179 (Tier 4)
Updated Rising Star 69-kV ratings to reflect RPG-approved modeling | BEPC | X |  | TPIT Project 47929 (Tier 3)
Updated dynamic ratings for: -Brown (1444) to Corn Trail (11441) 345 kV -Corn Trail (11441) to Comanche Switch (1440) 345 kV -Comanche Switch (1440) to Comanche Peak (1900) | Oncor | X | X | Updated to reflect Operations
Dallas - Fort Worth Import Project | Oncor |  | X | Update based on 2020 RTP Reliability Project 2020_NC11
Midland Area Transmission Improvement | Oncor |  | X | Update based on 2020 RTP Reliability Project 2020_FW12
Generation Changes | TO | 2022 SUM | 2025 SUM | Comments
Updated MIRAGE retirement date to 10/1/2023 to reflect latest data from RE and ERCOT Account Manager | CNP | - | X
Updated MIRAGE topology using June 2020 SSWG cases to reflect pre-retirement topology | CNP | X | -
Updated Gibbons Creek MW parameter to reflect their new repower value | Garland | X | X
Reverted Gibbons Creek MW parameter to reflect pre-repower value since repower canceled | Garland | X | X
Phase Shifters | TO | 2022 SUM | 2025 SUM | Comments
Added Solstice (60385-60384) | AEP | X | X
Updated North Laredo phase shifter rating | AEP | X | X | Updated to reflect June SSWG cases

## Transmission & Gen Outages
Date Last Updated: | 2020-07-13 | Back
Status | Final
Outaged Element | Associated TO/RE | 2022 SUM | 2025 SUM | Notes
Nacogdoches Power | Nacogdoches Power, LLC | X | X | Based on May 2020 Notice of Suspension of Operations rpt.00013043.0000000000000000.20200519.141201315.2020_05_19_Nacogdoches_Power_LLC_NACPW_UNIT1_NSO.pdf
Gregory Power | Gregory Power Partners, LLC | X | X | Based on July 2019 Notice of Suspension of Operations rpt.00013043.0000000000000000.20190719.163211848.Gregory_Power_Partners_LLC_LGE_LGE_GT1_LGE_LGE_GT2_LGE_LGE_STG_NSO.pdf
Automated maintenance schedules modeled by UPLAN

## Gen Add, Ret. and Mothball
Date Last Updated: | 2020-08-27 | Back
Status | Final
6.9(1) conditions met as of: | 2020-04-01
New generators that met PG 6.9(1) requirements
GINR Reference Number | Project Name | County | Projected Date | Fuel | MW For Grid | Changes From Last Report | Meets Section 6.9 Requirements (1)(b) through (1)(d) | 2022 | 2025 | Comments
20INR0037 | Coniglio Solar | Fannin | 2020-12-11 | Solar | 135 |  | Yes | X | X
21INR0467 | Apogee Wind | Haskell | 2021-12-31 | Wind | 451.5 |  | Yes | X | X
21INR0016 | Danish Fields II | Wharton | 2021-06-01 | Solar | 201 |  | Yes | X | X
21INR0026 | Juno Solar (Phase I) | Borden | 2021-05-15 | Solar | 166.12 |  | Yes | X | X
21INR0501 | Juno Solar (Phase II) | Borden | 2021-08-15 | Solar | 147.09 |  | Yes | X | X
20INR0033 | WILDWIND | Cooke | 2020-12-15 | Wind | 180.08 |  | Yes | X | X
20INR0069 | Danish Fields Solar | Wharton | 2021-06-01 | Solar | 201 |  | Yes | X | X
21INR0017 | Danish Fields III | Wharton | 2021-06-01 | Solar | 201 |  | Yes | X | X
19INR0088 | Aragorn Solar | Culberson | 2021-06-30 | Solar | 187.2 |  | Yes | X | X
20INR0032 | IP Titan | Culberson | 2021-06-30 | Solar | 270 |  | Yes | X | X
20INR0204 | BlueBell Solar II | Sterling | 2021-06-01 | Solar | 115 |  | Yes | X | X
18INR0030 | Canyon Wind | Scurry | 2021-03-31 | Wind | 360 |  | Yes | X | X
20INR0219 | Eunice Solar | Andrews | 2020-12-31 | Solar | 420 |  | Yes | X | X
18INR0031 | Maryneal Windpower | Nolan | 2021-02-15 | Wind | 182.4 |  | Yes | X | X
19INR0034 | Greasewood Solar | Pecos | 2020-11-30 | Solar | 255 |  | Yes | X | X
17INR0031 | Espiritu Wind | Cameron | 2020-12-21 | Wind | 25.2 |  | Yes | X | X
20INR0206 | PES1 | Harris | 2020-12-01 | Gas | 363 |  | Yes | X | X
19INR0041 | Myrtle Solar | Brazoria | 2021-06-01 | Solar | 240 |  | Yes | X | X
20INR0068 | Blackjack Creek Wind | Bee | 2021-12-15 | Wind | 239.8 |  | Yes | X | X
19INR0081 | Anson Solar | Jones | 2020-12-31 | Solar | 201.53 |  | Yes | X | X
19INR0155 | Morrow Lake Solar | Frio | 2021-04-01 | Solar | 204 |  | Yes | X | X
20INR0053 | Bravepost Solar | Tom Green | 2021-06-01 | Solar | 200 |  | Yes | X | X
19INR0001 | Texas Solar Nova | Kent | 2022-01-31 | Solar | 252.2 |  | Yes | X | X
20INR0045 | Maverick Creek I W | Concho | 2020-12-04 | Wind | 373.2 |  | Yes | X | X
18INR0062 | Wagyu Solar | Brazoria | 2020-06-03 | Solar | 122 |  | Yes | X | X
19INR0156 | Aviator Wind | Coke | 2020-10-01 | Wind | 525 |  | Yes | X | X
18INR0050 | Mustang Creek Solar | Jackson | 2021-05-01 | Solar | 150 |  | Yes | X | X
21INR0276 | Elara Solar | Frio | 2021-05-11 | Solar | 134 |  | Yes | X | X
19INR0151 | Impact Solar | Lamar | 2020-12-15 | Solar | 198.55 |  | Yes | X | X
21INR0261 | Horizon Solar | Frio | 2021-12-31 | Solar | 204.09 |  | Yes | X | X
19INR0051 | Vera Wind | Knox | 2020-07-01 | Wind | 208.8 |  | Yes | X | X
20INR0262 | High Lonesome Wind Phase II | Crockett | 2020-01-30 | Wind | 50.6 |  | Yes | X | X
20INR0305 | Vera Wind V110 | Knox | 2020-07-01 | Wind | 34 |  | Yes | X | X
19INR0092 | Prospero Solar | Andrews | 2020-06-30 | Solar | 300 |  | Yes | X | X
17INR0035 | Las Majadas Wind | Willacy | 2020-10-29 | Wind | 272.6 |  | Yes | X | X
20INR0083 | Baird North Wind | Callahan | 2021-06-15 | Wind | 331.2 |  | Yes | X | X
19INR0035 | Norton Solar | Runnels | 2021-06-01 | Solar | 125 |  | Yes | X | X
18INR0016 | RTS 2 Wind | McCulloch | 2020-06-10 | Wind | 179.91 |  | Yes | X | X
16INR0049 | Nazareth Solar | Castro | 2022-05-31 | Solar | 201 |  | Yes | X | X
20INR0088 | West Raymond (El Trueno) Wind | Willacy | 2020-12-15 | Wind | 239.8 |  | Yes | X | X
19INR0128 | White Mesa Wind | Crockett | 2021-09-30 | Wind | 500 |  | Yes | X | X
19INR0114 | Rambler Solar | Tom Green | 2020-05-31 | Solar | 200 |  | Yes | X | X
21INR0233 | Taygete II Solar | Pecos | 2021-06-01 | Solar | 203.8 |  | Yes | X | X
19INR0053 | Hidalgo II Wind | Hidalgo | 2020-03-17 | Wind | 51 |  | Yes | X | X
19INR0009 | Holstein Solar | Nolan | 2020-06-01 | Solar | 204.47 |  | Yes | X | X
18INR0039 | Fowler Ranch | Crane | 2020-06-03 | Solar | 152.5 |  | Yes | X | X
14INR0009 | WKN Amadeus Wind | Fisher | 2020-10-30 | Wind | 250.12 |  | Yes | X | X
17INR0025 | Reloj Del Sol Wind | Zapata | 2020-12-01 | Wind | 202 |  | Yes | X | X
19INR0073 | Shakes Solar | Zavala | 2021-02-12 | Solar | 206 |  | Yes | X | X
19INR0100 | Prairie Hill Wind | McLennan | 2020-09-01 | Wind | 300 |  | Yes | X | X
18INR0043 | Edmondson Ranch Wind | Glasscock | 2021-12-01 | Wind | 293.28 |  | Yes | X | X
21INR0229 | Prospero Solar II | Andrews | 2021-07-01 | Solar | 250 |  | Yes | X | X
PG 6.9(1) Inactive Projects
INR | Project Name | Fuel | County | Inactive Date | MW
14INR0030c | Panhandle Wind 3 | Wind | Carson | 2019-09-24 09:41 | 248
13INR0038 | Wildrose Wind | Wind | Swisher | 2019-12-20 13:53 | 302.5
PG 6.9(1) Canceled Projects
INR | Project Name | Fuel | County | Inactive Date | MW
16INR0037c | Pumpkin Farm Wind | Wind | Floyd | 2020-05-13 17:07 | 280.9
Retired Units
Unit Name | MW For Grid | 2022 | 2025 | Comments
Decker Units 1 & 2 | 748 | X | X | Based on June 2020 Notice of Suspension of Operations rpt.00013043.0000000000000000.20200601.164257065.2020_06_01_City_of_Austin_dba_Austin_Energy_DECKER_DPG1_NSO.pdf
Oklaunion | 650 | X | X | Based on January 2020 Notice of Suspension of Operations rpt.00013043.0000000000000000.20200121.160548892.2020_01_21_Public_Service_Company_of_Oklahoma_OKLA_OKLA_G1_NSO.pdf
Southwest Mesa Wind | 80.3 | X | X | Based on May 2019 Notice of Suspension of Operations rpt.00013043.0000000000000000.20190523.151615784.2019_05_23_West_Texas_Wind_Energy_Partners_LP_SW_MESA_SW_MESA_NSO.pdf
Union Carbide | 35 | X | X | Based on May 2017 Notice of Suspension of Operations
Mothballed Units
Unit Name | MW For Grid | 2022 | 2025 | Comments
J T Deely Units 1 & 2 | 840 | X | X | Based on June 2013 Notice of Suspension of Operations
Spencer Units 4 & 5 | 118 | X | X | Based on June 2018 Notice of Suspension of Operations rpt.00013043.0000000000000000.20180608.163447723.2018_06_08_CITY_OF_GARLAND_SPNCER_SPNCE_4_SPNCER_SPNCE_5_NSO.pdf
Gibbons Creek | 470 | X | X | Based on December 2018 Notice of Suspension of Operations rpt.00013043.0000000000000000.20181221.161838015.2018_12_21_CITY_OF_GARLAND_GIBCRK_GIB_CRG1_NSO.pdf and August 2020 PUC filing of termination of (repower) interconnection agreement

## Renewable Generation Dispatch
Date Last Updated: | 2020-07-13 | Back
Status | Final
Solar
http://www.ercot.com/gridinfo/resource
Weather years used for analysis:
Base | 2013
Sensitivity | 2004 and 2010
Wind
http://www.ercot.com/gridinfo/resource
Weather years used for analysis:
Base | 2013
Sensitivity | 2004 and 2010
Hydro
Unit specific monthly capacity factors modeled based on historical dispatch levels during the last three years.

## Switchable Generation
Date Last Updated: | 2020-07-13 | Back
Status | Final
Operational Resources (Switchable)
UNIT NAME | UNIT CODE | COUNTY | FUEL | ZONE | IN SERVICE | 2022 | 2025
ANTELOPE IC 1 | ANTLP_G1 | HALE | GAS | WEST | 2016 | 54 | 54
ANTELOPE IC 2 | ANTLP_G2 | HALE | GAS | WEST | 2016 | 54 | 54
ANTELOPE IC 3 | ANTLP_G3 | HALE | GAS | WEST | 2016 | 54 | 54
ELK STATION CTG 1 | AEEC_ELK_1 | HALE | GAS | WEST | 2016 | 190 | 190
ELK STATION CTG 2 | AEEC_ELK_2 | HALE | GAS | WEST | 2016 | 190 | 190
Switchable Capacity Unavailable to ERCOT | SWITCH_UNAVAIL |  | GAS |  |  | -542 | -542

## DC Tie Modeling & Dispatch
Date Last Updated: | 2020-07-13 | Back
Status | Final
Economic Analysis
DC Tie Dispatch - 8760-hour Assumptions
DC_E | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.
DC_N | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.
DC_L | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.
DC_R | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.

## Reserve Requirement
Date Last Updated: | 2020-07-13 | Back
Status | Final
Economic Analysis | 1466 MW
The reserve requirement used in the economic models are based on a review of ERCOT’s 2020 Responsive Reserve and Regulation Up requirements. Note that the MW contribution of load resources is not an input into the economic model.

## Fuel Price Assumptions
Date Last Updated: | 2020-07-13 | Back
Status | Final
Source | EIA 2020 AEO Reference Case
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Average
2020 | 2.6754 | 2.4895 | 2.3862 | 2.4362 | 2.4759 | 2.5269 | 2.427 | 2.4063 | 2.4077 | 2.508 | 2.512 | 2.6846 | 2.4947
2021 | 2.8064 | 2.6114 | 2.503 | 2.5555 | 2.5972 | 2.6506 | 2.5458 | 2.5241 | 2.5256 | 2.6308 | 2.635 | 2.8161 | 2.6168
2022 | 2.874 | 2.6743 | 2.5634 | 2.6171 | 2.6598 | 2.7145 | 2.6072 | 2.5849 | 2.5865 | 2.6942 | 2.6985 | 2.884 | 2.6799
2023 | 2.9821 | 2.7749 | 2.6598 | 2.7156 | 2.7598 | 2.8166 | 2.7053 | 2.6822 | 2.6838 | 2.7956 | 2.8 | 2.9924 | 2.7807
2024 | 3.1647 | 2.9447 | 2.8226 | 2.8818 | 2.9287 | 2.989 | 2.8709 | 2.8463 | 2.8481 | 2.9667 | 2.9714 | 3.1756 | 2.9509
2025 | 3.5113 | 3.2672 | 3.1317 | 3.1974 | 3.2495 | 3.3163 | 3.1853 | 3.1581 | 3.16 | 3.2916 | 3.2968 | 3.5234 | 3.274

## Emission Cost Assumptions
Date Last Updated: | 2020-07-13 | Back
Status | Final
Source | EPA website
Emission | $/ton
NOx (Seasonal) | 150
NOx (Annual) | 2.75
SO2 | 0
CO2 | 0

## Economic Case-Load Forecast
Date Last Updated: | 2020-07-13 | Back
Status | Final
Load forecast (economic)
Weather year assumption | Base: 2013
The peak and hourly profile information will be posted along with the case information.
Note that the 2013 weather scenario is the base weather scenario used as the starting point in the economic analysis.