## Index
RTP Scope Section Number | Input Assumption | Status | Date
Transmission Topology
3.1.1 | Start Cases | Final | 2019-05-31
3.1.2 | Recently Approved RPG Projects | Final | 2019-05-31
3.1.2 | Model Updates/Corrections | Final | 2019-11-08
3.1.3 | Transmission & Generation Outages | Final | 2019-11-08
3.1.4 | CMP Modeled in RTP | Final | 2019-05-31
Generation
3.2.1 | Generation Additions, Retirements and Mothballs | Final | 2019-11-08
3.2.2 | Renewable Generation Dispatch | Final | 2019-05-31
3.2.3 | Switchable Generation | Final | Friday, May 31, 2019
3.2.4 | DC Tie Modeling and Dispatch | Final | 2019-11-08
3.2.5 | Reserve Requirements | Final | 2019-11-08
3.2.6 | Fuel Price Assumptions | Final | 2019-11-08
3.2.6 | Emission Cost Assumptions | Final | 2019-05-31
Demand
3.3.1 | Load Forecast (Economic) Weather Year Assumption | Final | 2019-05-31

## Start Cases
Date Last Updated: | 2019-05-31 | Back
Status | Final
Based on 2018 RTP final summer peak reliability cases for years 2021 and 2024

## Recently Approved RPG Project
Date Last Updated: | 2019-05-31 |  | Back |  | Back
Status | Final
Project Name | TDSP | Approve Date | 2021 SUM | 2024 SUM
Naval Base - North Padre 69-kV Transmission Project | AEP | 2019-03-19 | X | X
Bearkat Area Transmission Improvements Project | WETT | 2018-09-01 | X | X

## Model Updates & Corrections
Date Last Updated: | 2019-11-08 | Back
Status | Final
Model Corrections/Updates Made to the 2018 RTP Cases
Transmission Changes | TO |  |  | Comments
|  | 2021 SUM | 2024 SUM
Upgrade Cico - Comfort 138-kV line ratings | LCRA | X | X | Tier 4
Replace Ballinger 138/69-kV autotransformer | AEP | X | X | Tier 4
AEP Whitepoint area 138-kV improvements | AEP |  | X | Tier 4
Rebuild remaining portions of the Concho to Live Oak 69-kV line | AEP | X | X | Tier 4
DME CooperCrk-Arco 138-kV upgrade | DENTON | X | X | Tier 4
Install Hutto Switch second 345/138-kV autotransformer | ONCOR |  | X | Identified as reliability projects in the 2019 RTP
Jones Creek - Copper 138-kV system reconfiguration project | CNP |  | X | Identified as reliability projects in the 2019 RTP
BrookHollow - Port Lavaca 69-kV circuit upgrade | AEP |  | X | Identified as reliability projects in the 2019 RTP
Generation Changes | TO |  |  | Comments
|  | 2021 SUM | 2024 SUM
Load Changes | TO |  |  | Comments
|  | 2021 SUM | 2024 SUM
Bus Voltage Changes | TO |  |  | Comments
|  | 2021 SUM | 2024 SUM
Capacitor Bank Changes | TO |  |  | Comments
|  | 2021 SUM | 2024 SUM
Phase Shifters | TO |  |  | Comments
|  | 2021 SUM | 2024 SUM
8183 Thomaston | AEP | X | X | Control is normally on in normal operation
8255 Hamilton Road | AEP | X | X | Control is normally on in normal operation
8909 North Laredo Switch | AEP | X | X | Control is normally on in normal operation
85007 Nelson Sharpe | AEP | X | X | Control is normally on in normal operation

## Transmission & Gen Outages
Date Last Updated: | 2019-11-08 |  |  |  | Back
Status | Final
Outaged Element | Associated TO/RE | 2021 SUM | 2024 SUM | Notes
Decker Unit #1 (170151) | AEN | X | X | Notified by AEN, and based on AEN's public announcement https://www.austintexas.gov/edims/document.cfm?id=317748
Decker Unit #2 (170152) | AEN | X | X | Notified by AEN, and based on AEN's public announcement https://www.austintexas.gov/edims/document.cfm?id=317748
OKLAUNION U1 | AEP | X | X | Based on AEP's public announcement https://aep.com/Assets/docs/investors/AnnualReportsProxies/docs/18annrep/2018AnnualReportAppendixAtoProxy.pdf
GIBCRK_GIB_CRG1 | City of Garland | X | X | Based on Dec 2018 Notice of Suspension of Operations rpt.00013043.0000000000000000.20181221.161838015.2018_12_21_CITY_OF_GARLAND_GIBCRK_GIB_CRG1_NSO.pdf
SW_M_SW_MESA | West Texas Wind Energy Partners, LP | X | X | Based on May 2019 Notice of Suspension of Operations rpt.00013043.0000000000000000.20190523.151615784.2019_05_23_West_Texas_Wind_Energy_Partners_LP_SW_MESA_SW_MESA_NSO.pdf
LGE_GT1,LGE_GT2,LGE_STG | Gregory Power Partners, LLC | X | X | Based on Jul 2019 Notice of Suspension of Operations rpt.00013043.0000000000000000.20190719.163211848.Gregory_Power_Partners_LLC_LGE_LGE_GT1_LGE_LGE_GT2_LGE_LGE_STG_NSO.pdf
Automated maintenance schedules modeled by UPLAN

## CMP
Date Last Updated: | 2019-05-31 |  | Back
Status | Final
Constraint Management Plans Modeled in 2019 Regional Transmission Plan Economic Planning Studies
CMP Location and Description | TO
|  | 2021 | 2024
|  | N-1 | N-1
- | - | - | -

## Gen Add, Ret. and Mothball
Date Last Updated: | 2019-11-08 |  |  |  |  | Back
Status | Updated
Based on GIS report dated: | 2019-06-05
New generators that met PG 6.9 requirements
GINR Reference Number | Project Name | County | Projected Date | Fuel | MW For Grid | Changes From Last Report | Meets Section 6.9 Requirements (1)(b) through (1)(d) | 2021 | 2024 | Comments
12INR0055 | S_Hills Wind | Baylor | 2019-05-30 | WIN | 30.24 |  | Yes | X | X
13INR0026 | Canadian Breaks Wind | Oldham | 2019-09-13 | WIN | 210 |  | Yes | X | X
16INR0019 | BlueBell Solar | Coke | 2019-04-15 | SOL | 30 |  | Yes | X | X
16INR0081 | Mesteno Windpower | Starr | 2020-03-01 | WIN | 201.6 |  | Yes | X | X
16INR0111 | Las Lomas Wind | Starr | 2019-12-31 | WIN | 200 |  | Yes | X | X
17INR0037 | Palmas Altas Wind | Cameron | 2020-01-10 | WIN | 144.9 |  | Yes | X | X
18INR0014 | Karankawa Wind | San Patricio | 2019-12-31 | WIN | 206.64 |  | Yes | X | X
18INR0018 | Peyton Creek Wind | Matagorda | 2019-12-01 | WIN | 151.2 |  | Yes | X | X
18INR0033 | Oveja Wind | Irion | 2019-06-30 | WIN | 300 |  | Yes | X | X
18INR0038 | Barrow Ranch | Andrews | 2019-12-01 | WIN | 160 |  | Yes | X | X
18INR0045 | Misae Solar | Childress | 2019-11-29 | SOL | 240.8 |  | Yes | X | X
18INR0059 | Raymond Wind | Willacy | 2020-09-15 | WIN | 201.6 |  | Yes | X | X
18INR0067 | Gopher Creek Wind | Borden | 2019-07-31 | WIN | 158 |  | Yes | X | X
18INR0068 | Loraine Windpark Phase III | Mitchell | 2020-05-01 | WIN | 100 |  | Yes | X | X
18INR0070 | Blue Summit II | Wilbarger | 2019-04-15 | WIN | 102 |  | Yes | X | X
19INR0019 | Foard City Wind | Foard | 2019-09-24 | WIN | 350 |  | Yes | X | X
19INR0029 | Phoebe Solar | Winkler | 2019-09-01 | SOL | 250 |  | Yes | X | X
19INR0045 | Rayos Del Sol | Cameron | 2020-12-31 | SOL | 150 |  | Yes | X | X
19INR0074 | Karankawa 2 Wind | San Patricio | 2019-12-31 | WIN | 101 |  | Yes | X | X
19INR0083 | Oberon Solar | Ector | 2019-12-15 | SOL | 180 |  | Yes | X | X
19INR0099a | Kontiki 1 Wind (ERIK) | Glasscock | 2020-06-30 | WIN | 255.3 |  | Yes | X | X
19INR0099b | Kontiki 2 Wind (ERNEST) | Glasscock | 2021-06-30 | WIN | 255.3 |  | Yes | X | X
19INR0112 | Cranel Wind | Refugio | 2019-12-31 | WIN | 220 |  | Yes | X | X
19INR0184 | Oxy Solar | Ector | 2019-07-15 | SOL | 16.2 |  | Yes | X | X
20INR0011 | Ranchero Wind | Crockett | 2019-09-30 | WIN | 300 |  | Yes | X | X
20INR0042 | Chalupa Wind | Cameron | 2020-12-21 | WIN | 174 |  | Yes | X | X
11INR0062 | Shaffer | Nueces | 2019-05-22 | WIN | 226 |  | Yes | X | X
19INR0038 | High Lonesome W | Crockett | 2019-12-31 | WIN | 449.5 |  | Yes | X | X
19INR0080 | Whitehorse Wind | Fisher | 2019-12-15 | WIN | 418.9 |  | Yes | X | X
19INR0163 | Sage Draw Wind | Lynn | 2020-03-31 | WIN | 338 |  | Yes | X | X
19INR0185 | Lapetus Solar 2 | Andrews | 2019-12-31 | SOL | 100 |  | Yes | X | X
18INR0055 | Long Draw Solar | Borden | 2019-02-28 | SOL | 225 |  | Yes | X | X
19INR0102 | Queen Solar | Upton | 2019-04-01 | SOL | 400 |  | Yes | X | X
19INR0182 | Blue Summit Wind III | Nextera | 2019-04-09 | WIN | 200 |  | Yes | X | X
20INR0054 | Taygete Solar | Pecos | 2019-02-05 | SOL | 255.12 |  | Yes | X | X
Retired units
Unit Name | MW For Grid | 2021 | 2024 | Comments
Mothballed units
Unit Name | MW For Grid | 2021 | 2024 | Comments
B M DAVIS STG U1 (B_DAVIS_B_DAVIG1) | 330 | X | X | Per Dec 2017 CDR: On 12/31/2017
SPENCER (STG U4, STG U5) | 118 | X | X | Per Dec 2017 CDR: As of 1/3/2018
J T DEELY U1 & U2 | 840 | X | X | Per Dec 2017 CDR: As of 12/31/2018

## Renewable Generation Dispatch
Date Last Updated: | 2019-05-31 | Back
Status | Final
Solar
Based on ERCOT Solar Profiles 1997-2015 Central Station Existing, 20161106 file posted on ERCOT.com (http://www.ercot.com/content/wcm/lists/114800/ERCOT_SolarProfiles_1997-2015_CentralStation_Existing_20161106.zip)
Weather year's used for analysis
Base | 2013
Sensitivity | 2004 and 2010
Wind
Based on ERCOT Wind Patterns for Existing Sites, 1980-2017 file posted on ERCOT.com (http://www.ercot.com/content/wcm/lists/143979/ERCOT_WindPatterns_1980-2017_ExistingSites_6-26-2018.zip)
Weather year's used for analysis
Base | 2013
Sensitivity | 2004 and 2010
Hydro
Unit specific monthly capacity factors modeled based on historical dispatch levels during the last three years.

## Switchable Generation
Date Last Updated: | Friday, May 31, 2019
Status | Final
Operational Resources (Switchable)
UNIT NAME | UNIT CODE | COUNTY | FUEL | ZONE | IN SERVICE | 2021 | 2024
ANTELOPE IC 1 | ANTLP_G1 | HALE | GAS | WEST | 2016 | 54.6 | 54.6
ANTELOPE IC 2 | ANTLP_G2 | HALE | GAS | WEST | 2016 | 54.6 | 54.6
ANTELOPE IC 3 | ANTLP_G3 | HALE | GAS | WEST | 2016 | 54.6 | 54.6
ELK STATION CTG 1 | AEEC_ELK_1 | HALE | GAS | WEST | 2016 | 190 | 190
ELK STATION CTG 2 | AEEC_ELK_2 | HALE | GAS | WEST | 2016 | 190 | 190
TENASKA FRONTIER STATION CTG 1 | FTR_FTR_G1 | GRIMES | GAS | NORTH | 2000 | 160 | -
TENASKA FRONTIER STATION CTG 2 | FTR_FTR_G2 | GRIMES | GAS | NORTH | 2000 | 160 | -
Switchable Capacity Unavailable to ERCOT | SWITCH_UNAVAIL |  | GAS |  |  | -843.8 | -543.8
*Note: the Tenaska Frontier is going to keep 300 MW switched out but it won’t be necessarily from particular units.

## DC Tie Modeling & Dispatch
Date Last Updated: | 2019-11-08 |  | Back
Status | Final
Economic Analysis
DC Tie dispatch - 8760-hour assumptions
DC_E | Import + export | Modeled as a pseudo-generator and a demand profile with characteristics developed based on historical operational data.
DC_N | Import + export | Modeled as a pseudo-generator and a demand profile with characteristics developed based on historical operational data.
DC_L* | Export only | Demand profile developed based on the historical operational data
DC_R* | Export only
DC_S* | Export only

## Reserve Requirement
Date Last Updated: | 2019-11-08 | Back
Status | Final
Economic Analysis
Ancillary Service in economic cases is modelled based on "ERCOT AS Quantities 2019" Responsive Reserve and Regulation Up requirements. RPT.00013036.0000000000000000.20190110.121001288.Projected_Ancillary_Service_Requirement.zip

## Fuel Price Assumptions
Date Last Updated: | 2019-11-08 |  |  |  |  | Back
Status | Final
Source | EIA 2019 AEO Reference Case
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Average
2018 | 3.0968 | 3.0791 | 3.035 | 2.8938 | 2.8938 | 2.9027 | 2.9291 | 2.9468 | 2.9468 | 2.9732 | 3.0438 | 3.1673 | 2.9924
2019 | 3.2073 | 3.1917 | 3.145 | 2.9971 | 2.9971 | 3.0127 | 3.036 | 3.0594 | 3.0594 | 3.075 | 3.1528 | 3.2774 | 3.1009
2020 | 3.3564 | 3.3472 | 3.2923 | 3.146 | 3.146 | 3.146 | 3.1826 | 3.2009 | 3.2009 | 3.2192 | 3.3015 | 3.4295 | 3.2474
2021 | 3.3589 | 3.336 | 3.2902 | 3.1375 | 3.1375 | 3.1451 | 3.1757 | 3.1986 | 3.1986 | 3.2138 | 3.2978 | 3.4276 | 3.2431
2022 | 3.4431 | 3.4272 | 3.3717 | 3.2209 | 3.2209 | 3.2289 | 3.2606 | 3.2844 | 3.2844 | 3.3003 | 3.3875 | 3.5145 | 3.3287
2023 | 3.678 | 3.6617 | 3.6043 | 3.4405 | 3.4405 | 3.4487 | 3.4814 | 3.506 | 3.506 | 3.5306 | 3.6125 | 3.76 | 3.5558
2024 | 3.9792 | 3.9592 | 3.8992 | 3.7092 | 3.7192 | 3.7392 | 3.7592 | 3.7892 | 3.7892 | 3.8092 | 3.9092 | 4.0592 | 3.8434

## Emission Cost Assumptions
Date Last Updated: | 2019-05-31 | Back
Status | Final
Source | EPA website
Emission | $/ton
NOx (Seasonal) | 200
NOx (Annual) | 0
SO2 | 0
CO2 | 0

## Economic Case-Load Forecast
Date Last Updated: | 2019-05-31 | Back
Status | Final
Load forecast (economic)
Weather year assumption | Base: 2013
The peak and hourly profile information will be posted along with the case information
Note that the 2013 weather scenario is the base weather scenario used as the starting point in the economic analysis.