## Index
RTP Scope Section Number | Input Assumption | Status | Date
Transmission Topology
3.1.1 | Start Cases | Final | 2018-09-11
3.1.2 | Recently approved RPG projects | Final | 2018-12-06
3.1.2 | Model updates/corrections | Final | 2018-12-06
3.1.3 | Transmission & Generation Outages | Final | 2018-09-03
| CMP modeled in RTP | Final | 2018-12-06
Generation
3.2.1 | Generation Additions, Retirements and Mothballs | Updated | 2018-09-20
3.2.2 | Renewable generation dispatch | Final | 2018-03-20
3.2.3 | Switchable Generation | Final | Tuesday, March 20, 2018
3.2.4 | DC tie modeling and dispatch | Final | 2018-03-20
3.2.5 | Reserve Requirements | Final | 2018-03-20
3.2.6 | Fuel Price assumptions | Reviewed | 2018-03-14
3.2.6 | Emission Cost Assumptions | Reviewed | 2018-03-14
Demand
3.3 | Load forecast (economic) Weather year assumption | Final

## Start Cases
Date Last Updated: | 2018-09-11 | Back
Status | Final
Based on 2017 RTP final summer peak reliability cases for years 2020 and 2023

## Recently approved RPG project
Date Last Updated: | 2018-12-06 |  | Back |  | Back
Status | Final
Project Name | TDSP | Approve Date | 2020 SUM | 2023 SUM
IH20 SVC Project | TNMP | 2017-12-06 | X | X
CenterPoint Energy-Freeport Master Plan Project | CNP | 2017-12-12 | - | X
Pecos County Transmission Project, Option 1 | AEP | 2018-03-05 | X | X
Far West Texas Project 2 | Oncor | 2018-05-22 | - | X
Wink - No Trees Andrews County Project | Oncor | 2018-08-27 | X | -
Bearkat Area Transmission Improvements Project | WETT/Oncor |  | - | X
Lubbock Load Integration | Sharyland | 2018-08-20 | - | X

## Model updates & corrections
Date Last Updated: | 2018-12-06 | Back
Status | Final
Model Corrections/Updates Made to the 2018 RTP Cases
Transmission Changes | TO |  |  | Comments
|  | 2020 SUM | 2023 SUM
Added Freeport Bridge-the-Gap projects | CNP | X | X
Added Freeport Master Plan projects | CNP |  | X
Added Wirtz-Johnson City - Mountain Top Rebuild and Conversion to 138kV | PEC | X | X
Updated ratings for all 138kV lines around the Culberson Loop to 614/614/614 from 478/478/614 | Oncor | X | X | Oncor confirmed the updades
Updated ratings for all 138kV lines around the Saginaw - Wagley Robertson area to 394/394/394 from 214/214/220 | Oncor | X | X
Updated ratings for Moss - Odessa 345 kV line to 1912/1912/1912 from 1072/1072/1072 | Oncor | X | X
Added Yucca - Moss RTP project | Oncor | X | X
Generation Changes | TO |  |  | Comments
|  | 2020 SUM | 2023 SUM
Spencer Unit 4 (150071) & Unit 5 (150072) Online | Garland |  |  | Spencer 4 and 5 will be operational starting June 1, 2018 as stated by their Notification of Change of Generation Resource Designation posted on MIS.
Set LEVEE GT1 (111301) generation to match its self-serve load | CNP |  |  | Based on TSP feedback. Correction will also be applied to next release of SUM RTP cases.
Load Changes | TO |  |  | Comments
|  | 2020 SUM | 2023 SUM
Bus Voltage Changes | TO |  |  | Comments
|  | 2020 SUM | 2023 SUM
Capacitor Bank Changes | TO |  |  | Comments
|  | 2020 SUM | 2023 SUM
Phase Shifters | TO |  |  | Comments
|  | 2020 SUM | 2023 SUM
8183 Thomaston | AEP | X | X | Control is normally on in normal operation
8255 Hamilton Road | AEP | X | X | Control is normally on in normal operation
8909 North Laredo Switch | AEP | X | X | Control is normally on in normal operation
85007 Nelson Sharpe | AEP | X | X | Control is normally on in normal operation

## Transmission & Gen Outages
Date Last Updated: | 2018-09-03 | Back
Status | Final
Automated maintenance schedules modeled by UPLAN

## CMP
Date Last Updated: | 2018-12-06 |  | Back
Status | Final
Constraint Management Plans Modeled in 2018 Regional Transmission Plan Economic Planning Studies
CMP Location and Description | TO
|  | 2023 | 2023 SUM
|  | N-1 | N-1
- | - | - | -

## Gen add, ret. and mothball
Date Last Updated: | 2018-09-20 |  |  |  |  | Back
Status | Updated
Based on GIS report dated: | 2018-07-04
New generators that met PG 6.9 requirements
GINR Reference Number | Project Name | County | Projected Date | Fuel | MW For Grid | Changes From Last Report | Meets Section 6.9 Requirements (1)(b) through (1)(d) | 2020 | 2023 | Comments
12INR0055 | Little Mountain Wind | Baylor | 2019-03-01 | Wind | 80 |  | Yes | X | X
14INR0045 | Torrecillas Wind | Webb | 2018-12-31 | Wind | 301 |  | Yes | X | X
16INR0019 | BlueBell Solar | Coke | 2018-12-01 | Solar | 30 |  | Yes | X | X
16INR0081 | Mesteno Wind | Starr | 2019-12-31 | Wind | 202 |  | Yes | X | X
18INR0014 | Karankawa Wind | San Patricio | 2019-12-31 | Wind | 200 |  | Yes | X | X
18INR0018 | Peyton Creek Wind | Matagorda | 2019-12-01 | Wind | 150 |  | Yes | X | X
18INR0035 | CityVict | Victoria | 2018-11-01 | Gas | 100 |  | Yes | X | X
18INR0068 | Loraine Windpark Phase III | Mitchell | 2018-12-21 | Wind | 100 |  | Yes | X | X
18INR0070 | Blue Summit II | Wilbarger | 2018-12-03 | Wind | 102 |  | Yes | X | -
19INR0029 | Phoebe Solar | Winkler | 2019-10-01 | Solar | 253 |  | Yes | X | X
19INR0074 | Karankawa 2 Wind | San Patricio | 2019-12-31 | Wind | 200 |  | Yes | X | X
19INR0099a | Kontiki 1 Wind | Glasscock | 2019-09-01 | Wind | 255 |  | Yes | X | X
19INR0099b | Kontiki 2 Wind | Glasscock | 2020-09-01 | Wind | 255 |  | Yes | X | X
20INR0058 | Longhorn South | Briscoe | 2020-12-31 | Wind | 160 |  | Yes | X | X
18INR0038 | Barrow Ranch | Andrews | 2019-12-01 | WIND | 200 |  | Yes | X | X
16INR0019 | BlueBell Solar | Coke | 2018-12-01 | SOLAR | 30 |  | Yes | X | X
18INR0035 | CityVict | Victoria | 2018-11-01 | GAS | 100 |  | Yes | X | X
18INR0043 | Edmondson Ranch Wind | Glasscock | 2019-09-01 | WIND | 292 |  | Yes | X | X
15INR0059 | Emerald Grove Solar | Pecos | 2019-12-01 | SOLAR | 108 |  | Yes | X | X
19INR0019 | Foard City Wind | Foard | 2019-09-01 | WIND | 350 |  | Yes | X | X
19INR0074 | Karankawa 2 Wind | San Patricio | 2019-12-01 | WIND | 200 |  | Yes | X | X
18INR0014 | Karankawa Wind | San Patricio | 2019-12-01 | WIND | 200 |  | Yes | X | X
16INR0081 | Mesteno Wind | Starr | 2019-12-01 | WIND | 202 |  | Yes | X | X
18INR0033 | Oveja Wind | Irion | 2019-06-01 | WIND | 300 |  | Yes | X | X
18INR0018 | Peyton Creek Wind | Matagorda | 2019-12-01 | WIND | 150 |  | Yes | X | X
19INR0029 | Phoebe Solar | Winkler | 2019-10-01 | SOLAR | 250 |  | Yes | X | X
20INR0011 | Ranchero Wind | Crockett | 2019-06-01 | WIND | 300 |  | Yes | X | X
18INR0016 | RTS 2 Wind | McCulloch | 2019-10-01 | WIND | 150 |  | Yes | X | X
12INR0055 | S_Hills Wind | Baylor | 2019-04-01 | WIND | 30 |  | Yes | X | X
13INR0038 | Wildrose Wind | Swisher | 2019-10-01 | WIND | 212 |  | Yes | X | X
12INR0060 | Wilson Ranch | Schleicher | 2018-12-01 | WIND | 200 |  | Yes | X | X
Retired units
Unit Name | MW For Grid | 2020 | 2023 | Comments
PEARSALL (PEARSALL_PEARS_1, PEARSALL_PEARS_2, PEARSALL_PEARS_3) | 61 | X | X | Per Dec 2017 CDR: Since 8/1/2017
GREENS BAYOU STG U5 (GBY_GBY_5) | 371 | X | X | Per Dec 2017 CDR: As of 12/31/2017
S R BERTRON (SRB_SRBGT_2, SRB_SRB_G3, SRB_SRB_G4) | 420 | X | X | Per Dec 2017 CDR: As of 12/31/2017
S R BERTRON U1 & U2 (SRB_SRB_G1, SRB_SRB_G2) | 292 | X | X | Per Dec 2017 CDR: Since 5/15/2013
MONTICELLO (MNSES_UNIT1, MNSES_UNIT2, MNSES_UNIT3) | 1865 | X | X | Per Dec 2017 CDR: As of 1/4/2018
SANDOW (SDSES_UNIT4, SD5SES_UNIT5) | 1200 | X | X | Per Dec 2017 CDR: As of 1/11/2018
BIG BROWN (BBSES_UNIT1, BBSES_UNIT2) | 1208 | X | X | Per Dec 2017 CDR: As of 2/12/2018
Mothballed units
Unit Name | MW For Grid | 2020 | 2023 | Comments
B M DAVIS STG U1 (B_DAVIS_B_DAVIG1) | 330 | X | X | Per Dec 2017 CDR: On 12/31/2017
SPENCER (STG U4, STG U5) | 118 | X | X | Per Dec 2017 CDR: As of 1/3/2018
J T DEELY U1 & U2 | 840 | X | X | Per Dec 2017 CDR: As of 12/31/2018

## Renewable Generation Dispatch
Date Last Updated: | 2018-03-20 | Back
Status | Final
Solar
Based on ERCOT Solar Profiles 1997-2015 Central Station Existing, 20161106 file posted on ERCOT.com (http://www.ercot.com/content/wcm/lists/114800/ERCOT_SolarProfiles_1997-2015_CentralStation_Existing_20161106.zip)
Weather year's used for analysis
Base | 2009
Sensitivity | 2007 and 2010
Wind
Based on ERCOT Wind Patterns for Existing Sites, 1980-2017 file posted on ERCOT.com (http://www.ercot.com/content/wcm/lists/143979/ERCOT_WindPatterns_1980-2017_ExistingSites_6-26-2018.zip)
Weather year's used for analysis
Base | 2009
Sensitivity | 2007 and 2010
Hydro
Unit specific monthly capacity factors modeled based on historical dispatch levels during the last three years.

## Switchable Generation
Date Last Updated: | Tuesday, March 20, 2018
Status | Final
Operational Resources (Switchable)
UNIT NAME | UNIT CODE | COUNTY | FUEL | ZONE | IN SERVICE | 2020 | 2023
ANTELOPE IC 1 | ANTLP_G1 | HALE | GAS | WEST | 2016 | 54.6 | 54.6
ANTELOPE IC 2 | ANTLP_G2 | HALE | GAS | WEST | 2016 | 54.6 | 54.6
ANTELOPE IC 3 | ANTLP_G3 | HALE | GAS | WEST | 2016 | 54.6 | 54.6
ELK STATION CTG 1 | AEEC_ELK_1 | HALE | GAS | WEST | 2016 | 190 | 190
ELK STATION CTG 2 | AEEC_ELK_2 | HALE | GAS | WEST | 2016 | 190 | 190
TENASKA FRONTIER STATION CTG 1 | FTR_FTR_G1 | GRIMES | GAS | NORTH | 2000 | 160 | -
TENASKA FRONTIER STATION CTG 2 | FTR_FTR_G2 | GRIMES | GAS | NORTH | 2000 | 160 | -
Switchable Capacity Unavailable to ERCOT | SWITCH_UNAVAIL |  | GAS |  |  | -843.8 | -543.8
*Note: the Tenaska Frontier is going to keep 300 MW switched out but it won’t be necessarily from particular units.

## DC Tie modeling & dispatch
Date Last Updated: | 2018-03-20 |  | Back
Status | Final
Economic Analysis
DC Tie dispatch - 8760-hour assumptions
DC_E | Import only | Modeled as a pseudo-generator with characteristics developed based on historical operational data
DC_N | Import + export | Modeled as a pseudo-generator and a demand profile with characteristics developed based on historical operational data.
DC_L* | Export only | Demand profile developed based on the historical operational data
DC_R* | Export only
DC_S* | Export only

## Reserve Requirement
Date Last Updated: | 2018-03-20 | Back
Status | Final
Economic Analysis | 1622 MW
The reserve requirements used in the economic models are based on a review of ERCOT’s 2018 Responsive Reserve and Regulation Up requirements. Note that the value is less than 2800 MW since the MW contribution of load resources is not an input into the economic model.

## Fuel Price Assumptions
Date Last Updated: | 2018-03-14 |  |  |  |  | Back
Status | Reviewed
Source | EIA 2018 AEO High Oil and Gas Resource and Technology Case
Natural Gas Price Forecast ($/MMBtu)
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Average
2018 | 3.08 | 3.05 | 3.01 | 2.86 | 2.87 | 2.88 | 2.9 | 2.92 | 2.92 | 2.94 | 3.02 | 3.14 | 2.9658
2019 | 3.37 | 3.35 | 3.3 | 3.15 | 3.15 | 3.15 | 3.18 | 3.2 | 3.2 | 3.22 | 3.31 | 3.44 | 3.2517
2020 | 3.68 | 3.66 | 3.6 | 3.43 | 3.44 | 3.45 | 3.47 | 3.51 | 3.51 | 3.52 | 3.61 | 3.75 | 3.5525
2021 | 3.48 | 3.46 | 3.41 | 3.25 | 3.26 | 3.27 | 3.29 | 3.32 | 3.32 | 3.33 | 3.42 | 3.55 | 3.3633
2022 | 3.38 | 3.35 | 3.3 | 3.14 | 3.15 | 3.16 | 3.19 | 3.21 | 3.21 | 3.23 | 3.31 | 3.44 | 3.2558
2023 | 3.44 | 3.41 | 3.37 | 3.21 | 3.22 | 3.23 | 3.24 | 3.27 | 3.27 | 3.29 | 3.38 | 3.51 | 3.32
2024 | 3.58 | 3.55 | 3.5 | 3.34 | 3.35 | 3.35 | 3.38 | 3.4 | 3.4 | 3.42 | 3.51 | 3.65 | 3.4525

## Emission Cost Assumptions
Date Last Updated: | 2018-03-14 | Back
Status | Reviewed
Source | EPA website
Emission | $/ton
NOx (Seasonal) | 200
NOx (Annual) | 0
SO2 | 0
CO2 | 0

## Economic Case-Load Forecast
Date Last Updated: | 2018-09-11 | Back
Status | Final
Load forecast (economic)
Weather year assumption | Base: 2009
The peak and hourly profile information will be posted along with the case information
Note that the 2009 weather scenario is the base weather scenario used as the starting point in the economic analysis.